HazMat Determination

This form is required when any of these is true:

- Existing building mod affecting current or design-basis use of  hazardous materials (unless addressed in Form 1, Preliminary Project Determination)

- New building (with more than office-type chemicals)

- As required by Fire Marshal

AND if the inventory cannot be described in the field on IBC-GEN Form 4 Preliminary Project Determinations or attaching equivalent listing produced by ChemLog or otherwise per LANL P101-14, Chemical Management.

When required per above, this HazMat Determination may be processed alone, or the HazMat Inventory Statement below may be submitted as an attachment to IBC-GEN Form 4.  [LANL Projects use Form 4, Preliminary Project Determinations, to obtain preliminary determination of the use & occupancy classes and other matters from the LANL Building Official (LBO) Civil/Structural/Architectural review Team Leader (ES-EPD).]

Existing facilities:   ChemLog inventories are often not grouped by control area, nor are the chemicals categorized in the same way as the IBC/IFC.  When a project is making a small incremental impact to the overall inventory and a precise, quantitative determination of hazardous chemical quantities by control area is impractical, the project may prepare and present a case for assuming an occupancy class qualitatively in this document.  Evidence could/should include:

- proposed quantities of chemicals being added, especially oxidizers;

- the building ChemLog listing;

- estimate of existing quantity of chemical in the same IBC chemical hazard class(es);

- building “fact sheet” if available

- facility hazard categorization and hazardous material screening results per LANL NHHO Hazardous Material Inventory Control Policy (NHHO-AP-TBD) and/or SBP111-1, Facility Hazard Categorization and Documentation (e.g., Rev 2 Section 4.7.5); and/or

- recent Emergency Ops (EO-EOO) data runs for SB (e.g., versus moderate threshold).

- Guidance:  Useful websites:

http://int.lanl.gov/safety/emergency/services/index.shtml

http://int.lanl.gov/safety/industrial_hygiene_and_safety/chemical-safety/index.shtml

The completed form shall be retained by the project as a record.

As with Form 4, once issued, this determination must then be included as preliminary design inputs somewhere in the statement of work for the design, noting that the designer retains responsibility for proposing more appropriate classifications as soon as they become evident.

Change Control: The project must submit a revised form to the LBO if the quantities increase in a significant way (e.g., 10%) beyond previously declared amounts (or threshold quantities, if known/understood).  Revised determinations may also be made by LBO during design review as “C” comments.

Final determinations are documented by the final, LBO-approved design (e.g., arch general drawing sheet).  Please print except as noted.

Requestor Input to C/S/A Team

| Project Name/Location: |
| --- |
| Statement of Work |
| Proposed IBC Ch 3 Use and Occupancy Class(es) with rationale (note any changes from design basis or current levels) [optional] |
| Requester | Z Number | Organization | Date |
| Email | Tel | Fax | Intended IBC/IEBC Edition |

CSA Team Leader Preliminary Determinations

The CSA TL will involve other Fire as appropriate in making determinations and communicate any differing opinion and its basis to the Requester by email for concurrence.  If no concurrence, then the Fire Marshal will resolve, involving others as appropriate.

| IBC Use/Occupancy: |
| --- |
| Optional Comments: |
| Name | Z Number | Signature | Date |

Final Determination by Fire Marshal if Disputed (n/a if not required)

| Acceptance or stated change to CSA Team Leader position: |
| --- |
| Name | Z Number | Signature | Date |

Once the determination is made, CSA TL returns to Requester.

# Hazardous Material Inventory Statement

[sample template; both LANL P101-14 Chemical Management HazCom/chemical hygiene plans and
ChemLog inventory system exports providing sufficient information also acceptable]

# Building Number: 				             Completed by: ______________________

# Location at Facility: __________________		Date: ___________________________

# Control Area: _______________________		Contact Number: _________________

| Chemical or Trade Name | Conc. | CAS Number | Hazard Classification Per IFC/IBC | Physical State | Location of Chemical (include inside vs. outside) | AMOUNTS | NFPA 704 RATING |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Storage | Use Closed | Use Open | H | F | R | Special Hazard |
| Total Quantities of Materials Material Hazard Classification Stored In use - Open In use - Closed |

Additional Instructions/Guidance

(need not print or include; not part of any record)

Applying the Hazardous Materials Provisions of the 2009 IBC/ IFC

- IBC 105.3 and IFC 105.2 require that sufficient information be submitted to the building and fire code officials to issue construction or operational permits.

IBC 414.1.3 requires a report to be sent to the building official noting: the maximum expected quantities of hazardous materials to be stored, used in a closed system and used in an open system and subdivided according to hazardous material classification categories.  The methods of protection for the hazards (control areas, fire protection systems, and Group H occupancy requirements) are required to indicated in the report and on the construction drawings.

IFC 2701.5.2 requires a hazardous materials inventory statement (HMIS) to be submitted to the fire code official that includes the following information:

- Product name

- Component

- Chemical Abstract Service (CAS) number

- Location where stored or used

- Container size

- Hazard classification

- Amount in storage

- Amount is use-closed systems

- Amount in use-open systems

Note that IFC 2701.5.1 authorizes the fire code official to require facilities to develop a hazardous

materials management plan that will make much of this information available to emergency

responders.

- The following steps are necessary to determine and apply the hazardous materials provisions of the IBC/IFC

- Classify the material.  IFC 2701.2 requires hazardous materials to be classified according to hazard category.

- Classify whether the hazardous materials are to be in storage or used in an open or closed system.  The risk is greater for materials that are being used in a process than for materials that are simply being stored.  Materials being used in an open system (such as a dip tank open to the air and liberating vapors) will be greater than materials used in a closed system.

- Determine the maximum allowable quantities of the materials based on IBC Tables307.1(1)/IFC Table 2703.1.1(1) for physical hazards and IBC Tables 307.1(2)/IFC Table 2703.1.1(2) for health hazards.

Note that IFC Table  2703.1.1(3) & (4) applies to outdoor hazardous materials control areas.

- Classify the physical state (i.e. solid, liquid, or gas) of the materials.  Associated risk will vary according to the physical state of the materials.

- Apply controls to keep from exceeding MAQs per control area and designation as a Group H  occupancy:

- Construct additional control areas in accordance with IBC 414/IFC 2703.8.3.

- Install automatic sprinkler protection

- Utilize fire resistive cabinets (flammable liquids cabinets, gas cabinets, day boxes, etc.)

- Locate the hazardous materials outdoors.

- For quantities of hazardous materials that do not exceed the MAQs, apply the general

requirements that apply to all hazardous materials regardless of quantities, of the IFC and applicable NFPA standards.

- For quantities that exceed the MAQs allowed per control area:

- Apply the IBC requirements for Group H occupancies per IBC Chapters 5, Section 415 etc.

- Apply all general requirements for hazardous materials

- Apply all hazardous material specific requirements when MAQs are exceeded per the IFC material specific chapters.

Note that hazardous materials controls and protection requirements will significantly affect the design requirements for new buildings and may limit the desired use of existing buildings.  It is important to identify the types, quantities, and uses of proposed hazardous materials and identify required controls early in the project design.

Hazardous Materials Inventory Statement (HMIS) Template

This template is one acceptable format for the HMIS.  Note that this format closely resembles the format of IBC/IFC Tables for determining the MAQs and Group H occupancy divisions.

Completing the Hazardous Material Inventory Statement

The Hazardous Material Inventory Statement (HMIS) documents the information required to determine applicable controls and fire protection requirements for the storage and use of hazardous materials.

Document hazardous materials that are tored or used indoors and outdoors at a given location on a separate HMIS.  Provide total quantities for each applicable hazard classification for each hazardous materials control areas.  It may be desirable to develop and maintain a HMIS for each hazardous material control area.

- Note the chemical or trade name.

- Note the concentration of the chemical if applicable.

- Note the Chemical Abstract Service (CAS) number of the chemical.

- Note the hazard classification of the chemical in accordance with the hazard definitions noted in the International Building and Fire Codes.

- Identify the quantities of chemicals that are in storage, in use in a open system, in use in a closed system.

- Note the hazard information in accordance with NFPA 704.  This information may be used to classify the chemical, identify special hazards associated with the chemical, and determine emergency response procedures.

The following HMIS example is from IFC Appendix H, Hazardous Materials Management Plan (HMP) and Hazardous Materials Inventory Statement (HMIS).