|  |
| --- |
| General |
| Test Number:       Date:  Project Number:       Project Name:  Area:       Bldg:       Work Package Number: |
| Test Information |
| System Description:  Description of Test Boundaries:  Applicable Code:  ML:  1  2  3  4  Test Method:  Hydrostatic  Pneumatic  Pressure Decay  In-Service  Design Pressure:       psi Design Temperature:       °F |
| Test Requirements |
| Required Test Pressure:       psi  Required Test Duration:       minutes |
| Gauge Pressure Calculation |
| Elevation Difference Between Gauge and High Point (Enter value in feet):       ft  Times Factor: 0.4327 psi/ft  Head Pressure (elevation difference multiplied by times factor):       psi  Required Gauge Pressure (required test pressure plus head pressure):       psi |
| Pre-Test Reviews |
| Piping Adequately Supported:  Yes  No (If No, Explain):  Water Quality Satisfactory:  Yes  No (If No, Explain):  Test Relief Valve(s) in Place:  Yes  No (If No, Explain):  Inspector: Date: |
| Test Equipment |
| Type:       I.D.:       Range:       Cal. Date:       Cal. Due:  Type:       I.D.:       Range:       Cal. Date:       Cal. Due:  Type:       I.D.:       Range:       Cal. Date:       Cal. Due:  Remarks: |
| Test Results |
| Test Date:       Start Time:       Finish Time:  Actual Gauge Pressure:       psi Pressure Drop:       psi  Leakage Noted: |
| Test Acceptance |
| Inspector: Date: |
| Restoration |
| System Restored:  Yes  No  Remarks:  Inspector: Date: |