SECTION 01 1116

wORK BY OWNER

*************************************************************************************************************

LANL MASTER SPECIFICATION

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for processes, items, or designs that are not included in the project -- and specifier’s notes such as these.   To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual (ESM) General POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

Specification developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Chapter 1 Section Z10 Specifications and Quality sections.

These notes and terminology changed April 2008 administratively (no revision) for ML level and to improve clarity. *************************************************************************************************************

GENERAL

Section Includes

LANL furnished equipment for Subcontractor installation (GFE).

LANL furnished and installed equipment.

LANL performed work.

Definitions

- Government Furnished Equipment (GFE): Term used in Contract Documents to refer to LANL furnished property, products or in general to describe any LANL furnished equipment for Subcontractor installation.

- Provide:  Term in all Spec Sections means Subcontractor shall furnish and install.

LANL Furnished Equipment for  Subcontractor Installation (GFE)

LANL will furnish as free issue Government Furnished Equipment, identified in Contract Documents as GFE, to be installed by the Subcontractor in the work or used in its performance.

LANL will deliver GFE to project site except as noted in technical spec sections. (e.g., CCN-4 may require the Subcontractor to receive material at the CCN-4 warehouse).

Notify STR, in writing, 5 calendar days prior to desired date of delivery.

Upon receipt, verify quantity and condition of GFE.  Report any shortages or damages in writing to STR within 24 hours.

Install or incorporate all GFE into the work unless otherwise noted.  Uncrate, assemble, perform all prestart-up activity, and place in operation all GFE as recommended by the manufacturer(s).

LANL Furnished and Installed Equipment

LANL will furnish and install equipment identified in Contract Documents as “by LANL”, and will coordinate work with the Subcontractor.

LANL Performed Work

LANL will perform work identified in Contract Documents “by LANL”, and will coordinate work with the Subcontractor.

PRODUCTS

Not Applicable.

EXECUTION

Not Applicable.

END OF SECTION

********************************************************

Do not delete the following reference information:

********************************************************

FOR LANL USE ONLY

This project specification is based on LANL Master Specification 01 1116 Rev. 1, dated April 14, 2008.