SECTION 01 2500

SUBSTITUTION PROCEDURES

*************************************************************************************************************

LANL MASTER SPECIFICATION

When editing to suit project, author shall add job-specific requirements and delete only those portions that in no way apply to the activity (e.g., a component that does not apply).  To seek a variance from applicable requirements, contact the ESM General POC.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General Requirements.

Delete information within “stars” during editing.

Specification developed for ML-3/ML-4 projects.  For ML-1 / ML-2, additional requirements and QA reviews are required.

*************************************************************************************************************

PART 1 GENERAL

1.1	SUBSTITUTIONS

“Or approved equal” is always implied after a brand name, patented process or catalog number.  The Contractor may substitute any brand or process approved as an equal by the specifying Architect/Engineer.  The only exceptions are where “no substitution” is specified and paragraph A below.  See General Provision “Material and Workmanship”.

- Non-Structural Systems and Components, and Non-Building Structures

1.	If the Contractor wants to substitute an “equal” architectural, mechanical or electrical system or component, or non-building structure, the component/structure must be submitted to the design structural engineer for review and approval.

a.	The design structural engineer will make any and all necessary revisions to the construction specifications and drawings associated with the equal component/structure.

PART 2 PRODUCTS

Not Used

PART 3 EXECUTION

Not Used

END OF SECTION

*********************************************************

Do not delete the following reference information:

*********************************************************

FOR LANL USE ONLY

This project specification is based on LANL Master Specification 01 2500 Rev. 0, dated January 6, 2006.