SECTION 01 2500

SUBSTITUTION PROCEDURES

*************************************************************************************************************

LANL MASTER SPECIFICATION

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for processes, items, or designs that are not included in the project -- and specifier’s notes such as these.  To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual (ESM) General POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

Specification developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Chapter 1 Section Z10 Specifications and Quality sections.

This section may reference other sections that are future LANL Masters.  Until they exist, the design agency shall either delete these anticipatory references or create a project spec on the topic (whichever is more appropriate for the project).
*************************************************************************************************************

GENERAL

RELATED DOCUMENTS

Drawings, Specifications and general provisions of the Contract, including Contractual Exhibits, related attachments, and other Division 01 Specification Sections, apply to this Section.

SUMMARY

Section includes administrative and procedural requirements for substitutions for products, fabrication, or installation methods.

Substitutions shall only be considered prior to bidding and according to the terms outlined in the Contract Documents.  Formal acceptance of proposed substitutions shall be distributed to bidders prior to the bid date.

Substitution requests submitted after the bid date will only be considered when circumstances do not allow products or methods to be met as defined in the contract documents.

Related Requirements:

[Section 01 2100 Allowances for products selected under an allowance.]

[Section 01 2300 Alternates for products selected under an alternate.]

[Section 01 3300 Submittal Procedures]

Section 01 6000 Product Requirements

DEFINITIONS

Substitutions: Changes in products, materials, equipment, and methods of construction from those required by the Contract Documents and proposed by Subcontractor.

Substitutions for Cause: Changes proposed by Subcontractor that are required due to changed Project conditions, such as unavailability of product, regulatory changes, or unavailability of required warranty terms.

Substitutions for Convenience: Changes proposed by Subcontractor or LANL that are not required in order to meet other Project requirements but may offer advantage to Subcontractor or LANL.  Substitutions for Convenience shall be considered prior to bidding only.

ACTION SUBMITTALS

Substitution Requests: Submit three copies of each request for consideration. Identify product or fabrication or installation method to be replaced. Include Specification Section number and title and Drawing numbers and titles.

Substitution Request Form: Use LANL Substitution Request Form, #_______ facsimile of form provided in Project Manual.

Documentation: Show compliance with requirements for substitutions and the following, as applicable:

Statement indicating why specified product or fabrication or installation cannot be provided, if applicable.

Coordination information, including a list of changes or revisions needed to other parts of the Work and to construction performed by LANL and separate Subcontractors that will be necessary to accommodate proposed substitution.

Detailed comparison of significant qualities of proposed substitution with those of the Work specified. Include annotated copy of applicable Specification Section. Significant qualities may include attributes such as performance, weight, size, durability, visual effect, sustainable design characteristics, warranties, and specific features and requirements indicated. Indicate deviations, if any, from the Work specified.

Product Data, including drawings and descriptions of products and fabrication and installation procedures.

Samples, where applicable or requested.

Certificates and qualification data, where applicable or requested.

List of similar installations for completed projects with project names and addresses and names and addresses of A/E of Record and owners.

Material test reports from a qualified testing agency indicating and interpreting test results for compliance with requirements indicated.

Research reports evidencing compliance with building code in effect for Project, from [ICC-ES] or applicable code organization

Detailed comparison of Subcontractor's construction schedule using proposed substitution with products specified for the Work, including effect on the overall Contract Time. If specified product or method of construction cannot be provided within the Contract Time, include letter from manufacturer, on manufacturer's letterhead, stating date of receipt of purchase order, lack of availability, or delays in delivery.

Cost information, including a proposal of change, if any, in the Contract Sum.

Subcontractor's certification that proposed substitution complies with requirements in the Contract Documents except as indicated in substitution request, is compatible with related materials, and is appropriate for applications indicated.

Subcontractor's waiver of rights to additional payment or time that may subsequently become necessary because of failure of proposed substitution to produce indicated results.

A/E of Record’s Action: If necessary, A/E of Record will request additional information or documentation for evaluation within [seven] <Insert number> days of receipt of a request for substitution. A/E of Record will notify Subcontractor[ through LANL STR] of acceptance or rejection of proposed substitution within [15] <Insert number> days of receipt of request, or [seven] <Insert number> days of receipt of additional information or documentation, whichever is later.

Forms of Acceptance: Change Order, Design Revision Notice (DRN) Field Change Notice (FCN) or Field Change Request (FCR) for changes in the Work.

Use product specified if A/E of Record does not issue a decision on use of a proposed substitution within time allocated.

LANL’s acceptance or denial to substitution requests shall be documented by addendum.

QUALITY ASSURANCE

Compatibility of Substitutions: Investigate and document compatibility of proposed substitution with related products and materials. Engage a qualified testing agency to perform compatibility tests recommended by manufacturers.

PROCEDURES

Coordination: Revise or adjust affected work as necessary to integrate work of the approved substitutions.

PRODUCTS

SUBSTITUTIONS

Substitutions for Cause: Submit requests for substitution immediately on discovery of need for change, but not later than [15] days prior to time required for preparation and review of related submittals.

Conditions: A/E of Record will consider Subcontractor's request for substitution when the following conditions are satisfied. If the following conditions are not satisfied, A/E of Record will return requests without action, except to record noncompliance with these requirements:

Requested substitution is consistent with the Contract Documents and will produce indicated results.

Requested substitution provides sustainable design characteristics that specified product provided [for achieving LEED prerequisites and credits].

Substitution request is fully documented and properly submitted.

Requested substitution will not adversely affect Subcontractor's construction schedule.

Requested substitution has received necessary approvals of authorities having jurisdiction.

Requested substitution is compatible with other portions of the Work.

Requested substitution has been coordinated with other portions of the Work.

Requested substitution provides specified warranty.

If requested substitution involves more than one subcontractor, requested substitution has been coordinated with other portions of the Work, is uniform and consistent, is compatible with other products, and is acceptable to all subcontractors involved.

Substitutions for Convenience: Not allowed [unless otherwise indicated].

Substitutions for Convenience: A/E of Record will consider requests for substitution if received within [60] <Insert number> days after [commencement of the Work] [the Notice to Proceed] [the Notice of Award]. Requests received after that time may be considered or rejected at discretion of A/E of Record.

Conditions: LANL STR and/or A/E of Record will consider Subcontractor's request for substitution when the following conditions are satisfied. If the following conditions are not satisfied, A/E of Record will return requests without action, except to record noncompliance with these requirements:

Requested substitution offers LANL a substantial advantage in cost, time, energy conservation, or other considerations, after deducting additional responsibilities LANL must assume. LANL’s additional responsibilities may include compensation to A/E of Record for redesign and evaluation services, increased cost of other construction by LANL, and similar considerations.

Requested substitution does not require extensive revisions to the Contract Documents.

Requested substitution is consistent with the Contract Documents and will produce indicated results.

Requested substitution provides sustainable design characteristics that specified product provided [for achieving LEED prerequisites and credits].

Substitution request is fully documented and properly submitted.

Requested substitution will not adversely affect Subcontractor's construction schedule.

Requested substitution has received necessary approvals of authorities having jurisdiction.

Requested substitution is compatible with other portions of the Work.

Requested substitution has been coordinated with other portions of the Work.

Requested substitution provides specified warranty.

If requested substitution involves more than one subcontractor, requested substitution has been coordinated with other portions of the Work, is uniform and consistent, is compatible with other products, and is acceptable to all subcontractors involved.

EXECUTION (Not Used)

END OF SECTION

*********************************************************

Do not delete the following reference information:

*********************************************************

THE FOLLOWING REFERENCE IS FOR LANL USE ONLY

This project specification is based on LANL Master Specification 01 2500 Rev. 2, dated March 23, 2015.