01 3300 Submittal Procedures

Attachment A, Construction Submittal Log

******************************************************************************************************************************

Instructions to Users

- This Section/Attachment is now required for all LANL projects utilizing specifications in lieu of the technical and quality submittals listing being in Exhibit I, Subcontractor Submittal Requirements, the pro forma (boilerplate-like) document.

- The design agency must tailor this template to provide the combined technical and quality related input from the specs.  In order to tailor and complete this input template:

- Items (rows) not applicable to a particular project or acquisition must be deleted.

- Rows consolidated (hammocking) -- (note, the resulting “bundling” may cause complications in accepting/rejecting/tracking acceptability of submittals)

- Additional rows added for spec sections and their submittals created by the design agency.

- Template entries validated

- The need for concurrent reviews [and LANS Reviewer(s)]  finalized with input from LANL Project Engineer (after PE resolves with LANL ES-EPD, see below)

- Sequential numbering of submittals finalized.  If desiring to use suffixes or other method to indicate submittals to be sent in together, then the column’s automated pre-numbered set-up can be deleted/overwritten.

“Submittal Schedule” Column (Design Agency Responsibilities):

Note:  When a LANL Master Spec (LMS) Section explicitly sets time-of-submittal, this column should match.  When the LMS Section is mute, template data reflects Standards Program best judgment.

- At point of Project Spec issuance, schedule must match all Section expectations.

- Modification of submittal timing at any time is not a design change but is administrative (perhaps with schedule, technical, and/or quality impacts, positive or negative).

- Modification of template prior to award to constructor:  Changes from norm shall be highlighted to reviewers using redline/strikeout (preferred), possibly color.  If template update for future project benefit is appropriate, suggest to Standards Manager along with whether LMS Section is suboptimal.

- Modification after award should be managed by SDDR; when concurrent or consecutive review was required, engage PE to involve appropriate reviews of timing change.  Contract mod may be required. Again, not design change (e.g., FCR, FCN) per se, but such processes may be employed if desired.

Consecutive and Concurrent Review (CR) Columns:  The Design Agency must review all submittals imposed on Subcontractor.  In addition, when an outside AE is used, this document designates when a consecutive review (for design-build) or Concurrent Review (for design-bid-build) by LANL is required.  Where so indicated (“Y”), the submittal must also be routed to LANS for review (ideally after the AE has reviewed, not in parallel; regardless, the final LANL review code is binding on the Subcontractor within the limits of the Subcontract).

- LANL Project Eng and SME reviewers (e.g., ES-EPD Stds POC or Team Leader) may jointly agree to decrease or increase the number of CRs due to factors such as:

  - Small project size/scope

  - Design agency history

  - Constructor history (if known)

  - Whether needed for LEED or HPSB documentation

  - Whether needed for nuclear quality documentation

- The LANL Reviewer column must be completed by Design Agency when input is provided by the LANL PE.  Guidance:  Column may be used by PE to show PE, SME discipline(s), and/or SME names to guide routing by Document Control or other submittal review coordinator; column may be completed after design issuance at PE discretion or not at all (and reviews managed by PE by other method).

NOTE:  This template may not be 100% complete or accurate, and will be improved over time if users provide feedback to the Standards Manager or stdsweb@lanl.gov

-  For design-build projects only, completion of this for engineering and quality submittals is design-dependent and therefore the responsibility of the SUBCONTRACTOR'S Architect/Engineer. SUBCONTRACTOR shall complete those portions of this at the preliminary design stage (e.g. 60%) and submit for LANS review. SUBCONTRACTOR will submit the revised schedule at final design stage (90%) for LANS review. LANL has the final say on which submittals shall receive concurrent (AE and LANL) review.  The reviewed/final schedule will be incorporated into 01 3300 and re-issued as a no-cost change or Change Order.

Likewise, when design for specialties is deferred to after permitting/construction start, submittals for such design shall be added by Subcontractor.

This template is available in Word online at http://engstandards.lanl.gov/specs.shtml#01

******************************************************************************************************************************

| SUBMITTAL SCHEDULE |
| --- |
| A | Per Subcontract Schedule | S | Prior to Shipment | Z | When Required | SANN | Semi Annual |
| B | Prior to Balance of Payment | U | Prior to Use | ANN | Annually | WKLY | Weekly |
| F | Prior to Fabrication | W | Prior to Commencing Work | DAY | Daily | WRR | Implemented at work release level on Blanket Agreements |
| M | Prior to Mobilization | X | Prior to Purchase | MON | Monthly | BI-WKLY | Every 2 weeks |
| N | Prior to Notice to Proceed | Y | Prior to Progress Payment for Each Specific Task | QRTLY | Quarterly |  |  |
| SUBMITTAL TYPE REQUIRED |
| D | Drawings | ED | Electrical Diagrams | P | Prints /photocopies | SD | Shop Drawings |
| EM | Electronic media | II | Installation Instructions | PD | Performance Data - Curves | SP | Spare Parts and Maintenance Materials |
| CA | Calculations | ML | Materials/Parts List/Design Mixes | PH | Photographs | TR | Test Reports |
| CD | Catalog Data | OM | Operations & Maintenance Data | RD | Project Record Documents | WA | Warranties |
| CT | Certifications | OT | Other | S | Sample | (2) | (-) indicates quantity |
|  |  | O | Original | SC | Samples/Colors |  |  |
| SUBMITTAL CATEGORY |
| A | Action |
| C | Closeout |
| DD | Delegated Design (incorporates LANL design review specific process, tracks separately from Action submittals) |
| I | Informational |
| SD | Sustainable Design (incorporates DOE/LEED/LANL-specific sustainable design requirements, tracks info separately from Action submittals) |

| Submittal No. | Submittal Description | Reference | Submittal Schedule | Submittal Type | Submittal Category | Consecutive or Concurrent Review Required (Y=yes, - = no)? LANL Response Required | LANL Reviewer (For LANL Use Only) |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Design Build | Design Bid Build |  |
|  | Exhibit D Technical Specifications for Engineering Services |  |  |  |  |  |  |  |
| 01 1116 | Work by Owner |  |  |  |  |  |  |  |
|  | N/A |  |  |  |  |  |  |  |
| 01 1117 | Work by Owner – Self Perform |  |  |  |  |  |  |  |
|  | N/A |  |  |  |  |  |  |  |
| 01 2500 | Substitution Procedure |  |  |  |  |  |  |  |
|  | Substitution requests |  | Z | OT | A | - | - |  |
| 01 3300 | Submittal Procedures |  |  |  |  |  |  |  |
|  | N/A |  |  |  |  |  |  |  |
| 01 3545 | Water Discharge Requirements |  |  |  |  |  |  |  |
|  | N/A |  |  |  |  |  |  |  |
| 01 4000 | Quality Requirements |  |  |  |  |  |  |  |
|  | Qualification data for testing agencies | 1.4.A | W | CT | A | - | Y | QA |
|  | Submit design/research reports/test data supporting the use of alternate materials/methods of construction not specifically prescribed by the IBC such as rebar couplers and splices. | 1.4.B | W | TR | A | Y | Y |  |
|  | Test and Inspection Plan: Include with overall project construction schedule or submit separate schedule within [30] days prior to commencement of the Work. | 1.4.C | W | OT | A | - | Y | STR |
|  | Schedule for coordination by Subcontractor | 1.4.D | A | P | A | - | - |  |
|  | Test and Inspection reports | 1.4.E | Z | P, TR | A | - | Y | CON |
|  | Licenses and Certificates, as required | 1.4.F | W | P, CT | A | - | Y | PE |
|  | For IBC work, each subcontractor and subtier responsible for the fabrication or erection of a main wind- or seismic-force-resisting system, designated seismic system, or a wind- or seismic-resisting component listed in the Statement of Special Inspections must submit a Statement of Responsibility per ESM Chapter 16 Section IP App H to LANL as a submittal prior to the commencement of work | 1.4.G | W | CT | A | - | - |  |
| 01 4115 | Pressure Safety Submittals |  |  |  |  |  |  |  |
|  | Qualifications of welding and/or brazing procedures and performance per sections 01 4444 and/or 01 4455. | 1.3.A.1 | W | P | A | Y | Y |  |
|  | Qualification of examiner(s) in accordance with the code of record. | 1.3.A.2 | W | P | A | Y | Y |  |
|  | Qualification and evaluation of unlisted components in accordance with the code of record. | 1.3.A.3 | W | P | A | Y | Y |  |
|  | CMTRs showing material traceability, including weld filler, material tensile test results (where required by the code of record) and conformance with code of record. | 1.3.A.4 | F | CT, TR | A | Y | Y |  |
|  | The maximum allowable working pressure or rating for the bill of materials (all components) for the pressure system(s), ideally using forms 06 and 07 which are required by additional closeout submittals below. | 1.3.A.5 | X | P | A | Y | Y |  |
|  | Documentation of welds/brazes as required by the code of record. | 1.3.B.1 | WKLY | P | C | Y | Y |  |
|  | Weld/braze examination forms in accordance with ESM Chapter 13 on welding and NDE | 1.3.B.2 | WKLY | P | C | Y | Y |  |
|  | Other non-destructive evaluation (NDE) data reports | 1.3.B.3 | WKLY |  | C | Y | Y |  |
|  | Examiner reports | 1.3.B.4 | WKLY | P, TR | C | Y | Y |  |
|  | Code leak-test reports, witnessed and signed by LANL owner’s inspector | 1.3.B.5 | WKLY | P, TR | C | Y | Y |  |
|  | The fabricator shall provide the information of the “as built” condition | 1.3.C.1 | at closeout | P | C | Y | Y |  |
|  | Pressure safety documentation required by LANL Engineering Standards Manual STD-342-100 Chapter 17, Pressure Safety, ADMIN-1-4, New System Document Requirements showing those items that pertain to the work defined in this Specification and Project | 1.3.C.2 | at closeout except when sooner per above | P | C | Y | Y |  |
| 01 4444 | Offsite Welding and Joining Requirements |  |  |  |  |  |  |  |
|  | The following documents shall be submitted and approved by the LANL WPA prior to the start of welding: | 1.2.A |  |  |  |  |  |  |
|  | Welding/Brazing/Bronzing Procedure Specifications with the associated Procedure Qualification Records (PQRs) | 1.2.A.1 | W | P | A | - | - |  |
|  | Welding/Brazing/Bronzing Performance Qualification Records | 1.2.A.2 | W | P | A | - | - |  |
|  | Weld Filler Material Control Procedure | 1.2.A.3 | W | P | A | - | - |  |
|  | Fill Material (certified Material Test Reports) | 1.2.A.4 | W | TR,CT | A | - | - |  |
|  | Heat Treatment Procedures (where applicable) | 1.2.A.5 | W | P | A | - | - |  |
|  | Inspection Qualification Records | 1.2.A.6 | W | P | A | - | - |  |
|  | Inspection Procedures | 1.2.A.7 | W | P | A | - | - |  |
| 01 4455 | Onsite Welding and Joining Requirements |  |  |  |  |  |  |  |
|  | N/A |  |  |  |  |  |  |  |
| 01 5705 | Temporary Controls and Compliance Requirements |  |  |  |  |  |  |  |
|  | For projects operating under a National Pollutant Discharge Elimination System (NPDES) Construction General Permit | 1.2.A.1 | M | RD | A | Y | Y | EC |
|  | Provide information as necessary to obtain the New Mexico Environment Department Notice of Intent | 1.2.A.2 | W | P | A | Y | Y |  |
|  | Traffic Control Plan | 1.2.A.3 | W | P | A | - | - |  |
| 01 6000 | Product Requirements |  |  |  |  |  |  |  |
|  | N/A |  |  |  |  | Y | Y |  |
| 01 7700 | Closeout Procedures |  |  |  |  |  |  |  |
|  | Product Data: For cleaning agents | 1.4.A | U | P | SD | - | - |  |
|  | Construction Subcontractor’s list of Incomplete Items (Punch List): Initial submittal at Substantial Completion | 1.4.B | B | P, RD | A | Y | Y |  |
|  | Certified list of Incomplete Items: Final submittal at Final Completion | 1.4.C | B | P, RD | A | Y | Y |  |
|  | Field Report: For pest control inspection | 1.5.B | B | P, TR | C | - | - |  |
|  | Schedule of Maintenance Material Items: For maintenance material submittal items specified in other Sections | 1.6.A | B | ML, M | C | Y | Y |  |
|  | Substantial Completion Procedures | 1.7 |  |  |  |  |  |  |
|  | Submittals Prior to Substantial Completion: Complete the following | 1.7.B | minimum of [10] <Insert number> days prior to requesting inspection for determining date of Substantial Completion |  |  |  |  |  |
|  | Closeout submittals specified in other Division 01 Sections, including project record documents, operation and maintenance manuals, and similar final record information | 1.7.B.2 | See above | P, RD, OM | C | Y | Y |  |
|  | Closeout submittals specified in individual Sections, including specific warranties, workmanship bonds, maintenance service agreements, final certificates, and similar documents | 1.7.B.3 | See above | WA, OM, CT | C | Y | Y |  |
|  | Maintenance material submittals specified in individual Sections, including tools, spare parts, extra materials, and similar items, and deliver to location designated by LANL Construction STR. Label with manufacturer’s name and model number where applicable | 1.7.B.4 | See above | SP, M | C | Y | Y |  |
|  | Test/adjust/balance records | 1.7.B.5 | See above | P, TR | C | Y | Y |  |
|  | Sustainable design submittals required in Section 01 8113.13 Sustainable Design Requirements – LEED for New Construction and Major Renovations and in individual sections | 1.7.B.6 | See above | P | SD | Y | Y |  |
|  | Turnover information related to LANL’s occupancy, use, operation, and maintenance | 1.7.B.7 | See above | OM | C | Y | Y |  |
|  | Procedures Prior to Substantial Completion: Complete the following | 1.7.C | minimum of [10] <Insert number> days prior to requesting inspection for determining date of Substantial Completion | RD | A |  |  |  |
|  | Inspection: Submit a written request to the LANL Construction STR for inspection to determine Substantial Completion | 1.7.D | minimum of [10] <Insert number> days prior to date the Work will be completed and ready for final inspection | TR | A | Y | Y |  |
|  | Final Completion Procedures: | 1.8 |  |  |  |  |  |  |
|  | Submittals Prior to Final Completion | 1.8.A | Before requesting final inspection for determining final completion |  |  |  |  |  |
|  | Final Application for Payment according to Exhibit B, Special Conditions | 1.8.A.1 | See above | RD, O | A | Y | Y |  |
|  | Certified List of Incomplete Items: Certified copy of LANL’s Substantial Completion inspection list of items to be completed or corrected (punch list) | 1.8.A.2 | See above | RD | A | Y | Y |  |
|  | Pest-control final inspection report | 1.8.A.3 | See above | TR | C | Y | Y |  |
|  | Notice of Termination for termination of the NPDES SWPPP permit | 1.8.A.4 | See above | OT | C | Y | Y |  |
|  | Inspection: Submit a written request for final inspection to determine acceptance | 1.8.B | See above | TR | A |  |  |  |
|  | Submittal of Project Warranties | 1.10 |  |  |  |  |  |  |
|  | Partial Occupancy: Submit properly executed warranties that completed and occupied or used by LANL during construction period by separate agreement with Construction Subcontractor | 1.10.B | within [15] <insert number> days of completion of designated portions of the work | WA | C | Y | Y |  |
|  | Warranty Electronic File: Scan warranties and bonds and assemble complete warranty and bond submittal package into a single indexed electronic PDF file with links enabling navigation of each item. Provide bookmarked table of contents at beginning of document | 1.10.C.4 | See above | EM, WA | C | Y | Y |  |
|  | Provide additional copies of each warranty to include in operation and maintenance manuals | 1.10.D | See above | WA, OM | C | Y | Y |  |
| 01 7823 | Operation and Maintenance Data |  |  |  |  |  |  |  |
| n/a | Manual content is specified in individual Specification Sections to be reviewed at the time of Section submittals. |  |  |  |  |  |  |  |
| 01 7839 | Project Record Documents |  |  |  |  |  |  |  |
|  | Record Drawings | 1.3.A |  |  |  |  |  |  |
|  | Initial Submittal: Submit [one] <Insert number> paper-copy set(s) of marked-up record prints. Submit PDF electronic files of scanned record prints and one of file prints. Submit record digital data files and one set of plots. A/E of Record will indicate whether general scope of changes, additional information recorded, and quality of drafting are acceptable | 1.3.A.1.a | B | P, EM | A | Y | Y |  |
|  | Final Submittal: Submit [one] <Insert number> paper-copy set of marked-up record prints. Submit PDF electronic files of scanned record prints and one set of prints. Submit record digital data files and one set of record digital data file plots. Print and/or plot each drawing, whether or not changes and additional information were recorded. | 1.3.A.1.b | B | P, EM | C | Y | Y |  |
|  | Record Specifications: Submit one paper copy and annotated PDF electronic files of Project’s specifications, including addenda and contract modifications | 1.3.B | B | EM, RD | C | Y | Y |  |
|  | Record Product Data: Submit one paper copy and annotated PDF electronic files and directories of each submittal | 1.3.C | B | EM, RD | C | Y | Y |  |
|  | Where record Product Data are required as part of operation and maintenance manuals, submit duplicate marked-up Product Data as a component of manual | 1.3.C.1 | B | OM | C | Y | Y |  |
|  | Record Calculation Submittals: Submit one paper copy and annotated PDF electronic files of projects calculations developed or revised during construction | 1.3.D | B | CA, EM | C | Y | Y |  |
|  | Miscellaneous Record Submittals: See other Specification Sections for miscellaneous recordkeeping requirements and submittals in connection with various construction activities. Submit one paper copy and annotated PDF electronic files and directories of each submittal | 1.3.E | B | EM, RD | C | Y | Y |  |
|  | Reports: Submit written report at scheduled construction meeting indicating items incorporated into project record documents concurrent with progress of the Work, including revisions, concealed conditions, field changes, product selections, and other notations incorporated | 1.3.F | B | RD | A | Y | Y |  |
| 01 8113.13 | Sustainable Design |  |  |  |  |  |  |  |
|  | Sustainable Design Documentation Submittals | 1.6.B |  |  |  |  |  |  |
|  | Environmental Product Declarations complying with LEED requirements | 1.6.B.1 | Y | P | SD | - | - |  |
|  | Documentation for products that comply with LEED requirements for multi-attribute optimization | 1.6.B.2 | Y | P | SD | - | - |  |
|  | Sustainability reports for products that comply with LEED requirements for raw material and source extraction reporting | 1.6.B.3 | Y | P | SD | - | - |  |
|  | Documentation for products that comply with LEED requirements for leadership extraction practices | 1.6.B.4 | Y | P | SD | - | - |  |
|  | Material ingredient reports for products that comply with LEED requirements for material ingredient reporting | 1.6.B.5 | Y | ML | SD | - | - |  |
|  | Documentation for products that comply with LEED requirements for material ingredient optimization | 1.6.B.6 | Y | P | SD | - | - |  |
|  | Documentation for products that comply with LEED requirements for product manufacturer supply chain optimization | 1.6.B.7 | Y | P | SD | - | - |  |
|  | Product data for adhesives and sealants used inside the weatherproofing system, indicating VOC content and laboratory test reports showing compliance with requirements for low-emitting materials | 1.6.B.8 | Y | P, TR | SD | - | - |  |
|  | Product data for paints and coatings used inside the weatherproofing system, indicating VOC content and laboratory test reports showing compliance with requirements for low-emitting materials | 1.6.B.9 | Y | P, TR | SD | - | - |  |
|  | Laboratory test reports for flooring, indicating compliance with requirements for low-emitting materials | 1.6.B.10 | Y | TR | SD | - | - |  |
|  | Laboratory test reports for products containing composite wood or agrifiber products or wood glues, indicating compliance with requirements for low-emitting materials | 1.6.B.11 | Y | TR | SD | - | - |  |
|  | Laboratory test reports for ceilings, walls, and thermal insulation, indicating compliance with requirements for low-emitting materials | 1.6.B.12 | Y | TR | SD | - | - |  |
|  | Construction Indoor-Air-Quality (IAQ) Management | 1.6.B.13 | Y | OT | SD | - | - |  |
|  | IAQ Assessment | 1.6.B.14 | Y | OT | SD | - | - |  |
|  | Qualification Data: For LEED coordinator | 1.7.A | Y | CT | I | - | - |  |
|  | Project Materials Cost Data | 1.7.B |  |  |  |  |  |  |
|  | Plumbing | 1.7.B.1 | Y | OT | I | - | - |  |
|  | Mechanical | 1.7.B.2 | Y | OT | I | - | - |  |
|  | Electrical | 1.7.B.3 | Y | OT | I | - | - |  |
|  | Specialty items, such as elevators and equipment | 1.7.B.4 | Y | OT | I | - | - |  |
|  | SD Action Plans | 1.7.C |  |  |  |  |  |  |
|  | List of proposed products with Environmental Product Declarations | 1.7.C.1 | X | ML | I | - | - |  |
|  | List of proposed products complying with requirements for multi-attribute optimization | 1.7.C.2 | X | ML | I | - | - |  |
|  | List of proposed products complying with requirements for raw material and source extraction reporting | 1.7.C.3 | X | ML | I | - | - |  |
|  | List of proposed products complying with requirements for leadership extraction practices | 1.7.C.4 | X | ML | I | - | - |  |
|  | List of proposed products complying with requirements for material ingredient reporting | 1.7.C.5 | X | ML | I | - | - |  |
|  | List of proposed products complying with requirements for material ingredient optimization | 1.7.C.6 | X | ML | I | - | - |  |
|  | List of proposed products complying with requirements for product manufacturer supply chain optimization | 1.7.C.7 | X | ML | I | - | - |  |
|  | Waste management plan | 1.7.C.8 | W | P | I | - | - |  |
|  | Construction IAQ management plan | 1.7.C.9 | W | P | I | - | - |  |
|  | SD Progress Reports: Concurrent with each Application for Payment, submit reports comparing actual construction and purchasing activities with sustainable design action plans | 1.7.D | Y | OT | I | - | - |  |
| 02 4115 | Electrical Demolition |  |  |  |  |  |  |  |
|  | Shop Drawings | 1.3.A.1 | M & W | SD | A | Y | Y |  |
|  | Project Record Documents | 1.3.A.2 | M & W | P | A | Y | Y |  |
| 02 4119 | Selective Structure Demolition |  |  |  |  |  |  |  |
|  | Project record documents showing actual locations of utilities | 1.2A | B | PR | A | - | - |  |
| 03 3001 | Reinforced Concrete |  |  |  |  |  |  |  |
|  | [Quality Control Plan] | [1.5.2] | 1 month before initial placement | P | A | Y | Y |  |
|  | Request to use a testing agency that is not currently approved by LANL (also applies to subtier concrete fabricators and batch plants; must be approved before such agency can be used) | 1.5.F | 3 months before initial placement | P | A | Y | Y |  |
|  | [Test data on materials and concrete mixtures] | [1.6.2.2.e] | 1 month before initial placement | TR | A | Y | Y |  |
|  | [Quality control program of the concrete supplier] | [1.6.2.2.f] | 1 month before initial placement | P | A | Y | Y |  |
|  | Request to use accelerated testing. Correlation data and statistical procedure that will be used to estimate the standard-cured, 28-day strength from the measured accelerated strength. | 1.6.2.2.g | 1 month before initial placement | P, CA | A | Y | Y |  |
|  | Documentation of actions to increase strength test results (if/ when ACI 301 1.6.6.1 isn’t met) | 1.6.5.1 | Within 3 work days of “finding” | P, TR | A | Y | Y |  |
|  | Correlation data relating compressive strength to the results of the in-place test (if/ when in-place testing, as permitted by ACI 301, is used). Refer to ACI 228.1R for acceptable correlation testing programs. Using cast-in-place cylinders in accordance with ASTM C873 does not require correlation; however, measured strengths need to be corrected using the factors in ASTM C42 if the length-diameter ratio is less than 1.75. | 1.6.5.3 | Within 3 work days of testing | CA | A | Y | Y |  |
|  | Proposed repair methods, materials, and modifications to the Work (if/ when completed concrete work is found to be noncompliant with Contract Documents) | 1.7.1.4 | Within 3 work days of “finding” | P | A | Y | Y |  |
|  | Description of repair to be performed to bring potentially under-strength concrete into compliance with Contract Documents. | 1.7.4.2.e | Within 3 work days of “finding” | P | A | Y | Y |  |
|  | Description of repair work performed to bring nondurable concrete into compliance with Contract Documents. | 1.7.5.2.e | Within 3 work days of “finding” | P | A | Y | Y |  |
|  | Identification of any “as-found/as-received” out-of-tolerance devices, and description of where and how the device(s) was used. | 1.5.I herein | Within 3 work days of “finding” | P | A | Y | Y |  |
|  | Data on form-facing materials (if different from that specified in 2.2.1.1). | 2.1.2.1.a | 1 month before formwork installation | CD | A | Y | Y |  |
|  | Alternative locations and details for construction and contraction joints (if different than those indicated) | 2.1.2.1.b | 1.5 months before formwork installation. | P | A | Y | Y |  |
|  | Correlation data on alternative methods of determining concrete strength for formwork removal | 2.1.2.1.c | 1.5 months before formwork installation. | CA | A | Y | Y |  |
|  | Drawings and procedures for installation and removal of reshoring and backshoring | 2.1.2.1.d | 1.5 months before formwork installation. | D | A | Y | Y |  |
|  | Data on formwork release agent or formwork liners | 2.1.2.1.e, & 2.2.D herein | 15 work days before formwork installation. | CD | A | Y | Y |  |
|  | Shop drawings for formwork | 2.1.2.2.a | 15 work days before formwork installation. | D | A | Y | Y |  |
|  | Design calculations for formwork shoring, reshoring, and backshoring | 2.1.2.2.b | 15 work days before formwork installation. | CA | A | Y | Y |  |
|  | Data sheet on form ties | 2.1.2.2.c | 15 work days before formwork installation. | CD | A | Y | Y |  |
|  | Data sheet on isolation/ expansion joint materials | 2.1.2.2.d | 15 work days before formwork installation | CD | A | Y | Y |  |
|  | Data sheet on waterstop materials and splices; C of C from manufacturer that waterstops meet specified requirements | 2.1.2.2.e, and 2.2.I herein | 15 work days before formwork installation | CD, CT | A | Y | Y |  |
|  | Other form-facing materials | 2.2.1.1 | 15 work days before formwork installation | ML | A | Y | Y |  |
|  | Request to use ferrous ties with breakback less than 3/4 in. with Surface Finish-2.0 or Surface Finish-3.0 | 2.2.1.2 | 1 month before formwork installation | P | A | Y | Y |  |
|  | Alternative material or size (to those specified or permitted), or both, for chamfer strips | 2.2.1.6 | 1 month before formwork installation | ML | A | Y | Y |  |
|  | Request to use earth cuts as form surfaces | 2.2.2.3 | 1 month before formwork installation | P | A | Y | Y |  |
|  | Location and details of construction, isolation/ expansion, and contractions joints (not shown /indicated), or alternative locations and details (to those shown /indicted) of these joints. | 2.2.2.5.a | 1.5 months before formwork installation | D | A | Y | Y |  |
|  | Alternative locations and details (to those indicated) for construction, expansion, and contraction joints | 2.2.2.5.c | 1.5 months before formwork installation | D | A | Y | Y |  |
|  | Request to use ferrous ties with breakback less than 3/4 in. | 2.2.3.3 | 1 month before formwork installation | P | A | Y | Y |  |
|  | Request to remove formwork at a lower compressive strength than specified compressive strength for removal of forms | 2.3.2.5 | 1.5 months before formwork installation | P | A | Y | Y |  |
|  | Data correlating alternative concrete strength-measuring methods for formwork removal | 2.3.4.2 | 1.5 months before formwork installation | CA | A | Y | Y |  |
|  | CMTRs for each delivery traceable to the bundle tags by heat (or lot) number | 3.1.1.1.a, & 1.5.F herein | Upon receipt of delivery | CT | A | Y | Y |  |
|  | Placing drawings showing fabrication dimensions and locations for placement of reinforcement and supports | 3.1.1.1.b | 1 month before reinforce- ment placement | D | A | Y | Y |  |
|  | List of splices and request to use splices not indicated in Subcontract Documents | 3.1.1.1.c | 1 month before reinforcement placement | ML | A | Y | Y |  |
|  | Request to use mechanical splices* not indicated in Subcontract Documents. An ICC Evaluation Service Report (ESR) – or something comparable – for the splice product shall accompany the request, and must indicate that the product complies w/the Project Code of Record. *Includes typical proprietary splicing / coupling systems, as well as Form Saver, and Cadweld. | 3.1.1.1.d | 1 month before reinforcement placement | P | A | Y | Y |  |
|  | Request for placement of column dowels without using templates | 3.1.1.1.e | 15 work days before reinforcement placement | P | A | Y | Y |  |
|  | Request and procedure to field bend or straighten partially embedded reinforcing bars | 3.1.1.1.f | 15 work days before reinforcement placement | P | A | Y | Y |  |
|  | Copy of CRSI Plant Certification | 3.1.1.1.g | 15 work days before planned shipment date | CT | A | Y | Y |  |
|  | Request to weld reinforcing bar; and description of reinforcing bar weld locations, welding procedure specifications, and welder qualifications. For other than ASTM A 706 reinforcing bar, CMTR of the reinforcing bar material properties that demonstrate conformance to the requirements of AWS D1.4. | 3.1.1.2.a, & 1.5.F herein | 15 work days before welding | P | I | Y | Y |  |
|  | Proposed supports for coated reinforcement and materials for fastening coated reinforcement not covered in 3.3.2.4 | 3.1.1.2.b | 15 work days before reinforcement placement | CD | A | Y | Y |  |
|  | Request to relocate reinforcement beyond the specified placing tolerances (to avoid interference with other reinforcement, conduits, or embedded items), in which the ‘relocated’ reinforcement arrangement shall be indicated | 3.1.1.3.a, & 3.3.2.2 | 1 month before reinforcement placement | P | I | Y | Y |  |
|  | Inspection and quality-control program of plant that is not certified by CRSI | 3.1.1.3.b | 1 month before planned shipment date | P | A | Y | Y |  |
|  | Provide equivalent certification program for evaluation by EOR | 3.2.1.2.b | 1 month before planned shipment date | P | A | Y | Y |  |
|  | Request use of alternative reinforcement support type | 3.2.1.10 | 15 work days before reinforcement placement | CD | A | Y | Y |  |
|  | Request to heat reinforcement before bending | 3.2.2.1 | 15 work days before reinforcement placement | P | A | Y | Y |  |
|  | Request to extend reinforcement through control joints, including saw-cut joints | 3.3.2.5 | 15 work days before reinforcement placement | P | A | Y | Y |  |
|  | Request to use alternative method for setting column dowels | 3.3.2.6 | 15 work days before reinforcement placement | P | A | Y | Y |  |
|  | Request and procedure to field bend or straighten partially embedded reinforcing bars | 3.3.2.8 | 15 work days before reinforcement placement | P | A | Y | Y |  |
|  | Request to use other method to measure preheat temperature | 3.3.2.8.a | 15 work days before reinforcement placement | P | A | Y | Y |  |
|  | Request to field-cut reinforcement | 3.3.2.9 | 15 work days before cutting | P | A | Y | Y |  |
|  | Test report(s) indicating aggregate correction factor (determined IAW ASTM C 231) | 3.1.1.1.a & 1.5.F | Prior to first concrete placement | TR | A | Y | Y |  |
|  | Request to deliver concrete at a temperature exceeding 95°F | 3.1.1.1.b | 10 work days before placement | P | A | Y | Y |  |
|  | Delivery ticket (for each batch of concrete). NOTES: Content of ticket shall be legible, and shall comply with ASTM C94 14.1 with the following changes /exceptions: 14.1.7: LATM Mix No. of the concrete in conformance with that employed in job specifications. 14.2.2: Amount of cement. 14.2.3 – 14.2.5: Delete / Not necessary. 14.2.6: Amount of admixtures 14.2.12: Delete / Not necessary. Additional content: Water/cementitious material ratio (w/cm), and the amount of water that can be added at the jobsite with exceeding w/cm Any/ all water added at the jobsite shall be witnessed by a LANL technical representative (e.g., field engineer, inspector, etc.). | 3.1.1.1.c | At the completion of each day’s placement(s) | ML | I | Y | Y |  |
|  | Mixture proportions and characteristics. If different mixtures are to be used for different portions of proposed Work, C of C confirming that each mixture complies with the indicated mixture requirements. | 3.1.1.1.d | 15 work days before placement | ML | A | Y | Y |  |
|  | Mixture proportion data (i.e., calculation of f ‘ cr, and, if applicable, the field-test records used for this; and field-test data, or trial mixtures, used to establish average compressive strength). Strength test records shall be < 2-years old. | 3.1.1.1.e | 15 work days before placement | CA | A | Y | Y |  |
|  | Information on types, classes, producers’ names, and plant locations for cementitious materials; types, pit or quarry locations, producers’ names, gradings, and properties required by ASTM C33 for aggregates; types, brand names, and producers’ names for admixtures; and source of supply for water and ice, and properties required by ASTM C1602 for water. Except for admixtures, test results confirming conformance to applicable specifications shall not be older than 90 days. Test results for aggregate soundness, abrasion, and reactivity may be older than 90 days, but not older than 1 year, provided test results for the other properties specified in ASTM C33 indicate that aggregate quality has not changed. C of C confirming the source of the concrete materials (except for admixtures), that test results confirm conformance to applicable specifications, and confirming that ALL concrete materials used to develop mixture proportions correspond to those to be used in the proposed Work. | 3.1.1.1.f | 1 month before placement | ML, CT | A | Y | Y |  |
|  | Field-test or trial-mixture records, and data on material and mixture proportions Strength test records shall be < 2-years old | 3.1.1.1.g | 15 work days before placement | TR | A | Y | Y |  |
|  | Requests for adjustments to mixture proportions Requests to adjust mixture proportions necessary for workability or consistency | 3.1.1.2.a, & 1.5.F herein | 15 work days before use in a placement | P | A | Y | Y |  |
|  | Evaluation and test results required in 4.2.2.1 verifying the adequacy of concrete to be placed in floors if the cementitious materials content is less than the minimum specified in Table 4.2.2.1 | 3.1.1.2.b | 15 work days before the initial placement | TR | A | Y | Y |  |
|  | Request to use the volumetric batching and proposed method | 3.1.1.3.a, & 3.3.2.2 | 15 work days before the initial placement | P | I | Y | Y |  |
|  | Requests to use cementitious materials other than ASTM C150 Type I or Type II. When ASTM C595 or C1157 cements are used in structures that will be subjected to deicing chemicals, verify compliance of the concrete with Table 4.2.2.7.b.2. | 3.1.1.3.b | 15 work days before the initial placement | P | A | Y | Y |  |
|  | Request to use admixtures | 3.2.1.2.b | 15 work days before the initial placement | P | A | Y | Y |  |
|  | Request to change materials and data verifying that properties of the concrete mixture conform to the requirements of 4.2.2 | 3.2.1.10 | 15 work days before the initial placement | P | A | Y | Y |  |
|  | Request to use a lower cementitious-materials content | 3.2.2.1 | 15 work days before the initial placement | P | A | Y | Y |  |
|  | Request to use a slump other than that specified | 3.3.2.5 | 10 work days before placement | P | A | Y | Y |  |
|  | Request to deliver concrete at a temperature exceeding 95°F | 3.3.2.6 | 10 work days before placement | P | A | Y | Y |  |
|  | Documentation indicating compliance with the specified requirements for sulfate resistance | 3.3.2.8 | 15 work days before the initial placement | CT | I | Y | Y |  |
|  | Documentation verifying compliance with specified requirements for freezing and thawing exposure | 3.3.2.8.a | 15 work days before the initial placement | CT | I | Y | Y |  |
|  | Documentation verifying compliance with specified requirements for low permeability | 3.3.2.9 | 15 work days before the initial placement | CT | I | Y | Y |  |
|  | Documentation verifying compliance with specified requirements for corrosion resistance | 3.1.1.1.a & 1.5.F | 15 work days before the initial placement | CT | I | Y | Y |  |
|  | Delivery ticket (for each batch of concrete). NOTES: Content of ticket shall comply with ASTM C94 14.1 and be legible. In addition to content required by ’14.1,’ the ticket shall also indicate w/cm, and the amount of water that can be added at the jobsite with exceeding w/cm. Any/ all water added at the jobsite shall be witnessed by a LANL technical representative (e.g., field engineer, inspector, etc.). | 3.1.1.1.b | At the completion of each day’s placement(s) | RD | I | Y | Y |  |
|  | Quality-control Test and inspection reports | 5.1.2.1.a | Within 1 month after placement | TR | A | Y | Y |  |
|  | Proposed method of measuring concrete temperature | 5.1.2.1.b, 5.3.6.5 | 15 work days before the initial placement | P | A | Y | Y |  |
|  | Qualifications of finishing sub-tier /-contractor and flatwork finishers for finishing unformed surfaces | 5.1.2.1.c, 5.3.4.1; & 3.7.C.1 | 15 work days before the initial placement | P | A | Y | Y |  |
|  | Shop drawings of placing, handling, and constructing methods | 5.1.2.1.d | 15 work days before the initial placement | D | A | Y | Y |  |
|  | Notification of concrete placement. NOTE: As soon as, if not prior to, “notification” is given /submitted, ensure the associated tests and inspections are coordinated properly /adequately | 5.1.2.1.e | 48 hours before initial placement, and at least 24 hours before subsequent ones | OT | I | Y | Y |  |
|  | Request for acceptance of preplacement activities to ensure the preplacement activities are properly inspected | 5.1.2.1.f | 48 hours before placement | OT | A | Y | Y |  |
|  | Description of conveying equipment | 5.1.2.2.a | 15 work days before the initial placement | P | I | Y | Y |  |
|  | Proposed method for removal of stains, rust, efflorescence, and surface deposits | 5.1.2.2.b, 5.3.7.6 | 15 work days before performing the work | P | A | Y | Y |  |
|  | Proposed wet-weather protection activities | 5.1.2.2.c, 5.3.2.1.a | 48 hours before placement | P | A | Y | Y |  |
|  | Hot-weather Implementation Plan (Request for placement of concrete with a temperature exceeding that required in 5.3.2.1.c.) | 5.1.2.2.d & 3.8.A herein | 5 work days before placement | P | A | Y | Y |  |
|  | Cold-Weather Implementation Plan | 5.1.2.2.e & 3.8.A herein | 5 work days before placement | P | A | Y | Y |  |
|  | Sample finish (for finishing formed surfaces when /if matching sample finish is required). | 5.1.2.2.f | 5 work days before beginning finishing | S | A | Y | Y |  |
|  | Specification and manufacturer’s data on surface retarder used in producing exposed-aggregate finish and method of use | 5.1.2.2.g, 5.3.4.2.i | 5 work days before beginning finishing | CD | A | Y | Y |  |
|  | Proposed location and treatment of construction joints not indicated in Contract Documents, including method for surface preparation and achieving bond | 5.1.2.3.a | 5 work days before beginning ‘jointing’ | P | A | Y | Y |  |
|  | Request to use, and specification and data on, bonding agents other than cement grout for two-course slabs | 5.1.2.3.b, 5.3.4.2.f | 5 work days before beginning finishing | CD | A | Y | Y |  |
|  | Proposed method for underwater placement | 5.1.2.3.c, 5.3.2.4 | 5 work days before placement | P | A | Y | Y |  |
|  | Proposed location of contraction or expansion joints not indicated in Contract Documents | 5.1.2.3.d | 5 work days before beginning ‘jointing’ | P | A | Y | Y |  |
|  | Request to use, and proposed methods of, curing other than those of 5.3.6.4 | 5.1.2.3.e, 5.3.6.4 | 5 work days before placement | P | A | Y | Y |  |
|  | Description of proposed coated form ties | 5.1.2.3.f | 15 work days before formwork installation. | CD | A | Y | Y |  |
|  | Specification data and methods of use for proposed repair material other than site-mixed Portland-cement mortar described in 5.3.7.4 | 5.1.2.3.g | 5 work days before placement | CD | A | Y | Y |  |
|  | Request to use alternative repair materials and supporting data; request to not match color | 5.2.1.4, 5.3.7.5 | 5 work days before placement | P | A | Y | Y |  |
|  | Request to place concrete on surfaces less than 35°F | 5.3.2.1.b | 2 work days before placement | P | A | Y | Y |  |
|  | Request to exceed the maximum specified concrete temperature | 5.3.2.1.c | 2 work days before placement | P | A | Y | Y |  |
|  | When permitted, alternative mixture for pumped concrete | 5.3.2.3.c | 5 work days before placement | ML | A | Y | Y |  |
|  | Detailed plan for alternative saw cutting method, such as shallow-cut and dry-cut method. Refer to ACI 302.1R for further guidance | 5.3.5 | 5 work days before beginning ‘jointing’ | P | A | Y | Y |  |
|  | Request to use shorter duration for moisture retention, or if a curing method other than that specified is desired | 5.3.6.1 | 5 work days before placement | P | A | Y | Y |  |
|  | Request to delay repair of tie holes and surface defects | 5.3.7.1 | 5 work days before placement | P | A | Y | Y |  |
|  | Alternative repair method | 5.3.7.3 | 5 work days before placement | P | A | Y | Y |  |
|  | Procedures to apply repair materials | 5.3.7.4 | 5 work days before placement | P | A | Y | Y |  |
| 03 3021 | Reinforced Concrete – High Confidence |  |  |  |  |  |  |  |
|  | Subcontractor Quality Assurance (QA) program including all subtier Subcontractors | 1.5.A.1.a | W | RD | A | Y | Y |  |
|  | Commercial Grade Dedication Plans compliant with ASME NQA-1, Part II, Subpart 2.14 for concrete, concrete constituents, and reinforcing steel, as required, and as included within this specification in accordance with Subcontractor’s QA Plan as approved by the Contractor | 1.5.A.1.b | X | RD | A | Y | Y |  |
|  | An inspection or Verification of Inspection and Test (VIT) Plan that complies with Subcontractor’s QA program for approval by the Contractor | 1.5.A.1.c | W | TR | A | Y | Y |  |
|  | Documentation required by VIT plan such as logs and results of tests and inspections performed. | 1.5.A.1.d | S | TR | A | Y | Y |  |
|  | Documentation that testing agencies have been accepted by the Contractor before performing any testing work | 1.5.A.1.e | W | CT | A | Y | Y |  |
|  | Documentation that testing agencies have been approved by the LANL Building Official (LBO) and are NQA-1 compliant prior to performing any work. Important note: This also applies to subtier concrete fabricators and batch plants. This places a premium on planning to assure that the testing agencies are properly approved before all of the required concrete constituent / material testing is begun to support any alternate mix design(s) which have to be submitted for LANL engineering approval | 1.5.A.1.f | W | CT | A | Y | Y |  |
|  | Quality Assurance/Quality Control program of the concrete supplier | 1.5.A.1.g | W | RD | A | Y | Y |  |
|  | Test and inspection results that pertain to the Work to the Contractor and concrete supplier | 1.5.A.1.h | Within 3 days of inspection/ tests | TR | A | Y | Y |  |
|  | Formwork and Formwork Accessories: | 1.5.A.2 |  |  |  |  |  |  |
|  | Drawings and procedures for installation and removal of reshoring and backshoring. Refer to ACI 347 and ACI 347.2R for guidance on items to consider. | 1.5.A.2.a | F | D, II | A | Y | Y |  |
|  | Data on formwork release agent or formwork liners | 1.5.A.2.b | U | ML | A | Y | Y |  |
|  | Design calculations, and drawings for formwork, shoring and reshoring | 1.5.A.2.c | W | CA, D | A | Y | Y |  |
|  | Data sheet on form ties | 1.5.A.2.d | U | OT | A | Y | Y |  |
|  | Data and sample of expansion joint materials (sealer and filler) | 1.5.A.2.e | U | S, OT | A | Y | Y |  |
|  | Form-facing materials | 1.5.A.2.f | U | ML | A | Y | Y |  |
|  | Reinforcement, Reinforcement Supports, Embeds and Accessories | 1.5.A.3 |  |  |  |  |  |  |
|  | Rebar manufacturer’s Certified Material Test Report (CMTRs) traceable to the heat# or test identification # on the shipping tags. | 1.5.A.3.a | U | TR | A | Y | Y |  |
|  | Shop drawings indicating bar sizes, spacing, locations, piece numbers, and quantities of reinforcing steel, bending and cutting schedules, supporting and spacing devices. Identify all lap splice lengths | 1.5.A.3.b | F | D | A | Y | Y |  |
|  | CMTRs for other construction materials such as, pre-stress strands, Form Savers, cadwelds, etc. Mechanical splice submittals shall also be provided with ICC evaluation reports showing full compliance to the IBC. | 1.5.A.3.c | U | TR, ML | A | Y | Y |  |
|  | CMTRs for steel embedments in concrete | 1.5.A.3.d | U | TR | A | Y | Y |  |
|  | Concrete Mixture Design | 1.5.A.4.a | U | ML | A | Y | Y |  |
|  | Handling, Placing, and Constructing: | 1.5.A.5 |  |  |  |  |  |  |
|  | Concrete placement records | 1.5.A.5.a | WKLY | RD | A | Y | Y |  |
|  | Concrete cylinder test reports and charts | 1.5.A.5.b | BI-WKLY | TR, RD | A | Y | Y |  |
|  | Reports for construction and removal of forms and reshoring | 1.5.A.5.c | WKLY | O, RD | A | Y | Y |  |
|  | Any significant construction loadings on completed floors, members, or walls | 1.5.A.5.d | W | O, RD | A | Y | Y |  |
|  | Subcontractor Cold-Weather Plan and cold-weather protection activities | 1.5.A.5.e | W | O, RD | A | Y | Y |  |
|  | Subcontractor Hot-Weather Plan | 1.5.A.5.f | W | O, RD | A | Y | Y |  |
|  | Description of conveying equipment | 1.5.A.5.g | W | OT | A | Y | Y |  |
|  | Subcontractor hazardous/inclement weather placement protection plan | 1.5.A.5.h | W | O, RD | A | Y | Y |  |
|  | Method of measuring concrete surface temperature changes | 1.5.A.5.i | W | OT | A | Y | Y |  |
|  | Method for removal of stains, rust, efflorescence, and surface deposits | 1.5.A.5.j | W | OT | A | Y | Y |  |
|  | Qualifications of finishing Subcontractor and flatwork finishers (ACI flatwork certification) | 1.5.A.5.k | W | CT | A | Y | Y |  |
|  | Pre-placement activities to ensure the pre-placement activities are properly inspected, if necessary | 1.5.A.5.l | W | OT | A | Y | Y |  |
|  | Wet-weather protection activities | 1.5.A.5.m | W | O, RD | A | Y | Y |  |
|  | One legible copy of the batch ticket for each load of concrete | 1.5.A.5.n | DAY | RD | A | Y | Y |  |
|  | For LANL's records, submit copies, licenses, certifications, records, inspection reports, releases, jurisdictional settlements, notices, receipts for fee payments, judgments, correspondence, and similar documents, used to establish compliance with standards and regulations that pertain to performance of the Work | 1.5.D | Y | CT, P, RD, TR | A | Y | Y |  |
|  | Shop drawings and calculations | 2.2.A.1 | W | D, CA | A | Y | Y |  |
|  | Petrographic examination report and associated test reports for Contractor approval prior to production | 2.4.B.2.e | W | TR | A | Y | Y |  |
|  | Admixtures to be used in concrete shall be submitted with the mixture design and approved by the Contractor | 2.5.A | U | ML | A | Y | Y |  |
| 03 3053 | Miscellaneous Cast-In-Place Concrete |  |  |  |  |  |  |  |
|  | Material certifications in compliance with NMDOT and SSHBC as well as any supplemental or interim specs | 1.2.A.1 | U | P, CT | A | Y | Y | PE |
|  | Design mix of each class of concrete | 1.2.A.2 | X | ML | A | Y | Y | PE |
|  | Lab test reports for design mix for concrete | 1.2.A.3 | X | P, TR | A | Y | Y | PE |
|  | Batch tickets | 1.2.A.4 | Z | OT | A | Y | Y | PE |
|  | Test reports of concrete field testing | 1.2.A.5 | Z | P, TR | A | Y | Y | PE |
| 03 4100 | Precast Structural Concrete |  |  |  |  |  |  |  |
|  | Product Data: For each type of product indicated | 1.4.A | F | P | A | Y | Y |  |
|  | Design Mixtures: For each precast concrete mixture. Include compressive strength and water-absorption tests | 1.4.B | F | ML, TR | A | Y | Y |  |
|  | Shop Drawings: Include member locations, plans, elevations, dimensions, shapes and sections, openings, support conditions, and size, location, and types of reinforcement, including special reinforcement. Detail fabrication and installation of precast structural concrete units | 1.4.C | F | SD | A | Y | Y |  |
|  | [For prestressed precast structural concrete provide required minimum compressive strength for stated stages of construction. Include magnitude and location of prestressing forces and stressing sequence of tendons] | 1.4.D | F, Z | SD | A | Y | Y |  |
|  | [For post-tensioned precast structural concrete indicate type, size, details and location of post-tensioning anchorages.] | 1.4.E | F, Z | SD | A | Y | Y |  |
|  | Design Calculations: [Submit with Shop Drawings] [Need not be submitted] as determined by the LANL Building Official | 1.4.F | F, Z | CA | A | Y | Y |  |
|  | Design Modifications: If design modifications are proposed to meet performance requirements and field conditions, submit design calculations and Shop Drawings | 1.4.G | F, Z | CA, D | A | Y | Y |  |
|  | Samples | 1.4.H | F | S | A | Y | Y |  |
|  | Provide handling procedures, erection sequences, and for special conditions provide temporary bracing and shoring plan | 1.4.I | S | II | A | Y | Y |  |
|  | Delegated Design Submittal: For precast structural concrete indicated to comply with the performance requirements and design criteria, the comprehensive engineering design including analysis data, signed and sealed by the qualified Professional Engineer responsible for their preparation | 1.4.J | F | CA, D | DD | Y | Y |  |
|  | [Fire Resistance Calculations] | 1.4.K | F, Z | CA | A | Y | Y |  |
|  | Sustainable Design Submittals LEED Submittals: |  |  |  |  |  |  |  |
|  | Product Data: For products having recycled content, documentation indicating percentages by weight of postconsumer and pre-consumer recycled content. Include statement indicating cost for each product having recycled content. | 1.5.A.1 | Z | P | SD | Y | Y |  |
|  | Design Mixtures for Credit ID 1 | 1.5.A.2 | S | ML | SD | Y | Y |  |
|  | Product Data: For adhesives and sealants, including printed statement of VOC content | 1.5.A.3 | U | P | SD | Y | Y |  |
|  | Informational Submittals |  |  |  |  |  |  |  |
|  | Qualification Data: For [Installer] [fabricator] [testing agency] | 1.6.A | W | CT | I | Y | Y |  |
|  | Welding Procedure Specifications (WPS) and Welder Certifications | 1.6.B | W | CT | I | Y | Y |  |
|  | Manufacturer’s Material Certificates | 1.6.C | W | CT | I | Y | Y |  |
|  | Material Test Reports: Certified suppliers test reports for aggregates | 1.6.D | W | TR | I | Y | Y |  |
|  | Source quality-control reports | 1.6.E | W | TR | I | Y | Y |  |
|  | Field quality-control reports | 1.6.F | WKLY | TR | I | Y | Y |  |
|  | [Jack Calibration Records (in accordance with PCI-MNL-116 5.2.7).] | 1.6.G | W | CT, TR | I | Y | Y |  |
|  | Close-Out Submittals: |  |  |  |  |  |  |  |
|  | Maintenance Data: For Precast Structural Concrete [with Commercial Architectural Finish] | 1.7.A | Z | OM | C | Y | Y |  |
|  | [Project Records: Including jacking and tensioning records.] | 1.7.B | WKLY | RD | C | Y | Y |  |
| 03 6000 | Grouting |  |  |  |  |  |  |  |
|  | Product Data: Submit product data on grout, fine aggregate (demonstrating compliance with ASTM C33 and C40), and [________]. | 1.3.A | X | P | A | Y | Y |  |
|  | Manufacturer's Installation Instructions: Submit manufacturer’s instructions for mixing, handling, surface preparation and placing epoxy type and non-shrink type grouts. | 1.3.B | W | P, II | A | Y | Y |  |
|  | Manufacturer's Certificates of Compliance: Certify [non-shrink cementitious grout] and [Insert Other Products Here] meet or exceed [ASTM C 1107] and [Insert Other Specified Requirements Here]. | 1.3.C | W | P, CT | A | Y | Y |  |
|  | Manufacturer's Certificate: Certify products meet or exceed specified sustainable design requirements related to recycled content and point of origin of materials | 1.4.A | Z | P, CT | SD | Y | Y |  |
| 04 2220 | Reinforced Unit Masonry |  |  |  |  |  |  |  |
|  | Product data | 1.3.A | W | CD | A | Y | Y |  |
|  | Shop drawings: Masonry Units and Reinforcing Steel | 1.3.B | W | SD | A | Y | Y |  |
|  | Qualification Data: For subcontractor’s testing agency (for quality control) | 1.4.A | F | CT | A | Y | Y |  |
|  | Obtain written acceptance of submittals prior to the use of mix designs, materials, [and] construction procedures [, _______________] | 1.4.B | W | P | A | Y | Y |  |
|  | Material Certificates: Masonry Units Integral water repellant used in CMUs Cementitious materials. Include name of manufacturer, brand name, and type. Mortar admixtures. Grout mixes. Include description of type and proportions of ingredients. Reinforcing bars. Joint reinforcement. Anchors, ties, fasteners, and metal accessories | 1.4.C | W | CT | I | Y | Y |  |
|  | Mix Designs | 1.4.D | W | ML | A | Y | Y |  |
|  | Statement of Compressive Strength of Masonry | 1.4.E | W | CT | I | Y | Y |  |
|  | [Test Reports for Reinforcing Bars: For each material type (e.g., ASTM A 615, etc.), provide test report indicating that the actual yield strength does not exceed the specified yield strength by more than 30%.] | 1.4.F | W | TR | I | Y | Y |  |
|  | Weather-Related Construction Procedures | 1.4.G | Z | P | A | Y | Y |  |
|  | Manufacturer's Certificate: Material Resource Certificates | 1.5.A | Z | CT | SD | Y | Y |  |
|  | Product Cost Data: Submit cost of products to verify compliance with Project sustainable design requirements. Exclude cost of labor and equipment to install products Salvaged, refurbished, and reused products. Products with recycled material content. Regional products. [________.] | 1.5.B | Z | OT | SD | Y | Y |  |
| 05 0520 | Post-Installed Concrete and Grouted-Masonry Anchors – Normal Confidence |  |  |  |  |  |  |  |
|  | ICC-ES evaluation report (ESR) | 1.5.A.1 | Z | CD | A | Y | Y | PE |
|  | Technical documentation of the product | 1.5.A.2 | X | CD | A | Y | Y | PE |
|  | For chemical anchors, information on adhesives | 1.5.A.3 | X | CD | A | Y | Y | PE |
|  | For chemical anchors submit information as applicable on anchor element including geometry, shape, material properties, and any special requirements. | 1.5.A.4 | X | CD | A | Y | Y | PE |
|  | Shipping, handling, and packaging procedures | 1.5.A.5 | X | CD | A | Y | Y |  |
|  | Cleaning and coating documentation | 1.5.A.6 | X | CD | A | Y | Y |  |
|  | Quality Assurance program | 1.5.A.7 | W | OT | A | Y | Y |  |
|  | Certificates of compliance certifying the anchors meet requirements of specification. | 1.5.A.8 | Z | CT | A | Y | Y | PE |
| 05 0521 | Post Installed Concrete Anchors -- High Confidence |  |  |  |  |  |  |  |
|  | Inspection Plan | 1.4.A.1 | W | OT | A | Y | Y |  |
|  | Quality Assurance Program | 1.4.A.2 | W | OT | A | Y | Y |  |
|  | Material Test Reports | 1.4.A.3 | W | P, TR | A | Y | Y |  |
|  | Qualification Test Reports and Data | 1.4.A.4 | W | P, TR | A | Y | Y |  |
|  | Technical Documentation of the Product | 1.4.A.5 | W | P | A | Y | Y |  |
|  | Recommended k coefficient | 1.4.A.6 | W | P, CA | A | Y | Y |  |
|  | Values for the anchor pullout strength in tension | 1.4.A.7 | X | P, CA | A | Y | Y |  |
|  | Shipping, handling, and packaging procedures | 1.4.A.8 | W | P | A | Y | Y |  |
|  | Anchor marking plan | 1.4.A.9 | W | P | A | Y | Y |  |
|  | Qualification testing plan and schedule | 1.4.A.10 | W | P | A | Y | Y |  |
|  | Confirmatory testing pan and schedule | 1.4.A.11 | W | P | A | Y | Y |  |
|  | Critical characteristics affecting the identification and performance of the anchor being evaluated | 1.4.A.12 | X | P | A | Y | Y |  |
|  | Anchor installer training documentation | 1.4.B.1 | W | CT | A | Y | Y |  |
|  | Installation inspection record | 1.4.B.2 | Y | TR | A | Y | Y |  |
|  | Test Inspection Record | 1.4.B.3 | Y | TR | A | Y | Y |  |
|  | Failed anchor documentation | 1.4.B.4 | Z | TR | A | Y | Y |  |
| 05 1000 | Structural Metal Framing |  |  |  |  |  |  |  |
|  | Action Submittals: |  |  |  |  |  |  |  |
|  | Product Data: For each type of product. | 1.6.A | W | P | A | Y | Y |  |
|  | Shop Drawings: | 1.6.B | W | SD | A | Y | Y |  |
|  | Include details of cuts, connections, splices, camber, holes, and other pertinent data | 1.6.B.1 | W | D | A | Y | Y |  |
|  | Embedment Drawings. | 1.6.B.2 | W | D | A | Y | Y |  |
|  | Welds by standard AWS symbols, distinguishing between shop and field welds, and show size, length, and type of each weld. Show backing bars that are to be removed and supplemental fillet welds where backing bars are to remain | 1.6.B.3 | W | D | A | Y | Y |  |
|  | Indicate type, size, and length of bolts, distinguishing between shop and field bolts. Identify pretensioned and slip-critical, high-strength bolted connections. | 1.6.B.4 | W | D | A | Y | Y |  |
|  | Identify members and connections of the Seismic-Load-Resisting System. | 1.6.B.5 | W | D | A | Y | Y |  |
|  | Indicate locations and dimensions of protected zones | 1.6.B.6 | W | D | A | Y | Y |  |
|  | Identify demand critical welds. | 1.6.B.7 | W | D | A | Y | Y |  |
|  | Erection drawings | 1.6.C | W | D | A | Y | Y |  |
|  | Welding Procedure Specification (WPS) and Procedure Qualification Record (PQR) | 1.6.D | W | D | A | Y | Y |  |
|  | Delegated Design Submittal: For structural-steel connections indicated to comply with design loads, include analysis data signed and sealed by the professional engineer, registered in the State of New Mexico, responsible for their preparation. | 1.6.E | F | SD, CA | DD | Y | Y |  |
|  | Informational Submittals: |  |  |  |  | Y | Y |  |
|  | Qualification Data: For [Installer] [fabricator] [shop-painting applicators] [professional engineer] [testing agency] | 1.7.A | F | CT | I | Y | Y |  |
|  | Welder Performance Qualification Records (WPQR) | 1.7.B | F | CT | I | Y | Y |  |
|  | Paint Compatibility Certificates: From manufacturers of topcoats applied over shop primers, certifying that shop primers are compatible with topcoats. | 1.7.C | W | P | I | Y | Y |  |
|  | Certified material test reports for structural steel, structural fasteners, and weld filler material, including chemical and physical properties. | 1.7.D | S | TR | I | Y | Y |  |
|  | Product Test Reports | 1.7.E | F | TR | I | Y | Y |  |
|  | Survey of existing conditions | 1.7.F | F | P | I | Y | Y |  |
|  | Sustainable Design Submittals: |  |  |  |  | Y | Y |  |
|  | Product Data: For products having recycled content, documentation indicating percentages by weight of postconsumer and pre-consumer recycled content. Include statement indicating cost for each product having recycled content. | 1.8.A | W | P | SD | Y | Y |  |
|  | Laboratory Test Reports for Credit IEQ 4.2: For primers, documentation indicating that products comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers." | 1.8.B | W | P, TR | SD | Y | Y |  |
| 05 1305 | Stainless Steel |  |  |  |  |  |  |  |
|  | Certified Material Test Reports (CMTR) | 1.4.A.1 | W | P, TR | A | Y | Y |  |
|  | Material Safety Data Sheets (MSDS) | 1.4.A.2 | W | P | A | Y | Y |  |
| 05 2100 | Steel Joist Framing |  |  |  |  |  |  |  |
|  | Product Data: For each type of joist, accessory, and product | 1.5.A | F | P | A | Y | Y |  |
|  | Calculations: Manufacturer’s design in accordance with the construction documents and with [SJI’s “Specifications”] [SJI CJ] | 1.5.B | F | CA | A | Y | Y |  |
|  | Joist Drawings | 1.5.C | F | SD | A | Y | Y |  |
|  | Certification: Manufacturer’s certificate of compliance stating that work was performed in accordance with the construction documents and with [SJI’s “Specifications”] [SJI CJ] | 1.5.D | U | CT | A | Y | Y |  |
|  | Qualification Data: For [manufacturer] [manufacturer’s professional engineer] | 1.6.A | F | P | I | Y | Y |  |
|  | Welder Performance Qualification Records (WPQR) | 1.6.B | F | PD, P | I | Y | Y |  |
|  | Mill Certificates: For each type of bolt | 1.6.C | U | P | I | Y | Y |  |
|  | Field quality-control reports | 1.6.D | WKLY | P | I | Y | Y |  |
|  | Product Data: For products having recycled content, documentation indicating percentages by weight of postconsumer and pre-consumer recycled content. Include statement indicating cost for each product having recycled content | 1.7.A | B | P | SD | Y | - |  |
|  | Laboratory Test Reports for Credit IEQ 4.2: For primers, documentation indicating that products comply with the testing and product requirements of the California Department of Public Health's (formerly, the California Department of Health Services') "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers." | 1.7.B | B | TR | SD | Y | - |  |
| 05 3000 | Metal Decking |  |  |  |  |  |  |  |
|  | Product data: for each type of deck, accessory, and product indicated. | 1.4.A | W | CD | A | Y | Y |  |
|  | Installation Drawings | 1.4.B | W | P | A | Y | Y |  |
|  | Welding Procedure Specifications (WPS) and Procedure Qualification Record (PQR) | 1.4.C | W | P | I | Y | Y |  |
|  | Qualification Data: for [Installer] [Quality Control Inspector] | 1.5.A | W | CT | I | Y | Y |  |
|  | Welder Performance Qualification Records (WPQR) | 1.5.B | W | TR | I | Y | Y |  |
|  | Certified material test reports | 1.5.C | W | CT | I | Y | Y |  |
|  | Product Test Reports | 1.5.D | W | TR | I | Y | Y |  |
|  | Independent Evaluation Reports on deck(s), including profile, thickness, physical properties and finish | 1.5.E | W | TR | I | Y | Y |  |
|  | Field quality-control reports | 1.5.F | WKLY | P | I | Y | Y |  |
|  | Product Data: For products having recycled content, documentation indicating percentages by weight of postconsumer and preconsumer recycled content. Include statement indicating cost for each product having recycled content | 1.6.A | W | P | SD | Y | Y |  |
|  | Laboratory Test Reports: For primers, documentation indicating that products comply with the testing and product requirements for the California Department of Health Services, “Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-Scale Environmental Chambers.” | 1.6.B | W | P, TR | SD | Y | Y |  |
| 05 4000 | Cold-Formed Metal Framing |  |  |  |  |  |  |  |
|  | Installation Drawings | 1.4.A | W | P | A | Y | Y |  |
|  | Product Data / Test Reports | 1.4.B | W | TR | A | Y | Y |  |
|  | Shop Drawings | 1.4.C | W | D | A | Y | Y |  |
|  | [Component Assemblies: The component manufacturer shall submit the following additional documents, as applicable, for approval prior to the installation of the CFS LFRS elements…] | 1.4.D | W | P | A | Y | Y |  |
|  | [Other Than Component Assemblies: The installer shall submit the following additional documents, as applicable, for approval prior to the installation of the CFS LFRS elements…] | 1.4.E | W | P | A | Y | Y |  |
|  | Qualifications/ Qualification Data: For component manufacturer’s and installer’s Quality Control [Welding Inspector] [, and] [Mechanical Fastener Inspector] [Inspector] | 1.5.A | W | P, CT | I | Y | Y |  |
|  | Welder Performance Qualification Records (WPQR) | 1.5.B | W | P, CT | I | Y | Y |  |
|  | Mill Certifications: Submit mill certifications for steel sheet. Certify base steel thickness in 0.001 inch, yield strength, tensile strength, total elongation in 2-inch gauge length, chemical analysis, and galvanized coating thickness | 1.5.C | W | P, CT | I | Y | Y |  |
|  | The following documents, as applicable and upon request, shall be made available by the component manufacturer or installer, as applicable, in electronic or printed form for review prior to installation of the CFS light-frame construction: | 1.6.A |  |  |  |  |  |  |
|  | Manufacturer’s installation instructions for connectors, hold-downs and mechanical fasteners | 1.6.A.1 | Z | II | A | Y | Y |  |
|  | Manufacturer’s product data sheets or catalog data for welding consumables, filler metals and fluxes that include the product, limitations of use, recommended or typical welding parameters, and storage and exposure requirements | 1.6.A.2 | Z | CD | A | Y | Y |  |
|  | Welding procedure specifications (WPS) | 1.6.A.3 | Z | P | A | Y | Y |  |
|  | Procedure qualification records (PQR) for WPS and, as applicable, LANL WPS, that are not prequalified in accordance with AWS D1.3 and, as applicable, AWS D1.1 | 1.6.A.4 | Z | P | A | Y | Y |  |
|  | Component manufacturer’s and installer’s written quality control (QC) program(s) that include material control procedures, inspection procedures, and nonconformance procedures | 1.6.A.5 | Z | P | A | Y | Y |  |
|  | Manufacturer's Certificate: Certify products meet or exceed specified sustainable design requirements | 1.7.A | X | CT | SD | Y | Y |  |
|  | Product Cost Data: Submit cost of products to verify compliance with Project sustainable design requirements. Exclude cost of labor and equipment to install products | 1.7.B | Y | P | SD | Y | Y |  |
| 05 5000 | Metal Fabrications |  |  |  |  |  |  |  |
|  | Product data for: Nonslip aggregates and nonslip-aggregate surface finishes. Metal nosings and treads. Paint products | 1.5.A | U | P, CD | A | Y | Y |  |
|  | Shop drawings | 1.5.B | F | SD | A | Y | Y |  |
|  | Samples for verification: For each type and finish of extruded [nosing] [and] [tread]. | 1.5.C | U | S | A | Y | Y |  |
|  | Delegated-Design: For [ladders] [and] [alternating tread devices], including analysis data signed and sealed by the professional engineer, registered in the State of New Mexico, responsible for their preparation | 1.5.D | F | P | A | Y | Y |  |
|  | Welding Procedures Specification (WPS) and Procedure Qualification Record (PQR). | 1.5.E | F | P | A | Y | Y |  |
|  | Qualification for qualified professional engineer | 1.6.A | F | P | I | Y | Y |  |
|  | Welder Performance Qualification Records (WPQR) | 1.6.B | F | P | I | Y | Y |  |
|  | Mill Certificates: Signed by manufacturers of stainless-steel certifying that products furnished comply with requirements | 1.6.C | F | P, CT | I | Y | Y |  |
|  | Paint Compatibility Certificates: From manufacturers of topcoats applied over shop primers certifying that shop primers are compatible with topcoats | 1.6.D | W | P, CT | I | Y | Y |  |
|  | Research/Evaluation Reports: For load-bearing proprietary products, from ICC-ES, or “equivalent independent third-party.” | 1.6.E | X | P, CT | I | Y | Y |  |
|  | Product Data: Indicating percentages by weight of postconsumer and pre-consumer recycled content for products having recycled content. Include statement indicating costs for each product having recycled content | 1.7.A | W | P | SD | Y | Y |  |
|  | Manufacturer's certificate: Certify products meet or exceed specified sustainable design requirements | 1.7.B | X | P, CT | SD | Y | Y |  |
|  | Product cost data: Submit cost of products to verify compliance with Project sustainable design requirements. Exclude cost of labor and equipment to install products. | 1.7.C | X | P | SD | Y | Y |  |
| 05 5213 | Pipe and Tube Railing |  |  |  |  |  |  |  |
|  | Product Data Manufacturer’s product line of mechanically connected railings Railing brackets Anchoring cement and paint products | 1.5.A | X | P, CD | A | Y | Y |  |
|  | Shop Drawings | 1.5.B | F | SD | A | Y | Y |  |
|  | Welding Procedure Specification (WPS) and Procedure Qualification Record (PQR) | 1.5.C | F | P, CT | A | Y | Y |  |
|  | Samples: For each type of exposed finish required | 1.5.D | X | S | A | Y | Y |  |
|  | Sustainable Design: Manufacturer’s Certificates | 1.6.A | X | P, CT | SD | Y | Y |  |
|  | Sustainable Design: Materials Resources Certificates | 1.6.A.1 | X | P, CT | SD | Y | Y |  |
|  | Sustainable Design: Indoor Air Quality Certificates | 1.6.A.2 | X | P, CT | SD | Y | Y |  |
|  | Sustainable Design: Product Cost Data: Cost of products to verify compliance with Project sustainable design requirements. Exclude cost of labor and equipment to install products | 1.6.B | Y | P | SD | Y | Y |  |
|  | Sustainable Design: Cost data for the following products: Salvaged products Reused products Products with recycled material content Local and regional products | 1.6.B.1 | Y | P | SD | Y | Y |  |
|  | Qualification Data: For testing agency | 1.7.A | P | TR | I | Y | Y |  |
|  | Welder Performance Qualification Records (WPQR) | 1.7.B | F | CT | I | Y | Y |  |
|  | Paint Compatibility Certificates: From manufacturers of topcoats applied over shop primers certifying that shop primers are compatible with topcoats | 1.7.C | W | CT | I | Y | Y |  |
|  | Research/Evaluation Reports: For load-bearing proprietary products, from ICC-ES, or “equivalent independent third-party.” | 1.7.D | W | TR | I | Y | Y |  |
| 05 5313 | Bar Gratings |  |  |  |  |  |  |  |
|  | Product data | 1.4.A | X | P, CD | A | Y | Y |  |
|  | Shop Drawings: Include plans, sections, details, and attachments to other work | 1.4.B | F | SD | A | Y | Y |  |
|  | Delegated-Design Submittal: For gratings, including analysis data signed and sealed by the professional engineer, registered in the State of New Mexico, responsible for their preparation. | 1.4.C | F | P | A | Y | Y |  |
|  | Mill certificates: Signed by manufacturers of stainless-steel sheet certifying that products furnished comply with requirements | 1.5.A | F | P, CT | I | Y | Y |  |
|  | Welder Performance Qualification Records (WPQR) | 1.5.B | F | P | I |  |  |  |
|  | Paint compatibility Certificates: From manufacturers of topcoats applied over shop primers certifying that shop primers are compatible with topcoats | 1.5.C | W | P, CT | I | Y | Y |  |
|  | Product Data: Indicating percentages by weight of postconsumer and preconsumer recycled content for products having recycled content. Include statement indicating costs for each product having recycled content. | 1.6.A | X | P, CD | SD | Y | Y |  |
|  | Manufacturer’s certificate: Certify products meet or exceed specified sustainable design requirements | 1.6.B | X | P, CT | SD | Y | Y |  |
|  | Materials resources certificates | 1.6.B.1 | X | P, CT | SD | Y | Y |  |
|  | Indoor air quality certificates | 1.6.B.2 | X | P, CT | SD | Y | Y |  |
| 06 1000 | Rough Carpentry |  |  |  |  |  |  |  |
|  | Product data | 1.3.A | X | P | A | - | - |  |
|  | Fastener Patterns: full size templates for fasteners in exposed framing | 1.3.B | F | SD | A | - | - |  |
|  | Material certificates for dimension lumber | 1.4.A | F | P, CT | I | - | - |  |
|  | Evaluation Reports from ICC-ES | 1.4.B | F | CT | I | - | - |  |
|  | Chain-of-custody certificates | 1.5.A | Z | CT, RD | SD | - | - |  |
|  | Product data for adhesives, documentation including printed statement of VOC content | 1.5.B | Z | P, RD | SD | - | - |  |
|  | Product data for composite wood products, documentation indicating that product contains no urea formaldehyde | 1.5.C | Z | P, RD | SD | - | - |  |
|  | Laboratory Test Reports | 1.5.D | Z | TR | SD | - | - |  |
|  | Warranty Documentation: chemical treatment manufacturer’s standard warranty | 1.6.A | Z | WA | C | - | - |  |
| 06 2000 | Finish Carpentry |  |  |  |  |  |  |  |
|  | Shop drawings of architectural woodwork | 1.3.A.1 | F | SD | A | Y | Y |  |
|  | Catalog data for hardware and specialty items. | 1.3.A.2 | W | P, CD | A | Y | Y |  |
|  | Chain-of-custody certificates indicating that products specified to be made from certified wood, softwood lumber and hardwood lumber, comply with forest certification requirements | 1.3.B.1 | Z | CT | SD | - | - |  |
|  | Engineered Wood Products compliance documents | 1.3.B.2 | Z | S | SD | - | - |  |
|  | Product Data for adhesives, documentation including printed statement of VOC content | 1.3.B.3 | Z | P | SD | - | - |  |
|  | Product data for recycled content | 1.3.B.4 | Z | P | SD | - | - |  |
|  | Product data for USDA BioPreferred Products | 1.3.B.5 | Z | P | SD | - | - |  |
|  | Laboratory Test Reports | 1.3.C | Z | TR | SD | - | - |  |
| 06 4100 | Architectural Wood Casework |  |  |  |  |  |  |  |
|  | Shop drawings of architectural woodwork | 1.3.A.1 | F | SD | A | Y | Y |  |
|  | Catalog data for hardware and specialty items. | 1.3.A.2 | W | P, CD | A | Y | Y |  |
|  | Chain-of-custody certificates indicating that products specified to be made from certified wood, softwood lumber and hardwood lumber, comply with forest certification requirements. | 1.3.B.1 | Z | CT | SD | - | - |  |
|  | Engineered Wood Products compliance documents | 1.3.B.2 | Z | S | SD | - | - |  |
|  | Product Data for adhesives, documentation including printed statement of VOC content | 1.3.B.3 | Z | P | SD | - | - |  |
|  | Product data for recycled content | 1.3.B.4 | Z | P | SD | - | - |  |
|  | Product data for USDA BioPreferred Products | 1.3.B.5 | Z | P | SD | - | - |  |
|  | Laboratory Test Reports | 1.3.C | Z | TR | SD | - | - |  |
| 07 0150.19 | Preparation for Re-Roofing |  |  |  |  |  |  |  |
|  | Product Data: | 1.6.A | X | P, CD | A | - | - |  |
|  | For each type of product indicated | 1.6.A.1 | X | P, CD | A | - | - |  |
|  | Temporary Roofing: Include Product Data and description of temporary roofing system. If temporary roof will remain in place, submit surface preparation requirements needed to receive permanent roof, and submit a letter from roofing membrane manufacturer stating acceptance of the temporary membrane and that its inclusion will not adversely affect the roofing system’s resistance to fire and wind [or its FM Global rating]. | 1.6.A.2 | X | P | A | - | - |  |
|  | Test and Evaluation Reports: Fastener pull-out test report. | 1.6.B | Z | P, TR | A | - | - |  |
|  | Field Quality Control: Landfill records: Records: Indicate receipt and acceptance of hazardous wastes, such as asbestos-containing material, by a landfill facility licensed to accept hazardous wastes. | 1.6.C | WKLY | R,D | A | - | - |  |
|  | Special Procedure: Photographs and Videotape: Show existing conditions of adjoining construction and site improvements, including exterior and interior finish surfaces that might be misconstrued as having been damaged by reroofing operations. LANL STR will obtain government approved camera and approved permission forms prior to taking of photographs or videotape. | 1.6.D.1 | W | PH | A | - | - |  |
|  | Qualification Statements: For installer [including certificate that Installer is licensed to perform asbestos abatement] [and] [is approved by warrantor of existing roofing system]. | 1.6.E. | W | P, CT | A | - | - |  |
| 07 0155 | Roof Patching |  |  |  |  |  |  |  |
|  | Installation instructions | 1.2.A.1 | W | P | A | - | - |  |
| 07 1113 | Bituminous Dampproofing |  |  |  |  |  |  |  |
|  | Product data | 1.3.A.1 | X | P | A | - | - |  |
|  | Material Certificates | 1.3.A.2 | W | P, CT | A | - | - |  |
|  | Manufacturer’s Installation Instructions | 1.3.A.3 | W | II | A | - | - |  |
|  | Sustainable Design Submittals: Product Data | 1.3.B.1 | X | P | SD | - | - |  |
| 07 1326 | Self-Adhering Sheet Waterproofing |  |  |  |  |  |  |  |
|  | Product Data | 1.3.A.1 | X | P, CD | A | - | - |  |
|  | Shop Drawings | 1.3.A.2 | W | D, SD | A | - | - |  |
|  | Product Test Reports | 1.3.A.3 | W | P, TR | A | - | - |  |
|  | Manufacturer’s Installation Instructions | 1.3.A.4 | W | II | A | - | - |  |
|  | Manufacturer’s Certificate | 1.3.A.5 | W | P, CT | A | - | - |  |
|  | Special warranties | 1.3.A.6 | At closeout | P, WA | C | - | - |  |
|  | Sustainable Design Submittals: Manufacturer’s Certificate | 1.3.B.1 | Z | P, CT | SD | - | - |  |
|  | Materials resources certificates | 1.3.B.1.a | Z | P, CT | A | - | - |  |
|  | Close Out Submittals – Warranty Documentation | 1.2.C.1 | At closeout | P, WA | C | - | - |  |
| 07 2100 | Thermal Insulation |  |  |  |  |  |  |  |
|  | Product data | 1.3.A | X | P, CD | A | - | Y |  |
|  | Manufacturer’s Certification | 1.3.B | W | P, CT | A | - | - |  |
|  | Product Test Reports | 1.3.C | WKLY | P, TR | A | - | - |  |
|  | Research/Evaluation Reports | 1.3.D | W | P | A | - | - |  |
|  | Material Safety Data Sheets (MSDS): Submit MSDS for each adhesive product. | 1.3.E | W | P | A | - | - |  |
|  | SUSTAINABLE DESIGN Product data indicating percentages by weight of postconsumer and pre-consumer recycled content for products having recycled content. | 1.4.A | X | P | SD | - | - |  |
|  | Statement indicating costs for each product having recycled content. | 1.4.A.1 | X | P | SD | - | - |  |
| 07 2400 | Exterior Insulation and Finish Systems |  |  |  |  |  |  |  |
|  | Product data: Manufacturer’s technical data for each component of exterior insulation and finish system | 1.6.A | X | P, CD | A | - | - |  |
|  | Installation instructions: Manufacturer’s literature indicating installation specifications and procedures | 1.6.B | W | P | A | - | - |  |
|  | Shop drawings | 1.6.C | F | SD | A | Y | Y |  |
|  | Samples: 24-inch square panels for each type of finish-coat color and texture indicated, prepared using same tools and techniques intended for actual work including [custom trim, each profile,] [and] [an aesthetic reveal] | 1.6.D | Z | S | A | - | - |  |
|  | Qualification Data: For [Installer] [fabricator/erector] | 1.7.A | W | P | I | Y | Y |  |
|  | Manufacturer Certificates: Signed by EIFS manufacturer certifying the following: EIFS substrate is acceptable to EIFS manufacturer. Accessory products installed with EIFS, including [joint sealants,] [flashing,] [water resistant barriers,] [trim,] <Insert accessory> whether or not furnished by EIFS manufacturer and whether or not specified in this section, are acceptable to EIFS manufacturer. | 1.7.B | F | CT | I | - | - |  |
|  | Product Certificates: For cementitious materials and aggregates and for insulation | 1.7.C | F | CT | I | - | - |  |
|  | Product Test Reports: For each EIFS assembly and component, for tests performed by a qualified testing agency | 1.7.D | F | TR | I | - | - |  |
|  | Field quality-control reports [and special inspection reports] | 1.7.E | By LANL | P | I | - | - |  |
|  | Evaluation Reports: For EIFS, including insulation [fasteners,] [flexible membrane flashing,] from ICC-ES | 1.7.F | F | P | I | - | - |  |
|  | Sample Warranty: For manufacturer’s special warranty. | 1.7.G | F | WA | I | - | - |  |
|  | Manufacturer’s Certificate: Certify products meet or exceed specified sustainable design requirements. | 1.8.A | F | CT | SD | - | - |  |
|  | Product Data: For solvent cements and adhesive primers, documentation including printed statement of VOC content | 1.8.B | F | P | SD | - | - |  |
|  | Laboratory Test Reports: For solvent cements and adhesive primers, documentation indicating that products comply with testing and product requirements of 40 CFR 59, Subpart D (EPA Method 24), National Volatile Organic Chemical Emission Standards for Architectural Coatings | 1.8.C | F | TR | SD | - | - |  |
|  | Maintenance Data: Include maintenance data for EIFS in maintenance manuals | 1.9.A | B | M, P | C | - | - |  |
|  | Warranty: Executed copy of Manufacturer’s Special Warranty in accordance with Paragraph 1.15 | 1.9.B | B | WA | C | - | - |  |
|  | Extra Materials: Furnish materials in accordance with Paragraph 1.16 | 1.9.C | B | ML | C | - | - |  |
| 07 4113 | Metal Roof Panels |  |  |  |  |  |  |  |
|  | Catalog data | 1.4.A | X | P, CD | A | - | - |  |
|  | Shop drawings | 1.4.B | W | D, SD | A | - | - |  |
|  | Samples | 1.4.C | X | S | A | - | - |  |
|  | Manufacturer’s Certificates: Signed by manufacturer certifying that roof panels comply with energy performance requirements specified in “Performance Requirements” Article. | 1.4.D | X | P, CT | A | - | - |  |
|  | Evidence of meeting performance requirements. | 1.4.D.1 | W | P | A | - | - |  |
|  | sustainable design Product Test Reports for roof panels, indicating that panels comply with solar reflectance index requirement. | 1.5.A | X | P-TR | SD | - | - |  |
|  | Product Data: indicating percentages by weight of postconsumer and preconsumer recycled content for products having recycled content. | 1.5.B | X | P, CD | A | - | - |  |
|  | Statement indicating costs for each product having recycled content. | 1.5.B.1 | X | P | A | - | - |  |
|  | Maintenance Data | 1.6.A | at closeout | OM | A | - | - |  |
|  | Warranty | 1.6.B | at closeout | WA | A | - | - |  |
| 07 5050 | Membrane Roofing General Provisions |  |  |  |  |  |  |  |
|  | Catalog Data | 1.3.A.1 | X | S,CD | A | - | - |  |
|  | Installation instructions | 1.3.A.3 | W | II | A | - | - |  |
|  | Retrofit shop drawings | 1.3.A.4 | F | D | A | - | - |  |
|  | Warranty | 1.3.A.5 | at closeout | WA | A | - | - |  |
|  | Water intrusion plan | 1.3.A.6 | Z | OT | A | - | - |  |
|  | Qualifications | 1.3.A.7 | W | OT, CT | A | - | - |  |
| 07 5213.13 | Atatic-Polypropylene Modified-Bitumen Roofing, Cold-Applied |  |  |  |  |  |  |  |
|  | Product Data | 1.4.A | X | P | A | - | - |  |
|  | Shop Drawings | 1.4.B | F | SD | A | - | - |  |
|  | Selection Samples | 1.4.C | W | SC (2 for each) | A | - | - |  |
|  | Verification Samples | 1.4.D | Y | SC (2 for each) | A | - | - |  |
|  | Manufacturers Certificates | 1.4.E | W | P, CT | A | - | - |  |
|  | Product Test Reports | 1.4.F | X | P, TR | A | - | - |  |
|  | Research/Evaluation Reports | 1.4.G | X | P | A | - | - |  |
|  | Manufacturer’s Instructions | 1.4.H | W | P, II | A | - | - |  |
|  | Qualification Data | 1.4.I | W | P | A | - | - |  |
| 07 5217 | Styrene-Butadiene-Styrene Modified Bituminous Membrane Roofing Cold-Applied |  |  |  |  |  |  |  |
|  | Preparation instructions and recommendations | 1.4.A.1 | W | P | A | - | - |  |
|  | Storage and handling requirements and recommendations | 1.4.A.2 | X | P | A | - | - |  |
|  | Roof insulation product data sheets | 1.4.A.3 | X | P | A | - | - |  |
|  | Manufacturer’s published specifications, base flashing details for the specified system | 1.4.A.4 | W | P | A | - | - |  |
|  | Material safety data sheets for all roofing materials to be used | 1.4.A.5 | W | P | A | - | - |  |
|  | Shop Drawings | 1.4.B | F | SD | A | - | - |  |
|  | Roof system and base configuration | 1.4.B.1 | F | D | A | - | - |  |
|  | Penetration details | 1.4.B.2 | F | D | A | - | - |  |
|  | Termination details | 1.4.B.3 | F | D | A | - | - |  |
|  | Fastening Patterns | 1.4.B.4 | F | D | A | - | - |  |
|  | Tapered insulation design | 1.4.B.5 | F | D | A | - | - |  |
|  | Selection Samples | 1.4.C | X | SC (2) | A | - | - |  |
|  | Verification Samples | 1.4.D | X | SC (2) | A | - | - |  |
|  | Manufacturers Certificates | 1.4.E | X | P, CT | A | - | - |  |
|  | Evidence of complying with requirements | 1.4.E.1 | Y | P | A | - | - |  |
|  | Product Test Reports | 1.4.F | X | TR | A | - | - |  |
|  | Research/Evaluation Reports | 1.4.G | X | P | A | - | - |  |
|  | Manufacturer’s Instructions | 1.4.H | W | P, II | A | - | - |  |
|  | Qualification Data | 1.4.I | W | P | A | - | - |  |
|  | Sustainable Design: Product Test Reports for roof materials, indicating that roof materials comply with Solar Reflectance Index requirement | 1.5.A | X | P, TR | SD | - | - |  |
|  | Sustainable Design: Product data for adhesives and sealants, including printed statement of VOC content | 1.5.B | X | P | SD | - | - |  |
|  | Sustainable Design: Submit Manufacturer’s documentation of Energy Star labeled roofing materials | 1.5.C | X | P | SD | - | - |  |
|  | Maintenance data: for roofing system, to include in roofing manuals | 1.6.A | at closeout | P, OM | A | - | - |  |
|  | Roofing membrane Manufacturer’s warranty covering materials | 1.6.B.1 | at closeout | P, WA | A | - | - |  |
|  | Roofing Subcontractors Warranty covering workmanship | 1.6.B.2 | at closeout | P, WA | A | - | - |  |
| 07 5316 | Chlorosulfonate-Polyethylene Roofing |  |  |  |  |  |  |  |
|  | Product Data: Manufacturer’s data sheets on each product to be used including: |  |  |  |  |  |  |  |
|  | Preparation instructions and recommendations. | 1.4.A.1 | X | P | A | - | - |  |
|  | Storage and handling requirements and recommendations. | 1.4.A.2 | X | P | A | - | - |  |
|  | Roof insulation. | 1.4.A.3 | X | P | A | - | - |  |
|  | Manufacturer’s published specifications, base flashing details, for the specified system. | 1.4.A.4 | F | P | A | - | - |  |
|  | Submit Material Safety Data Sheets on all roofing materials to be used. | 1.4.A.5 | U | P | A | - | - |  |
|  | Shop Drawings: |  |  |  |  | - | - |  |
|  | Roof system and base flashing configuration. | 1.4.B.1 | F | SD | A | - | - |  |
|  | Penetration details. | 1.4.B.2 | F | SD | A | - | - |  |
|  | Termination details. | 1.4.B.3 | F | SD | A | - | - |  |
|  | Fastening patterns. | 1.4.B.4 | F | SD | A | - | - |  |
|  | Tapered insulation design. | 1.4.B.5 | F | SD | A | - | - |  |
|  | Selection Samples: For each product specified, two samples representing manufacturer’s full range of available colors and types | 1.4.C | X | SC(2) | A | - | - |  |
|  | Verification Samples: For each finish product specified, two samples representing actual product, color and finish | 1.4.D | X | SC(2) | A | - | - |  |
|  | Manufacturer’s Certificates. Submit evidence of complying with performance requirements. | 1.4.E | X | CT | A | - | - |  |
|  | Product Test Reports. | 1.4.F | X | P, TR | A | - | - |  |
|  | Research/Evaluation reports | 1.4.G | X | P | A | - | - |  |
|  | Manufacturer’s instructions: published installation instructions and methods. | 1.4.H | F | P, II | A | - | - |  |
|  | Qualification data: for qualified [installer] [manufacturer] [testing agency] | 1.4.I | W | P, CD | A | - | - |  |
|  | Sustainable Design Submittals: | 1.5 |  |  |  |  |  |  |
|  | Manufacturer’s Certificate: Certify products meet or exceed specified sustainable design requirements. | 1.5.A | F | P, CT | SD | - | - |  |
|  | Materials Resources Certificates: Certify recycled material content for recycled content products. | 1.5.B.1 | F | P, CT | SD | - | - |  |
|  | Materials Resources Certificates: Certify source for regional materials and distance from Project site. | 1.5.B.2 | F | P, CT | SD | - | - |  |
|  | Product Test Reports for roof materials, indicating that roof materials comply with Solar Reflectance Index requirement. | 1.5.C | F | P, TR | SD | - | - |  |
|  | Submit manufacturer’s documentation of Energy Star labeled roofing materials. | 1.5.D | F | P | SD | - | - |  |
|  | Product data for adhesives and sealants, including printed statement of VOC content. | 1.5.E | U | P | SD | - | - |  |
|  | Maintenance data: for roofing system to include in maintenance manuals. | 1.6.A | At closeout | M | C | - | - |  |
|  | Warranties: Submit a copy of the membrane manufacturer’s warranty covering materials. | 1.6.B.1 | At closeout | WA | C | - | - |  |
|  | Warranties: Submit copy of the Roofing Subcontractor’s warranty covering workmanship. | 1.6.B.2 | At closeout | WA | C | - | - |  |
| 07 6200 | Sheet Metal Flashing and Trim |  |  |  |  |  |  |  |
|  | Catalog Data | 1.3.A.1 | X | P, CD | A | - | - |  |
|  | Product Data | 1.3.A | X | P | A | - | - |  |
|  | Shop Drawings: Include details for forming, joining, supporting, and securing sheet metal flashing and trim, including pattern of seams, termination points, fixed points, expansion joints, expansion-joint covers, edge conditions, special conditions, and connections to adjoining work. | 1.3.B.1 | W | D | A | - | - |  |
|  | Samples for Initial Selection Purposes: Submit manufacturer’s color charts and texture variations for specified sheet materials to be exposed as finished surfaces | 1.3.B.2 | X | SC | A | - | - |  |
|  | Sustainable Design: Manufacturer’s Certificate | 1.4.A | X | P, CT | SD | - | - |  |
|  | Sustainable Design: Material Resources Certificates: Certify recycled material content for recycled content products | 1.4.B.1 | X | P, CT | SD | - | - |  |
|  | Maintenance Data: For sheet metal flashing, trim and accessories to include in maintenance manuals | 1.5.A | at closeout | P | C | - | - |  |
|  | Sample of special warranty | 1.5.B | at closeout | P, WA | C | - | - |  |
| 07 7100 | Roof Specialties |  |  |  |  |  |  |  |
|  | Product Data | 1.3.A | X | P, ML | A | - | - |  |
|  | Shop drawings for roof accessories | 1.3.B | F | SD | A | - | - |  |
|  | Coordination Drawings: roof plans | 1.3.B.1 | F | SD | A | - | - |  |
|  | Samples | 1.3.C | X | S | A | - | - |  |
|  | Manufacturer’s Installation instructions | 1.3.D | W | P, II | A | - | - |  |
|  | Manufacturer’s Certificate | 1.4.A | W | P, CT | SD | - | - |  |
|  | Materials Resources Certificates: 1. certify recycled material content for recycled content products. | 1.4.B | W | P, CT | SD | - | - |  |
|  | Operation and Maintenance Data | 1.5.A | At closeout | P, OM | C | - | - |  |
|  | Warranty | 1.5.B | Z | P, WA | C | - | - |  |
| 07 7233 | Roof Hatches |  |  |  |  |  |  |  |
|  | Catalog data | 1.3.A.1 | X | P, CD | A | - | - |  |
|  | Installation instructions | 1.3.A.2 | W | P, II | A | - | - |  |
|  | Warranty | 1.3.A.3 | Z | P, WA | A | - | - |  |
| 07 7600 | Roof Pavers |  |  |  |  |  |  |  |
|  | Catalog data | 1.2.A.1 | X | P, CD | A | Y | Y |  |
|  | Installation instructions | 1.2.A.2 | W | P, II | A | - | - |  |
|  | Samples | 1.2.A.3 | X | (2)S | A | - | - |  |
|  | Warranty | 1.2.A.4 | Z | P, WA | A | - | - |  |
| 07 8400 | Firestopping |  |  |  |  |  |  |  |
|  | Product data | 1.4.A | X | P | A | Y | Y |  |
|  | Schedule | 1.4.B | W | P, OT | A | Y | Y |  |
|  | Manufacturer’s Certificate | 1.4.C | W | P | A | Y | Y |  |
|  | Engineering judgments | 1.4.D | W | P, D | A | Y | Y |  |
|  | Manufacturer’s installation instructions | 1.4.E | W | D | A | Y | Y |  |
|  | Qualification Data | 1.5.A | W | CT | I | Y | Y |  |
|  | Product Test Reports | 1.5.B | X | TR | I | Y | Y |  |
|  | Material Safety Data Sheets for each product supplied | 1.5.C | W | ML | I | Y | Y |  |
|  | Materials Resources Certificates: Certify recycled material content for recycled contents products. Certify source for regional materials and distance from Project site. | 1.6.A | At closeout | CT | SD | Y | - |  |
|  | Indoor Air Quality Certificates: Certify volatile organic compound content for each interior [adhesive] [and] [sealant] and related primer Certify firestopping products contain no added urea formaldehyde resins | 1.6.B | At closeout | CT | SD | Y | - |  |
|  | Laboratory Test Reports | 1.6.C | At closeout | TR | SD | Y | - |  |
|  | Complete maintenance material and detailed instructions for repair/modifications for each product supplied | 1.7.A | At closeout | OM, SP | C | Y | Y |  |
|  | Installer Certificates | 1.7.B | At closeout | CT | C | Y | Y |  |
| 07 9200 | Joint Sealants |  |  |  |  |  |  |  |
|  | Product data | 1.3.A | X | P, CD | A | - | - |  |
|  | Joint Sealant Schedule to include: 1. Joint sealant application, joint location, and designation. 2. Joint sealant manufacturer and product name. 3. Joint sealant formulation. 4. Joint sealant color. | 1.3.B | X | P | A | - | - |  |
|  | Samples for initial selection. | 1.3.C | X | S, SC | A | - | - |  |
|  | Samples for verification | 1.3.D | X | S, SC | A | - | - |  |
|  | Manufacturer’s Certifications | 1.3.E | X | CT | A | - | - |  |
|  | Material Safety Data Sheets (MSDS) | 1.3.F | W | P | A | - | - |  |
|  | Product test reports | 1.3.G | X | P, TR | A | - | - |  |
|  | Manufacturer’s installation instructions | 1.3.H | W | P, II | A | - | - |  |
|  | Qualification data | 1.3.I | W | P, CD | A | - | - |  |
|  | Product data | 1.4.A | X | P, | SD | - | - |  |
|  | Manufacturer’s certificate | 1.4.B | X | CT, P | SD | - | - |  |
|  | Volatile organic compound (VOC) compliance certifications | 1.4.C | X | CT, P | SD | - | - |  |
|  | Warranty | 1.5.A | At closeout | P, WA | C | - | - |  |
| 08 1100 | Metal Doors and Frames |  |  |  |  |  |  |  |
|  | Catalog data | 1.3.A.1 | X | P, CD | A | - | - |  |
|  | Certifications | 1.3.A.2 | W | P, CT | A | - | - |  |
|  | Shop drawings for fabrication and installation of steel door and frames. | 1.3.A.3 | F | SD | A | - | - |  |
| 08 1213 | Hollow Metal Frames |  |  |  |  |  |  |  |
|  | Catalog data | 1.2.A.1 | X | P, CD | A | - | - |  |
|  | Certifications | 1.2.A.2 | W | P, CT | A | - | - |  |
|  | Shop drawings | 1.2.A.3 | F | D | A | - | - |  |
| 08 1400 | Wood Doors |  |  |  |  |  |  |  |
|  | Catalog data | 1.3.A.1 | X | P, CD | A | - | - |  |
|  | Color and finish samples | 1.3.A.2 | X | S,SC | A | Y | Y |  |
|  | Shop drawings | 1.3.A.3 | F | SD | A | - | - |  |
|  | Warranty | 1.3.A.4 | at closeout | P, WA | A | - | - |  |
|  | Chain-of-custody certificates indicating if products comply with forest certification requirements | 1.3.B.1 | Z | CT | SD | - | - |  |
|  | Product Data for adhesives, documentation including printed statement of VOC content | 1.3.B.2 | Z | CD | SD | - | - |  |
|  | Product data for USDA BioPreferred Products | 1.3.B.3 | Z | CD | SD | - | - |  |
|  | Laboratory Test Reports | 1.3.B.4 | Z | TR | SD | - | - |  |
| 08 3100 | Access Doors and Panels |  |  |  |  |  |  |  |
|  | Catalog data | 1.2.A.1 | X | P, CD | A | - | - |  |
|  | Manufacturer’s installation instructions | 1.2.A.2 | W | P, II | A | - | - |  |
|  | Schedule | 1.2.A.3 | W | P | A | - | - |  |
| 08 3323 | Overhead Coiling Doors |  |  |  |  |  |  |  |
|  | Catalog data | 1.3.A.1 | X | P, CD | A | - | - |  |
|  | Shop drawings | 1.3.A.2 | F | SD | A | - | - |  |
|  | Manufacturer’s installation instructions | 1.3.A.3 | W | P, II | A | - | - |  |
|  | Operation and maintenance data | 1.3.A.4 | at closeout | P, OM | A | - | - |  |
|  | Manufacturer’s standard labor and material warranty | 1.3.A.5 | at closeout | P, WA | A | - | - |  |
| 08 4113 | Aluminum-Framed Entrances and Storefronts |  |  |  |  |  |  |  |
|  | Catalog data | 1.5.A.1 | X | P, CD | A | - | - |  |
|  | Calculations or load tables | 1.5.A.2 | F | P, CA | A | - | - |  |
|  | Shop drawings | 1.5.A.3 | F | SD | A | Y | Y |  |
|  | Samples | 1.5.A.4 | X | (2)S | A | - | - |  |
|  | Manufacturer’s standard warranty | 1.5.A.5 | at closeout | P | A | - | - |  |
| 08 5113 | Aluminum Windows |  |  |  |  |  |  |  |
|  | Catalog data | 1.5.A.1 | X | P, CD | A | - | - |  |
|  | Shop drawings | 1.5.A.2 | W | D | A | Y | Y |  |
|  | Warranty | 1.5.A.3 | at closeout | P, WA | A | - | - |  |
|  | Product data indicating window performance metrics including U-Factor, Solar Heat Gain Coefficient (SHGC), and Air Leakage | 1.5.B.1 | X | P, CD | SD | - | - |  |
|  | Product data indicating recycled content of aluminum | 1.5.B.2 | Z | P, CD | SD | - | - |  |
| 08 7100 | Door Hardware |  |  |  |  |  |  |  |
|  | Catalog data | 1.5.A.1 | X | P, CD | A | - | - |  |
|  | Materials list of final hardware schedule | 1.5.A.2 | X | P | A | - | - |  |
|  | Final Hardware schedule | 1.5.A.3 | X | P | A | Y | Y |  |
|  | Submittal sequence | 1.5.A.4 | F | P, D | A | - | - |  |
|  | 5 year warranty on materials and installation workmanship | 1.5.A.5 | at closeout | WA | A | - | - |  |
|  | Manufacturer’s standard materials and workmanship 2 yr. warranty | 1.5.A.6 | at closeout | WA | A | - | - |  |
|  | Complete set of specialized tools and maintenance instructions | 1.5.A.7 | Z | P | A | - | - |  |
| 08 8000 | Glazing |  |  |  |  |  |  |  |
|  | Catalog data on glass types | 1.4.A.1 | X | P | A | Y | Y |  |
|  | Catalog data on glazing compounds | 1.4.A.2 | X | P | A | - | - |  |
|  | Manufacturer’s certs that glazing meets or exceeds requirements. | 1.3.A.3 | W | P | A | - | - |  |
|  | Glazing compound manufacturer’s installation instructions | 1.4.A.4 | W | P | A | - | - |  |
|  | Samples | 1.4.A.5 | Z | S | A | - | - |  |
|  | Three-inch-long beads of glazing sealant for color selection | 1.4.A.6 | X | (S) | A | - | - |  |
|  | Manufacturer’s standard labor and material replacement warranty | 1.4.A.7 | at closeout | P | A | - | - |  |
|  | Product data: | 1.4.A.8 | X | P | SD | - | - |  |
| 08 9100 | Louvers |  |  |  |  |  |  |  |
|  | Catalog data product criteria | 1.3.A.1 | X | P | A | - | - |  |
|  | Manufacturer’s installation instructions | 1.3.A.2 | W | P | A | - | - |  |
|  | Samples of color charts for metal and screen | 1.3.A.3 | X | S | A | Y | Y |  |
|  | Shop drawings of component details, framed openings, bearing, and anchor location of fasteners and accessories | 1.3.A.4 | F | SD | A | Y | Y |  |
| 09 2116 | Gypsum Board Systems |  |  |  |  |  |  |  |
|  | Catalog data on metal framing, gypsum board, joint tape, joint compound and texturing materials | 1.3.A.1 | X | P, CD | A | - | - |  |
|  | Gypsum manufacturer’s documentation of recycled content for gypsum board | 1.3.A.2 | X | P | A | - | - |  |
|  | Gypsum manufacturer’s documentation of buyback and/or recycling program | 1.3.A.3 | X | P | A | - | - |  |
|  | Manufacturer’s written certification that all materials are free of asbestos | 1.3.A.4 | W | P, CT | A | - | - |  |
|  | Manufacturer’s installation instructions | 1.3.A.5 | W | P, II | A | - | - |  |
|  | Twelve inch square sample of gypsum board with texture finish | 1.3.A.6 | Z | S | A | - | - |  |
| 09 2913 | Gypsum Roof Board |  |  |  |  |  |  |  |
|  | Product data | 1.2.A | X | P | A | - | - |  |
|  | Shop drawings | 1.2.B | F | SD | A | - | - |  |
|  | Certification | 1.2.C | W | P, CT | A | - | - |  |
| 09 3013 | Ceramic Tiling |  |  |  |  |  |  |  |
|  | Samples of proposed tile | 1.2.A.1 | X | S | A | Y | Y |  |
|  | Samples of grout material | 1.2.A.2 | X | S | A | Y | Y |  |
|  | Manufacturer’s installation instructions | 1.2.A.3 | W | P, II | A | - | - |  |
| 09 5100 | Acoustical Ceilings |  |  |  |  |  |  |  |
|  | [Product Data] | 1.5.A | X | P | A | - | - |  |
|  | Shop Drawings | 1.5.B | F | SD | A | - | - |  |
|  | [Samples: Submit two [____x___] inch in size of ceiling grid and panel, illustrating finishes and color.] | 1.5.C | X | S(2) | A | Y | Y |  |
|  | Manufacturer’s installation instructions | 1.5.D | W | II, P | A | - | - |  |
|  | Delegated-Design Submittal: For seismic restraints for ceiling systems | 1.5.E | Z, U | CA | A, DD | Y | Y |  |
|  | Independent Evaluation Reports: For each acoustical panel ceiling suspension system [and fastener type], from ICC-ES or similar | 1.5.F | X | TR | A | - | - |  |
|  | Field quality-control reports | 1.5.G | WKLY | OT | A | Y | - |  |
|  | Manufacturer’s Certificate: Certify products meet or exceed specified sustainable design requirements. | 1.6.A | W | CT, P | SD | - | - |  |
|  | Materials Resources Certificates: 1. Certify source and origin for [salvaged] [and] [reused] products. 2. Certify recycled material content for recycled content products. 3. Certify source for local and regional materials and distance from Project site. | 1.6.A.1 | W | CT, P | SD | - | - |  |
|  | Indoor Air Quality Certificates: certify volatile organic compound content for each interior sealant and related primer. | 1.6.A.2 | W | CT, P | SD | - | - |  |
|  | Operation and maintenance data | 1.7.A | At closeout | O M | C | - | - |  |
|  | Warranty documentation | 1.7.B | At closeout | WA | C | - | - |  |
|  | Project records documentation | 1.7.C | At closeout | RD | C | - | - |  |
|  | Extra Stock Materials | 1.8 |  |  |  | - | - |  |
|  | Furnish [________] sq ft of extra [tile] [panels] [metal pans] to the LANL Subcontract Technical Representative (STR), or | 1.8.A | At closeout | SP | A | - | - |  |
|  | Furnish [________] percent of total acoustic unit area of extra [tile] [panels] [metal pans] to the LANL Subcontract Technical Representative (STR). | 1.8.B | At closeout | SP | A | - | - |  |
| 09 6500 | Resilient Flooring |  |  |  |  |  |  |  |
|  | Product data | 1.3.A | X | P, S | A | Y | Y |  |
|  | Samples | 1.3.B | Z | SC | A | Y | Y |  |
|  | Manufacturer’s installation instructions. | 1.3.C | W | P, II | A | - | - |  |
|  | Sustainable Design: certification that percentage of recovered materials will be at least equal to amount specified in Part 2 for applicable material | 1.4.A | X | P, CT | SD | - | - |  |
|  | Sustainable Design: Indoor air quality certificates | 1.4.B | X | P, CT | SD | - | - |  |
|  | Closeout Submittals: Provide manufacturer’s cleaning and maintenance information | 1.5 | at closeout | P | C | - | - |  |
|  | Maintenance Material: At least 5% of calculated area of flooring materials of each type specified | 1.6 | at closeout | P | C | - | - |  |
| 09 8613 | Sheet Carpeting |  |  |  |  |  |  |  |
|  | Catalog data | 1.3.A.1 | X | P, CD | A | - | - |  |
|  | Manufacturer’s certificate | 1.3.A.2 | W | P, CT | A | - | - |  |
|  | Manufacturer’s installation instructions | 1.3.A.3 | W | P, II | A | - | - |  |
|  | Four carpet tiles | 1.3.A.4 | at closeout | S | A | - | - |  |
|  | Shop drawings | 1.3.A.5 | F | SD | A | Y | Y |  |
|  | Maintenance data | 1.3.A.6 | at closeout | P | A | - | - |  |
|  | Submit manufacturer’s documentation of recycled content for each product | 1.3.B.1 | Z | CD | SD | - | - |  |
|  | Submit documentation of manufacturer’s buyback, and/or recycling program | 1.3.B.2 | Z | CD | SD | - | - |  |
|  | Submit manufacturer’s documentation that carpet cushion and adhesives meet the Carpet and Rug Institute (CRI) Indoor Air Quality (IAQ) Testing Programs (Green Label) or comply with the following total volatile organic compounds (VOC) emissions criteria | 1.3.B.3 | Z | CD | SD | - | - |  |
|  | Maintenance Instructions | 1.3.C.1 | B | OM | C | - | - |  |
|  | Provide [5 percent] of required quantity of carpet tiles of each color selected in their original containers | 1.3.C.2 | B | SP | C | Y | Y |  |
|  | Project written warranty for all labor and materials, signed by Subcontractor, Installer | 1.3.C.3 | at closeout | P, WA | C | Y | Y |  |
| 09 6816 | Sheet Carpeting |  |  |  | A |  |  |  |
|  | Catalog data | 1.2.A.1 | X | P, CD | A | - | - |  |
|  | Manufacturer's certificate | 1.2.A.2 | W | P, CT | A | - | - |  |
|  | Manufacturer’s certificate | 1.2.A.3 | W | P | A | - | - |  |
|  | Four 12 by 12 inch samples | 1.2.A.4 | X | (4)S | A | - | - |  |
|  | Shop drawings | 1.2.A.5 | F | SD | A | Y | Y |  |
|  | Maintenance procedures | 1.2.A.6 | at closeout | P | C | - | - |  |
|  | Project warranty for all labor and materials, signed by Subcontractor, Installer and Manufacturer | 1.2.A.7 | at closeout | P | A | - | Y |  |
| 09 6900 | Access Flooring |  |  |  |  |  |  |  |
|  | Product Data: Unless providing exactly as specified, submit data for grid system, panels, and accessories; electrical resistance characteristics and ground connection requirements | 1.4.A | X | P, CD | A | - | - |  |
|  | Shop Drawings | 1.4.B | F | P, CT | A | Y | Y |  |
|  | Samples: Submit two [____x____] inch in size of floor grid and panel, illustrating finishes and color.] | 1.4.C | X | P, II | A | - | - |  |
|  | Manufacturer's Certificate: Certify products meet or exceed specified requirements. | 1.4.D | W | S | A | - | Y |  |
|  | [Delegated Design Submittals: Seismic design calculations, bearing the seal of a licensed New Mexico Professional Engineer, demonstrating that the proposed floor systems meets requirements for seismic performance.] | 1.4.E | F | SD | DD | - | - |  |
|  | Manufacturer's Installation Instructions: Submit special procedures, perimeter conditions requiring special attention, and [________] | 1.4.F | W | P | A | - | - |  |
|  | Sustainable Design Submittals: | 1.5 | X | OT | SD | - | - |  |
|  | Manufacturer's Certificate: Certify products meet or exceed specified sustainable design requirements | 1.5.A | X | P, CT | SD | - | - |  |
|  | Materials Resources Certificates | 1.5.A.1 | X | P, CT | SD | - | - |  |
|  | Certify source and origin for [salvaged] [and] [reused] products | 1.5.A.1.a | X | P | SD | - | - |  |
|  | Certify recycled material content for recycled content products. | 1.5.A.1.b | X | P | SD | - | - |  |
|  | Certify source for local and regional materials and distance from Project site. | 1.5.A.1.c | X | P | SD | - | - |  |
|  | Indoor Air Quality Certificates: Certify volatile organic compound content for each interior [adhesive] [and] [sealant] and related primer. | 1.5.A.2 | X | CT | SD | - | - |  |
|  | Operation and Maintenance Data | 1.6.A | at closeout | O M | C | - | - |  |
|  | Warranty Documentation | 1.6.B | at closeout | WA | C | - | - |  |
|  | Project Records Documentation | 1.6.C | at closeout | RD | C | - | - |  |
| 09 9100 | Painting |  |  |  |  |  |  |  |
|  | Catalog data | 1.3.A.1 | X | P,SC | A | Y | Y |  |
|  | Qualification Data | 1.3.A.2 | W | P, CD | A | - | - |  |
|  | Samples | 1.3.A.3 | X | P,SC | A | - | - |  |
|  | Sustainable Design: Certificate of compliance for specified post-consumer content | 1.3.B.1 | X | P, CT | SD | - | - |  |
|  | Sustainable Design: List the VOC content of each product | 1.3.B.2 | X | P | SD | - | - |  |
|  | Maintenance Material: Provide 1 extra gallon of each type, color, and surface texture to LANL with location ID | 1.3.C.1.a | at closeout | OT | C | - | - |  |
| 10 1100 | Visual Display Surfaces |  |  |  |  |  |  |  |
|  | Catalog data on marker board, tack board surface covering, trim and accessories. | 1.3.A.1 | X | P | A | - | - |  |
|  | Tack board material color chart | 1.3.A.2 | X | S | A | Y | Y |  |
|  | Manufacturer’s installation instructions. | 1.3.A.3 | W | P | A | - | - |  |
|  | Maintenance information | 1.3.A.4 | at closeout | P | C | - | - |  |
| 10 1405 | Signage, Exterior |  |  |  |  |  |  |  |
|  | Product Data | 1.3.A | X | P | A | - | - |  |
|  | Shop drawings | 1.3.B | F | SD | A | Y | Y |  |
|  | Samples | 1.3.C | X | P,SC | A | - | - |  |
|  | Manufacturer’s recommended care and cleaning methods including precautions against harmful cleaning materials and methods | 1.4.A | at closeout | P | C | - | - |  |
|  | Manufacturer’s warranty documents | 1.4.B | at closeout | P, WA | C | - | - |  |
| 10 1410 | Signage, Interior |  |  |  |  |  |  |  |
|  | Shop drawings | 1.3.A | F | SD | A | Y | Y |  |
|  | Samples | 1.3.B | X | P,SC | A | - | - |  |
|  | Schedule of Signs | 1.3C | F | P | A | Y | Y |  |
|  | Manufacturer’s recommended maintenance methods | 1.4.A | at closeout | P | C | - | - |  |
|  | Manufacturer’s warranty documentation | 1.4.B | at closeout | P, WA | C | - | - |  |
|  | Template file to end-user as described in 2.2E.b | 1.4.C | at closeout | OT | C | - | - |  |
|  | Maintenance Materials template file to end-user as described in 2.2E.b below | 1.5.A | at closeout | OT | C | - | - |  |
|  | Maintenance Materials six (6) suction cup tools for changing inserts in the aluminum frame | 1.5.B | at closeout | OT | C | - | - |  |
| 10 2113.13 | Metal Toilet Compartments |  |  |  |  |  |  |  |
|  | Product data | 1.4.A.1 | X | P | A | - | Y |  |
|  | Shop drawings | 1.4.A.2 | F | SD | A | Y | Y |  |
|  | Submit Samples | 1.4.A.3 | X | P,S | A | - | - |  |
| 10 2800 | Toilet & Bath Accessories |  |  |  |  |  |  |  |
|  | Product Data 1. Construction details and dimensions. 2. Anchoring and mounting requirements, including requirements for cutouts in other work and substrate preparation. 3. Material and finish descriptions. 4. Features that will be included in Project. 5. Manufacturer’s warranty. | 1.5.A | X | P | A | - | - |  |
|  | [Samples: full size, for each accessory item to verify design, operation, and finish requirements. | 1.5.B | X | S | A | - | - |  |
|  | Product Schedule: indicating types, quantities, sizes and installation locations by room of each accessory required. | 1.5.C | W | OT | A | - | - |  |
|  | Manufacturer’s Certificate: certify products meet or exceed specified sustainable design requirements. | 1.6.A | X | CT | SD | - | - |  |
|  | Materials Resources certificates. | 1.6.A.1 | X | P, CT | SD | - | - |  |
|  | Indoor Air Quality Certificates. | 1.6.A.2 | X | P, CT | SD | - | - |  |
|  | Warranty: Sample of special warranty | 1.7.A | At closeout | WA | I | - | - |  |
|  | Maintenance data: for toilet and bath accessories to include in maintenance manuals. | 1.8.A | At closeout | M | C | - | - |  |
| 10 4400 | Fire Protection Specialties |  |  |  |  |  |  |  |
|  | Catalog data | 1.2.A.1 | X | P, CD | A | - | Y |  |
|  | Shop drawings | 1.2.A.2 | F | SD | A | - | Y |  |
| 10 5113 | Metal Lockers |  |  |  |  |  |  |  |
|  | Catalog data | 1.2.A.1 | X | P, CD | A | - | - |  |
|  | Color chart | 1.2.A.2 | X | P,SC | A | Y | Y |  |
|  | Manufacturer’s installation instructions | 1.2.A.3 | W | P, II | A | - | - |  |
|  | Shop drawings | 1.2.A.4 | F | SD | A | - | - |  |
| 11 1313 | Loading Dock Bumpers |  |  |  |  |  |  |  |
|  | Catalog data | 1.2.A.1 | X | P | A | - | - |  |
|  | Manufacturer’s installation instructions. | 1.2.A.2 | W | P, II | A | - | - |  |
| 11 5311.08 | Glovebox Design |  |  |  |  |  |  |  |
|  | Submittals listed in Att.4 and in accordance w the requirements of Exh I – Lower Tier Services Plan | 1.7.B | Z | P | A | Y | Y | PE |
| 11 5311.10 | Glovebox Fabrication |  |  |  |  |  |  |  |
|  | Submittals listed in Att.2 | 1.7 & 1.8 | Z | P | A | - | - |  |
| 11 5311.12 | Glovebox Installation |  |  |  |  |  |  |  |
|  | Submittals in accordance with the requirements of Exh I | 1.6.B | Z | P | A | - | - |  |
|  | Certified Material Test Report or Certificates of Conformance. | 1.6.C | W | P, CT,TR | A | - | - |  |
|  | Submittals detailed elsewhere in spec section | 1.6.D | W | P | A | - | - |  |
|  | QA Manual | 1.7.A | W | P | A | Y | Y |  |
|  | Per the supplier QA Manual: |  |  |  |  |  |  |  |
|  | Fabrication and Quality Control (QC) Procedures | 1.7.B.1 | F | P | A | - | Y |  |
|  | Personnel Certifications. | 1.7.B.2 | F | P | A | Y | Y | PE |
|  | Test Reports. | 1.7.B.3 | F | P, TR | A | Y | Y | PE |
|  | Material Certifications. | 1.7.B.4 | F | P, CT | A | - | - |  |
|  | As-Built Drawings. | 1.7.B.5 | Z | D | A | - | - |  |
|  | QA Document Package. | 1.7.B.6 | w/shipment | (3)P | A | - | - |  |
|  | Weld Map. | 1.7.B.7 | w/shipment | D | A | - | - |  |
| 11 5311.14 | Glovebox Gloves |  |  |  |  |  |  |  |
|  | Description of Quality Assurance program and procedures to LANL | 1.5.B.1 | SANN | P | A | - | - |  |
|  | Certificate of Conformance. | 1.5.C.1 | w/shipment | P | A | - | - |  |
|  | Lot test results | 1.5.D.1 | w/shipment | P | A | - | - |  |
|  | Material continuity | 1.5.D.1.a | F | ML | A | - | - |  |
|  | Visual inspection | 1.5.D.1.b | w/shipment | OT | A | - | - |  |
|  | Air tightness | 1.5.D.1.c | w/shipment | OT | A | - | - |  |
|  | Resistance to nitric acid | 1.5.D.1.d | F | OT | A | - | - |  |
|  | Aging tests | 1.5.D.1.e | F | OT | A | - | - |  |
|  | Results of mechanical properties testing | 1.5.D.1.f | F | OT | A | - | - |  |
|  | Lead equivalency measurement | 1.5.D.1.g | ANN | OT | A | - | - |  |
|  | Certification to applicable portions of the ASTM standards D120, F1236, F640 | 1.5.D.2 | F | CT, P | A | - | - |  |
|  | 5 pairs of gloves and prototype test results per Section 2.5.A.3. | 1.5.E.1 | w/shipment | (5)P, S | A | - | - |  |
|  | Verify compliance with all of the inspection. | 1.5.E.2 | U | OT | A | - | - |  |
|  | Verify that the manufacturer has ensured that the shipment of gloves. | 1.5.E.3 | U | OT | A | - | - |  |
|  | Maintain records of inspections. | 1.5.F.1 | Z | OT | A | - | - |  |
| 11 5311.16 | Glovebox Feedthroughs, Hermetically Sealed |  |  |  |  |  |  |  |
|  | Product data | 1.5.B | X | P | A | - | - |  |
|  | Design Data | 1.5.C.1.a | F | P | A | - | - |  |
|  | Material certifications | 1.5.C.2.a | Z | P, CT | A | - | - |  |
|  | Certified Material Test Reports (CMTR’s) | 1.5.C.2.b | Z | P, TR | A | Y | Y | PE |
|  | Documentation for potting material. | 1.5.C.2.c | Z | P | A | - | - |  |
|  | Quality Assurance/Quality Control: Test Reports | 1.5.C.3 | Z | OT, TR | A | - | - |  |
|  | Documentation. | 1.5.C.3.a | Z | P | A | Y | Y | PE |
|  | Test reports/data sheets | 1.5.C.3.b | Z | P, TR | A | Y | Y | PE |
|  | Manufacturer’s Instructions | 1.5.C.4.a | Z | P, II | A | - | - |  |
|  | Qualification Statements | 1.5.C.5 | Z | P | A | Y | Y | PE |
| 11 5311.17 | Glovebox Instrumentation |  |  |  |  |  |  |  |
|  | Provide documentation of ISO 9001 certification | 1.6.A.1 | N | CT | A | Y | Y | PE |
|  | Provide a copy of QA plan identifying procurement, design, fabrication, test and inspection, material traceability and non-conformity controls for approval by LANL prior to subcontract award | 1.6.A.2 | N | RD, P | A | Y | Y | PE |
|  | Catalog data and certificates of conformance (COC) for all instrumentation. | 1.6.A.3 | Z | CD | A | Y | Y | PE |
|  | Provide CMTRs (alloy designations) for all process-wetted surfaces, consisting of legible copies of mill test reports indicating chemical analysis, physical test data, and heat number. COCs may be provided in lieu of CMTRs with prior LANL approval. | 1.6.A.4 | F | P, TR | A | Y | Y | PE |
|  | Calibration certification traceable to NIST standards for all instrumentation | 1.6.A.5 | Z | CT | A | Y | Y | PE |
|  | Detailed installation instructions for the model of instrument supplied. | 1.6.A.6 | Z | II | A | - | - |  |
|  | Functional test procedures and reports for all instrumentation. | 1.6.A.7 | Z | TR | A | - | - |  |
|  | Manufacturer’s operation and maintenance instructions for the model of instrument supplied. | 1.6.A.8 | Z | O, M | C | - | - |  |
|  | Helium leak test report for all instruments located outside the glovebox boundary and interfacing with the glovebox atmosphere. Provide test reports with signatures by personnel who either performed or witnessed the helium leak test and who hold either Level II or Level III certification in accordance with ASNT SNT-TC-1A. | 1.6.A.9 | Z | TR | A | Y | Y | PE |
|  | Operating procedures, maintenance procedures, service schedules, recommended spare parts, and warranties. | 1.6.A.10 | Z | O, M, OT, SP, WA | C | - | - |  |
|  | Manufacturer’s assembly drawings, wiring diagrams, and electrical schematics. | 1.6.A.11 | Z | D, ED | A | - | - |  |
| 11 5311.18 | Glovebox Atmosphere Regenerable Purification Systems |  |  |  |  |  |  |  |
|  | ISO 9001 certification in accordance with Section 1.6 | 1.5.A.1 | Z | OT, CT | A | Y | Y | PE |
|  | Uncontrolled copy of the supplier’s QA plan. | 1.5.A.2 | Z | P | A | - | Y |  |
|  | Helium leak test | 1.5.A.3 | Z | OT, TR | A | Y | Y | PE |
|  | Helium leak test procedure per ASTM E498 | 1.5.A.4 | F | OT | A | - | - |  |
|  | Test reports with signatures by personnel | 1.5.A.5 | Z | O, TR | A | Y | Y | PE |
|  | NDE certifications for test personnel for approval, prior to testing | 1.5.A.6 | W | CT | A | Y | Y | PE |
|  | CMTRs (alloy designations) | 1.5.A.7 | F | P | A | - | - |  |
|  | Calibration data | 1.5.A.8 | W | P | A | - | - |  |
|  | Circuit wiring diagrams and electrical schematics | 1.5.A.9 | Z | D | A | Y | Y | PE |
|  | Supplier's installation instructions | 1.5.A.10 | Z | II, P | A | - | - |  |
|  | Functional test procedure | 1.5.A.11 | W | P | A | - | - |  |
|  | Catalog data | 1.5.A.12 | X | CD, P | A | Y | Y | PE |
|  | Performance Data/Curves | 1.5.A.13 | Z | PD | A | Y | Y | PE |
|  | Documentation of cleaning techniques | 1.5.A.14 | Z | P | A | - | - |  |
|  | Drawings | 1.5.A.15 | Z | (3)D | A | Y | Y | PE |
|  | Operation and maintenance instructions | 1.5.A.16 | S | (2) P | C | - | - |  |
| 11 5311.19 | Chemical Resistant Coatings for Gloveboxes |  |  |  |  |  |  |  |
|  | Product Data: Manufacturer’s technical data for specified coating. | 1.5.A | W | P | A | Y | Y |  |
|  | Installation Instructions: Manufacturer's literature indicating installation Sections and procedures for specified coating | 1.5.B | W | II, P | A | Y | Y |  |
|  | Procedures: As listed under Para 1.9 Quality Assurance and Quality Control. | 1.5.C | W | P | A | Y | Y |  |
|  | Material Certifications: As listed under paragraph 1.9 Quality Assurance and Quality Control. | 1.5.D | W | CT, P | A | Y | Y |  |
|  | Samples: Three sample coupons that have been coated per this Section. The coupons must be 6" x 6" and constructed of 7 gauge 304L stainless steel. One side of the coupon must be coated with specified coating and the other side masked or polished to match original finish | 1.5.E | W | S | A | Y | Y |  |
|  | Informational Submittals |  |  |  |  |  |  |  |
|  | As listed under paragraph 1.9 Quality Assurance and Quality Control: Personnel certifications Test reports Inspection reports Dimensional inspection reports Supplier certifications | 1.6.A | W | CT, TR | I | Y | Y |  |
|  | Certificate of Conformance: A certificate of conformance must be provided and signed by the Subcontractor. This certificate must state that the glovebox coatings have been applied and tested in accordance with this Section and, if applicable, the Subcontract documents and that the final product fully complies with all technical requirements of the Subcontract. | 1.6.B | W | CT | I | Y | Y |  |
|  | Sustainable design submittals |  |  |  |  |  |  |  |
|  | Manufacturer's Certificate: Certify products meet or exceed specified sustainable design requirements. | 1.7.A | W | CT | SD | Y | Y |  |
|  | Product Data: For coating and primer, documentation including printed statement of VOC content. | 1.7.B | W | P | SD | Y | Y |  |
|  | Laboratory Test Reports: For coating and primer, documentation indicating that products comply with testing and product requirements of 40 CFR 59, Subpart D (EPA Method 24) National Volatile Organic Chemical Emission Standards for Architectural Coatings, if met. | 1.7.C | W | TR | SD | Y | Y |  |
|  | Closeout Submittals |  |  |  |  |  |  |  |
|  | Shop Traveler: Completed document as listed under paragraph 1.9 Quality Assurance and Quality Control. | 1.8.A | S | OT | C | Y | Y |  |
|  | Quality Assurance Document Package: As listed under paragraph 1.9 Quality Assurance and Quality Control. | 1.8.B | S | RD | C | Y | Y |  |
| 12 2113 | Horizontal Louver Blinds |  |  |  |  |  |  |  |
|  | Catalog data | 1.3.A.1 | X | CD, P | A | - | - |  |
|  | Samples | 1.3.A.2 | X | P,S | A | - | - |  |
|  | Manufacturer’s installation instructions | 1.3.A.3 | W | P, II | A | - | - |  |
| 12 3100 | Manufactured Metal Casework |  |  |  |  |  |  |  |
|  | Catalog data | 1.3.A.1 | X | P, CD | A | - | - |  |
|  | Manufacturer’s installation instructions | 1.3.A.4 | W | P, II | A | - | - |  |
|  | Samples | 1.3.A.3 | X | P,SC | A | - | - |  |
|  | Shop drawings | 1.3.A.2 | F | D | A | - | - |  |
|  | Sustainable Design: Manufacturer’s Certificates | 1.3.B.1 | X | P, CT | SD | - | - |  |
|  | Sustainable Design: Materials Resources Certificates | 1.3.B.1.a | X | P, CT | SD | - | - |  |
|  | Sustainable Design: Indoor Air Quality Certificates | 1.3.B.1.b | X | P, CT | SD | - | - |  |
|  | Sustainable Design: Product Cost Data | 1.3.B.2 | Y | P | SD | - | - |  |
|  | Operations and Maintenance Data | 1.3.C.1 | at closeout | OM | C | - | - |  |
|  | Manufacturer’s Warranty Documentation | 1.3.C.2 | at closeout | P, WA | C | - | - |  |
| 13 3419 | Metal Building Systems |  |  |  |  |  |  |  |
|  | Product Data: For each type of Metal Building System component. Include construction details, material descriptions, dimensions of individual components and profiles, and finished for the following: structural wall panels, metal roof panels, metal wall panels, metal liner panels, translucent panels | 1.4.A |  |  |  |  |  |  |
|  | Shop drawings | 1.4.B | X | P, D | A | Y | Y |  |
|  | Color samples | 1.4.C.1 | X | P,SC | A | Y | Y |  |
|  | Samples for verification | 1.4.C.2 | X | S | A | Y | Y |  |
|  | Certificates | 1.4.D | X | P, CT | A | Y | Y |  |
|  | Erector Certificates: For each project, from manufacturer. | 1.4.D.1 | W | P, CT | A | Y | Y |  |
|  | Manufacturers Certificates: For each product, from manufacturer | 1.4.D.2 | W | P, CT | A | Y | Y |  |
|  | Delegated Design Submittals | 1.4.E | W | D | DD | Y | Y |  |
|  | Structural Basis document | 1.4.E.1 | W | D | DD | Y | Y |  |
|  | Structural-Design calculations for the Metal Building, and for the seismic design of the nonstructural components within / on it | 1.4.E.2 | W | D | DD | Y | Y |  |
|  | Statement of Structural Tests and Special Inspections (i.e., Test and Inspection Plan per LANL ESM Chapter 16). | 1.4.E.3 | W | P | DD | Y | Y |  |
|  | Anchor bolt placement plan, column reactions [,and] [______] in advance of erection drawings | 1.4.E.4 | W | P | DD | Y | Y |  |
|  | Test and evaluation Reports | 1.4.F | W | P, TR | A | Y | Y |  |
|  | Material Test Reports | 1.4.F.1 | W | P, TR | A | Y | Y |  |
|  | Product Test Reports | 1.4.F.2 | W | P, TR | A | Y | Y |  |
|  | Source Quality-Control Reports | 1.4.F.3 | W | P | A | Y | Y |  |
|  | Field Quality-Control Reports | 1.4.F.4 | WKLY | P | A | Y | Y |  |
|  | Manufacturer’s installation instructions | 1.4.G | W | P, II | A | Y | Y |  |
|  | Special procedures: Surveys: Show final elevations and locations of major members. Indicate discrepancies between actual installation and the Subcontract Documents. Have surveyor who performed surveys certify their accuracy | 1.4.H.1 | Y | P | A | Y | Y |  |
|  | Qualification Data: For qualified [erector] [manufacturer] [professional engineer] [land surveyor] [testing agency]. | 1.4.I | W | P | A | Y | Y |  |
|  | Sustainable Design: Manufacturer’s Certificate | 1.5.A | X | P, CT | SD | Y | Y |  |
|  | Sustainable Design: Sustainable Sites Certificates | 1.5.A.1 | X | P, CT | SD | Y | Y |  |
|  | Sustainable Design: Materials Resources Certificates | 1.5.A.2 | X | P, CT | SD | Y | Y |  |
|  | Sustainable Design: Indoor Air Quality Certificates | 1.5.A.3 | X | P, CT | SD | Y | Y |  |
|  | Sustainable Design: Product Cost Data: Cost of products to verify compliance with Project sustainable design requirements. Exclude cost of labor and equipment to install products | 1.5.B.1 | Y | P | SD | Y | Y |  |
|  | Maintenance Data: for metal panel finishes, to include in maintenance manuals | 1.6.A | at closeout | P, OM | C | Y | Y |  |
|  | Warranties: Normal and special warranties | 1.6.B | at closeout | WA | C | Y | Y |  |
| 13 4800 | Sound, Vibration, and Seismic Control |  |  |  |  |  |  |  |
|  | Catalog Data: Submit catalog data for each type of product specified. Include information substantiating equivalent corrosion resistance to zinc coated steel of alternative treatment, finish, or inherent material characteristic | 1.4.A | X | P, CD | A | Y | Y |  |
|  | Certifications | 1.4.B | W | P, CT | A | Y | Y |  |
|  | Shop Drawings: Templates, and erection and installation details as appropriate for listed Items. Ensure details are complete, to include indication of metal thickness, type, grade, class, and dimensions. Show construction details, reinforcement, anchorage and installation with relation to building construction. | 1.4.C | F | D | A | Y | Y |  |
|  | Documentation: Project Record Documents to include actual layout of supports / braces, specified certifications, and field test reports of anchorage installation | 1.5.A | at closeout | RD, P, D | C | Y | Y |  |
| 14 2413 | Hydraulic Freight Elevators |  |  |  |  |  |  |  |
|  | Catalog data: Signal and operating features | 1.3.B.1 | X | P | A | - | - |  |
|  | Cab dimensions, layout and components | 1.3.B.2 | X | P | A | - | - |  |
|  | Cab and hoistway doors and frames. | 1.3.B.3 | X | P | A | - | - |  |
|  | Electrical characteristics | 1.3.B.4 | X | P | A | - | - |  |
|  | Two samples, at least 2 inches square. | 1.3.C | X | (2)S | A | - | - |  |
|  | Shop drawings: Motor & pump | 1.3.D.1 | F | D | A | - | - |  |
|  | Shop drawings: car | 1.3.D.2 | F | D | A | - | - |  |
|  | Shop drawings: rail bracket | 1.3.D.3 | F | D | A | - | - |  |
|  | Shop drawings: weight of components. | 1.3.D.4 | F | D | A | - | - |  |
|  | Shop drawings: loads | 1.3.D.5 | F | D | A | - | - |  |
|  | Shop drawings: clearances | 1.3.D.6 | F | D | A | - | - |  |
|  | Shop drawings: components | 1.3.D.7 | F | D | A | - | - |  |
|  | Shop drawings: connections for car light and telephone. | 1.3.D.8 | F | D | A | - | - |  |
|  | Shop drawings: locations and sizes of access doors, doors and frames. | 1.3.D.9 | F | D | A | - | - |  |
|  | Shop drawings: expected heat dissipation of elevator equipment | 1.3.D.10 | F | D | A | - | - |  |
|  | Shop drawings: applicable seismic design data | 1.3.D.11 | F | D | A | - | - |  |
|  | Shop drawings: electrical characteristics | 1.3.D.12 | F | D | A | - | - |  |
|  | Shop drawings: Show arrangement of equipment | 1.3.D.13 | F | D | A | - | - |  |
|  | Shop drawings: cab and hoist way door and frame details. | 1.3.D.14 | F | D | A | - | - |  |
|  | Shop drawings: interface with building security system. | 1.3.D.15 | F | D | A | - | - |  |
|  | Operation and Maintenance Data: | 1.3.E |  |  |  |  |  |  |
|  | Include a parts catalog | 1.3.E.1 | at closeout | P | C | - | - |  |
|  | Technical information | 1.3.E.2 | at closeout | P | C | - | - |  |
|  | Legible schematic of hydraulic piping and wiring diagrams | 1.3.E.3 | at closeout | P | C | - | - |  |
|  | List of all of the elevator equipment with a description | 1.3.E.4 | at closeout | P, PH | C | - | - |  |
|  | Complete sequence of operation and control | 1.3.E.5 | at closeout | P | C | - | - |  |
|  | List with the name of the manufacturer | 1.3.E.6 | at closeout | P | C | - | - |  |
|  | 1 copy of master electric and hydraulic schematic and 1 copy of lubrication chart, each framed with clear plastic, mounted on machine room wall. | 1.3.E.8 | at closeout | (1)P, (1)P | C | - | - |  |
|  | Test reports from independent elevator inspector per PART 3, Field Quality Control. | 1.3.F | Y | P | A | Y | Y | PE |
| 14 2423 | Hydraulic Passenger Elevators |  |  |  |  |  |  |  |
|  | Catalog data: Signal and operating features | 1.3.B.1 | X | P | A | - | - |  |
|  | Catalog data: Cab dimensions, layout and components | 1.3.B.2 | X | P | A | - | - |  |
|  | Catalog data: Cab and hoistway doors and frames. | 1.3.B.3 | X | P | A | - | - |  |
|  | Catalog data: Electrical characteristics | 1.3.B.4 | X | P | A | - | - |  |
|  | Two samples, at least 2 inches square | 1.3.C | X | (2)S | A | - | - |  |
|  | Shop drawings: Motor and hydraulic pump | 1.3.D.1 | F | SD | A | - | - |  |
|  | Shop drawings: Car, machine beams, guide rails, buffers | 1.3.D.2 | F | SD | A | - | - |  |
|  | Shop drawings: rail bracket spacing | 1.3.D.3 | F | SD | A | - | - |  |
|  | Shop drawings: individual weight of components | 1.3.D.4 | F | SD | A | - | - |  |
|  | Shop drawings: loads | 1.3.D.5 | F | SD | A | - | - |  |
|  | Shop drawings: clearances and overtravel of car. | 1.3.D.6 | F | SD | A | - | - |  |
|  | Shop drawings: location of components in machine room. | 1.3.D.7 | F | SD | A | - | - |  |
|  | Shop drawings: locations in hoistway and machine room of connections for car light and telephone. | 1.3.D.8 | F | SD | A | - | - |  |
|  | Shop drawings: locations and sizes. | 1.3.D.9 | F | SD | A | - | - |  |
|  | Shop drawings: expected heat dissipation of elevator equipment | 1.3.D.10 | F | SD | A | - | - |  |
|  | Shop drawings: applicable seismic design data | 1.3.D.11 | F | SD | A | - | - |  |
|  | Shop drawings: electrical characteristics | 1.3.D.12 | F | SD | A | - | - |  |
|  | Shop drawings: Show arrangement of equipment in machine room | 1.3.D.13 | F | SD | A | - | - |  |
|  | Shop drawings: cab and hoist way door and frame details. | 1.3.D.14 | F | SD | A | - | - |  |
|  | Shop drawings: interface with building security system. | 1.3.D.15 | F | SD | A | - | - |  |
|  | Operation and Maintenance Data: | 1.3.E | at closeout | OM | C | - | - |  |
|  | Include a parts catalog | 1.3.E.1 | at closeout | P | C | - | - |  |
|  | Technical information | 1.3.E.2 | at closeout | P | C | - | - |  |
|  | Legible schematic of hydraulic piping and wiring diagrams | 1.3.E.3 | at closeout | P | C | - | - |  |
|  | List of all of the elevator equipment with a description, a picture, and a current part number. | 1.3.E.4 | at closeout | P, PH | C | - | - |  |
|  | Complete sequence of operation and control of the elevator system | 1.3.E.5 | at closeout | P | C | - | - |  |
|  | List with the name of the manufacturer | 1.3.E.6 | at closeout | P | C | - | - |  |
|  | 1 copy of master electric and hydraulic schematic and 1 copy of lubrication chart, each framed with clear plastic, mounted on machine room wall. | 1.3.E.8 | at closeout | (1)P, (1)P | C | - | - |  |
|  | Test reports from independent elevator inspector | 1.3.F | Y | P | A | Y | Y | PE |
| 21 1313 | Wet-Pipe Sprinkler Systems |  |  |  |  |  |  |  |
|  | Hydraulic Calculations with shop drawings. | 1.4.A | W | P, D | A | Y | Y |  |
|  | Seismic Design Project Record Documents. Provide the following: | 1.4.B | W | RD | A | Y | Y |  |
|  | Calculations, prepared in accordance with LANL AP-341-605 or equivalent, that demonstrate compliance with 1.3.B. | 1.4.B.1 | W | P, CA | A | Y | Y |  |
|  | Drawings, prepared in accordance with the LANL Drafting Standard, that convey the design to the constructor. | 1.4.B.2 | W | D | A | Y | Y |  |
|  | Test and Inspection Plan, prepared in accordance with LANL ESM Chapter 16, as necessary / applicable | 1.4.B.3 | W, Z | OT | A | Y | Y |  |
|  | Items a – c (above) shall be stamped and sealed by a PE licensed in the state of NM. | 1.4.B.4 | W | O, OT | A | Y | Y |  |
|  | Catalog Data with selected options marked. | 1.4.C | X | P, CD | A | Y | Y |  |
|  | Certifications for welders | 1.4.D | F | P | A | Y | Y |  |
|  | Installation Instructions | 1.4.E | W | P, II | A | Y | Y |  |
|  | Materials Part List (Bill of Materials) | 1.4.F | W | P | A | Y | Y |  |
|  | Shop Drawings | 1.4.G | F | SD | A | Y | Y |  |
|  | Test Reports | 1.4.H | at closeout | P, TR | C | Y | Y |  |
|  | Operation and Maintenance Manual: | 1.4.I | at closeout | P, OM | C | Y | Y |  |
|  | Include in operation and maintenance manuals, instructions, description of system, routine maintenance | 1.4.I.1 | at closeout | P | C | Y | Y |  |
|  | Also include in instructions, possible malfunctions | 1.4.I.2 | at closeout | P | C | Y | Y |  |
|  | Describe function of each component or subassembly. | 1.4.I.3 | at closeout | P | C | Y | Y |  |
|  | List recommended spare parts | 1.4.I.4 | at closeout | P | C | Y | Y |  |
|  | Project Record Drawings (As-Built) on CD’s and prints reflecting as-built conditions | 1.4.J | at closeout | EM | C | Y | Y |  |
| 21 1316 | Dry-Pipe Sprinkler Systems |  |  |  |  |  |  |  |
|  | Hydraulic Calculations prepared in accordance with NFPA 13. Submit calculations with shop drawings. | 1.4.A | W | P, D | A | Y | Y |  |
|  | Seismic Design Project Record Documents. Provide the following: | 1.4.B | W | RD | A | Y | Y |  |
|  | Calculations prepared in accordance with LANL AP-341-605, that demonstrate compliance with 1.3.B. | 1.4.B.1 | W | P, CA | A | Y | Y |  |
|  | Drawings prepared in accordance with the LANL Drafting Manual that convey the design to the constructor | 1.4.B.2 | W | P, D | A | Y | Y |  |
|  | Test and Inspection Plan, prepared in accordance with LANL ESM Chapter 16, as necessary / applicable. | 1.4.B.3 | W | P | A | Y | Y |  |
|  | Items 1-3 above shall be stamped and sealed by a PE licensed by New Mexico. | 1.4.B.4 | W | O, OT | A | Y | Y |  |
|  | Catalog Data with selected options marked. | 1.4.C | X | P, CD | A | Y | Y |  |
|  | Certifications for welders in accordance with NFPA 13. | 1.4.D | W | P, CT | A | Y | Y |  |
|  | Installation Instructions. | 1.4.E | W | P, II | A | Y | Y |  |
|  | Materials Part List (Bill of Materials) with manufacturer, model number and quantity. | 1.4.F | W | P | A | Y | Y |  |
|  | Shop Drawings | 1.4.G | F | SD | A | Y | Y |  |
|  | Test Reports | 1.4.H | at closeout | P, TR | A | Y | Y |  |
|  | Operation and Maintenance Manual: Submit system description, system final inspection, and Subcontractor’s material and test certificates | 1.4.I | at closeout | P | C | Y | Y |  |
|  | Include in operation and maintenance manuals, instructions, description of system installed. | 1.4.I.1 | at closeout | P | C | Y | Y |  |
|  | Also include in instructions, possible malfunctions with diagnostic methods and suggested correction for each | 1.4.I.2 | at closeout | P | C | Y | Y |  |
|  | Describe function of each component or subassembly | 1.4.I.3 | at closeout | P | C | Y | Y |  |
|  | List recommended spare parts | 1.4.I.4 | at closeout | P | C | Y | Y |  |
|  | Project Record Drawings (as-builts) on CD’s and prints reflecting as-built conditions | 1.4.J | at closeout | P, EM | C | Y | Y |  |
|  | Base as-built drawings on actual survey of the completed installation | 1.4.J.1 | at closeout | D | C | Y | Y |  |
|  | Include notes on all special systems or devices | 1.4.J.2 | at closeout | P | C | Y | Y |  |
|  | Revised hydraulic calculations | 1.4.J.3 | at closeout | P | C | Y | Y |  |
| 21 1319 | Preaction Sprinkler Systems |  |  |  |  |  |  |  |
|  | Hydraulic Calculations prepared in accordance with NFPA 13. Submit calculations with shop drawings. | 1.4.A.1 | W | P, CA | A | Y | Y |  |
|  | Seismic Design Project Record Documents. Provide the following: | 1.4.B. | W | D | A | Y | Y |  |
|  | Calculations prepared in accordance with LANL AP-341-605, that demonstrate compliance with 1.3.B | 1.4.B.1 | W | CA, P | A | Y | Y |  |
|  | Drawings prepared in accordance with the LANL Drafting Manual that convey the design to the constructor | 1.4.B.2 | W | D | A | Y | Y |  |
|  | Test and Inspection Plan, prepared in accordance with LANL ESM Ch. 16, as necessary/applicable | 1.4.B.3 | W | OT | A | Y | Y |  |
|  | Items 1-3 above shall be stamped and sealed by a PE licensed by NM | 1.4.B.4 | W | O, OT | A | Y | Y |  |
|  | Catalog Data with selected options marked | 1.4.C | X | P | A | Y | Y |  |
|  | Certifications for welders in accordance with NFPA 13 | 1.4.D | W | CT | A | Y | Y |  |
|  | Installation Instruction | 1.4.E | W | P, II | A | Y | Y |  |
|  | Materials Part List (Bill of Materials) | 1.4.F | W | P, ML | A | Y | Y |  |
|  | Shop Drawings | 1.4.G | F | D | A | Y | Y |  |
|  | Test Reports | 1.4.H | WKLY | P, TR | A | Y | Y |  |
|  | Operation and Maintenance Manual: Submit system description, inspection and Subcontractor's material and test certificates | 1.4.I. | at closeout | P | C | Y | Y |  |
|  | Include in operation and maintenance manuals, instructions, description of system. | 1.4.I.1 | at closeout | P | C | Y | Y |  |
|  | Also include in instructions, possible malfunctions | 1.4.I2 | at closeout | P | C | Y | Y |  |
|  | Describe function of each component or subassembly | 1.4.I.3 | at closeout | P | C | Y | Y |  |
|  | Recommended spare parts | 1.4.I.4 | at closeout | P | C | Y | Y |  |
|  | Project Record Drawings (As-Built) on CD’s and prints indicating as-built conditions | 1.4.J | at closeout | EM | C | Y | Y |  |
| 21 1326 | Deluge Fire-Suppression Sprinkler Systems |  |  |  |  |  |  |  |
|  | Hydraulic calculations, prepared in accordance with NFPA 13. Submit calculations with shop drawings. | 1.3.A.1 | W | P, CA | A | Y | Y |  |
|  | Seismic Design Project Record documents: Provide the following: | 1.3.B. | W | RD | A | Y | Y |  |
|  | Calculations, prepared in accordance with LANL AP-341-605, that demonstrate compliance with 1.3.B | 1.3.B.1 | W | CA | A | Y | Y |  |
|  | Drawings, prepared in accordance with the LANL Drafting Manual, that convey the design to the constructor | 1.3.B.2 | W | EM | A | Y | Y |  |
|  | Test and Inspection Plan, prepared in accordance with LANL ESM Chapter 16, as necessary / applicable. | 1.3.B.3 | W | P | A | Y | Y |  |
|  | Items 1-3 above shall be stamped and sealed by a PE licensed by New Mexico. | 1.3.B.4 | W | O, OT | A | Y | Y |  |
|  | Catalog Data with selected options marked | 1.3.C | X | P | A | Y | Y |  |
|  | Certifications for welders in accordance with NFPA 13 | 1.3.D | F | P | A | Y | Y |  |
|  | Installation Instructions | 1.3.E | W | P | A | Y | Y |  |
|  | Materials Part List (Bill of Materials) | 1.3.F | W | P | A | Y | Y |  |
|  | Shop Drawings w/ information required by NFPA 13 | 1.3.G | F | D | A | Y | Y |  |
|  | Test Reports | 1.3.H | WKLY | P | A | Y | Y |  |
|  | Operation and Maintenance Manual with contents as described | 1.3.I | at closeout | P | C | Y | Y |  |
|  | Project Record Drawings (As-Built) on CD’s and prints indicating as-built conditions | 1.3.J | at closeout | D, EM | C | Y | Y |  |
| 21 1339 | Foam-Water Systems |  |  |  |  |  |  |  |
|  | Hydraulic calculations, prepared in accordance with NFPA 13 and 16. Submit calculations with shop drawings. | 1.3.A.1 | F | P, CA | A | Y | Y |  |
|  | Seismic design project record documents. Provide the following: | 1.3.B | W | RD | A | Y | Y |  |
|  | Calculations prepared in accordance with LANL AP-341-605 that demonstrate compliance with 1.3.B | 1.3.B.1 | W | CA | A | Y | Y |  |
|  | Drawings, prepared in accordance with the LANL Drafting Manual, that convey the design to the constructor. | 1.3.B.2 | F | P, D | A | Y | Y |  |
|  | Test and Inspection Plan, prepared in accordance with LANL ESM Chapter 16 as necessary/applicable. | 1.3.B.3 | F | P | A | Y | Y |  |
|  | Items 1-3 above shall be stamped and sealed by a PE licensed by NM | 1.3.B.4 |  |  | A | Y |  |  |
|  | Catalog Data with selected options noted. | 1.3.C | X | P, CD | A | Y | Y |  |
|  | Certifications for welders in accordance with NFPA 13 | 1.3.D | F | P, CT | A | Y | Y |  |
|  | Installation Instructions | 1.3.E | W | P, II | A | Y | Y |  |
|  | Materials Part List (Bill of Materials) | 1.3.F | W | P.ML | A | Y | Y |  |
|  | Shop Drawings | 1.3.G | F | SD | A | Y | Y |  |
|  | Test Reports | 1.3.H | WKLY | P, TR | A | Y | Y |  |
|  | Operation and Maintenance Manual: system description, | 1.3.I | at closeout | P | C | Y | Y |  |
|  | Project Record Drawings (As-Built) on CD’s and prints indicating as-built conditions | 1.3.J | at closeout | D,EM | C | Y | Y |  |
| 21 2200 | Clean Agent Fire-Extinguishing Systems |  |  |  |  |  |  |  |
|  | Product data | 1.3.A | X | P | A | Y | Y |  |
|  | Shop Drawings | 1.3.B | F | D | A | Y | Y |  |
|  | Layout drawings | 1.3.B.1 | F | D | A | Y | Y |  |
|  | Auxiliary details and information | 1.3.B.2 | F | D | A | Y | Y |  |
|  | Separate layouts or drawings for mechanical and electrical work. | 1.3.B.3 | F | D | A | Y | Y |  |
|  | Separate layout or drawings showing isometric details | 1.3.B.4 | F | D | A | Y | Y |  |
|  | Electrical layout drawings. | 1.3.B.5 | F | D | A | Y | Y |  |
|  | Complete hydraulic flow calculations from a UL-listed computer program. | 1.3.B.6 | F | P, EM | A | Y | Y |  |
|  | Drawings, calculations, and system component data sheets for approval before starting construction. | 1.3.B.7 | W | P, D | A | Y | Y |  |
|  | If seismic protection applies, then include: Seismic Calculations: | 1.3.C | W | P | A | Y | Y |  |
|  | Calculations based on a dynamic analysis certified by a registered professional engineer | 1.3.C.1 | W | P | A | Y | Y |  |
|  | Qualifications of dynamic analyst and documentation of computer software systems | 1.3.C.2 | W | P, EM | A | Y | Y |  |
|  | Catalog Data with selected options noted | 1.3.D | X | P, CD | A | Y | Y |  |
|  | Materials Part List (Bill of Materials) | 1.3.E | W | P | A | Y | Y |  |
|  | Test Reports | 1.3.F | WKLY | P | A | Y | Y |  |
|  | Operation and Maintenance Manual: | 1.4.A | at closeout | P | C | Y | Y |  |
|  | Project Record Drawings (As-Built): Provide updated shop drawings on CDs and prints reflecting as-built conditions | 1.4.B | at closeout | D,EM | C | Y | Y |  |
| 21 2223 | Fixed Aerosol Fire Extinguishing System |  |  |  |  |  |  |  |
|  | Product data for aerosol generator | 1.3.A | W | P | A | Y | Y |  |
|  | Product data for Releasing Control Panel | 1.3.B | W | P | A | Y | Y |  |
|  | Shop drawings | 1.3.C | F | D | A | Y | Y |  |
|  | Catalog Data | 1.3.D | W | CD | A | Y | Y |  |
|  | Materials Part List (Bill of Materials) | 1.3.E | F | ML | A | Y | Y |  |
|  | Test Reports | 1.4.A | at closeout | TR | C | Y | Y |  |
|  | Operation and Maintenance Manual | 1.4.B | at closeout | OM | C | Y | Y |  |
|  | Project Record Drawings (As-built) | 1.4.C | at closeout | D | C | Y | Y |  |
|  | Warranty for aerosol generator | 1.4.D | at closeout | WA | C | Y | Y |  |
| 22 0529 | Hangers and Supports for Plumbing Piping and Equipment |  |  |  |  |  |  |  |
|  | Catalog data of hangers and supports | 1.2A.1 | X | P | A | - | - |  |
|  | Shop Drawings showing system layout with location including critical dimensions, sizes, and pipe hanger and support locations and detail of trapeze hangers. | 1.2A.2 | F | SD | A | - | - |  |
|  | Manufacturer’s installation instruction for special procedures and assembly of components if required. | 1.2A.3 | W | P, II | A | - | - |  |
|  | Certification of offsite welders and qualified welding procedure per Section 01 4444 (follow 01 4455 for onsite work). | 1.2A.4 | F | P, CT | A | - | Y |  |
| 22 0535 | Electric Heat Tracing |  |  |  |  |  |  |  |
|  | Catalog Data: Submit catalog data for heater cable, thermostat, controls, fittings, indicator light, and pipe markers | 1.2.A.1 | X | P, CD | A | - | - |  |
|  | Shop Drawings: composite wiring and/or schematic diagrams of the complete system as proposed to be installed (standard diagrams will not be acceptable) as described. | 1.2.A.2 | F | D | A | - | - |  |
|  | Installation Instructions Indicate application conditions and limitations of use stipulated by Product testing agency specified under Regulatory Requirements. Include instructions for storage, handling, protection, examination, installation, and starting of Product. | 1.2.A.3 | W | P, II | A | - | - |  |
|  | Operation and Maintenance Instructions | 1.2.A.4 | at closeout | P, OM | C | - | - |  |
|  | Warranty: Provide a 3-year parts warranty, on materials and workmanship, and 1-year labor warranty beginning on the date of acceptance by LANL. | 1.2.A.5 | at closeout | P, WA | C | - | - |  |
|  | Records of inspections, tests, and adjustments described under FIELD QUALITY CONTROL. | 1.2.A.6 | WKLY | P | A | - | - |  |
| 22 0548 | Vibration and Seismic Controls for Plumbing Piping and Equipment |  |  |  |  |  |  |  |
|  | Catalog data for each type of product specified | 1.5.B | X | P | A | - | - |  |
|  | Materials List: Hanger and support schedule showing manufacturer's figure number, size, spacing, features, and application for each required type of hanger, support, sleeve, seal, and fastener to be used | 1.5.C | W | P, ML | A | - | - |  |
|  | Shop drawings showing details | 1.5.D | F | SD | A | Y | Y | PE |
|  | Certifications | 1.5.E | Z | P | A | Y | Y | PE |
| 22 0554 | Identification for Plumbing, HVAC, and Fire Piping and Equipment |  |  |  |  |  |  |  |
|  | Catalog data | 1.4.1 | X | P | A | Y | Y | PE |
|  | Installation instructions | 1.4.2 | W | P | A | - | - |  |
| 22 0713 | Plumbing and HVAC Insulation |  |  |  |  |  |  |  |
|  | Catalog data: Product description, thermal characteristics and list of materials and thickness for each service, and location. | 1.2.A.1 | X | P, CD | A | Y | Y | PE |
|  | Manufacturer’s Installation Instructions | 1.2.A.2 | W | P, II | A | - | - |  |
| 22 0813 | Testing Piping Systems |  |  |  |  |  |  |  |
|  | Test plan for approval that includes: material of construction, design pressure, test pressure and duration of test, test medium and method of achieving the test pressure, certification on calibration of pressure gauges, method to exclude personnel from the area containing the system to be tested, overpressurization protection/prevention. | 1.3.A.1 | W | TR | A | Y | Y | PE |
|  | Test reports | 1.3.A.2 | DAY | P, TR | A | Y | Y | PE |
| 22 0816 | Disinfection of Potable Water Piping |  |  |  |  |  |  |  |
|  | Free chlorine concentration | 1.3.A.1 | DAY | TR | A | Y | Y |  |
|  | Bacterial Quality Test | 1.3.A.2 | DAY | TR | A | Y | Y |  |
|  | Residual chlorine concentration, after flushing chlorinated water | 1.3.A.3 | DAY | TR | A | Y | Y |  |
|  | Test reports | 22 0816 1.3.B | DAY | TR | A | Y | Y |  |
| 22 1100 | Facility Water Distribution |  |  |  |  |  |  |  |
|  | Catalog data | 1.2.A.1 | X | P, CD | A | - | - |  |
|  | Shop drawings showing pump type, capacity, certified pump curves showing pump performance characteristics with pump and system operating point plotted. Include NPSH curve when applicable. Include electrical characteristics and connection requirements. | 1.2.A.2 | F | SD | A | Y | Y | PE |
|  | Installation instructions | 1.2.A.3 | W | P, II | A | - | - |  |
| 22 1316 | Sanitary Waste and Vent Piping |  |  |  |  |  |  |  |
|  | Catalog data | 1.2.A.1 | X | P, CD | A | - | - |  |
|  | Manufacturer’s Instructions | 1.2.A.2 | W | P, II | A | - | - |  |
|  | Certifications of welders | 1.2.A.3 | F | P, CT | A | Y | Y | PE |
| 22 1343.16 | Facility Wet-Well Packaged Sewage Pumping Stations (Interior) |  |  |  |  |  |  |  |
|  | Catalog data | 1.3.A.1 | X | P | A | Y | Y | PE |
|  | Pump curves | 1.3.A.2 | X | P | A | Y | Y | PE |
|  | Operation and maintenance data | 1.3.A.3 | at closeout | P | C | - | - |  |
|  | Theory of operation | 1.3.A.3.a | at closeout | P | C | - | - |  |
|  | Test procedure | 1.3.A.3.b | Y | P | A | - | - |  |
|  | Operating procedures | 1.3.A.3.c | at closeout | P | C | - | - |  |
|  | Maintenance requirements | 1.3.A.3.d | at closeout | P | C | - | - |  |
|  | Warranties | 1.3.A.4 | at closeout | P | C | - | - |  |
| 22 1413 | Facility Storm Drainage Piping |  |  |  |  |  |  |  |
|  | Catalog data | 1.2.A.1 | X | P, CD | A | - | - |  |
|  | Installation instructions | 1.2.A.2 | W | P, II | A | - | - |  |
|  | Certifications of welders | 1.2.A.3 | F | P, CT | A | Y | Y | PE |
| 22 1500 | Compressed-Air Systems |  |  |  |  |  |  |  |
|  | Catalog data | 1.2.A.1 | X | P, CD | A | Y | Y |  |
|  | Installation Instructions | 1.2.A.2 | W | P, II | A | - | - |  |
|  | Materials/Parts list | 1.2.A.3 | W | P, ML | A | Y | Y |  |
|  | Operational and maintenance data | 1.2.A.4 | at closeout | P, OM | C | - | - |  |
|  | Warranties | 1.2.A.5 | at closeout | P, WA | A | - | - |  |
|  | Certification of welders and qualified welding procedure per Section [01 4444] [and] [01 4455]. | 1.2.A.6 | F | P, CT | A | Y | Y | PE |
|  | Welding inspection reports | 1.2.A.7 | Z | P | A | Y | Y | PE |
| 22 3700 | Domestic Water Heaters |  |  |  |  |  |  |  |
|  | Product Data: For each type and size of water heater indicated, include rated capacities, operating characteristics, electrical characteristics, and furnished specialties and accessories. Include documentation indicating that units comply with applicable requirements in ASHRAE/IESNA 90.1, Section 7, Service Water Heating [or Energy Star] | 1.3.A | X | CD | A | Y | Y | PE |
|  | Shop Drawings: Wiring Diagrams for power, signal, and control wiring | 1.3.B | F | SD | A | - | - |  |
|  | Operation and Maintenance Data: Include emergency, operation, and maintenance manuals | 1.3.C | at closeout | P, OM | C | - | - |  |
|  | Certification of welders and qualified welding procedure per Sections [01 4444] [and] [01 4455] | 1.3.D | F | P, CT | A | Y | Y | PE |
|  | Product Certificates: For each type of [electric,] [tankless,] [gas-fired] water heater from manufacturer | 1.3.E | X | P, CT | A | Y | Y | PE |
|  | Warranty: Provide documentation of [One] [Three] [Five] [____] year warranty | 1.3.F | at closeout | P, WA | A | - | - |  |
|  | Test Reports: For each type of [electric,] [tankless,] [gas-fired] water heater. [Include factory test reports] | 1.3.G | WKLY | P, TR | A | Y | Y |  |
|  | Water Heater Labeling: Certified and labeled by testing agency acceptable to authorities having jurisdiction. [UL, AGA, ASME, ASHRAE, CSA, NSF] | 1.3.H | at closeout | P | A | Y | Y | PE |
|  | Indicate EER (Energy Efficiency Rating) or Energy Factor (EF) for equipment provided under work of this Section | 1.3.I.1 | X | P, CT | A | Y | Y | PE |
|  | Submit documentation for Energy Star qualifications for equipment provided under work of this Section | 1.3.I.2 | X | P, CT | A | Y | Y | PE |
| 22 4200 | Plumbing Fixtures |  |  |  |  |  |  |  |
|  | Product Data | 1.3.A. | X | S,P | A | Y | Y | PE |
|  | Manufacturer's Installation Instructions. | 1.3.B | W | P, II | A | - | - |  |
|  | Manufacturer's Certificate | 1.3.C | W | P, CT | A | Y | Y | PE |
|  | Contract Closeout | 1.4.A | at closeout | P | C | - | - |  |
|  | Operation and Maintenance Data | 1.4.B | at closeout | P | C | - | - |  |
| 23 0593 | Testing, Adjusting, and Balancing for HVAC |  |  |  |  |  |  |  |
|  | Date of expiration of AABC or NEBB certification | 1.4.A.1 | W | P | A | Y | Y | PE |
|  | TAB instruments that are to be used and calibration dates | 1.4.A.2 | W | P | A | Y | Y | PE |
|  | Proposed TAB procedures, together with the TAB schematic drawings and Report Forms, for review. | 1.4.A.3 | W | P | A | Y | Y | PE |
|  | Field Reports indicating deficiencies preventing proper testing, adjusting, and balancing of systems and equipment to achieve specified performance. | 1.4.A.4 | WKLY | P | A | Y | Y | PE |
|  | Draft copies of test report for review prior to final acceptance TAB test result. | 1.4.A.5 | W | P | A | Y | Y | PE |
|  | Final test reports | 1.4.A.6 | W | P | A | Y | Y | PE |
| 23 1123 | Facility Natural Gas Piping |  |  |  |  |  |  |  |
|  | Catalog data on pipe materials | 1.2.A.1 | X | P, CD | A | - | - |  |
|  | Certification of welders | 1.2.A.2 | F | P, CT | A | Y | Y | PE |
| 23 2113 | Hydronic Piping |  |  |  |  |  |  |  |
|  | Catalog data on pipe materials, fittings, valves, and accessories | 1.2.A.1 | X | P, CD | A | - | - |  |
|  | Installation instructions for valves and accessories | 1.2.A.2 | W | P, II | A | - | - |  |
|  | Welding procedures and qualifications. | 1.2.A.3 | F | P | A | Y | Y | PE |
|  | Certifications of welders and qualified welding procedures per section [01 4444] [and] [01 4455]. | 1.2.A.4 | F | P, CT | A | Y | Y | PE |
| 23 2215 | Steam and Condensate Heating Piping and Specialties |  |  |  |  |  |  |  |
|  | Catalog data on pipe materials, pipe fittings, valves, and piping specialties specified including electrical characteristics and connection requirements. | 1.2.A.1 | X | P, CD | A | Y | Y | PE |
|  | Product description, model, dimensions, component/service sizes, rough-in requirements, and finishes. | 1.2.A.2 | X | P | A | Y | Y | PE |
|  | Manufacturer’s catalog information with valve data and rating for each service | 1.2.A.3 | X | P | A | Y | Y | PE |
|  | Certification of welders | 1.2.A.4 | F | P, CT | A | Y | Y | PE |
| 23 2300 | Refrigerant Piping |  |  |  |  |  |  |  |
|  | Catalog data: pipe materials, | 1.2.A.1.a | X | P | A | Y | Y |  |
|  | Catalog data: Refrigerant Specialties | 1.2.A.1.b | X | P | A | - | - |  |
|  | Manufacturer's Installation Instructions | 1.2.A.2 | W | P, II | A | - | - |  |
|  | Operations and Maintenance Manual: operation and maintenance instructions for refrigerant specialties | 1.2.A.3 | at closeout | P, OM | C | - | - |  |
|  | Certification of welders | 1.2.A.4 | F | P, CT | A | Y | Y | PE |
| 23 2500 | HVAC Water Treatment |  |  |  |  |  |  |  |
|  | Catalog data of flushing and chemical water treatment | 1.5.A.1 | X | P, CD | A | - | - |  |
|  | Shop Drawings indicating system schematic, equipment locations, and controls schematics, electrical characteristics and connection requirements. | 1.5.A.2 | F | SD | A | - | - |  |
|  | Manufacturer’s Installation Instructions showing placement of equipment in systems, piping configuration, and connection requirements. | 1.5.A.3 | W | P, II | A | - | - |  |
|  | Manufacturer’s Certification of products to meet or exceed specified requirements. | 1.5.A.4 | X | P, CT | A | - | - |  |
|  | Operation and Maintenance data on equipment, procedures, and treatment program | 1.5.A.5 | at closeout | P, OM | C | - | - |  |
|  | Material list of all chemicals to be used. | 1.5.A.6 | W | P | A | - | - |  |
|  | Manufacturer’s Field Reports: Indicate start-up of treatment systems when completed and operating properly. Indicate analysis of system water after cleaning and after treatment. | 1.5.A.7 | WKLY | P | A | - | - |  |
| 23 3101 | HVAC Ducts |  |  |  |  |  |  |  |
|  | Catalog data for duct materials, flexible duct/connectors, sealing materials. | 1.2.A.1 | X | P, CD | A | Y | Y | PE |
|  | Shop drawings indicating duct layout with pressure classification and sizes, fittings, hangers and supports, [seismic restraints], seam and joint construction, connections to equipment such as coils, etc., for pressure class ducts [ ] inches and greater. | 1.2.A.2 | F | SD | A | Y | Y | PE |
|  | Test Reports indicating pressure tests performed. Include date, section tested, test pressure, and leakage rate, following SMACNA HVAC Air Duct Leakage Test Manual. | 1.2.A.3 | WKLY | P, TR | A | Y | Y | PE |
|  | Certificates showing conformance with the applicable standards for ductwork materials, brazing materials, mill-rolled reinforcing and supporting materials, welding procedures, shop test procedures and reports. | 1.2.A.4 | Y | P, CT | A | Y | Y | PE |
|  | Certification of welders and qualified welding procedure per Section [01 4444] [and] [01 4455]. | 1.2.A.5 | F | P, CT | A | Y | Y | PE |
| 23 3225 | Bag-in Bag-out Housings |  |  |  |  |  |  |  |
|  | Fire Screen catalog data indicating materials of construction and mesh size | 1.3.A.1.a | X | CD | A | Y | Y | PE |
|  | Prefilters | 1.3.A.2 |  |  |  |  |  |  |
|  | Catalog data indicating the filter efficiency and pressure drop at rated capacity | 1.3.A.2.a | X | CD | A | Y | Y | PE |
|  | Certificate of Conformance (CoC) that the prefilter conforms to ASME AG-1, Section FB and to the purchase specification | 1.3.A.2.b | S | CT | A | Y | Y | PE |
|  | Moisture Separator | 1.3.A.3 |  |  |  |  |  |  |
|  | Drawings giving outline and interface dimensions of the moisture separator | 1.3.A.3.a | Z | SD | A | Y | Y | PE |
|  | Installation and maintenance instructions | 1.3.A.3.b | Z | II, OM | C | - | - |  |
|  | Storage and handling instructions | 1.3.A.3.c | Z | OM | A | - | - |  |
|  | Certificate of Conformance (CoC) that the moisture separator conforms to AG-1, Section FA and to the purchase specifications | 1.3.A.3.d | S | CT | A | Y | Y | PE |
|  | Chemical Absorbers | 1.3.A.4 |  |  |  |  |  |  |
|  | Table or drawing giving outline dimensions of the cell | 1.3.A.4.a | Z | SD | A | Y | Y | PE |
|  | Certified Material Test Reports (CMTRs) of materials used in construction | 1.3.A.4.b | Z | CT | A | Y | Y | PE |
|  | Adsorbent type with applicable test reports | 1.3.A.4.c | S | TR | A | Y | Y | PE |
|  | Welding procedures and procedure qualifications | 1.3.A.4.d | W | CT | A | Y | Y | PE |
|  | All qualification reports (seismic and filling method) | 1.3.A.4.e | S | TR | A | Y | Y | PE |
|  | Certification of performance (resistance and leak test) | 1.3.A.4.f | S | TR | A | Y | Y | PE |
|  | Residence time | 1.3.A.4.g | S | TR | A | Y | Y | PE |
|  | Certification of the appropriate flow rate | 1.3.A.4.h | S | CT | A | Y | Y | PE |
|  | Filter Train | 1.3.A.5 |  |  |  |  |  |  |
|  | Catalog data | 1.3.A.5.a | X | CD | A | Y | Y | PE |
|  | Certification of Conformance (CoC) that unit meets the applicable ASME AG-1, Section HA [and DA](1) requirements | 1.3.A.5.b | S | CT | A | Y | Y | PE |
|  | Installation instructions | 1.3.A.5.c | Z | II | A | - | - |  |
|  | Materials / Parts lists | 1.3.A.5.d | Z | ML | A | - | - |  |
|  | Shop Drawings | 1.3.A.5.e | Z | SD | A | Y | Y | PE |
|  | Test report of pressure decay leak test for the entire housing and each sub assembly | 1.3.A.5.f | S | TR | A | Y | Y | PE |
|  | Test report for the airflow distribution qualification test per this specification | 1.3.A.5.g | S | TR | A | Y | Y | PE |
|  | Test report for the air-aerosol mixing uniformity test per this specification | 1.3.A.5.h | S | TR | A | Y | Y | PE |
|  | Test report for sampling manifold qualification test per this specification | 1.3.A.5.i | S | TR | A | Y | Y | PE |
|  | Warranties | 1.3.A.5.j | Z | WA | A | - | - |  |
| 23 3300 | Air Duct Accessories |  |  |  |  |  |  |  |
|  | Product data | 1.2.A | X | P | A | - | - |  |
|  | Leakage, pressure drop, maximum operating [pressure] [velocity], and maximum back pressure data | 1.2.A.1 | Z | OT | A | Y | Y | PE |
|  | UL ratings, dynamic ratings, and fire/smoke rating data. | 1.2.A.2 | Z | OT | A | Y | Y | PE |
|  | Damper pressure drop ratings based on tests and procedures | 1.2.A.3 | Z | OT | A | Y | Y | PE |
|  | Shop drawings | 1.2.B | F | D | A | - | - |  |
|  | Damper schedule | 1.2.C | W | ML | A | Y | Y | PE |
|  | Installation instructions | 1.2.D | W | II | A | - | - |  |
|  | CoCs | 1.2.E | W | CT | A | Y | Y | PE |
|  | Welder certs | 1.2.F | F | CT | A | Y | Y | PE |
|  | LEED submittal | 1.2.G | X | P | SD | Y | Y | PE |
| 23 3400 | HVAC Fans |  |  |  |  |  |  |  |
|  | Product data for each type of product | 1.4.A. | X | OT | A | - | - |  |
|  | Include rated capacities, furnished specialties, and accessories for each fan | 1.4.A.1 | X | OT | A | Y | - | PE |
|  | Certified fan performance curves with system operating conditions indicated | 1.4.A.2 | X | PD | A | Y | Y | PE |
|  | Certified fan sound-power ratings | 1.4.A.3 | X | CT | A | Y | Y | PE |
|  | Motor ratings and electrical characteristics, plus motor and electrical accessories | 1.4.A.4 | X | OT | A | - | - |  |
|  | Material thickness and finishes, including color charts | 1.4.A.5 | X | ML | A | - | - |  |
|  | Dampers, including housings, linkages, and operators | 1.4.A.6 | X | OT | A | Y | Y | PE |
|  | Shop Drawings to include: | 1.4.B. | F | D | A | - | - |  |
|  | Plans, elevations, sections, and attachment details | 1.4.B.1 | F | D | A | Y | - | PE |
|  | Details of equipment assemblies. Indicate dimensions, weights, loads, required clearances, method of field assembly, components, and location and size of each field connection | 1.4.B.2 | F | D | A | Y | Y | PE |
|  | Diagrams for power, signal, and control wiring | 1.4.B.3 | F | ED | A | - | - |  |
|  | Manufacturer's Installation, Operation and Maintenance (IOM) Instructions: Submit fan manufacturer’s IOM instructions. Include instructions for rigging, lifting, bearing lubrication, motor and drive replacement and wiring diagrams | 1.4.C | at closeout | OM, II | C | - | - |  |
|  | Manufacturer's Certificate: Certify products meet or exceed specified requirements | 1.4.D | Y | CT | A | Y | Y | PE |
|  | Delegated Design Submittal | 1.4.E | Z | O, OT | DD | Y | - | PE |
|  | Vibration Isolation Base Details | 1.4.E.1 | Z | II | A | Y | Y | PE |
|  | Design Calculations | 1.4.E.2 | Z | CA | A | Y | - | PE |
| 23 3816 | Fume Hoods |  |  |  |  |  |  |  |
|  | Product data | 1.5.B | X | P | A | Y | Y | PE |
|  | Catalog or manufacturer’s data | 1.5.B.1 | X | P | A | Y | Y | PE |
|  | Materials/parts list | 1.5.B.2 | W | P | A | - | - |  |
|  | Shop drawings | 1.5.C | F | D | A | - | - |  |
|  | Shop drawings indicating component dimensions, tolerances, equipment locations, large scale plans, elevations, ends, cross sections, mechanical/electrical rough-in and anchor placement dimensions, clearances for maintenance and operation, size and location of field connections, construction details, utility requirements, service run spaces, and materials used | 1.5.C.1 | F | D | A | Y | Y | PE |
|  | Wiring diagrams | 1.5.C.2 | W | D | A | - | - |  |
|  | Samples (int lining, enclosure, work surfaces, other prefinished equip, signs). Penetration portal sample with grommet [include only when specified]. | 1.5.D | X | S | A | Y | Y | PE |
|  | Test Reports and Certificates | 1.5.E | WKLY | TR,CT | A | Y | Y | PE |
|  | Certification (CoC or other equivalent document) | 1.5.E.1 | Y | P | A | Y | Y | PE |
|  | UL Standards for Safety listing | 1.5.E.2 | Y | P | A | - | - |  |
|  | Test reports | 1.5.E.3 | WKLY | TR | A | Y | Y | PE |
|  | Certification | 1.5.E.4 | F | CT | A | Y | Y | PE |
|  | Test report | 1.5.E.5 | WKLY | TR | A | Y | Y | PE |
|  | Manufacturer’s instructions | 1.5.F | W | P | A | - | - |  |
|  | Manufacturer’s installation and assembly instructions | 1.5.F.1 | W | P, II | A | - | - |  |
|  | Written instructions | 1.5.F.2 | W | P | A | - | - |  |
|  | Submit in accordance with Sections 01 3300 and 01 7700 | 1.5.G.1 | Closeout | P | C | - | - |  |
| 23 4133 | High Efficiency Particulate Filtration |  |  |  |  |  |  |  |
|  | ASME AG-1, Section FC HEPA Filters | 1.6.A |  |  |  | - | - |  |
|  | Certification documentation | 1.6.A.1 | Y | P-CT | A | Y | Y | PE |
|  | Certified performance test results by the FTF | 1.6.A.2 | Y | CT-TR | A | Y | Y | PE |
|  | Certified performance test results by the manufacturer | 1.6.A.3 | Y | CT-TR | A | Y | Y | PE |
|  | QA plan (if not on IESL) | 1.6.A.4 | X, Z | P | A | Y | Y | QA |
|  | COC that is signed or otherwise authenticated and stating specific information listed | 1.6.A.5 | Y | CT | A | Y | Y | PE |
|  | Statement indicating filters meet several specific requirements | 1.6.A.6 | Y | CT | A | Y | Y | PE |
|  | Warranty documentation | 1.6.A.7 | Y | WA | A | - | - |  |
|  | ASME AG-1, Section FK Special HEPA Filters | 1.6.B |  |  |  | - | - |  |
|  | Certification documentation | 1.6.B.1 | Y | P | A | Y | Y | PE |
|  | Certified performance test results by the FTF | 1.6.B.2 | Y | CT-TR | A | Y | Y | PE |
|  | Certified performance test results by the manufacturer | 1.6.B.3 | Y | CT-TR | A | Y | Y | PE |
|  | QA plan identifying procurement, fabrication, test & inspection, material traceability and non-conformity controls for approval (if not on IESL) | 1.6.B.4 | X, Z | P | A | Y | Y | QA |
|  | CoC that is signed or otherwise authenticated and stating specific information listed | 1.6.B.5 | Y | CT | A | Y | Y | PE |
|  | Statement indicating that filters meet several specific requirements | 1.6.B.6 | Y | CT | A | Y | Y | PE |
|  | Warranty Documentation | 1.6.B.7 | Y | WA | A | - | - |  |
|  | Auxiliary HEPA Filters | 1.6.C |  |  |  | - | - |  |
|  | CoC that is signed or otherwise authenticated by responsible managers within the supplying organization and that certifies the conformance of end-items to several specific order requirements | 1.6.C.1 | Y | CT | A | Y | Y | PE |
|  | Warranty Documentation | 1.6.C.2 | Y | WA | A | - | - |  |
| 23 6200 | Packaged Compressor and Condenser Units |  |  |  |  |  |  |  |
|  | Product Data: For each air-cooled packaged compressor and condenser unit, include rated capacities, operating characteristics, furnished specialties and accessories. | 1.4.A | X | P | A | Y | Y | PE |
|  | Shop Drawings: Indicate components, assembly, dimensions, weights and loading, required clearances, location and size of field connections, electrical requirements, and wiring diagrams for power, signal and control wiring. Include schematic layouts showing condenser, refrigeration compressors, cooling coils, refrigerant piping and accessories required for complete system. Include plans, elevations, sections, details, and attachments to other work | 1.4.B | F | SD, P | A | Y | Y | PE |
|  | Manufacturer's Installation Instructions | 1.4.C | W | II | A | - | - |  |
|  | Operation and Maintenance Data: Submit instructions for lubrication, filter replacement, motor and drive replacement, spare parts lists, and wiring diagrams | 1.4.D | at closeout | SP, D, O M | C | - | - |  |
|  | NOTE: Provide LEED submittals only if the project is pursuing LEED certification. | 1.4 |  |  |  | - | - |  |
|  | LEED Submittals: | 1.4.E | X | P | SD | Y | Y | PE |
|  | Product Data for Prerequisite EA 2: Documentation indicating that units comply with applicable requirements in ASHRAE/IESNA 90.1 | 1.4.E.1 | X | P | SD | Y | Y | PE |
|  | Product Data for Credit EA 4: Documentation indicating that compressor and condenser units and refrigerants comply | 1.4.E.2 | X | P | SD | Y | Y | PE |
|  | Delegated-Design Submittal: For vibration isolation and seismic restraints indicated to comply with performance requirements and design criteria, including analysis data signed and sealed by the NM licensed professional engineer responsible for their preparation | 1.4.F | F | P | DD | Y | Y | PE |
|  | Vibration Isolation Base Details: Installation details including anchorages and attachments to structure and to supported equipment. Include auxiliary motor slides and rails and equipment mounting frames | 1.4.F.1 | F | II, P | DD | Y | Y | PE |
|  | Design Calculations: Calculate requirements for selecting vibration isolators and seismic restraints, and for designing vibration isolation bases | 1.4.F.2 | F | CA | DD | Y | - | PE |
| 23 6509 | Induced-Draft Cooling Towers - -Steel |  |  |  |  |  |  |  |
|  | Catalog data | 1.3.A.1 | X | CD, P | A | Y | Y | PE |
|  | Certifications | 1.3.A.2 | F | CT, P | A | Y | Y | PE |
|  | Installation instructions | 1.3.A.3 | W | II | A | - | - |  |
|  | Performance curves | 1.3.A.4 | X | PD, P | A | Y | Y | PE |
|  | Operations and maintenance data. | 1.3.A.5 | at closeout | OM, P | C | - | - |  |
|  | Warranties | 1.3.A.6 | at closeout | WA, P | C | - | - |  |
|  | Shop drawings | 1.3.A.7 | F | SD | A | - | - |  |
| 23 6511 | Induced-Draft Cooling Towers --Fiberglass |  |  |  |  |  |  |  |
|  | Catalog data | 1.3.A.1 | X | CD, P | A | Y | Y | PE |
|  | Certifications | 1.3.A.2 | F | CT, P | A | Y | Y | PE |
|  | Installation instructions | 1.3.A.3 | W | II | A | - | - |  |
|  | Performance curves | 1.3.A.4 | X | PD, P | A | Y | Y | PE |
|  | Operations and maintenance data | 1.3.A.5 | at closeout | OM, P | C | - | - |  |
|  | Warranties | 1.3.A.6 | at closeout | WA, P | C | - | - |  |
|  | Shop drawings | 1.3.A.7 | F | SD | A | - | - |  |
| 23 7300 | Indoor Central-Station Air Handling Units |  |  |  |  |  |  |  |
|  | Shop Drawings | 1.4.A | F | SD | A | Y | Y | PE |
|  | Product Data, submit the following: | 1.4.B. | X | CD | A | - | - |  |
|  | Published Literature | 1.4.B.1 | X | P | A | Y | Y | PE |
|  | Filters | 1.4.B.2 | X | P | A | Y | Y | PE |
|  | Fans | 1.4.B.3 | X | P | A | Y | Y | PE |
|  | Coils | 1.4.B.4 | X | P | A | Y | Y | PE |
|  | Dampers | 1.4.B.5 | X | P | A | Y | Y | PE |
|  | Sound Power Level Data | 1.4.B.6 | X | P | A | Y | Y | PE |
|  | Electrical Requirements | 1.4.B.7 | X | D | A | Y | Y | PE |
|  | LEED Submittal: | 1.4.C | X | P | SD | - | - |  |
|  | Product Data for Prerequisite EQ 1 | 1.4.C.1 | X | P | SD | Y | Y | PE |
|  | Product Data for Prerequisite EQ 2 | 1.4.C.2 | X | P | SD | Y | Y | PE |
|  | Manufacturer’s Installation Instructions | 1.4.D | W | II | A | - | - |  |
|  | Operation and Maintenance Data | 1.4.E | at closeout | II, SP, D, WA | C | - | - |  |
|  | Delegated-Design Submittal | 1.4.F | F | P | DD | Y | - | PE |
|  | Vibration Isolation Base Details | 1.4.F.1 | F | II | DD | Y | Y | PE |
|  | Design Calculations | 1.4.F.2 | F | CA | DD | Y | - | PE |
| 23 7413 | Packaged, Outdoor, Central Station |  |  |  |  |  |  |  |
|  | Shop Drawings, the following: | 1.2.B | F | SD | A | Y | Y | PE |
|  | Assembly drawings showing unit dimensions, weight loading, required clearances, construction details, field connection details, and electrical characteristics and connection requirements. | 1.2.B.1 | F | D | A | Y | Y | PE |
|  | Product data | 1.2.C | X | P | A | - | - |  |
|  | Published Literature indicating cooling and heating capacities, ratings, gages, finishes of materials, electrical characteristics and connection requirements, controls, and accessories. | 1.2.C.1 | X | P | A | Y | Y | PE |
|  | Data for filter media, filter performance data, filter assembly, and filter frames. | 1.2.C.2 | X | P | A | Y | Y | PE |
|  | Performance and fan curves with specified operating point plotted, power, RPM. | 1.2.C.3 | X | P, D, PD | A | Y | Y | PE |
|  | Sound Power Level Data: Fan outlet and casing radiation at rated capacity. | 1.2.C.4 | W | P | A | Y | Y | PE |
|  | Dampers: Include leakage, pressure drop, and sample calibration curves. Indicate materials, construction, dimensions, and installation details. | 1.2.C.5 | W | P | A | Y | Y | PE |
|  | Electrical requirements | 1.2.C.6 | W | P | A | Y | Y | PE |
|  | Test Reports Submit results of factory test at [time of unit shipment] | 1.2.D | S | TR | A | Y | Y | PE |
|  | Manufacturer's Installation Instructions | 1.2.E | W | P-II | A | - | - |  |
|  | Manufacturer's Certificate | 1.2.F | W | CT | A | Y | Y | PE |
|  | Manufacturer’s Field Reports: | 1.2.G | WKLY | P | A | Y | Y | PE |
|  | Operations and maintenance data | 1.2.H | at closeout | P, OM | C | - | - |  |
| 23 8123 | Computer-Room Air-Conditioners |  |  |  |  |  |  |  |
|  | Product data: For each type of product indicated. Include rated capacities, operating characteristics, electrical characteristics, and furnished specialties and accessories | 1.4.A | X | OT | A | Y | Y | PE |
|  | Shop drawings: For computer-room air conditioners. Include plans, elevations, sections, details, and attachments to other work | 1.4.B | F | D | A | - | - |  |
|  | Detail equipment assemblies and indicate dimensions, weights, loads, required clearances, method of field assembly, components, and location and size of each field connection | 1.4.B.1 | F | OT | A | Y | Y | PE |
|  | Wiring Diagrams: For power, signal, and control wiring | 1.4.B.2 | W | ED | A | - | - |  |
|  | Manufacturer's Installation Instructions: Submit procedures for rigging and making service connections | 1.4.C | W | II | A | - | - |  |
|  | Operation and Maintenance Data: Submit installation instructions, start-up instructions, operating and maintenance instructions, parts lists, controls, and accessories | 1.4.D | at closeout | OM | C | - | - |  |
|  | Manufacturer's Certificate: Certify products meet or exceed specified requirements | 1.4.E | Y | CT | A | Y | Y | PE |
|  | LEED Submittals | 1.4.F | S | P | SD | Y | Y | PE |
|  | Product Data for Credit EA 4: Documentation indicating that equipment and refrigerants comply | 1.4.F.1 | S | P | SD | Y | Y | PE |
|  | Product Data for Prerequisite IEQ 1: Documentation indicating that units comply with ASHRAE 62.1 | 1.4.F.2 | S | P | SD | Y | Y | PE |
| 23 8239 | Unit Heaters |  |  |  |  |  |  |  |
|  | Product Data: for each type and size of unit heater indicated | 1.3.A | X | P | A | - | - |  |
|  | Shop Drawings: Detail equipment assemblies and indicate dimensions, weights, loads, required clearances, method of field assembly, components, and location and size of each field connection | 1.3.B | F | SD | A | - | - |  |
|  | Plans, elevations, sections, and details | 1.3.B.1 | F | D | A | - | - |  |
|  | Detail equipment assemblies and indicate dimensions, weights, loads, required clearances, method of field assembly | 1.3.B.2 | F | P | A | Y | Y | PE |
|  | Location and size of each field connection | 1.3.B.3 | F | P | A | - | - |  |
|  | Wiring Diagrams: Power, signal, and control wiring as applicable | 1.3.B.4 | F | ED | A | - | - |  |
|  | Equipment schedules to include rated capacities, furnished specialties, and accessories | 1.3.B.5 | F | P | A | Y | Y | PE |
|  | Manufacturer's Installation Instructions | 1.3.C | F | II | A | - | - |  |
|  | Warranty: Provide documentation of [Five] [Ten] [_____] year warranty | 1.3.D | at closeout | WA | A | - | - |  |
|  | Unit Heater Labeling: Certified and labeled by testing agency acceptable to authorities having jurisdiction. [UL, AGA, ASHRAE, CSA] | 1.3.E | F | CT, O | A | - | - |  |
|  | Test Reports: For each type of [electric,] [gas-fired] [hot water] unit heater. [Include factory test reports] | 1.3.F | W | TR | A | Y | Y | PE |
|  | Operation and maintenance data: Include emergency, operation, and maintenance manuals | 1.3.G | at closeout | O, M | C | - | - |  |
| 25 5000 | Integrated Automated Facility Controls |  |  |  |  |  |  |  |
|  | BAS system manufacturer and subcontract information | 1.3.A.1 | With Bid | P | A | - | - |  |
|  | Submittals | 1.3.A.2 | W | P, D | A | - | - |  |
|  | Shop drawings shall be provided that show detailed communications | 1.3.A.2.a | F | P, D,EM | A | - | - |  |
|  | Electrical Ladder Diagrams | 1.3.A.2.a.i | F | D | A | - | - |  |
|  | The sequence of operation | 1.3.A.2.a.ii | W | P | A | - | - |  |
|  | A complete material listing shall be included | 1.3.A.2.a.iii | X | P | A | - | - |  |
|  | Catalog data sheets shall be provided for each different piece of equipment | 1.3.A.2.b | X | P | A | - | - |  |
|  | Point verification and sensor calibration forms for all points and sensors that are installed as part of the BAS. | 1.3.A.2.c | Y | P | A | - | - |  |
|  | All graphic slides proposed for use | 1.3.A.2.d | Z | P | A | - | - |  |
|  | Software development parameters | 1.3.A.2.e | Z | P | A | - | - |  |
|  | Report templates | 1.3.A.2.e.i | Z | EM | A | - | - |  |
|  | Blank forms for completion of password information by the LANL STR. | 1.3.A.2.e.ii | Z | OT | A | - | - |  |
|  | Blank schedule forms for each air-handling unit for completion by the LANL STR. | 1.3.A.2.e.iii | Z | P | A | - | - |  |
|  | Provide detailed operation sequences | 1.3.A.2.f | W | P | A | - | - |  |
| 25 0519 | Low Voltage Electrical Conductors and Cables For BAS Electrical Systems |  |  |  |  |  |  |  |
|  | Catalog Data: BAS wire | 1.4.A.1 | W | CD, P | A | Y | - |  |
|  | Catalog Data: BAS cable | 1.4.A.2 | W | CD, P | A | Y | - |  |
|  | Catalog Data: Compression connectors | 1.4.A.3 | W | CD, P | A | Y | - |  |
| 25 0529 | Hangers and Supports for Building Automation Systems |  |  |  |  |  |  |  |
|  | Product data on cable hook devices, including attachment methods including, but not limited to materials, finishes, approvals, load ratings, and dimensional information. | 1.5.A | W | CD, P | A | Y | - |  |
| 25 0533 | Raceways and Boxes for BAS Electrical Systems |  |  |  |  |  |  |  |
|  | Catalog Data describing surface metal raceway and substantiating that materials comply with specified requirements. | 1.2.A.1 | W | CD, P | A | Y | - |  |
|  | Catalog Data describing wire way and substantiating that materials comply with specified requirements. | 1.2.A.2 | W | CD, P | A | Y | - |  |
| 25 0553 | Identification for BAS Electrical Systems |  |  |  |  |  |  |  |
|  | N/A |  |  |  |  |  |  |  |
| 26 0519 | Low Voltage Electrical Power Conductors and Cables |  |  |  |  |  |  |  |
|  | Certification of the Subcontractor’s tool and instrument calibration program | 1.4.A | W | CT | A | Y | - |  |
|  | Field test records on tool and instrument calibration, termination torque records, cable pulling, and Field Quality Control inspection reports and tests results. | 1.5.A.1 | WKLY | TR | C | Y | Y |  |
| 26 0526 | Grounding and Bonding for Electrical Systems |  |  |  |  |  |  |  |
|  | Catalog Data for grounding conductors | 1.3.A.1 | X | CD | A | Y | Y | PE |
|  | Shop Drawings: for signal reference grid fabrication and installation. | 1.3.A.2 | U | SD | A | Y | Y | PE |
|  | Project Record Documents: to include specified certifications and field test reports of installed grounding systems | 1.3.A.3 | Z | RD | A | Y | Y | PE |
| 26 0529 | Hangers and Supports for Electrical Systems |  |  |  |  |  |  |  |
|  | Catalog Data: for each type of product specified. | 1.4.A.1 | X | CD, P | A | Y | Y |  |
| 26 0533 | Raceway and Boxes for Electrical Systems |  |  |  |  |  |  |  |
|  | Catalog Data: describing floor boxes. | 1.2.A.1 | Z | CD, P | A | Y | Y |  |
|  | Catalog Data: describing surface metal raceway. | 1.2.A.2 | Z | CD, P | A | Y | Y |  |
|  | Catalog Data: describing wireway. | 1.2.A.3 | Z | CD, P | A | Y | Y |  |
| 26 0536 | Cable Trays for Electrical Systems |  |  |  |  |  |  |  |
|  | Catalog Data: manufacturer's data | 1.3.A.1.a | X | CD | A | Y | Y | PE |
|  | Manufacturer's data on smoke seal and fire stop products | 1.3.A.1.b | X | P | A | Y | Y |  |
|  | Test Reports: results of tests performed or witnessed | 1.3.A.2 | WKLY | TR | A | Y | Y |  |
|  | Shop Drawings: Detail fabrication and installation of cable tray | 1.3.A.3 | F | SD | A | Y | Y |  |
|  | Installation Instructions: Indicate application conditions and limitations of use | 1.3.A.4 | W | II | A | Y | Y |  |
|  | Certification Submit certification and backup information that cable tray systems with Ip greater than 1.0 can perform required functions after a design earthquake as specified in "SERVICE CONDITIONS" below. Refer to Section 26 0548 – Vibration and Seismic Controls for Electrical Systems | 1.3.A.5 | W | CT | A | Y | Y |  |
| 26 0548 | Vibration and Seismic Controls for Electrical Systems |  |  |  |  |  |  |  |
|  | Catalog Data: Submit catalog data for each type of product specified. Include information substantiating equivalent corrosion resistance to zinc coated steel of alternative treatment, finish, or inherent material characteristic | 1.4.A | X | CD, P | A | Y | Y |  |
|  | Material List: Submit schedule showing manufacturer's figure number, size, spacing, features, and application for each required type of hanger, support, sleeve, seal, vibration isolator, and fastener to be used | 1.4.B | F | ML | A | Y | Y |  |
|  | Test reports: | 1.4.C |  |  |  |  |  |  |
|  | Pre-set Concrete Anchors | 1.4.C.2 | X | P | A | Y | Y |  |
|  | Vibration Isolators | 1.4.C.3 | X | P | A | Y | Y |  |
|  | Shop Drawings: Submit shop drawings showing details of fabricated hangers, vibration isolators, supports, and seismic control of the electrical nonstructural components listed below | 1.4.D |  |  |  |  |  |  |
|  | Battery racks and battery cabinets | 1.4.D.1 | F | SD | A | Y | Y |  |
|  | Cable trays | 1.4.D.2 | F | SD | A | Y | Y |  |
|  | Enclosed bus assemblies | 1.4.D.3 | F | SD | A | Y | Y |  |
|  | Transformers | 1.4.D.4 | F | SD | A | Y | Y |  |
|  | Component Certifications: | 1.4.E |  |  |  |  |  |  |
|  | Unit substation [SUS-A] | 1.4.E.1 | F | CT | A | Y | Y |  |
|  | Transformers [XFMR-A, XFMR-3] | 1.4.E.2 | F | CT | A | Y | Y |  |
|  | Switchgear [SWGR-B] | 1.4.E.3 | F | CT | A | Y | Y |  |
|  | Switchboard [SWBD-E] | 1.4.E.4 | F | CT | A | Y | Y |  |
|  | Panelboards [EP-A, EP-1] | 1.4.E.5 | F | CT | A | Y | Y |  |
|  | Enclosed circuit breakers and safety switches [CBE-G, CDD-E] | 1.4.E.6 | F | CT | A | Y | Y |  |
|  | Motor control center [MCC-D] | 1.4.E.7 | F | CT | A | Y | Y |  |
|  | Variable frequency motor controllers [VFD-F, VFD-H] | 1.4.E.8 | F | CT | A | Y | Y |  |
|  | Engine-generator [GDE-A] | 1.4.E.9 | F | CT | A | Y | Y |  |
|  | Uninterruptible power supply [UPS-D] | 1.4.E.10 | F | CT | A | Y | Y |  |
| 26 0553 | Identification for Electrical Systems |  |  |  |  |  |  |  |
|  | Catalog Data: for each product. | 1.2.A.1 | X | CD, P | A | Y | Y |  |
|  | Electrical identification schedule | 1.2.A.2 | W | P | A | Y | Y |  |
|  | Samples: [two] samples of each type of printed identification products applicable to project. | 1.2.A.3.a | X | (2)S | A | Y | Y |  |
|  | Samples: [two] nameplates illustrating materials and engraving quality | 1.2.A.3.b | X | (2)S | A | Y | Y |  |
|  | Manufacturer's Installation Instructions | 1.2.A.4 | W | II | A | Y | Y |  |
| 26 0700 | Induction Motors – 500HP and Smaller |  |  |  |  |  |  |  |
|  | Catalog Data for each motor furnished loose | 1.3.A.1 | X | CD, P | A | Y | Y |  |
|  | Motor selection calculations | 1.3.A.2 | X | P, CA | A | Y | Y |  |
|  | Certification: motors can perform required functions after a design earthquake as specified in "SERVICE CONDITIONS" | 1.3.A.3 | X | CT, P | A | Y | Y |  |
|  | Certification: motors meet specified performance, efficiency, and selection requirements. | 1.3.A.4 | X | CT, P | A | Y | Y |  |
|  | Test Reports | 1.3.A.5 | W | TR, P | A | Y | Y |  |
|  | Installation Instructions | 1.3.A.6 | W | P | A | Y | Y |  |
|  | Operation and Maintenance Data | 1.3.A.7 | at closeout | P | C | Y | Y |  |
|  | Operation data including instructions for safe operating procedures. | 1.3.A.7.a | Y | P | A | Y | Y |  |
|  | Maintenance Data including assembly drawings, bearing data with replacements sizes, and lubrication instructions. | 1.3.A.7.b | at closeout | P, D | C | Y | Y |  |
| 26 0813 | Electrical Acceptance Testing |  |  |  |  |  |  |  |
|  | Certifications: name and qualifications of the ETA | 1.5.A.1 | W | CT | A | Y | Y | PE |
|  | Certifications: quality assurance program of the ETA | 1.5.A.2 | W | CT | A | Y | Y | PE |
|  | Certifications: instrument calibration program of the ETA | 1.5.A.3 | W | CT | A | Y | Y | PE |
|  | Certifications: electrical safety program of the ETA | 1.5.A.4 | W | CT | A | Y | Y | PE |
|  | Certifications: name and qualifications of the lead engineer or engineering technician performing the required testing services. | 1.5.A.5 | W | CT | A | Y | Y | PE |
|  | Test Plans: acceptance and system functions test plan for each item of equipment or system to be field tested at least 45 days prior to planned testing date. | 1.5.A.6 | U | P | A | Y | Y | PE |
|  | Test Reports: certified copies of inspection reports, test reports, and system function tests. | 1.5.A.7 | Z | O TR | A | Y | Y | PE |
|  | Calculations: certified copies of power system studies listed below. | 1.5.A.8 | Z | CA | A | Y | Y | PE |
|  | Final short circuit study | 1.5.A.8.a | Z | CA | A | Y | Y | PE |
|  | Final coordination study | 1.5.A.8.b | Z | CA | A | Y | Y | PE |
|  | Arc-flash hazard analysis | 1.5.A.8.c | Z | CA | A | Y | Y | PE |
|  | Load flow study | 1.5.A.8.d | Z | CA | A | Y | Y | PE |
|  | Stability study | 1.5.A.8.e | Z | CA | A | Y | Y | PE |
|  | Harmonic analysis | 1.5.A.8.f | Z | CA | A | Y | Y | PE |
| 26 2213 | Low Voltage Distribution Transformers |  |  |  |  |  |  |  |
|  | Catalog Data. | 1.3.B | X | P, CD | A | Y | Y | PE |
|  | Certifications signed by manufacturers | 1.3.C | X | CT | A | Y | Y |  |
|  | Operation and maintenance instructions | 1.3.D | At Closeout | P | C | Y | Y |  |
| 26 2300 | Low Voltage Switchgear |  |  |  |  |  |  |  |
|  | Catalog data showing compliance with specified requirements | 1.2.B | X | P, CD | A | Y | Y |  |
|  | Certification and backup information that low-voltage switchgear can perform required functions after a design earthquake as specified in "SERVICE CONDITIONS" | 1.2.C | X | P, CT | A | Y | Y |  |
|  | Certification by manufacturer’s field technical representative that the subcontractor has installed, adjusted, and tested the low-voltage switchgear according to the manufacturer’s recommendations. | 1.2.D | Y | P, CT | A | Y | Y |  |
|  | Installation instructions indicating application conditions and limitations of use stipulated by Product testing agency specified under Quality Assurance. Include instructions for storage, handling, protection, examination, installation, and starting of Product, including equipment anchoring requirements to meet the seismic conditions specified in "SERVICE CONDITIONS”. | 1.2.E | W | P, II | A | Y | Y |  |
|  | Operations and Maintenance Instructions including step-by-step inspection and maintenance test procedures and a listing of recommended spare parts. Include instructions for testing circuit breakers. [Include a test procedure for the modified differential ground fault system using high current injection equipment | 1.2.F | At Closeout | D | C | Y | Y |  |
|  | Performance Data/Curves including time-current curves for each circuit breaker | 1.2.G | Y | PD | A | Y | Y |  |
|  | Shop drawings with front views and plan view of the assembly, single line or three line diagrams, nameplate schedule, component lists, conduit space locations within the assembly, busway entry location and details, assembly ratings , major component ratings , cable terminal sizes, shipping splits, enclosure type with details for types other than NEMA type 1, bus configuration and current ratings, features, characteristics , ratings, and factory settings of individual protective devices and auxiliary components, key interlock scheme drawing and sequence of operations, connection details between close-coupled assemblies , composite front view and plan of close coupled assemblies, description of the main-tie-main automatic throw-over system to include components and operating sequences | 1.2.H | W | D | A | Y | Y |  |
|  | Certified production test reports. | 1.2.I | W | P, CT,TR | A | Y | Y |  |
|  | Letter indicating that manufacturer will issue a one year commercial warranty | 1.2.J | X | P | A | Y | Y |  |
|  | Wiring Diagrams including detailed schematic wiring diagrams including device identifications and numbered terminals for power, control, communications and instrumentation systems, and differentiating between manufacturer-installed and field-installed wiring. [Include a wiring diagram of the modified differential ground fault system.] | 1.2.K | W | P | A | Y | Y |  |
| 26 2413 | Switchboards |  |  |  |  |  |  |  |
|  | Calculations | 1.2.A.1 | W | P, CA | A | Y | Y |  |
|  | Catalog Data: describing each type | 1.2.A.2 | X | P, CD | A | Y | Y |  |
|  | Certification: certification and backup information: certified by the manufacturer to withstand the total lateral seismic force; certification based on shake table testing or experience data and required response spectra | 1.2.A.3 | W | P, CT | A | Y | Y |  |
|  | Certification: by manufacturer’s field technical representative | 1.2.A.4 | W | P, CT | A | Y | Y |  |
|  | Installation Instructions: Indicate application conditions and limitations of use | 1.2.A.5 | W | P, II | A | Y | Y |  |
|  | Operation and maintenance instructions | 1.2.A.6 | At Closeout | P, OM | C | Y | Y |  |
|  | Time-current curves for each circuit breaker | 1.2.A.7 | W | P | A | Y | Y |  |
|  | Shop drawings for each switchboard Including: front, side, and plan view of the switchboards, single line or three line diagrams, nameplate schedule, component lists, conduit entry locations, busway entry locations and details, switchboard ratings, major component ratings including voltage, current, and interrupting, cable terminal sizes and types, shipping splits, enclosure type with details for types other than NEMA type 1, bus configuration and current ratings, features, characteristics, ratings, and factory settings, key interlock scheme drawing and sequence of operations | 1.2.A.8 | F | SD | A | Y | Y |  |
|  | Results of factory production tests | 1.2.A.9 | Z | P | A | Y | Y |  |
|  | Warranty: Letter indicating that manufacturer will issue a one year commercial warranty against defects in material or workmanship when the LANL has received inspected and accepted the equipment | 1.2.A.10 | X | P, WA | A | Y | Y |  |
|  | Detailed schematic wiring diagrams | 1.2.A.11 | W | ED | A | Y | Y |  |
| 26 2416 | Panelboards |  |  |  |  |  |  |  |
|  | Catalog Data | 1.2.A.1 | X | CD | A | Y | Y | PE |
|  | Certification including Enclosure type with details for types, bus configuration and current ratings, short-circuit current rating of panelboard, features, characteristics, ratings, and factory settings | 1.2.A.2 | X | CT | A | Y | Y | PE |
|  | Shop drawings for each panelboard that includes enclosure type with details for types other than NEMA Type 1; bus configuration and current ratings; short-circuit current rating of panelboard; features, characteristics, ratings, and factory settings of individual protective devices and auxiliary components | 1.2.A.3 | X | SD | A | Y | Y | PE |
|  | Detailed schematic wiring diagrams | 1.2.A.4 | X | ED | A | Y | Y | PE |
|  | Installation Instructions | 1.2.A.5 | X | II | A | Y | Y | PE |
|  | Operation and Maintenance Instructions | 1.2.A.6 | Z | OM | C | Y | Y | PE |
| 26 2419 | Motor Control Centers |  |  |  |  |  |  |  |
|  | Catalog Data: manufacturer’s descriptive literature describing each MCC. Include data substantiating that materials comply with specified requirements including a full description of the arc-resistant design features | 1.2.A.1 | Z | P, CD | A | Y | Y |  |
|  | Shop drawings for each MCC | 1.2.A.2 | F | SD | A | Y | Y |  |
|  | Wiring Diagrams | 1.2.A.3 | W | D | A | Y | Y |  |
|  | MCC certification based on shake table testing or experience data and required response spectra | 1.2.A.4.a | Z | P | A | Y | Y |  |
|  | Certification: by manufacturer’s field technical representative that the subcontractor has installed, adjusted, and tested each MCC according to the manufacturer’s recommendations | 1.2.A.5 | W | P, CT | A | Y | Y |  |
|  | Installation Instructions | 1.2.A.6 | W | P, II | A | Y | Y |  |
|  | Complete operation and maintenance instructions. Include the manufacturer’s name, and brief description of equipment and its basic operational features. | 1.2.A.7.a | At Closeout | P, OM | C | Y | Y |  |
|  | Test and Inspection Records: Records of inspections, tests, and adjustments performed under FIELD QUALITY CONTROL | 1.2.A.8 | WKLY | P, TR | A | Y | Y |  |
| 26 2500 | Enclosed Bus Assemblies |  |  |  |  |  |  |  |
|  | Catalog Data: manufacturer’s descriptive and technical literature describing each type of enclosed bus assembly, fitting, bus plug-in device, and accessory item. Include data substantiating that materials and equipment comply with specified requirements | 1.2.A.1 | X | P, CD | A | Y | Y |  |
|  | Shop Drawings: For each type of assembly: Fabrication and installation details for enclosed bus assemblies; show fittings, materials, fabrication, and installation methods; indicate required clearances; details including seismic-restraint details | 1.2.A.2 | F | SD | A | Y | Y |  |
|  | Wiring Diagrams: Submit power wiring diagram showing | 1.2.A.3 | W | D | A | Y | Y |  |
|  | Coordination Drawings with Vertical and horizontal enclosed bus-assembly runs, offsets, and transitions; Clearances for access; Vertical elevation; Support locations; Location of adjacent construction elements | 1.2.A.4 | W | D | A | Y | Y |  |
|  | Certification based on shake table testing or experience data and required response spectra | 1.2.A.5 | W | P, CT | A | Y | Y |  |
|  | Certification: certification and backup information that enclosed bus assemblies with Ip greater than 1.0 can perform required functions after a design earthquake as specified in “SERVICE CONDITIONS” below. Refer to Section 26 0548 – Vibration and Seismic Controls for Electrical Systems | 1.2.A.5 | F | P, CT | A | Y | Y |  |
|  | Certification: by manufacturer’s field technical representative | 1.2.A.6 | W | P, CT | A | Y | Y |  |
|  | Installation Instructions: Indicate application conditions and limitations of use | 1.2.A.7 | W | P, II | A | Y | Y |  |
|  | Operation and Maintenance Instructions: | 1.2.A.8 | At Closeout | P, OM | C | Y | Y |  |
|  | Test reports | 1.2.A.9 | WKLY | P, TR | A | Y | Y |  |
| 26 2713 | Electricity Metering |  |  |  |  |  |  |  |
|  | Catalog data and manufacturer's technical data | 1.3.A.1 | X | P, CD | A | Y | Y |  |
|  | Installation instructions indicating application conditions and limitations of use | 1.3.A.2 | W | P | A | Y | Y |  |
|  | Shop drawing of installation | 1.3.A.3 | F | SD | A | Y | Y |  |
|  | Wiring diagram | 1.3.A.4 | W | D | A | Y | Y |  |
|  | Operation and maintenance instructions | 1.3.A.5 | At Closeout | P | C | Y | Y |  |
| 26 2726 | Wiring Devices |  |  |  |  |  |  |  |
|  | Catalog data | 1.2.A.1 | X | P | A | Y | Y |  |
|  | Wiring Diagrams | 1.2.A.2 | W | D | A | Y | Y |  |
| 26 2816 | Enclosed Switches and Circuit Breakers |  |  |  |  |  |  |  |
|  | Manufacturer's technical data for each | 1.2.A.1 | X | P, CD | A | Y | Y |  |
|  | Installation Instructions: Indicate application conditions and limitations of use | 1.2.A.2 | W | P, II | A | Y | Y |  |
|  | Certification Submit certification and backup information that safety switches and enclosed circuit breakers can perform required functions after a design earthquake as specified in "SERVICE CONDITIONS" below | 1.2.A.3 | F | P, CT | A | Y | Y |  |
| 26 2913 | Enclosed Controllers |  |  |  |  |  |  |  |
|  | Catalog data: manufacturer's technical data | 1.2.A.1 | X | CD | A | Y | Y |  |
|  | Installation instructions: Indicate application conditions and limitations of use | 1.2.A.2 | W | P | A | Y | Y |  |
|  | Certification: Enclosed controller can perform required functions after a design earthquake as specified in “SERVICE CONDITIONS” | 1.2.A.3 | X | CT | A | Y | Y |  |
|  | Operation and maintenance instructions | 1.2.A.4 | At Closeout | P, OM | C | Y | Y |  |
|  | Test and Inspection Records: Inspections, tests, and adjustments performed under FIELD QUALITY CONTROL | 1.2.A.5 | WKLY | TR | A | Y | Y |  |
|  | Wiring diagram | 1.2.A.6 | W | D | A | Y | Y |  |
| 26 2923 | Variable Frequency Motor Controllers |  |  |  |  |  |  |  |
|  | Catalog Data: catalog data describing each type of AFC. | 1.3.A.1 | X | P, CD | A | Y | Y |  |
|  | Calculations | 1.3.A.2 | F | P, CA | A | Y | Y |  |
|  | Certification: that AFC can perform required functions after design earthquake | 1.3.A.3 | X | CT | A | Y | Y |  |
|  | Certification: that the subcontractor has installed, adjusted, and tested ea. AFC according to manufacture, recommendations | 1.3.A.4 | X | CT | A | Y | Y |  |
|  | Shop Drawings: shop drawings for each AFC | 1.3.A.5 | F | SD | A | Y | Y |  |
|  | Installation Instructions: Indicate application conditions and limitations of use. | 1.3.A.6 | W | P, II | A | Y | Y |  |
|  | Operation and Maintenance Instructions | 1.3.A.7 | At Closeout | P, OM | C | Y | Y |  |
|  | Test Reports: results of required factory tests. | 1.3.A.8 | W | P, TR | A | Y | Y |  |
|  | Warranty | 1.3.A.9 | at closeout | P, WA | C | Y | Y |  |
| 26 3334 | Stored Emergency Power Supply System |  |  |  |  |  |  |  |
|  | Catalog Data: Submit manufacturer’s descriptive and technical literature describing each SEPSS, battery, accessory item, and component specified. Include data substantiating that materials comply with specified requirements | 1.2.A.1 | X | P, CD | A | Y | Y |  |
|  | Certification: Submit certification that the supplied SEPSS complies with this specification as require by NFPA 111. | 1.2.A.2 | F | P, CT | A | Y | Y |  |
|  | Certification: Submit certification and backup information that SEPSS can perform required functions after a design earthquake: SEPSS will withstand the total lateral seismic force and seismic relative displacements specified in the International Building Code (IBC) or ASCE 7, Minimum Design Loads for Buildings and Other Structures. | 1.2.A.3 | W | CT | A | Y | Y |  |
|  | Certification: Submit certification by manufacturer’s field technical representative that the SEPSS has been installed, adjusted, and tested according to the manufacturer’s recommendations. | 1.2.A.4 | Y | CT | A | Y | Y |  |
|  | Installation Instructions: Indicate application conditions and limitations of use stipulated by Product testing agency specified in “Quality Assurance.” Include instructions for storage, handling, protection, examination, installation, and starting of Product, including equipment anchoring requirements to meet the seismic conditions specified in “SERVICE CONDITIONS” | 1.2.A.5 | W | II | A | Y | Y |  |
|  | Operation and Maintenance Instructions: Complete operation and maintenance instructions including step-by-step start-up, operating, shut down, inspection, and maintenance procedures; include the manufacturer’s name, equipment model number, service manual, parts list, and brief description of equipment and its basic operational features; include possible breakdowns and repairs, troubleshooting guides, the most probable failures and the appropriate repairs. Test measurement levels shall be referenced to specific test points on the installed equipment; provide spare parts data for each different item of material and equipment specified; lesson plans and training manuals for the training phases, including type of training to be provided and proposed dates, with a list of reference materials | 1.2.A.6 | At closeout | P, OM | C | Y | Y |  |
|  | Shop Drawings for each including dimensioned installation plans and elevations based on field measurements; front, side, and plan view; single line or three line diagrams; component lists; conduit entry locations; ratings including short circuit, voltage, and current; cable terminal sizes and types; shipping splits. | 1.2.A.7 | F | SD | A | Y | Y |  |
|  | Wiring Diagrams: Submit detailed schematic wiring diagrams including device identifications and numbered terminals for power, control, communications and instrumentation systems, and differentiating between manufacturer- and field-installed wiring | 1.2.A.8 | F | D, SD | A | Y | Y |  |
|  | Warranty: Submit warranties for SEPSS electronics and battery | 1.2.A.9 | Y | WA | A | Y | Y |  |
|  | Test Reports: Submit factory test data on the completed system as required by NFPA 111 | 1.2.A.10 | Y | TR | A | Y | Y |  |
|  | Test Reports: submit reports of installation acceptance inspections and tests required by NFPA 111. | 1.2.A.11 | Y | TR | A | Y | Y |  |
| 26 33Y53 | Static Uninterruptible Power Supply |  |  |  |  |  |  |  |
|  | Submit battery sizing calculations | 1.2.A.1.a | F | P, CA | A | Y | Y |  |
|  | Submit UPS selection calculations | 1.2.A.1.b | F | P, CA | A | Y | Y |  |
|  | Submit coordination study for UPS prepared in accordance with IEEE Std 242 | 1.2.A.1.c | W | P | A | Y | Y |  |
|  | Catalog Data: manufacturer’s descriptive and technical literature | 1.2.A.2 | X | P, CD | A | Y | Y |  |
|  | Certification and backup information that UPS can perform required functions after a design earthquake as specified in “SERVICE CONDITIONS”; UPS designation, certification based on shake table testing or experience data, and required response spectra. | 1.2.A.3 | W | P, CT | A | Y | Y |  |
|  | Certification by manufacturer’s field technical representative that the subcontractor has installed, adjusted, and tested the UPS according to the manufacturer’s recommendations. | 1.2.A.4 | W | P, CT | A | Y | Y |  |
|  | Installation Instructions: Indicate application conditions and limitations of use | 1.2.A.5 | W | P | A | Y | Y |  |
|  | Complete O&M instructions. Include the manufacturer’s name, and brief description of equipment and its basic operational features; include the most probable failures and the appropriate repairs; provide spare parts data for each different item of material and equipment specified; lesson plans and training manuals for the training phases | 1.2.A.6.a | At Closeout | P, OM | C | Y | Y |  |
|  | Shop Drawings for each UPS: Front, side, and plan view of the UPSs; single line or three line diagrams; namplate schedule; component lists; conduit entry locations; UPS ratings including short circuit, voltage, and current; major component ratings including voltage, current, and interrupting; cable terminal sizes and types; shipping splits; bus configuration and current ratings; and features, characteristics, ratings, and factory settings. | 1.2.A.7 | F | SD | A | Y | Y |  |
|  | Test Reports: Detailed description of proposed factory test factory production tests specified in NEMA PE 1, and field test procedures | 1.2.A.8.a | U | P | A | Y | Y |  |
|  | Test Reports: Factory and field reports in booklet form | 1.2.A.8.b | W | O,P, TR | A | Y | Y |  |
|  | Wiring Diagrams: detailed schematic wiring diagrams | 1.2.A.9 | W | D | A | Y | Y |  |
| 26 4100 | Facility Lightning Protection |  |  |  |  |  |  |  |
|  | Catalog data for each component of the lightning protection system. | 1.4.A.1 | X | CD, P | A | Y | Y |  |
|  | Certifications demonstrating that firms meet qualifications specified in "Quality Assurance" Article. | 1.4.A.2 | X | CT, P | A | Y | Y |  |
|  | Bill of Materials listing lightning protection system components | 1.4.A.3 | W | P | A | Y | Y |  |
|  | Project record documents and drawings will all field modifications incorporated. | 1.4.B.1 | At Closeout | RD | C | Y | Y |  |
|  | Test reports for all inspection and testing required by this Section | 1.4.B.2 | At Closeout | TR, P | C | Y | Y |  |
| 26 4115 | Lightning Protection for Explosive Facilities |  |  |  |  |  |  |  |
|  | Catalog data for each component of the lightning protection system. | 1.4.A.1 | X | CD, P | A | Y | Y |  |
|  | Certifications demonstrating that firms meet qualifications specified in “Quality Assurance” article. | 1.4.A.2 | Y | CT, P | A | Y | Y |  |
|  | Bill of Materials listing lightning protection system components | 1.4.A.3 | W | P | A | Y | Y |  |
|  | Project record documents and drawings with all field modifications incorporated. | 1.4.B.1 | At Closeout | P | C | Y | Y |  |
|  | Test reports for all inspection and testing required by this Section. | 1.4.B.2 | At Closeout | P-TR | C | Y | Y |  |
| 26 4300 | Surge Protective Devices |  |  |  |  |  |  |  |
|  | Catalog Data describing SPDs. | 1.3.A | X | P, CD | A | Y | Y |  |
|  | Certifications: for Type 1 SPDs submit UL 1449 Third Edition listing certification showing. 1) short circuit rating (SCCR) 2)voltage protection ratings (VPRs) 3)maximum continuous operating voltage rating (MCOV) 4)type I device listing | 1.3.B | X | P, CT | A | Y | Y |  |
|  | Electrical diagrams | 1.3.C | W | ED | A | Y | Y |  |
|  | Installation Instructions | 1.3.D | W | II | A | Y | Y |  |
|  | Operation and Maintenance Data | 1.3.E | At closeout | OM | C | Y | Y |  |
|  | Samples | 1.3.F | Z | S | A | Y | Y |  |
|  | Shop Drawings | 1.3.G | X | D | A | Y | Y |  |
|  | Warranty | 1.3.H | At closeout | P, WA | C | Y | Y |  |
| 26 5100 | Interior Lighting |  |  |  |  |  |  |  |
|  | Catalog data describing luminaires, lamps, and ballasts. | 1.2.A.1 | X | P, CD | A | Y | Y |  |
|  | Performance Curves/Data: Certified photometric data for each type of luminaire; supply-air, return-air, heat-removal, and sound performance data for air handling luminaires | 1.2.A.2 | X | P,PD | A | Y | Y |  |
|  | Shop drawings for non-standard luminaires. | 1.2.A.3 | F | D | A | Y | Y |  |
|  | Warranties for luminaries and electronic ballasts per 1.6 | 1.2.A.4 | at closeout | P, WA | C | Y | Y |  |
| 26 5200 | Emergency Lighting |  |  |  |  |  |  |  |
|  | Catalog data describing emergency lighting. | 1.2.A.1 | X | P, CD | A | Y | Y |  |
|  | Performance Curves/Data: certified photometric data for each lighting unit. | 1.2.A.2 | X | P,PD | A | Y | Y |  |
|  | Warranties for emergency lighting units and exit signs | 1.2.A.3 | at closeout | P, WA | A | Y | Y |  |
|  | Maintenance Instructions | 1.2.A.4 | at closeout | P, O M | C | Y | Y |  |
| 26 5600 | Exterior Lighting |  |  |  |  |  |  |  |
|  | Catalog Data | 1.5.A.1 | X | CD | A | Y | Y | PE |
|  | Performance Curves/Data | 1.5.A.2 | X | PD | A | Y | Y | PE |
|  | Shop Drawings | 1.5.A.3 | X | SD | A | Y | Y | PE |
|  | Maintenance Data | 1.5.A.4 | X | M | C | Y | Y | PE |
|  | Warranties | 1.5.A.5 | at closeout | WA | C | Y | Y | PE |
| 27 1000 | Structured Cabling |  |  |  |  |  |  |  |
|  | Qualifying certifications of cable installer(s) as described in Article 1.7 of this Section unless on file with LANL Telecommunications Group | 1.5.A | W | CT, P | A | Y | Y |  |
| 2 | Detailed redlines of structure and cable routing submitted to the LANL Telecommunications Group upon completion of applicable scope(s) of work | 1.6.A | at closeout | P | C | Y | Y |  |
| 3 | Test reports | 1.6.B | at closeout | P, TR | C | Y | Y |  |
| 27 1500.18 | Protected Transmission System Rough-In |  |  |  |  |  |  |  |
|  | Certifications of the qualifications of the fiber-optic cable installers. | 1.6.A.1 | W | P, CT | A | Y | Y |  |
|  | Detailed as-built documents | 1.6.A.2 | W | D | A | Y | Y |  |
|  | As-built records of cable routing | 1.6.A.3 | at closeout | D | A | Y | Y |  |
| 27 3000 | Voice Communications |  |  |  |  |  |  |  |
|  | Catalog data | 1.4.A.1 | X | P, CD | A | Y | Y |  |
|  | Wiring diagram | 1.4.A.2 | W | D | A | Y | Y |  |
|  | Calculations | 1.4.A.3 | W | P, CA | A | Y | Y |  |
|  | Proposed programming | 1.4.A.4 | W | P | A | Y | Y |  |
|  | As-built documents | 1.4.A.5 | at closeout | P, D | A | Y | Y |  |
|  | As-built records | 1.4.A.6 | at closeout | P, D | A | Y | Y |  |
|  | Test and inspection report for the completed installation. | 1.4.A.7 | Y | P, II | A | Y | Y |  |
| 28 0528 | Pathways for Electrical Security |  |  |  |  |  |  |  |
|  | Test Reports | 1.5.A.1 | Y | P, TR | A | Y | Y |  |
|  | As-Built Drawings | 1.5.A.2 | at closeout | D | A | Y | Y |  |
| 28 1321 | Administrative Access Control System Rough-In |  |  |  |  |  |  |  |
|  | Catalog Data: manufacturer's data | 1.5.A.1 | X | P | A | Y | Y |  |
|  | Test Reports: Provide inspection and test reports | 1.5.A.2 | Y | P, TR | A | Y | Y |  |
|  | As-Built Drawings | 1.5.A.3 | at closeout | P, D | A | Y | Y |  |
| 28 3100 | Fire Detection and Alarm |  |  |  |  |  |  |  |
|  | NOTE: See 28 3100, Appendix A - Deliverables table to help clarify the submittal schedule |  |  |  |  |  |  |  |
|  | Certifications of the qualifications of the fire alarm installing firm | 1.4.B.1 | Within 30 days after Notice to Proceed | P, CT | A | Y | Y |  |
|  | Certifications of the qualifications of the fire alarm system technician | 1.4.B.2 | Within 30 days after Notice to Proceed | P.CT | A | Y | Y |  |
|  | Certification from the fire alarm control manufacturer | 1.4.B.3 | W | P, CT | A | Y | Y |  |
|  | Calculations: Submit the following with design drawings | 1.4.C.1 | 30 days prior to scheduled start of fire alarm system installation | CA | DD | Y | Y |  |
|  | System battery capacity calculations | 1.4.C.1.a | 30 days prior to scheduled start of fire alarm system installation |  | DD | Y | Y |  |
|  | Voltage drop calculations | 1.4.C.1.b | W | P, CA | DD | Y | Y |  |
|  | Design/installation drawings: | 1.4.C.2 | W | D | DD | Y | Y |  |
|  | Catalog Data | 1.4.C.3 | At least 30 days prior to scheduled start of fire alarm system installation | P, CD | DD | Y | Y |  |
|  | Installation instructions | 1.4.C.4 | At least 30 days prior to scheduled start of fire alarm system installation | P, II | DD | Y | Y |  |
|  | Materials and parts list | 1.4.C.5 | At least 30 days prior to scheduled start of fire alarm system installation | P,SD | DD | Y | Y |  |
|  | FCP Program: Submit FCP program as follows: | 1.4.C.6 | F |  | DD | Y | Y |  |
|  | FCP input/output matrix and a copy of the proposed FCP program | 1.4.C.6.a | At least two weeks prior to the anticipated pre-test date of the fire alarm system | P | DD | Y | Y |  |
|  | Final FCP input/output matrix and the final FCP program | 1.4.C.6.b | W | P | DD | Y | Y |  |
|  | O&M Manual | 1.4.C.7 | at closeout | P, OM | DD | Y | Y |  |
|  | Submit operating and instruction manuals with the 100% submittal of calculation and drawings | 1.4.C.7.a | At closeout | II, OM | DD | Y | Y |  |
|  | Project-specific operating and maintenance instruction manuals | 1.4.C.7.b | Upon successful completion of testing | OM (5 sets) | DD | Y | Y |  |
|  | Test Reports: as follows: | 1.4.D | Y | TR | A | Y | Y |  |
|  | Report of the pre-final tests indicating system status and corrective actions required before the final acceptance tests | 1.4.D.1 | Y | P, TR | A | Y | Y |  |
|  | Test plan for the final acceptance tests | 1.4.D.2 | At least 30 days prior to scheduled final acceptance tests. | P, TR | A | Y | Y |  |
|  | Final “Record of Completion” and “Inspection and Testing Form” as required by NFPA 72 | 1.4.D.3 | Upon successful completion of acceptance tests |  | A | Y |  |  |
|  | Project record documents as follows: | 1.4.E | at closeout | RD | C | Y | Y |  |
|  | Updated drawings reflecting as-built conditions showing the work completed under this Section. | 1.4.E.1 | at closeout | SD,D | C | Y | Y |  |
|  | Updated drawings on electronic media in “.pdf” and AutoCAD -.dwg” formats. | 1.4.E.2 | at closeout | D,EM | C | Y | Y |  |
|  | “Record of Completion” and associated documentation for the completed system according to NFPA 72. | 1.4.E.3 | At closeout | P, CT | C | Y | Y |  |
|  | Warranties | 1.4.F | at closeout | P, WA | C | Y | Y |  |
| 28 3110 | Fire Detection and Alarm-Addition to Existing |  |  |  |  |  |  |  |
|  | System battery capacity calculations | 1.3.A.1.a | F | P, CA | A | Y | Y |  |
|  | Audible signal distribution calculations | 1.3.A.1.b | F | P, CA | A | Y | Y |  |
|  | Voltage drop calculations | 1.3.A.1.c | F | P, CA | A | Y | Y |  |
|  | Catalog data at least 30 days prior to scheduled start of installation | 1.3.A.2 | W | P, CD | A | Y | Y |  |
|  | Certifications of the qualifications of the fire alarm installing firm | 1.3.A.3.a | W | P, CT | A | Y | Y |  |
|  | Certifications of the qualifications of the fire alarm system technician | 1.3.A.3.b | W | P, CT | A | Y | Y |  |
|  | Certification from the fire alarm control manufacturer | 1.3.A.3.c | W | P, CT | A | Y | Y |  |
|  | "Certificate of Completion" and associated documentation | 1.3.A.3.d | Y | P, CT | A | Y | Y |  |
|  | Installation instructions | 1.3.A.4 | W | P, II | A | Y | Y |  |
|  | Materials and parts lists | 1.3.A.5 | W | P | A | Y | Y |  |
|  | Shop drawings as follows: Floor plan drawings using a minimum scale of 1/8" = 1-'0" for plans and 1/4" = 1'-0" for details; hand lettering ; show location of FACP, fire alarm appliances, conduit layout, quantity and type of wires in each conduit, and interface with other systems; show layout of the FACP. | 1.3.A.6 | F (30 days) | SD | A | Y | Y |  |
|  | Report of the pre-final tests | 1.3.A.7.a | WKLY | P, TR | A | Y | Y |  |
|  | Test plan for the final acceptance tests | 1.3.A.7.b | W | P, TR | A | Y | Y |  |
|  | Report of final acceptance test | 1.3.A.7.c | Y | P, TR | A | Y | Y |  |
|  | Terminal-to-terminal wiring diagrams | 1.3.A.8.a | W (30 days) | D | A | Y | Y |  |
|  | Operating and maintenance data. | 1.3.A.9 | at closeout | P | C | Y | Y |  |
|  | Project Record Documents | 1.3.A.10.a | at closeout | P,RD | C | Y | Y |  |
|  | Project Record Documents: Provide the updated shop drawings | 1.3.A.10.b | at closeout | D,EM,RD | C | Y | Y |  |
|  | Warranties | 1.3.A.11 | at closeout | P, WA | C | Y | Y |  |
| 31 2000 | Earth Moving |  |  |  |  |  |  |  |
|  | Certifications from an independent testing laboratory that pipe bedding materials meet the specification | 1.4.A.1 | X | P, CT | A | - | - | PE |
|  | Certifications from an independent testing laboratory that base course materials, crushed stone or crushed or screened gravel meet the spec | 1.4.A.2 | X | P, CT | A | - | - | PE |
|  | Test reports of field-testing material compaction | 1.4.A.3 | Z | P, TR | A | - | - | PE |
|  | Test reports of field-testing of tracing wire continuity | 1.4.A.4 | Z | P, TR | A | - | - | PE |
|  | Catalog data on identification tape and tracing wire | 1.4.A.5 | X | P, CD | A | - | - | PE |
| 31 2323.33 | Flowable Fill |  |  |  |  |  |  |  |
|  | Material certifications | 1.3.A.1 | W | P, CT | A | - | - |  |
|  | Provide design mixes and test reports. | 1.3.A.3 | W | ML, TR | A | - | - |  |
|  | Batch tickets. | 1.3.A.2 | WKLY | P | A | - | - |  |
|  | Field test reports. | 1.3.A.4 | WKLY | P, TR | A | - | - |  |
| 32 1216 | Asphalt Paving |  |  |  |  |  |  |  |
|  | Material certifications | 1.2.A.1 | W | P, CT | A | - | - | PE |
|  | Proposed design mix | 1.2.A.2 | W | ML | A | - | - | PE |
|  | Laboratory test reports for design mix for bituminous pavement. | 1.2.A.3 | W | P-TR | A | - | - | PE |
|  | Aggregate quality testing | 1.2.A.3.a | W | P, TR | A | - | - | PE |
|  | Certification from the testing laboratory responsible for material analysis and field testing | 1.2.A.4 | W | CT, P | A | - | - | PE |
|  | Certification that testing personnel are in compliance with ASTM D 3666 | 1.2.A.5 | W | CT, P | A | - | - | PE |
|  | Traffic analysis, vehicle loadings, and structural design. | 1.2.A.6 | W | P | A | - | - | PE |
|  | Detailed plan for temporary traffic control markings and traffic signs | 1.2.A.7 | W | P, D | A | - | - | PE |
|  | Detailed plan for permanent traffic control markings and traffic signs | 1.2.A.8 | W | P, D | A | - | - | PE |
| 32 3100 | Fences and Gates |  |  |  |  |  |  |  |
|  | Catalog data on fabric, posts, accessories, fittings, and hardware | 1.3.A.1 | X | P, CD | A | - | - |  |
| 32 3113 | Chain Link Fences and Gates |  |  |  |  |  |  |  |
|  | Catalog data. | 1.3.A.1 | X | P, CD | A | - | - |  |
|  | Copies of batch tickets for each load of concrete. | 1.3.A.2 | WKLY | (2)P | A | - | - |  |
| 32 8400 | Planting Irrigation |  |  |  |  |  |  |  |
|  | Catalog data for all equipment | 1.3.A.1 | X | P, CD | A | - | - |  |
|  | Installation instructions | 1.3.A.2 | W | P, II | A | - | - |  |
|  | Operating and maintenance manual | 1.3.A.3 | at closeout | P, OM | C | - | - |  |
|  | Prepare a zone chart for each controller | 1.3.A.3.a | F | D, P | A | - | - |  |
|  | Irrigation plan | 1.3.A.4 | F | D | A | - | - |  |
|  | Record Drawing | 1.3.A.5 | Z | D | A | - | - |  |
| 32 9219 | Seeding |  |  |  |  |  |  |  |
|  | Catalog data | 1.3.A.1 | X | P, CD | A | - | - |  |
|  | Certification: certified seed bag tags and copies of seed invoices identified by project name. | 1.3.A.2 | Y | S, P, CT | A | - | - |  |
|  | Installation instructions | 1.3.A.3 | W | P, II | A | - | - |  |
| 32 9223 | Sodding |  |  |  |  |  |  |  |
|  | Sod certification | 1.2.A.1 | W | CT | A | - | - |  |
|  | Sodding schedule | 1.2.A.2 | W | OT | A | - | - |  |
|  | Sample of materials | 1.2.A.3 | X | S | A | - | - |  |
| 32 9300 | Plants |  |  |  |  |  |  |  |
|  | Planting schedule dates and type of work to be performed. Correlate to provide specified maintenance periods. Once schedule is accepted, document reasons for delays or changes and revise dates only as approved by LANL STR. | 1.3.A.1 | W | P, II | A | - | - |  |
|  | Materials list with installation instructions | 1.3.A.2 | W | P | A | - | - |  |
|  | Catalog data | 1.3.A.3 | X | P, CD | A | - | - |  |
| 33 0513 | Manholes and Structures |  |  |  |  |  |  |  |
|  | Certifications; Materials | 1.4.A.1 | W | P, CT | A | - | - |  |
|  | [NMED approved septic tank list certification number] | 1.4.A.2 | W | P, CT | A | - | - |  |
|  | [Level alarm system product data and installation instructions] | 1.4.A.3 | X | P, II | A | - | - |  |
|  | Manhole exfiltration test results | 1.4.A.4 | Within 5 working days of successful test | P, TR | A | - | - |  |
| 33 1000 | Water Utilities |  |  |  |  |  |  |  |
|  | Catalog data | 1.4.A.1 | X | P, CD | A | - | - |  |
|  | Installation instructions | 1.4.A.2 | W | P, II | A | - | - |  |
|  | Existing system pressure calculations | 1.4.A.3 | F | P | A | - | - |  |
|  | Certification of welders and qualified welding procedure | 1.4.A.4 | F | P, CT | A | Y | Y | PE |
|  | [Horizontal Direction Drilling] | 1.4.A.5 | W | P | A | - | - |  |
|  | Tracing wire continuity test report | 1.4.A.6 | Z | P, TR | A | - | - |  |
|  | Catalog data on identification tape and tracing wire | 1.4.A.7 | X | P, CD | A | - | - |  |
| 33 3000 | Sanitary Sewerage Utilities |  |  |  |  |  |  |  |
|  | Catalog data | 1.3.A.1 | X | P, CD | A | - | - |  |
|  | Certifications for Welders and Qualified Welding Procedure | 1.3.A.2 | W | P, CT | A | - | - |  |
|  | [Horizontal Directional Drilling] | 1.3.A.3 | W | P | A | - | - |  |
|  | Tracing wire continuity test report | 1.3.A.4 | Z | P, TR | A | - | - |  |
| 33 3200 | Wastewater Utility Pumping Stations |  |  |  |  |  |  |  |
|  | Catalog data | 1.3.A.1 | X | P, CD | A | - | - |  |
|  | Power and Control cables | 1.3.A.2 | W | P | A | - | - |  |
|  | Pump curves | 1.3.B.1 | W | P | A | - | - |  |
|  | Operation and maintenance data | 1.3.B.2 | at closeout | P, OM | C | - | - |  |
|  | Theory of operation | 1.3.B.2.a | at closeout | P | C | - | - |  |
|  | Test procedure | 1.3.B.2.b | at closeout | P | C | - | - |  |
|  | Warranties | 1.3.A.3 | at closeout | P, WA | C | - | - |  |
| 33 4000 | Storm Drainage Utilities |  |  |  |  |  |  |  |
|  | Catalog data on pipe materials, fittings, and accessories | 1.3.A.1 | X | P, CD | A | - | - |  |
|  | Installation instructions for accessories | 1.3.A.2 | W | P, II | A | - | - |  |
|  | Certifications for welders and qualified welding procedure | 1.3.A.3 | F | P, CT | A | - | - |  |
| 33 5100 | Natural-Gas Distribution |  |  |  |  |  |  |  |
|  | Catalog data of pipe materials | 1.3.A.1 | X | P, CD | A | - | - |  |
|  | Certified material inspection report for steel pipe | 1.3.A.2 | F | P | A | - | - |  |
|  | Certification of welders and qualified welding procedure | 1.3.A.3 | F | P, CT | A | Y | Y | PE |
|  | Certified Welding Inspector (CWI) inspection report | 1.3.A.4 | WKLY | P | A | - | - |  |
|  | [Horizontal directional Drilling] | 1.3.A.5 | W | P | A | - | - |  |
|  | [Pipe pigging inspection report] | 1.3.A.6 | WKLY | P | A | - | - |  |
|  | [Tracing wire continuity test report] | 1.3.A.7 | Z | P, TR | A | - | - |  |
|  | Catalog data on identification tape [and tracing wire] | 1.3.A.8 | X | P, CD | A | - | - |  |
|  | Total connected natural gas load in BTU’s/hr heat input requirement for each connected device (BTU’s/hr), and pressure (psig) requirement at building wall | 1.3.A.9 | W | P, CA | A | - | - |  |
| 33 6300 | Steam Energy Distribution |  |  |  |  |  |  |  |
|  | Catalog data | 1.4.A.1 | X | P, CD | A | - | - |  |
|  | Certified material test report for the pipe | 1.4.A.2 | F | P, CT | A | - | - |  |
|  | Certification of welders and qualified welding procedures | 1.4.A.3 | F | P, CT | A | Y | Y | PE |
|  | Welding Process Visual Examination Report | 1.4.A.4 | WKLY | P | A | Y | Y | PE |
|  | Installation instructions | 1.4.A.5 | W | P, II | A | - | - |  |
|  | Plan and profile for steam/condensate piping system | 1.4.A.6 | W | D | A | - | - |  |
|  | Thermal Expansion calculation | 1.4.A.7 | W | P, CA | A | - | - |  |
| 33 7119 | Electrical Underground Ducts and Manholes |  |  |  |  |  |  |  |
|  | Catalog Data describing pre-cast manholes, manhole frames and lids, ladders, and cable racks | 1.3.A.1 | Z | P, CD | A | Y | Y |  |
|  | Test Reports: duct blockage tests | 1.3.A.2 | Z | P, TR | A | Y | Y |  |
|  | Project Record documents: Accurately record GPS-based survey locations of ductbanks, new and existing manholes, and places where ductbanks cross other underground systems. | 1.3.B.1 | Y | P | C | Y | Y |  |
| 33 7311 | Pad-Mounted Transformer Rough-In |  |  |  |  |  |  |  |
|  | N/A |  |  |  |  |  |  |  |
| 33 7711 | Pad-Mounted Switch Rough-In |  |  |  |  |  |  |  |
|  | N/A |  |  |  |  |  |  |  |
| 33 8126 | Communication Underground Ducts, Manholes, and Handholes |  |  |  |  |  |  |  |
|  | Catalog Data: Describing pre-cast manhole(s), manhole frame(s) and lid(s), ladders, and cable racks. Include data substantiating that materials comply with specified requirements | 1.3.A.1 | Z | P, CD | A | Y | Y |  |
|  | Project Record Documents: Accurately record GPS-based survey locations of ductbanks, new and existing manholes, and places where ductbanks cross other underground systems | 1.3.B.1 | Y | P | C | Y | Y |  |
| 40 0511 | Compression Fittings on Copper and Stainless Steel Tubing |  |  |  |  |  |  |  |
|  | N/A |  |  |  |  |  |  |  |
| 40 0513 | Process Piping |  |  |  |  |  |  |  |
|  | For unlisted components (not listed in Table 326.1 or Appendix A of ASME B31.3), before fabrication submit approved piping stress calculations/analyses or alternative methods that document the acceptability of the specific piping system in accordance with ASME B31.3 | 1.4.A.1 | F | CA, P | A | Y | Y |  |
|  | Submit NDE (non-destructive examination) procedures that will be used for fabrication and examination of the piping, and pressure-leak testing and cleaning procedures | 1.4.A.2 | F | TR, P | A | Y | Y |  |
|  | Submittals must comply with the record requirements in ASME B31.3 for welding/bonding (Section 328.2.4/A328.2.4), examination (Section 341.4.1 & 341.4.3), procedure qualification (Section 300.2), qualification (Section 328.2.4, 342.1 & A328.2.4) and test (Section 345.2.7) | 1.4.A.3 | F | P | A | Y | Y |  |
| 40 0527 | Piping and Tubing Inspection Checklist |  |  |  |  |  |  |  |
|  | N/A |  |  |  |  |  |  |  |
| 41 2213.13 | Bridge Cranes |  |  |  |  |  |  |  |
|  | Certification of previous crane installations | 1.3.B.1 | W | P, CT | A | - | - |  |
|  | Certifications for structural steel | 1.3.B.2 | F | P, CT | A | - | - |  |
|  | Certifications for all electrical and mechanical components | 1.3.B.3 | F | P, CT | A | - | - |  |
|  | Certification of required inspection and load testing | 1.3.B.4 | WKLY | P, CT | A | - | - |  |
|  | Welder certifications | 1.3.B.5 | F | P, CT | A | Y | Y |  |
|  | Certificate that the crane contains no asbestos, lead paint, polychlorinated biphenyl’s (PCB’s), or elemental mercury. Chromates shall be avoided where feasible. | 1.3.B.6 | W | P, CT | A | - | - |  |
|  | Product Data: Manufacturer’s catalog data for all major components. The catalog cuts shall be marked-up or supplemented with additional sheets to clearly identify the model or size, selected options, features, and/or modifications to demonstrate compliance with specification requirements. Catalog cuts which show modifications beyond the standard options and all supplemental pages shall bear original signatures and dates of the equipment manufacturer’s authorized representative. Each catalog cut and each supplemental sheet shall clearly identify the item to which it applies. | 1.3.C | X | P-CD | A | Y | Y |  |
|  | Manufacturer's installation instructions | 1.3.D | X | P, II | A | - | - |  |
|  | Performance Data | 1.3.E | W | P,PD | A | - | - |  |
|  | Shop drawings: | 1.3.F |  |  |  |  |  |  |
|  | Structural – Drawings showing the fabrication details and list of materials for the girders, trucks, and trolleys including location and size of the structural members, all weldments, fastener joints | 1.3.F.1 | F | D | A | Y | Y |  |
|  | Crane arrangement drawings (Plans, Sections and Elevations) | 1.3.F.2 | F | D | A | Y | Y |  |
|  | Bridge dive and hoist arrangement drawings (Plans, Section and Elevations) | 1.3.F.3 | F | D | A | - | - |  |
|  | Electrical drawings of the electrical equipment and wiring diagrams | 1.3.F.4 | F | D | A | - | - |  |
|  | Design Data: | 1.3.G |  |  |  |  |  |  |
|  | Calculations demonstrating compliance with all design requirements, and LANL Procedure AP-341-605. | 1.3.G.1 | F | P, CA | A | Y | Y |  |
|  | Calculations verifying compliance with Section 3 of CMAA #70 and paragraph 2.2.F.3 of this specification (Structural Design, Additional Load Combinations) for any non-commercial items. | 1.3.G.2.a | F | P, CA | A | Y | Y |  |
|  | Calculations verifying design of trolley bumpers and end stops; and bridge bumpers in accordance AISE TR-06. | 1.3.G.2.b | F | P, CA | A | - | - |  |
|  | Operation and maintenance data indicating the following: | 1.3.H | at closeout | P, OM | C | - | - |  |
|  | Information for authorized service facilities and parts distributor | 1.3.H.1 | at closeout | P | C | - | - |  |
|  | Parts lists | 1.3.H.2 | at closeout | P | C | - | - |  |
|  | Recommended spare parts | 1.3.H.3 | at closeout | P | C | - | - |  |
|  | Lubrication requirements and acceptable substitutes | 1.3.H.4 | at closeout | P | C | - | - |  |
|  | Maintenance requirements. | 1.3.H.5 | at closeout | P | C | - | - |  |
|  | Safety procedures | 1.3.H.6 | at closeout | P | C | - | - |  |
|  | Proper operation of all equipment | 1.3.H.7 | at closeout | P | C | - | - |  |
|  | Routine maintenance procedures | 1.3.H.8 | at closeout | P | C | - | - |  |
|  | Assembly drawings and descriptive literature. | 1.3.H.9 | at closeout | D, P | C | - | - |  |
|  | Wiring schematics | 1.3.H.10 | at closeout | D | C | - | - |  |
|  | Written 24 month parts and labor warranty to include… | 1.3.I | at closeout | P, WA | C | - | - |  |
| 41 2225 | Hoist and Trolleys |  |  |  |  |  |  |  |
|  | Quality assurance plan | 1.5.A.1 | Z | P | A | Y | Y |  |
|  | Design data | 1.5.A.2 | F | P | A | Y | Y |  |
|  | Weld Procedure Specifications and Procedure Qualification Reports | 1.5.A.3 | F | P | A | Y | Y |  |
|  | Certification of previous hoist or trolley installations | 1.5.A.4 | X | P, CT | A | Y | Y |  |
|  | Certified Material Test Reports and Certifications for structural steel | 1.5.A.5 | F | P, CT | A | Y | Y |  |
|  | Certifications for all electrical and mechanical components | 1.5.A.6 | F | P, CT | A | Y | Y |  |
|  | Certification of required inspection and load testing | 1.5.A.7 | F | P, CT | A | Y | Y |  |
|  | Welder certifications | 1.5.A.8 | F | P, CT | A | Y | Y |  |
|  | Inspection Test Reports and inspector personnel certifications | 1.5.A.9 | WKLY | P, TR | A | Y | Y |  |
|  | Manufacturer’s assembly, installation, maintenance, and troubleshooting instructions including: | 1.5.A.10 | W | P, II | A | Y | Y |  |
|  | Information for authorized service facilities and parts distributor | 1.5.A.10.a | W | P | A | Y | Y |  |
|  | Parts lists | 1.5.A.10.b | W | P | A | Y | Y |  |
|  | Recommended spare parts | 1.5.A.10.c | W | P | A | Y | Y |  |
|  | Lubrication requirements and acceptable substitutes | 1.5.A.10.d | W | P | A | Y | Y |  |
|  | Maintenance requirements and schedules for all equipment | 1.5.A.10.e | W | P | C | Y | Y |  |
|  | Safety procedures | 1.4.A.10.f | W | P | A | Y | Y |  |
|  | Proper operation of all equipment | 1.5.A.10.g | W | P | A | Y | Y |  |
|  | Routine maintenance procedures | 1.5.A.10.h | at closeout | P | C | Y | Y |  |
|  | Assembly drawings and descriptive literature | 1.5.A.10.i | W | D | A | Y | Y |  |
|  | Wiring schematics | 1.5.A.10.j | W | D | A | Y | Y |  |
|  | [Shop Drawings, Catalog Cut sheets] | 1.5.A.11 | F | SD | A | Y | Y |  |
|  | Structural steel fabrication drawings | 1.5.A.11.a | F | D | A | Y | Y |  |
|  | Hoist or trolley drawings (Plans, Sections and Elevations) | 1.5.A.11.b | F | D | A | Y | Y |  |
|  | Electrical drawings (plans, sections, elevations) | 1.5.A.11.c | Z | D | A | Y | Y |  |
|  | Wiring diagrams: Drawings to include the following: | 1.5.A.11.d | Z | D | A | Y | Y |  |
|  | Manufacturer’s name | 1.5.A.11.d.1 | Z | D | A | Y | Y |  |
|  | Model number | 1.5.A.11.d.2 | Z | D | A | Y | Y |  |
|  | Rating | 1.5.A.11.d.3 | Z | D | A | Y | Y |  |
|  | Hook-speed/hook-load curves (hoisting and lowering) | 1.5.A.11.d.4 | Z | D | A | Y | Y |  |
|  | Motor-speed/ torque and current curves | 1.5.A.11.d.5 | Z | D | A | Y | Y |  |
|  | Evidence of experience | 1.5.A.12 | X | P | A | Y | Y |  |
|  | Document inspections performed on the hoist or trolley systems | 1.5.A.13 | WKLY | P | A | Y | Y |  |
|  | Certified Material Test Reports or Certificates of Conformance | 1.5.A.14 | Z | P | A | Y | Y |  |
| 43 3113.37 | High Efficiency Gas Purification Filters |  |  |  |  |  |  |  |
|  | Submittal of QA plan | 1.5 | Z | OT | A | - | - |  |
|  | Certificate of Conformance. The CoC shall include: | 1.5.A.1 | F | P, CT | A | - | - |  |
|  | Copy of the filter manufacturer’s QA plan | 1.5.A.1.a | F | P, CT | A | Y | Y |  |
|  | Certification that filters and filter housing have been designed manufactured and constructed in accordance with manufacturer’s QA plan and Section 1.6 | 1.5.A.1.b | Y | P, CT | A | Y | Y |  |
|  | Certification documentation showing that the filter meets the design requirements | 1.5.A.1.c | Y | P, CT | A | Y | Y |  |
|  | Certification that any custom built filter housing was fabricated and leak tested to meet the requirements of this specification. | 1.5.A.1.d | Y | P, CT | A | Y | Y |  |
|  | Purchased item identified by model number | 1.5.A.1.e | Y | P | A | Y | Y |  |
|  | Statement that the filter housing meets the leak test requirements | 1.5.A.1.f | Y | P | A | Y | Y |  |
|  | Purchase Order (PO) number | 1.5.A.1.g | Y | P | A | - | - |  |
|  | Any approved changes, waivers, or deviations from this specification | 1.5.A.1.h | Z | P | A | Y | Y |  |
|  | Installation Instructions | 1.5.A.2 | W | P, II | A | - | - |  |
|  | Warranty documentation | 1.5.A.3 | at closeout | P, WA | C | - | - |  |
| 43 4113 | Gas and Liquid Pressure Vessels |  |  |  |  |  |  |  |
|  | Reference to LANL Project I.D. Number, LANL Subcontract Number. LANL may choose to waive some of these submittals if the Supplier has been granted prior approval by LANL for recent Subcontract submittals | 1.5.A.1 | Z | P | A | - | - |  |
|  | Design drawings, calculations, and supporting data prior to beginning pressure vessel fabrication. | 1.5.B.1 | F | D, P, CA | A | Y | Y |  |
|  | Quality Assurance/ Quality Control | 1.5.C | X | OT | A | - | - |  |
|  | Uncontrolled copy of QA manual for LANL approval | 1.5.C.1 | X | (1)P | A | - | - |  |
|  | Notifications | 1.5.C.2 | W | P | A | - | - |  |
|  | Lower Tier Services Plan | 1.5.C.3 | F | P | A | - | - |  |
|  | Fabrication Schedule | 1.5.C.4 | F | P | A | - | - |  |
|  | Material Control Procedure | 1.5.C.5 | X | P | A | - | - |  |
|  | Material control procedure to be used in the execution of the work. | 1.5.C.5.a | F | P | A | - | - |  |
|  | Heat Numbers: Note heat numbers on weld maps | 1.5.C.5.b | Y | D, P | A | - | - |  |
|  | Fabrication Procedures: a copy of: | 1.5.C.6 | W |  | A | - | - |  |
|  | Welding Procedure Specifications (WPS) | 1.5.C.6.a | W | P | A | Y | Y | PE |
|  | Welding Procedure Qualification Record (PQR) | 1.5.C.6.b | W | P | A | Y | Y | PE |
|  | Welding & NDE Personnel Listing | 1.5.C.6.c | W | P | A | Y | Y | PE |
|  | Liquid Penetrant Test Procedure | 1.5.C.6.d | W | P | A | Y | Y | PE |
|  | Radiographic Test Procedure, and | 1.5.C.6.e | W | P | A | Y | Y | PE |
|  | Leak Test Procedure | 1.5.C.6.f | W | P | A | Y | Y | PE |
|  | Welder Performance Qualification Records | 1.5.C.7.a | W | P, CT | A | Y | Y | PE |
|  | NDE Personnel Certifications | 1.5.C.7.b | W | P, CT | A | Y | Y | PE |
|  | Material certifications for steel | 1.5.C.7.c | W | P, CT | A | Y | Y | PE |
|  | Supplier’s ASME “Certificate of Compliance,” | 1.5.C.7.d | W | P, CT | A | Y | Y | PE |
|  | Test Reports: a copy of: | 1.5.C.8 | S | TR | A | - | - |  |
|  | Liquid Penetrant Test Report | 1.5.C.8.a | S | P, TR | A | Y | Y | PE |
|  | Radiographic Test Report, and | 1.5.C.8.b | S | P, TR | A | Y | Y | PE |
|  | Hydrostatic Leak Test Report | 1.5.C.8.c | S | P, TR | A | Y | Y | PE |
|  | Shipping Submittals: a copy of | 1.5.C.9 | S | OT | A | - | - |  |
|  | Supplier’s vessel Cleaning Procedure | 1.5.C.9.a | S | P | A | - | - |  |
|  | Supplier’s Packaging Procedure | 1.5.C.9.b | S | P | A | - | - |  |
|  | Bill of Lading with shipment | 1.5.C.9.c | Y | P | A | - | - |  |
|  | Nonconformances | 1.5.D | Y | OT | A | - | - |  |
|  | Written request to LANL for any proposed technical changes. | 1.5.D.1 | W | P | A | Y | Y | PE |
|  | Warranty | 1.5.E | at closeout | WA | A | - | - |  |
| 43 4116 | Atmospheric Tanks and Vessels |  |  |  |  |  |  |  |
|  | Reference to LANL Project ID Number, LANL Subcontract Number, Storage Tank Number, Storage Tank Title, and Drawing Number on correspondence. | 1.5.B | Z | P | A | - | - |  |
|  | Drawings, Calculations and Supporting Data | 1.5.B.1 | F | D, CA | A | - | - |  |
|  | Design drawings, calculations, and supporting data prior to beginning storage tank fabrication. | 1.5.B.1.a | F | P, D,CA | A | - | - |  |
|  | Quality Assurance/Quality Control | 1.5.B.2 | F | OT | A | - | - |  |
|  | Uncontrolled copy of the Supplier’s QA manual for LANL approval | 1.5.B.2.a | F | P | A | - | - |  |
|  | Notifications | 1.5.B.2.b | W | OT | A | - | - |  |
|  | Lower Tier Services Plan | 1.5.B.2.c | F | P | A | - | - |  |
|  | Fabrication Schedule | 1.5.B.2.d | F | P | A | - | - |  |
|  | Material Control Procedure | 1.5.B.2.e | F | P | A | - | - |  |
|  | Welding Procedure Specifications (WPS) | 1.5.B.2.f.i | F | P | A | - | - |  |
|  | Welding Procedure Qualification Record (PQR) | 1.5.B.2.f.ii | F | P | A | - | - |  |
|  | Welding & NDE Personnel Listing | 1.5.B.2.f.iii | F | P | A | - | - |  |
|  | Liquid Penetrant Test Procedure | 1.5.B.2.f.iv | F | P | A | - | - |  |
|  | Radiographic Test Procedure | 1.5.B.2.f.v | F | P | A | - | - |  |
|  | Leak Test Procedure | 1.5.B.2.f.vi | F | P | A | - | - |  |
|  | Certifications: a copy of: | 1.5.B.2.g | F | CT | A | - | - |  |
|  | Welder Performance Qualification Records | 1.5.B.2.g.i | F | P, CT | A | Y | Y | PE |
|  | NDE Personnel Certifications | 1.5.B.2.g.ii | F | P, CT | A | Y | Y | PE |
|  | Material certifications | 1.5.B.2.g.iii | F | P, CT | A | Y | Y | PE |
|  | Test Reports: a copy of: | 1.5.B.2.h | S | P, TR | A | - | - |  |
|  | Liquid Penetrant Test Report | 1.5.B.2.h.i | S | P, TR | A | Y | Y | PE |
|  | Radiographic Test Report. | 1.5.B.2.h.ii | S | P, TR | A | Y | Y | PE |
|  | Leak Test Report. | 1.5.B.2.h.iii | S | P, TR | A | Y | Y | PE |
|  | Shipping Submittals: a copy of: | 1.5.B.2.i | Y | OT | A | - | - |  |
|  | Supplier’s vessel Cleaning Procedure | 1.5.B.2.i.i | Y | P | A | - | - |  |
|  | Supplier’s Packaging Procedure. | 1.5.B.2.i.ii | S | P | A | - | - |  |
|  | Bill of Lading with the storage tank shipment. | 1.5.B.2.i.iii | Y | P | A | - | - |  |
|  | Nonconformances | 1.5.B.3 | S | OT | A | - | - |  |
|  | Warranty | 1.5.B.4 | at closeout | P, WA | C | - | - |  |