SECTION 01 4200

REFERENCES

*************************************************************************************************************

LANL MASTER SPECIFICATION

Word file at http://engstandards.lanl.gov

Some authors notes appear in blue hidden text.  Word2003: Turn on/off with Tools/Options/View-Hidden Text.  Word2007: Click on Office Button in top left hand corner, Word Options, then choose Hidden text on Display tab.  Or click ¶ symbol in toolbar.

Edit this template for each project.  In doing so, Specifier must add job-specific requirements.  Brackets are used in the text to indicate where text must be supplied by theSpecifier.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for materials, systems, processes, items, or designs that are not included in the Project -- and specifier’s notes such as these.   To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual (ESM) General POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

Specification developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Chapter 1, Section Z10 Specifications and Quality sections.

*************************************************************************************************************

A listing of references in Part 1 of each Spec Section is undesirable and misleading because the specifier falsely believes he has mandated a requirement when he has only listed a reference.  However, the individual sections should individually specify conformance to specific publications or requirements as required in the text of each Spec Section.  If the title as well as the number of a specific reference is desirable to the designer, write it out in the first occurrence (e.g., "Conform to ACI 318, Building Code Requirements for Reinforced Concrete”) and refer to it by number in the remainder of that Spec.

The list can include extra names of organizations that may not appear in the specs, but should have all those that are actually referenced there.

*************************************************************************************************************

PART 1	GENERAL

1.1	SECTION INCLUDES

A.	General definitions for Specifications and other Contract Documents including the Drawings.

B.	Specification format and content explanation

C.	Explanation of Industry Standards

D.	Schedule of References

1.2	RELATED DOCUMENTS

- Drawings and general provisions of the Contract, including General and Special Conditions and other Division 1 Specification Sections, apply to this Section.

1.3	DEFINITIONS

General:  Basic Contract definitions are included in the Construction Subcontract Form of Agreement (or General Conditions, Special Conditions, etc.).

Construction Subcontractor:  The successful third party or the Offeror.  A subcontractor to LANS; the individual or legal entity that has entered into the construction agreement with LANS for the delivery of goods or services necessary for the performance of the Construction Contract.  Constructor, if used, shall be taken to mean Construction Subcontractor.  (Notes: from April 2008 forward, “Construction Subcontractor” was substituted into the LANL Master Specifications in lieu of Contractor and Constructor.)  Also, when LANS chooses to self-perform work, Construction Subcontractor shall mean LANS self-perform entity.

A/E of Record:  Architect and/or Engineer in responsible charge of the construction design documents.

Contractor:  Los Alamos National Security, LLC (LANS).   Contractor also means Subcontract Administrator, the individual authorized to act on the behalf of LANS. (Note: LANL Master Specifications prior to April 2008 may use the term “Contractor” to mean the Construction Subcontractor.)

Subcontract Technical Representative (STR):  The LANL STR has technical and performance oversight of the Construction Subcontractor’s Scope of Work, including but not limited to engineering, procurement, safety, quality, schedule, and coordinated execution of the Work that is carried out by the Construction Subcontractor.  The STR has no authority to direct commercial or technical changes to the subcontract.

Los Alamos National Security, LLC (LANS):   A limited liability company, which manages and operates LANL under contract with the Department of Energy (DOE)/National Nuclear Security Administration (NNSA)."Approved":  When used to convey A/E of Record's action on Construction Subcontractor's submittals, applications, and requests, "approved" is limited to AE of Record's duties and responsibilities as stated in the Construction Subcontract.

“Certificate of Conformance (or Conformity)”:  Document certified by a competent authority that the supplied goods or services meets the required specifications.  “Certificate of Compliance” is similar but attests that the supplier of goods or services meets the specifications.

“Certified Material Test Reports (CMTR)”; “Mill Traceability Report” (composition); and “Material Test Report” (mechanical properties):  All must have actual test results.  CMTRs shall be certified by a nationally-accredited lab (notary not required).

"Directed":  A command or instruction by LANL.  Other terms including "requested," "authorized," "selected," "required," and "permitted" have the same meaning as "directed."

"Indicated":  Requirements expressed by graphic representations or in written form on Drawings, in Specifications, and in other Contract Documents.  Other terms including "shown," "noted," "scheduled," and "specified" have the same meaning as "indicated."

"Regulations":  Laws, ordinances, statutes, and lawful orders issued by authorities having jurisdiction, and rules, conventions, and agreements within the construction industry that control performance of the Work.

Avoid modifying first three paragraphs below because of widespread acceptance and understanding of these terms as defined.

"Furnish":  Supply and deliver to Project site, readying for unloading, unpacking, assembly, installation, and similar operations.

"Install":  Operations at Project site including unloading, temporarily storing, unpacking, assembling, erecting, placing, anchoring, applying, working to dimension, finishing, curing, testing, protecting, cleaning, and similar operations.

“Installer”:  An installer is the Construction Subcontractor or another entity engaged by the Construction Subcontractor, either as an employee, lower tier construction subcontractor or subcontractor to a lower tier construction subcontractor, to perform a particular construction activity, including installation, erection, application, and similar operations.  Installers are required to be experienced in the operations they are engaged to perform.

"Provide":  Furnish and install, complete and ready for the intended use.

Generally retain paragraph below; revise to suit Project.

"Project Site":  Space available for performing construction activities.  The extent of Project site is shown on Drawings and may or may not be identical with the description of the land on which Project is to be built.

“Support Services Subcontractor (SSS)”:  LANL’s former captive, dedicated craft-oriented workforce and its management.  Now LANL or Maintenance and Site Services (MSS).

“Testing Agency”: A testing agency is an independent entity engaged to perform specific inspections or tests, either at the Project Site or elsewhere, and to report on and, if required, to interpret results of those inspections or tests.

  - INDUSTRY STANDARDS

        - Applicability of Standards: Unless the Contract Documents include more stringent requirements, applicable construction industry standards have the same force and effect as if bound or copied directly into the Contract Documents to the extent referenced. Such standards are made a part of the Contract Documents by reference.

Retain "Publication Dates" Paragraph below unless Specifications are revised to insert dates (which is not recommended). Unreferenced standards are not applicable. Revise effective date of the standard established below to suit Project.

Publication Dates: Comply with standards in effect as of date of the Contract Documents unless otherwise indicated.

Retain "Copies of Standards" Paragraph below on projects where copies of standards are needed. A requirement to retain many standards on a project site could become expensive. See Evaluations.

Copies of Standards: Each entity engaged in construction on Project should be familiar with industry standards applicable to its construction activity. Copies of applicable standards are not bound with the Contract Documents.

Where copies of standards are needed to perform a required construction activity, obtain copies directly from publication source.

1.5	SCHEDULE OF REFERENCES

        - Industry Organizations: Where abbreviations and acronyms are used in Specifications or other Contract Documents, they shall mean the recognized name of the entities in the following list. This information is subject to change and is believed to be accurate as of the date of the Contract Documents.

        - To the extent specified elsewhere in these Contract Documents, comply with the requirements of the following standards and associations.

[ADD AND DELETE REFERENCES AS REQUIRED TO MATCH PROJECT]

| AA | Aluminum Association |
| --- | --- |
|  | www.aluminum.org |
|  | 202-862-5100 |
| AABC | Associated Air Balance Council |
|  | www.aabchq.com |
|  | 202-737-0202 |
| AAMA | American Architectural Manufacturers Association |
|  | www.aamanet.org |
|  | 864-303-5664 |
| AASHTO | American Association of State Highway and Transportation Officials |
|  | www.aashto.org |
|  | 202-624-5800 |
| ABMA | American Bearing Manufacturers Association |
|  | www.abma-dc.org |
|  | 202-367-1155 |
| ABMA | American Boiler Manufactures Association |
|  | www.abma.com |
|  | 703-522-7350 |
| ACI | American Concrete Institute International |
|  | www.aci-int.org |
|  | 248-848-3700 |
| ADC | Air Diffusion Council |
|  | www.flexibleduct.com |
|  | 847-706-6750 |
| AEIC | Association of Edison Illuminating Companies |
|  | www.aeic.org/ |
|  | 205-257-2530 |
| AF&PA | American Forest & Paper Association |
|  | www.afandpa.org |
| AGA | American Gas Association |
|  | www.aga.org |
|  | 202-824-7000 |
| AGC | Associated General Contractors of America |
|  | www.agc.org/ |
|  | 703-837-5312 |
| AI | Asphalt Institute |
|  | www.asphaltinstitute.org |
|  | 859-288-4960 |
| AIA | American Institute of Architects |
|  | www.aia.org |
|  | 800-242-3837 |
|  | 202-626-7300 |
| AISC | American Institute of Steel Construction |
|  | www.aisc.org |
|  | 312-670-2400 |
| AISI | American Iron and Steel Institute |
|  | www.steel.org |
|  | 202-452-7100 |
| AITC | American Institute of Timber Construction |
|  | www.aitc-glulam.org |
|  | 303-792-9559 |
| ALSC | American Lumber Standards Committee |
|  | www.alsc.org |
|  | 301-972-1700 |
| AMCA | Air Movement and Control Association International |
|  | www.amca.org |
|  | 847-394-0150 |
| ANSI | American National Standards Institute |
|  | www.ansi.org |
|  | 212-642-4980 |
| APA | APA Engineered Wood Association |
|  | www.apawood.org |
|  | 253-565-6600 |
| API | American Petroleum Institute |
|  | www.api.org |
|  | 202-682-8000 |
| AQMD | South Coast Air Quality Management District |
|  | http://www.aqmd.gov/ |
|  | 909-396-2000 |
| ARI | Air-Conditioning and Refrigeration Institute |
|  | www.ari.org |
|  | 703-524-8800 |
| ASA | Acoustical Society of America |
|  | http://asa.aip.org/ |
|  | 516-576-2360 |
| ASCE | American Society of Civil Engineers |
|  | www.asce.org |
|  | 800-548-2723 |
| ASHRAE | American Society of Heating, Refrigerating and Air Conditioning Engineers |
|  | www.ashrae.org |
|  | 800-527-4273, 404-636-8400 |
| ASME | American Society of Mechanical Engineers |
|  | www.asme.org |
|  | 800-843-2763, 212-591-7722 |
| ASTM | ASTM International (formerly American Society for Testing and Materials) |
|  | www.astm.org |
|  | 610-832-9585 |
| AWI | Architectural Woodwork Institute |
|  | www.awinet.org |
|  | 703-733-0600 |
| AWPA | American Wood-Preservers' Association |
|  | www.awpa.com |
|  | 334-874-9800 |
| AWS | American Welding Society |
|  | www.aws.org |
|  | 800-443-9353, 305-443-9353 |
| AWWA | American Water Works Association |
|  | www.awwa.org |
|  | 800-926-7337, 303-794-7711 |
| BHMA | Builders Hardware Manufacturers Association |
|  | www.buildershardware.com |
|  | 212-297-2122 |
| BIA | Brick Industry Association |
|  | www.bia.org |
|  | 703-620-0010 |
| CDA | Copper Development Association |
|  | www.copper.org |
|  | 212-251-7200 |
| CFR | Code of Federal Regulations |
|  | www.gpoaccess.gov/cfr/index.html |
| CGA | Compressed Gas Association |
|  | www.cgnet.com |
|  | 703-788-2700 |
| CISCA | Ceilings & Interior Systems Construction Association |
|  | http://www.cisca.org |
|  | 630-584-1919 |
| CISPI | Cast Iron Soil Pipe Institute |
|  | www.cispi.org |
|  | 423-892-0137 |
| CLFMI | Chain Link Fence Manufacturers Institute |
|  | www.chainlinkinfo.org |
|  | 301-596-2583 |
| CMAA | Crane Manufactures Association of America |
|  | www.mhia.org/cmaa |
|  | 704-676-1190 |
| CRSI | Concrete Reinforcing Steel Institute |
|  | www.crsi.org |
|  | 847-517-1200 |
| CSI | Construction Specifications Institute |
|  | www.csinet.org |
|  | 800-689-2900 |
| CTI | Cooling Tower Institute |
|  | www.cti.org |
|  | 281-583-4087 |
| DHI | Door and Hardware Institute |
|  | www.dhi.org |
|  | 703-222-2010 |
| DOE | Department of Energy Directives, Regulations and Standards |
|  | www.directives.doe.gov or |
|  | http://www.eh.doe.gov/techstds |
| EIMA | Exterior Insulation Manufacturers Association |
|  | www.eima.com |
|  | 1-800-294-3426 |
| EJMA | Expansion Joint Manufacturers Association |
|  | www.ejma.org |
|  | 914-332-0040 |
| ETL | Environmental Testing Laboratories |
|  | www.etlsemko.com |
|  | 607-753-6711 |
| EPA | United States Environmental Protection Agency |
|  | Comprehensive Procurement Guidelines |
|  | http://www.epa.gov/epawaste/conserve/tools/cpg/index.htm |
| FGMA | Flat Glass Marketing Association |
|  | (see GANA) |
| FM | FM (Factory Mutual) Global |
|  | www.fmglobal.com |
|  | 401-275-3000 |
| FS | Federal Specification |
|  | http://apps.fss.gsa.gov/pub/fedspecs/index.cfm |
|  | www.global.ihs.com |
|  | 800-854-7179, 303-347-7956 |
| FSC | Forest Stewardship Council |
|  | http://us.fsc.org/ |
|  | 612-353-4511 |
| GA | Gypsum Association |
|  | www.gypsum.org |
|  | 202-289-5440 |
| GANA | Glass Association of North America |
|  | (comprised of LSGA, GRA, and FGMA) |
|  | www.cssinfo.com/info/gana.html |
| GS | Green Seal |
|  | http://www.greenseal.org/Home.aspx |
|  | 202-872-6400 |
| HMI | Hoist Manufacturers Institute |
|  | www.mhia.org/htmi |
|  | 704-676-1190 |
| IAMPO | International Association of Plumbing and Mechanical Officials |
|  | www.iapmo.com |
|  | 909-472-4100 |
| ICC | International Code Council |
|  | (comprised of BOCA and ICBO) |
|  | www.iccsafe.org |
|  | 703-931-4533 |
| ICEA | Insulated Cable Engineers Association |
|  | www.icea.net |
|  | 800-854-7179, 303-397-7956 |
| IEEE | Institute of Electrical and Electronics Engineers |
|  | www.ieee.org |
|  | 732-981-0060 |
| IES | Illuminating Engineering Society of North America |
|  | www.iesna.org |
|  | 212-248-5000 |
| IEST | Institute of Environmental Sciences and Technology |
|  | http://www.iest.org |
|  | 847-255-1581 |
| IFI | Industrial Fasteners Institute |
|  | www.industrial-fasteners.org |
|  | 216-241-1482 |
| IGMA | Insulating Glass Manufacturers Alliance |
|  | www.igmaonline.org |
|  | 613-233-1590 |
| IMI | International Masonry Institute |
|  | www.imiweb.org |
|  | 410-280-1305 |
| IRI | Industrial Risk Insurers |
|  | www.industrialrisk.com |
|  | 800-255-6931 |
| ISA | Instrumentation, Systems, and Automation Society |
|  | www.isa.org |
|  | 919-549-8411 |
| ISO | International Organization for Standardization |
|  | http://www.iso.org |
| LEED | Leadership in Energy and Environmental Design |
|  | http://new.usgbc.org/leed |
|  | 1-800-795-1747 |
| LPI | Lightning Protection Institute |
|  | www.lightning.org |
|  | 800-488-6864 |
| MBMA | Metal Building Manufacturer's Association |
|  | www.mbma.com |
|  | 216-241-7333 |
| MFMA | Maple Flooring Manufacturers Association |
|  | www.maplefloor.org |
|  | 847-480-9138 |
| MHIA | Material Handling Industry of America |
|  | www.mhia.org |
|  | 704-676-1190 |
| MIL | Military Specifications |
|  | http://assist2.daps.dla.mil/quicksearch |
|  | www.global.ihs.com |
|  | 800-854-7179, 303-397-7956 |
| MPI | Master Painters Institute |
|  | http://www.mpi.net/ |
|  | 1-888-674-8937 |
| MS | Military Standard Drawings |
|  | www.global.ihs.com |
|  | 800-854-7179, 303-397-7956 |
| MSS | Manufacturer's Standardization Society of the Valve and Fittings Industry |
|  | www.mss-hq.com |
|  | 703-281-6613 |
| NAAMM | National Association of Architectural Metal Manufacturers |
|  | www.naamm.org |
|  | 312-332-0405 |
| NACE | National Association of Corrosion Engineers International |
|  | http://www.nace.org |
|  | 800-797-6223 |
| NADCA | National Air Duct Cleaners Association |
|  | www.nadca.com |
|  | 202-737-2926 |
| NBBP | National Board of Boiler & Pressure Vessel Inspectors |
|  | www.nationalboard.org |
|  | 614-888-8320 |
| NCMA | National Concrete Masonry Association |
|  | www.ncma.org |
|  | 703-713-1900 |
| NEBB | National Environmental Balancing Bureau |
|  | www.nebb.org |
|  | 301-977-3698 |
| NECA | National Electrical Contractors Association |
|  | www.necanet.org |
|  | 301-657-3110 |
| NELMA | Northeastern Lumber Manufacturers Association |
|  | http://www.nelma.org/ |
|  | 207-829-6901 |
| NEMA | National Electrical Manufacturers Association |
|  | www.nema.org |
|  | 703-841-5900 |
| NETA | International Electrical Testing Association |
|  | www.netaworld.org |
|  | 303-697-8441 |
| NFPA | National Fire Protection Association (National Fire Codes) |
|  | www.nfpa.org |
|  | 617-770-3000 |
| NIST | National Institute of Standards and Technology |
|  | U. S. Department of Commerce |
|  | www.nist.gov |
|  | 301-975-6478 |
| NLGA | National Lumber Grade Authority |
|  | http://nlga.org/ |
|  | 604-584-2393 |
| NMDOT | New Mexico Department of Transportation |
|  | www.nmshtd.state.nm.us |
|  | 505-827-5100 |
| NRCA | National Roofing Contractors Association |
|  | http://www.nrca.net |
|  | 847-299-9070 |
| NSWMA | National Solid Wastes Management Association |
|  | www.nswma.org |
|  | 800-424-2869 |
| NTMA | National Terrazzo and Mosaic Association |
|  | www.ntma.com |
|  | 540-751-0930 |
| OSHA | Occupational Safety and Health Administration |
|  | www.osha.gov |
|  | 800-321-6742, 877-889-5627 |
| PCA | Portland Cement Association |
|  | www.portcement.org |
|  | 847-966-6200 |
| PCI | Precast/Prestressed Concrete Institute |
|  | www.pci.org |
|  | 312-786-0300 |
| PDI | Plumbing and Drainage Institute |
|  | www.pdionline.org |
|  | 800-589-8956 |
| PS | Product Standard, U. S. Department of Commerce |
|  | Standards and Codes Information |
|  | www.nist.gov |
|  | 301-975-2000 |
| RCSC | Research Council on Structural Connections |
|  | http://www.boltcouncil.org/ |
|  | boltcouncil@gmail.com |
| RIS | The Redwood Inspection Service |
|  | http://www.redwoodinspection.com/ |
|  | 925-935-1499 |
| SDI | Steel Deck Institute |
|  | http://www.sdi.org/ |
|  | 847-458-4647 |
| SDI | Steel Door Institute |
|  | www.steeldoor.org |
|  | 440-899-0010 |
| SJI | Steel Joist Institute |
|  | www.steeljoist.org |
|  | 843-626-1995 |
| SMACNA | Sheet Metal and Air Conditioning Contractors' National Association |
|  | www.smacna.org |
|  | 703-803-2980 |
| SPIB | Southern Pine Inspection Bureau |
|  | www.spib.org |
|  | 850-434-2611 |
| SPRI | Single Ply Roofing Institute |
|  | www.spri.org |
|  | 781-647-7026 |
| SSPC | The Society for Protective Coatings |
|  | www.sspc.org |
|  | 877-281-7772 |
| STI | Steel Tank Institute |
|  | www.steeltank.com |
|  | 847-438-8265 |
| TCA | Tile Council America |
|  | www.tileusa.com |
|  | 864-646-8453 |
| TEMA | Tubular Exchanger Manufactures Association |
|  | www.tema.org |
|  | 914-332-0040 |
| TPI | Turfgrass Producers International |
|  | www.lawninstitute.com |
|  | 800-405-8873, 847-705-7898 |
| UL | Underwriters' Laboratories |
|  | www.ul.com |
|  | 877-854-3577 |
| UMC | Uniform Mechanical Code (IAPMO) |
|  | www.iapmo.com |
|  | 909-472-4100 |
| UPC | Uniform Plumbing Code (IAPMO) |
|  | www.iapmo.com |
|  | 909-472-4100 |
| USC-FCCCHR | University of Southern California, Foundation for Cross-Connection Control and Hydraulic Research |
|  | www.usc.edu/dept/fccchr |
|  | 866-545-6340, 213-740-2032 |
| USDA | United States Department of Agriculture |
|  | BioPreferred Program |
|  | http://www.biopreferred.gov/ProductCategories.aspx |
| USGBC | U.S. Green Building Council |
|  | http://new.usgbc.org/ |
|  | 800-795-1747 |
| WCLIB | West Coast Lumber Inspection Bureau |
|  | www.wclib.org |
|  | 503-639-0651 |
| WDMA | Window and Door Manufacturers Association |
|  | www.nwwda.org |
|  | 800-223-2301, 847-299-5200 |
| WH | Warnock Hersey Mark Intertek |
|  | http://www.intertek.com/marks/wh/ |
|  | 800-967-5352 |
| WWPA | Western Wood Products Association |
|  | www.wwpa.org |
|  | 503-224-3930 |

PART 2	PRODUCTS

Not Used.

PART 3	EXECUTION

Not Used.

END OF SECTION

**********************************************************

Do not delete the following reference information:

**********************************************************

FOR LANL USE ONLY

This project specification is based on LANL Master Specification 01 4200 Rev. 3, dated January 30, 2013.