SECTION 01 4216

DEFINITIONS

*************************************************************************************************************

LANL MASTER SPECIFICATION

New in this revision: CMTR definition revised.

Word file at http://engstandards.lanl.gov

This section includes general definitions previously located in sections 01 1116 Work by Owner and 01 4200 References.  Both were archived concurrently with 01 4216 issuance.  Section 01 1116 or 01 1117 may be created/utilized by those projects needing to address such.  The national code and standard organization contact information formerly in 01 4200 is likely unnecessary in the internet age.

Edit this template for each project.  In doing so, Specifier must add job-specific requirements.  Brackets are used in the text to indicate where text must be supplied by the Specifier.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for materials, systems, processes, items, or designs that are not included in the Project, add specification requirements not included herein, and delete specifier’s notes such as these.

To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual (ESM) General POC.  Please also contact the POC with suggestions for improvement as well.
When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

This specification is developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Chapter 1, Section Z10 Specifications and Quality sections.

*************************************************************************************************************

PART 1	GENERAL

- SECTION INCLUDES

- General definitions for the Specifications and other Subcontract Documents including the Drawings.

- RELATED DOCUMENTS

- Drawings and general provisions of the Subcontract, including General and Special Conditions—and other Division 01 Specification Sections—relate to this Section.  Basic Subcontract definitions are included in the Construction Subcontract Form of Agreement (or General Conditions, Special Conditions, etc.

- As a Division 01 section, this section takes precedence over non-Div-01 sections (e.g., where they are silent or conflict).

- DEFINITIONS

A/E or Engineer of Record (EOR), or Design Professional in Responsible Charge (DPIRC):  Architect or engineer in responsible charge of the design and preparation of the bid/construction documents.

Approved:  When used to convey A/E of Record's action on Construction Subcontractor's submittals, applications, and requests, approved is limited to AE of Record's duties and responsibilities as stated in the Construction Subcontract.

Certificate of Conformance (CoC):  A document signed or otherwise authenticated by an authorized individual certifying the degree to which items or services meet the specified requirements. [NQA-1].  Usage guidance:  For nuclear safety items, a CoC may only be used as a method of acceptance if the supplier is approved to provide a CoC on the LANL Institutional Evaluated Supplier List (IESL).  Typically, only suppliers approved for QRL-1 meet this requirement (ref. P840-1 and IQPA-DO-FSD-019 for details).  See also Certification Document below.

Certification Document:  A document, regardless of title, signed or otherwise authenticated by an authorized representative of the certifying entity, certifying that a particular batch, lot, item, or service was manufactured/performed in accordance with and/or meets specific requirements contained in applicable codes, standards, specifications, or other published requirements.  Examples include: Certificate of Test, Certificate of Analysis, Certificate of Compliance. [P840-1]. Usage guidance:  Intended for QRL-2 and lower (see P840-1 and IQPA-DO-FSD-019). See also CoC above.

Certified Material (Mill) Test Report (CMTR).  Reports detailing physical and chemical properties of the material(s) for which they are required, and in accordance with the applicable national or international material standards (e.g., ASTM, ANSI) for the material type.  CMTRs (material or mill) must be the results of test performed by the material manufacturer or by a material verification process, if such a process is allowed by the standard governing the material type, and must specify the test method and the source of the acceptance criteria.  Each CMTR must be signed by an authorized representative of the testing entity, be traceable to the materials delivered via heat, lot, or other identification, and must meet any content requirements of the applicable national or international standards invoked for the material type. [adapted from IQPA-DO-FSD-019, IQPA-DO-FD-085.000 QD-05].  Usage guidance:  When CMTRs are requested through Exhibit H–Part 1 for Standard Procurements (or otherwise), requestor should indicate the material(s) for which they are required and the consensus standard(s) to be met, or provide references to Statement of Work (SOW) or specification section(s) where information is provided.  If/when spelling out term, choose “Material” or “Mill” coinciding with referenced standard usage; however, either should yield desired result.

Construction Subcontractor:  The successful third party or the Offeror.  A contractor to the LANL Managing and Operating Contractor (thus a subcontractor); the individual or legal entity that has entered into the construction agreement with LANL for the delivery of goods or services necessary for the performance of the Construction Contract.  (Note: from April 2008 forward, “Construction Subcontractor” was generally used in LANL Master Specifications in lieu of Contractor or Constructor.)  Also, when LANL chooses to self-perform work all the Project’s work, Construction Subcontractor shall mean LANL self-perform entity (further discussed by Section 01 1117 when present).

Constructor:  The construction Subcontractor or LANL self-perform entity.

Contractor:  The LANL site managing and operating contractor to NNSA [Triad National Security, LLC (TNS)].   Contractor also means Subcontract Administrator, the individual authorized to act on the behalf of LANL. (Note: LANL Master Specifications prior to April 2008 and some Project Specifications after that point may use the term “Contractor” to mean the Construction Subcontractor, often erroneously; seek clarification when unclear)

Contractor-Performed Work: Work to be done by LANL; also known as self-perform work.

Directed:  A command or instruction from Contractor.  Other terms including "requested," "authorized," "selected," "required," and "permitted" have the same meaning as "directed."

Furnish:  Supply and deliver to Project site, readying for unloading, unpacking, assembly, installation, and similar operations.

Government Furnished Equipment (GFE): Term used in Subcontract Documents to refer to Contractor furnished property, products or in general to describe any Contractor furnished equipment for installation by the Construction Subcontractor in the work or used in its performance..

Indicated:  Requirements expressed by graphic representations or in written form on Drawings, in Specifications, and in other Contract Documents.  Other terms including "shown," "noted," "scheduled," and "specified" have the same meaning as "indicated."

Install:  Operations at Project site including unloading, temporarily storing, unpacking, assembling, erecting, placing, anchoring, applying, working to dimension, finishing, curing, testing, protecting, cleaning, and similar operations.

Installer:  An installer is the Construction Subcontractor or another entity engaged by the Construction Subcontractor, either as an employee, lower tier construction subcontractor or subcontractor to a lower tier construction subcontractor, to perform a particular construction activity, including installation, erection, application, and similar operations.  Installers are required to be experienced in the operations they are engaged to perform.

Project Site:  Space available for performing construction activities.  The extent of Project site is shown on Drawings and may or may not be identical with the description of the land on which Project is to be built.

Provide:  Furnish and install, complete and ready for the intended use.

Regulations:  Laws, ordinances, statutes, and lawful orders issued by authorities having jurisdiction, and rules, conventions, and agreements within the construction industry that control performance of the Work.

Subcontract Technical Representative (STR):  The LANL STR has technical and performance oversight of the Construction Subcontractor’s Scope of Work, including but not limited to engineering, procurement, safety, quality, schedule, and coordinated execution of the Work that is carried out by the Construction Subcontractor.  The STR has no authority to direct commercial or technical changes to the subcontract.  [When self-performed by LANL, take to mean the Superintendent(s)].

Avoid modifying first three paragraphs below because of widespread acceptance and understanding of these terms as defined.

Generally retain paragraph below; revise to suit Project.

Testing Agency: A testing agency is an independent entity engaged to perform specific inspections or tests, either at the Project Site or elsewhere, and to report on and, if required, to interpret results of those inspections or tests.

Triad National Security, LLC (TNS):   The limited liability company that manages and operates LANL under contract with the Department of Energy (DOE)/National Nuclear Security Administration (NNSA).  Take all occurrences of “LANS,” the previous Contractor, to mean Triad.

PART 2	PRODUCTS

Not Used.

PART 3	EXECUTION

Not Used.

END OF SECTION

**********************************************************

Do not delete the following reference information:

**********************************************************

THE FOLLOWING STATEMENT IS FOR LANL USE ONLY

This Project Specification section is based on LANL Master Specification Section 01 4216 Rev. 3, dated April 28, 2021.