SECTION 05 5213

PIPE AND TUBE RAILINGS

**********************************************************************************************************

LANL MASTER SPECIFICATION

Word file at http://engstandards.lanl.gov

This section includes pipe or tube railing system; steel materials; custom fabricated or proprietary design. Metal bar stock railings of brass or bronze metals can be easily edited into this section. This section can also be edited to include handrails and glass balusters at perimeter of escalator floor openings.

This specification section is for use with LANL ESM Chapter 5, Sections I and II in particular; therefore, it is primarily applicable to ML-4 (routine) projects.  For ML-1, ML-2, and some ML-3, additional requirements and independent reviews may be required; see ESM Ch 1 Section Z10 Specifications and Quality sections.

The ESM Chapter 5, Part II, paragraph 7.0, via reference to the International Building Code (IBC) Chapter 22, contains provisions governing the quality, design, fabrication and erection of steel used structurally in buildings or structures.  It is the intent of this and other METALS sections of the specifications to address those provisions pertaining to quality, fabrication and erection; however, the specifier is ultimately responsible for ensuring ALL paragraph 7.0/Chapter 22 provisions are complied with on a given project.

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for processes, items, or designs that are not included in the project -- and specifier’s notes such as these.  To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual Structural POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

In using this Section, the Engineer of Record accepts responsibility for the design of handrail, guardrail, and attachments to resist the following loads per the IBC/ ASCE 7.  These loads do not have to be applied concurrently:

- Handrail or (Guard) Top Rail Concentrated Load: 200 pounds applied at any point in any

direction.  Load must be transferred through the supports to the structure to produce the maximum load effect on the element being considered.

-    Handrail or (Guard) Top Rail Uniformly Distributed Load: 50 pounds per linear foot

applied in any direction.  There is an exception to this requirement.  Ref. IBC 1607.8.1.

-    Intermediate Rails, Balusters and Panel Fillers Concentrated Load: 50 pounds applied horizontally on an area < 1 sf (including openings and space between rails) located to produce the maximum load effect.

NOTE:  Since cast iron, stainless steel and aluminum railings at LANL are seldom used, they are not addressed herein.  If these materials are to be used on a given project, edit this Section as necessary to ensure compliance with IBC Chapters 20 and/or 22.

**********************************************************************************************************

GENERAL

SUMMARY

Section includes:

Steel [pipe] [and] [tube] railings.

Related Sections:

*************************************************************************************************************

Retain subparagraphs below to cross-reference requirements Subcontractor might expect to find in this Section but are specified in other Sections.

*************************************************************************************************************

## Section 01 4444 - Offsite Welding and Joining Requirements:  General welding requirements.

## Section 01 4455 - Onsite Welding and Joining Requirements:  General welding requirements.

## Section 03 3001 – Reinforced Concrete: Execution requirements for placement of cast-in-place anchors specified in this section in concrete.

## Section 03 6000 – Grout:  All requirements for grout used for attachment plates.

## Section 05 0520 - Post-installed Concrete and Grouted-Masonry Anchors – Normal Confidence

## Section 05 1000 – Structural Metal Framing: Attachment [plates] [angles] [and] [________] for steel stairs, including cast-in-place anchors.

## Section 04 2220 – Reinforced Unit Masonry: Execution requirements for placement of cast-in-place anchors specified in this section in masonry.

## Section 06 1000 – Rough Carpentry:  Wood studs and/ or backing for anchoring railings.

## Section 09 6900 – Access Flooring:  For railings included with access flooring.

## Section 09 9100 - Painting: Paint finish.

REFERENCES

*************************************************************************************************************

List reference standards included within text of this section. Edit for Project conditions.

*************************************************************************************************************

ASTM International (ASTM)

ASTM A53	Pipe, Steel, Black and Hot-Dipped, Zinc-Coated, Welded

and Seamless

ASTM A123	Zinc (Hot-Dip Galvanized) Coatings on Iron and Steel

Products

ASTM A 153 	Zinc Coating (Hot-Dip) on Iron and Steel Hardware

ASTM A500	Cold-Formed Welded and Seamless Carbon Steel

Structural Tubing in Rounds and Shapes

ASTM A510	General Requirements for Wire Rods and Coarse Round

Wire, Carbon Steel

ASTM A653	Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-

Coated (Galvannealed) by the Hot-Dip Process

ASTM A780	Repair of Damaged and Uncoated Areas of Hot-Dipped

Galvanized Coatings

ASTM A1008	Steel, Sheet, Cold-Rolled, Carbon, Structural, High-

Strength Low Alloy, High-Strength Low Alloy with Improved Formability, Solution Hardened, and Bake Hardenable

ASTM A1011	Steel, Sheet and Strip, Hot-Rolled, Carbon, Structural,

High-Strength Low Alloy, High-Strength Low Alloy with Improved Formability, and Ultra-High Strength

ASTM B633	Electrodeposited Coatings of Zinc on Iron and Steel.

ASTM D1187	Asphalt-Base Emulsions for Use as Protective Coatings

for Metal

ASTM F1267	Metal, Expanded, Steel

ASTM F1941	Electrodeposited Coatings on Threaded Fasteners [Unified

Inch Screw Threads (UN/UNR)]

ASTM F2329	Zinc Coating, Hot-Dip, Requirements for Application to

Carbon and Alloy Steel Bolts, Screws, Washers, Nuts, and Special Threaded Fasteners

American Welding Society (AWS)

AWS D1.1	Structural Welding Code - Steel

Master Painters Institute (MPI)

- MPI #20	Primer, Zinc-Rich Epoxy

- MPI #25	Cleaner, Etching, for Galvanized Metal

- MPI #72	Polyurethane, Two-Component, Pigmented, Gloss (MPI

Gloss Level 6-7)

- MPI #77	Epoxy, Glass

- MPI #79	Primer, Alkyd, Anti-Corrosive for Metal

The Society for Protective Coatings (SSPC) and National Association of Corrosion Engineers International (NACE)

SSPC-PA 1		Shop, Field, and Maintenance Painting of Steel

SSPC-Paint 20	Zinc-Rich Coating, Type I - Inorganic and Type II –

Organic

SSPC-SP 3		Power Tool Cleaning

SSPC-SP 6/		Commercial Blast Cleaning

NACE No. 3

COORDINATION

Coordinate selection of shop primers with topcoats to be applied over them.  Comply with paint and coating manufacturers' written recommendations to ensure that shop primers and topcoats are compatible with one another.

Coordinate installation of anchorages for railings.  Furnish setting drawings, templates, and directions for installing anchorages, including sleeves, concrete inserts, anchor bolts, and items with integral anchors, that are to be embedded in concrete or masonry.  Deliver such items to Project site in time for installation.

Schedule installation so wall attachments are made only to completed walls.  Do not support railings temporarily without consulting structural engineer of record to ensure his/her performance requirements are satisfied.

ACTION SUBMITTALS

Product data:  For the following:

Manufacturer’s product lines of mechanically connected railings.

Railing brackets.

Anchoring cement and paint products.

Shop drawings:  Indicate plans, elevations, sections, details, and attachments to other work.

Per the requirements of 01 4444 Offsite Welding and Joining Requirements and/or 01 4455 Onsite Welding and Joining Requirements, submit

****************************************************************************************************

When offsite only, delete submittals below regarding onsite welding. For high risk applications such as ML-1 or ML-2, add submittals for “Weld Filler Material Control Procedures” and “Filler Material Certified Material Test Reports (CMTRs)” when required.  Add “Post-Weld Heat Treatment Procedures” when required.

****************************************************************************************************

  - Welding Procedure Specification (WPS) and supporting Procedure Qualification Record (PQR).  [Note:  For Onsite welding use of LANL WPS/PQR is the default; coordinate usage with the LANL CWI; no submittal required]

  - Welder Performance Qualification Records (WPQR) including continuity [Note: For Onsite, welders are tested by LANL who will produce WPQR and track continuity; this includes brazing, bonding and fusing; no submittal required]

  - Inspector qualification records

  - Inspection procedures

  - Shop drawings with weld details/symbols

*********************************************************************************************************

Retain the following paragraph if submission of physical samples for selection of finish, color, texture, and other properties is necessary.

*********************************************************************************************************

Samples: For each type of exposed finish required.

Sections of each distinctly different linear railing member, including handrails, top rails, posts, and balusters.

Fittings and brackets.

SUSTAINABLE DESIGN SUBMITTALS

Manufacturer's Certificate: Certify products meet or exceed specified sustainable design requirements.

*******************************************************************************************************

Edit material certifications list to suit products specified in this section and Project sustainable design requirements. Specific certificate submittal and supporting data requirements may be specified in ESM Ch. 14 and 01 8113.13, Sustainable Design.

*******************************************************************************************************

Materials Resources Certificates:

Certify source and origin for [salvaged] [and] [reused] products.

Certify recycled material content for recycled content products.

Certify source for local and regional materials and distance from Project site.

Indoor Air Quality Certificates:

Certify volatile organic compound content for each interior paint and coating.

Product Cost Data: Submit cost of products to verify compliance with Project sustainable design requirements. Exclude cost of labor and equipment to install products.

Provide cost data for the following product

*********************************************************************************************************

Edit list of material cost data to suit products specified in this section and Project sustainable design requirements. Specific data requirements may be specified in ESM Ch. 14.

*********************************************************************************************************

Salvaged products.

Reused products.

Products with recycled material content.

Local and regional products.

[____________________.]

INFORMATIONAL SUBMITTALS

*************************************************************************************************************

Informational submittals must be limited to those necessary for adequate quality control. The importance of an item, or complexity, in the context of the project should determine whether or not a submittal is required.

## *************************************************************************************************************

*************************************************************************************************************

Consider retaining next paragraph if primers are fully specified in this Section rather than in 09 9100.

### *************************************************************************************************************

Paint Compatibility Certificates:  From manufacturers of topcoats applied over shop primers certifying that shop primers are compatible with topcoats.

Research/Evaluation Reports: For load-bearing proprietary products, from ICC-ES, or “equivalent independent third-party.”

QUALITY ASSURANCE

*************************************************************************************************************
Retain paragraph below if shop or field welding is required.  If retaining, also retain WPQR paragraph in "Action Submittals" Article.

*************************************************************************************************************

- Retain "Welding Qualifications" paragraph(s) below if shop or field welding is required.  If retaining, also retain "Welding certificates" Paragraph in "Submittals" Article.

Retain first paragraph below if only one AWS standard is applicable.  Retain second paragraph if more than one AWS standard is referenced.

Welding Qualifications:

Shop.

Refer to specification 01 4444 Offsite Welding and Joining Requirements.

Field.

Refer to Section 01 4455 Onsite Welding and Joining Requirements.

DELIVERY, STORAGE, AND HANDLING

Protect mechanical finishes on exposed surfaces from damage by applying a strippable, temporary protective covering before shipping.

FIELD CONDITIONS

*************************************************************************************************************

If possible, design railings so that they do not have to fit other construction, and delete this Article.

*************************************************************************************************************

- If possible, design railings so that they do not have to fit other construction, and delete this article.

Field Measurements:  Verify actual locations of walls and other construction contiguous with metal fabrications by field measurements before fabrication.

PRODUCTS

PERFORMANCE REQUIREMENTS

    - Thermal Movements:  Allow for thermal movements from ambient and surface temperature changes.

Temperature Change:  120 degrees F, ambient; 180 degrees F (material surfaces).

METALS, GENERAL

Metal Surfaces, General:  Provide materials with smooth surfaces, without seam marks, roller marks, rolled trade names, stains, discolorations, or blemishes.

Brackets, Flanges, and Anchors:  Cast or formed metal of same type of material and finish as supported rails unless otherwise indicated.

Provide type of bracket with [flange tapped for concealed anchorage to threaded hanger bolt] [predrilled hole for exposed bolt anchorage] and that provides 1-1/2-inch clearance from inside face of handrail to finished wall surface.

STEEL

*************************************************************************************************************

Retain A if recycled content is required for LEED-NC, LEED-CI, or LEED-CS Credits MR 4.1 and MR 4.2.  The USGBC allows a default value of 25 percent to be used for steel without documentation; higher percentages can be claimed if they are supported by appropriate documentation.  The Steel Recycling Institute indicates that hollow structural shapes, pipe, and steel plates are made by the basic oxygen furnace method, which typically has 23 percent postconsumer recycled content and 1.5 percent preconsumer recycled content.

*************************************************************************************************************

Recycled Content of Steel Products:  Provide products with average recycled content of steel products so postconsumer recycled content plus one-half of preconsumer recycled content is not less than [25] percent.

*************************************************************************************************************

If HSS (vs. pipe) is the basis of design then retain paragraph below.

Per AISC 360, Gr B is the preferred material specification for HSS.  If greater strength is required, there are other ASTM designations permitted by AISC 360; however, their availability must be confirmed prior to specification.

For ASTM A500 Gr B, select from the following Min.-Yield-Stress (Fy) options based on the required shape:

- 42 ksi if round HSS is required.

- 46 ksi if rectangular HSS is required.

HSS is furnished in terms of outside diameter.  Ensure diameter selected complies with ADA requirements.

*************************************************************************************************************

Tubing (Hollow Structural Steel, or HSS): ASTM A500, Gr B, [42-ksi minimum yield stress] [46-ksi minimum yield stress].

*************************************************************************************************************

If pipe (vs. HSS) is the basis of design then retain paragraph below.

Per AISC 360, ASTM A53 Gr B is the sole material specification for pipe; Fy = 35 ksi.

With regard to Weight/ Schedule, pipe is available in the following weight classes: Std (Standard = Schedule 40), x-Strong (Extra Strong = Sch. 80), and xx-Strong (Double-extra Strong).

Std.-weight pipe is furnished in terms of inside diameter (i.e., STD pipe 1-1/2 has approx. 1-1/2” inside diameter).  The outside diameter of x-strong-weight pipe is approx. the designation/ shape (i.e., pipe 1-1/2 x-strong has approx. 1-1/2” outside diameter).  Ensure diameter selected complies with ADA requirements.

*************************************************************************************************************

Pipe: ASTM A53, Grade B, [Standard] [Extra Strong] [Double-extra Strong].

*************************************************************************************************************

Delete subparagraph below if railings are galvanized after fabrication or if not using galvanized railings.

*************************************************************************************************************

Provide galvanized finish for exterior installations and where indicated.

Plates, Shapes, and Bars: ASTM A 36.

Expanded Metal:  ASTM F 1267, [Type I (expanded)] [Type II (expanded and flattened)], Class 1 (uncoated).

*************************************************************************************************************

Style designations in subparagraph below indicate size.  3/4 number 13 has openings approx. ¾” x 1-1/2“& is 0.09” to 0.10” thick; 1-1/2 number 10 has openings approx. 1” x 2-1/2” and is 0.13” to 0.142” thick.

*************************************************************************************************************

Style Designation:  [3/4 number 13] [1-1/2 number 10] [_______].

Perforated Metal:  Cold-rolled steel sheet, ASTM A 1008, or hot-rolled steel sheet, ASTM A 1011, commercial steel Type B, [0.060 inch] [____] thick, [with 1/4-inch holes 3/8 inch o.c. in staggered rows].

Basis-of-Design Product:  Provide product with perforations matching [product indicated on Drawings] [Insert manufacturer's name; product name or designation].

Perforated Metal:  Galvanized-steel sheet, ASTM A 653, G90 coating, commercial steel Type B, [0.064 inch] [_____] thick, [with 1/4-inch holes 3/8 inch o.c. in staggered rows] [with 1/8-by-1-inch round end slotted holes in staggered rows] [_________].

Basis-of-Design Product:  Provide product with perforations matching [product indicated on Drawings] [Insert manufacturer's name; product name or designation].

Woven-Wire Mesh:  Intermediate-crimp, [diamond] [square] pattern, 2-inch woven-wire mesh, made from 0.134-inch diameter wire complying with ASTM A 510.

FASTENERS

General: Provide the following:

Ungalvanized-Steel Railings: Plated steel fasteners complying with ASTM B 633 or ASTM F 1941, Class Fe/Zn 5 for zinc coating.

*************************************************************************************************************

Many fasteners, such as small-diameter machine screws, are not available hot-dip galvanized.

*************************************************************************************************************

Hot-Dip Galvanized Railings: Type 304 stainless-steel or hot-dip zinc-coated steel fasteners complying with ASTM A 153 or ASTM F 2329 for zinc coating.

*************************************************************************************************************

Retain subparagraph below if exposed fasteners are allowed, especially with color anodic finish.

*************************************************************************************************************

Provide exposed fasteners with finish matching appearance, including color and texture, of railings.

*************************************************************************************************************

Select option in paragraph below based on the importance of the fasteners in question to the structural design.  For example, the 1st option must be retained if these fasteners are part of the load path associated w/ live loads stipulated in IBC Ch. 16 for handrails & guards, etc.

*************************************************************************************************************

Fasteners for Anchoring Railings to Other Construction: [Provide _______ for  anchoring railings to other types of construction indicated] [Select fasteners of type, grade, and class required to produce connections suitable for anchoring railings to other types of construction indicated].

Fasteners for Interconnecting Railing Components:

Provide concealed fasteners for interconnecting railing components and for attaching them to other work, unless otherwise indicated.

Provide concealed fasteners for interconnecting railing components and for attaching them to other work, unless exposed fasteners are unavoidable or are the standard fastening method for railings indicated.

*************************************************************************************************************

Delete subparagraph below or revise if another type of head is required or is standard with system selected.

*************************************************************************************************************

Provide [Phillips] [tamper-resistant] [square or hex socket] flat-head machine screws for exposed fasteners unless otherwise indicated.

*************************************************************************************************************

If Project requires the use of post-installed (P-I) anchors then the EOR is required to perform a design calc(s), specify the associated product(s) in 05 0520, & provide detail(s) on Project drawings.  Ensure all of the above consider use in exterior vs. interior locations in accordance w/ the applicable ICC-ES ESR (or similar).

Delete paragraph if P-I anchors are N/A.

*************************************************************************************************************

Post-Installed Anchors: Provide anchors indicated and specified in Section 05 0520.

MISCELLANEOUS MATERIALS

Welding Rods and Bare Electrodes: Comply with AWS D1.1.

Etching Cleaner for Galvanized Metal: Complying with MPI#25.

Galvanizing Repair Paint: High-zinc-dust-content paint complying with SSPC-Paint 20 and compatible with paints specified to be used over it.

*************************************************************************************************************

Retain 1 or more of 4 primer paragraphs below "Universal Shop Primer" paragraph specifies a typical primer for painted finishes that provides minimum protection to steel. "Epoxy Zinc-Rich Primer" paragraph specifies a typical primer for high-performance coating.

*************************************************************************************************************

Shop Primers: Provide primers that comply with [Section 09 9100 Painting.] [___________]

Universal Shop Primer: Fast-curing, lead- and chromate-free, universal modified-alkyd primer complying with MPI#79 and compatible with topcoat.

Use primer containing pigments that make it easily distinguishable from zinc-rich primer.

Epoxy Zinc-Rich Primer: Complying with MPI#20 and compatible with topcoat.

Shop Primer for Galvanized Steel: Primer formulated for exterior use over zinc-coated metal and compatible with finish paint systems indicated.

Intermediate Coats and Topcoats: Provide products that comply with [Section 09 9100 "Painting."] [_________]

Epoxy Intermediate Coat: Complying with MPI #77 and compatible with primer and topcoat.

Polyurethane Topcoat: Complying with MPI #72 and compatible with undercoat.

Bituminous Paint: Cold-applied asphalt emulsion complying with ASTM D 1187.

*************************************************************************************************************

Retain 1 or both of paragraphs below.

"Grout" paragraph must be used for “structural purposes (i.e., the anchorage in question is part of a load path),” & can be used for nonstructural purposes.

- If this Section is edited for use w/ aluminum handrails or railings, & grout is required, ensure that a cement-based grout isn’t used.  An epoxy grout must be used in such applications to preclude adverse reaction between aluminum & cement.

"Anchoring Cement" paragraph can only be used for nonstructural purposes.

*************************************************************************************************************

Nonshrink, Nonmetallic Grout: Provide grout specified in Section 03 6000.

Anchoring Cement: Factory-packaged, nonshrink, nonstaining, hydraulic-controlled expansion cement formulation for mixing with water at Project site to create pourable anchoring, patching, and grouting compound.

Water-Resistant Product: [At exterior locations] [and] [where indicated] provide formulation that is resistant to erosion from water exposure without needing protection by a sealer or waterproof coating and that is recommended by manufacturer for exterior use.

FABRICATION

General: Fabricate railings to comply with requirements indicated for design, dimensions, member sizes and spacing, details, finish, and anchorage[, but not less than that required to support structural loads].

Shop assemble railings to greatest extent possible to minimize field splicing and assembly. Disassemble units only as necessary for shipping and handling limitations. Clearly mark units for reassembly and coordinated installation. Use connections that maintain structural value of joined pieces.

Cut, drill, and punch metals cleanly and accurately. Remove burrs and ease edges to a radius of approximately 1/32 inch unless otherwise indicated. Remove sharp or rough areas on exposed surfaces.

Form work true to line and level with accurate angles and surfaces.

Fabricate connections that are exposed to weather in a manner that excludes water. Provide weep holes where water may accumulate.

Cut, reinforce, drill, and tap as indicated to receive finish hardware, screws, and similar items.

Connections: Fabricate railings with [welded] [nonwelded] [either welded or nonwelded] connections unless otherwise indicated.

*************************************************************************************************************

"Welded Connections" paragraph below is generally applicable to exposed welding of steel (and stainless steel).

*************************************************************************************************************

Welded Connections: Cope components at connections to provide close fit, or use fittings designed for this purpose. Weld all around at connections, including at fittings.

Use materials and methods that minimize distortion and develop strength and corrosion resistance of base metals.

Obtain fusion without undercut or overlap.

Remove flux immediately.

At exposed connections, finish exposed surfaces smooth and blended so no roughness shows after finishing and welded surface matches contours of adjoining surfaces.

Nonwelded Connections: Connect members with concealed mechanical fasteners and fittings. Fabricate members and fittings to produce flush, smooth, rigid, hairline joints.

*************************************************************************************************************

Subparagraph below is an alternative to concealed mechanical fasteners and fittings.
*************************************************************************************************************

Fabricate splice joints for field connection using an epoxy structural adhesive if this is manufacturer's standard splicing method.

Form Changes in Direction as Follows:

*************************************************************************************************************

Retain one of four subparagraphs below 2nd subparagraph allows fabricator to choose radius of bends. 3rd is for flush (zero-radius) bends. 4th is for radii that are indicated on Drawings.

*************************************************************************************************************

As detailed.

[By bending] [or] [by inserting prefabricated elbow fittings].

[By flush bends] [or] [by inserting prefabricated flush-elbow fittings].

[By radius bends of radius indicated] [or] [by inserting prefabricated elbow fittings of radius indicated].

*************************************************************************************************************

Retain 1st paragraph below if bending is allowed or required.

************************************************************************************************************

For changes in direction made by bending, use jigs to produce uniform curvature for each repetitive configuration required. Maintain cross section of member throughout entire bend without buckling, twisting, cracking, or otherwise deforming exposed surfaces of components.

Close exposed ends of railing members with prefabricated end fittings.

Provide wall returns at ends of wall-mounted handrails unless otherwise indicated. Close ends of returns unless clearance between end of rail and wall is 1/4 inch (6 mm) or less.

Brackets, Flanges, Fittings, and Anchors: Provide wall brackets, flanges, miscellaneous fittings, and anchors to interconnect railing members to other work unless otherwise indicated.

*************************************************************************************************************

Retain subparagraph below if any railings are supported from plaster or gypsum board walls.

*************************************************************************************************************

At brackets and fittings fastened to plaster or gypsum board partitions, provide crush-resistant fillers or other means to transfer loads through wall finishes to structural supports and prevent bracket or fitting rotation and crushing of substrate.

Provide inserts and other anchorage devices for connecting railings to concrete or masonry work. Fabricate anchorage devices capable of withstanding loads imposed by railings. Coordinate anchorage devices with supporting structure.

*************************************************************************************************************

Delete paragraph below if no posts are set in concrete or if posts are set without sleeves.

Change steel to stainless steel (SS) in the paragraph if this Section is edited to include SS handrails or railings (that have posts set in concrete or if posts are set w/t sleeves).  And the same goes for the subsequent paragraph on removable railing posts.

************************************************************************************************************

For railing posts set in concrete, provide steel sleeves not less than 6-inches long with inside dimensions not less than 1/2 inch greater than outside dimensions of post, with metal plate forming bottom closure.

For removable railing posts, fabricate slip-fit sockets from steel HSS or pipe whose ID is sized for a close fit with posts; limit movement of post without lateral load, measured at top, to not more than one-fortieth of post height. Provide socket covers designed and fabricated to resist being dislodged.

Provide chain with eye, snap hook, and staple across gaps formed by removable railing sections at locations indicated. Fabricate from same metal as railings.

*************************************************************************************************************

Regarding the next 3 Paras. (i.e., on infill panels), the “4-in-sphere”-portion of the IBC guard-opening limitation (in its paragraph1015.4) is met by the indicated materials.  However, be advised that there are additional requirements, exceptions, etc. – pertaining to guard infill & other aspects of guard-related openings -- that might apply.

************************************************************************************************************

Expanded-Metal Infill Panels: Fabricate infill panels from expanded metal made from same metal as railings in which they are installed.

Edge panels with U-shaped channels made from metal sheet, of same metal as expanded metal and not less than 0.043 inch thick.

Orient expanded metal with long dimension of diamonds [parallel to top rail] [perpendicular to top rail] [horizontal] [vertical] [as indicated on Drawings].

Perforated-Metal Infill Panels: Fabricate infill panels from perforated metal made from [steel] [galvanized steel] [same metal as railings in which they are installed].

Edge panels with U-shaped channels made from metal sheet, of same metal as perforated metal and not less than 0.043 inch thick.

Orient perforated metal with pattern [parallel to top rail] [perpendicular to top rail] [horizontal] [vertical] [as indicated on Drawings].

Woven-Wire Mesh Infill Panels: Fabricate infill panels from woven-wire mesh crimped into 1-by-1/2-by-1/8-inch metal channel frames. Make wire mesh and frames from same metal as railings in which they are installed.

Orient wire mesh with [diamonds vertical] [diamonds perpendicular to top rail] [wires perpendicular and parallel to top rail] [wires horizontal and vertical] [as indicated on Drawings].

*************************************************************************************************************

Retain paragraph below if required* for protection against objects falling over edge of traffic surfaces.

*”If required” isn’t optional, up to the Project, etc. in the case of OSHA 1910.23(c).

- The OSHA requirement pertains to certain open-sided floors or platforms > 4 ft. above adjacent floors or ground levels.

- And if the requirement applies, there are provisions regarding the toe board itself that must be indicated &/ or added to the paragraph below.

************************************************************************************************************

Toe Boards: Where indicated, provide toe boards at railings around openings and at edge of open-sided floors and platforms. Fabricate to dimensions and details indicated.

STEEL FINISHES

Galvanized Railings:

*************************************************************************************************************

Retain 1st subparagraph below & delete both options if all railings, both interior and exterior, are galvanized. Retain 2nd option if only certain steel railings are galvanized; indicate locations of galvanized railings on Drawings.

*************************************************************************************************************

Hot-dip galvanize [exterior] [indicated] steel railings, including hardware, after fabrication.

Comply with ASTM A 123 for hot-dip galvanized railings.

Comply with ASTM A 153 for hot-dip galvanized hardware.

*************************************************************************************************************

Retain subparagraph below if galvanized railings are painted.

*************************************************************************************************************

Do not quench or apply post galvanizing treatments that might interfere with paint adhesion.

*************************************************************************************************************

Usually retain subparagraph below for railings hot-dip galvanized after fabrication.

************************************************************************************************************

Fill vent and drain holes that are exposed in the finished Work, unless indicated to remain as weep holes, by plugging with zinc solder and filing off smooth.

For galvanized railings, provide hot-dip galvanized fittings, brackets, fasteners, sleeves, and other ferrous components.

Preparing Galvanized Railings for Shop Priming: After galvanizing, thoroughly clean railings of grease, dirt, oil, flux, and other foreign matter, and treat with etching cleaner.

For nongalvanized-steel railings, provide nongalvanized ferrous-metal fittings, brackets, fasteners, and sleeves; however, galvanize anchors to be embedded in exterior concrete or masonry.

*************************************************************************************************************

Retain "Preparation for Shop Priming" paragraph below for nongalvanized railings.

*************************************************************************************************************

Preparation for Shop Priming: Prepare uncoated ferrous-metal surfaces to comply with [SSPC-SP 6/NACE No. 3] [SSPC-SP 3] [requirements indicated below:]

*************************************************************************************************************

Retain or revise any of 4 subparagraphs below to suit Project service conditions of installed work. Insert other exposures and preparation requirements where applicable. Refer to SSPC's painting manual.

Note that 3rd subparagraph pertains to the use of a high-performance-painting section, which, if applicable, will have to be created “outside” of the LANL Master Spec (since no such sect. exists therein).

*************************************************************************************************************

Exterior Railings: SSPC-SP 6/NACE No. 3.

Railings Indicated to Receive Zinc-Rich Primer: SSPC-SP 6/NACE No. 3.

Railings Indicated to Receive Primers Specified in Section _______ "High-Performance Coatings": SSPC-SP 6/NACE No. 3

Other Railings: SSPC-SP 3.

Primer Application: Apply shop primer to prepared surfaces of railings unless otherwise indicated. Comply with requirements in SSPC-PA 1 for shop painting. Primer need not be applied to surfaces to be embedded in concrete or masonry.

*************************************************************************************************************

Delete 1st subparagraph below if only 1 shop primer for uncoated steel is specified.

Note that 4th option pertains to the use of a high-performance-painting section, which, if applicable, will have to be created “outside” of the LANL Master Spec (since no such sect. exists therein).

*************************************************************************************************************

Shop prime uncoated railings with [universal shop primer] [primers specified in Section 09 9100 Painting] unless [zinc-rich primer is] [primers specified in Section _______  are] indicated.

*************************************************************************************************************

Delete subparagraph below if galvanized railings are shop primed.

*************************************************************************************************************

Do not apply primer to galvanized surfaces.

Shop-Painted Finish: Comply with [Section 09 9100 "Painting"].

Color: [As indicated by manufacturer's designations] [Match EOR's sample] [As selected by EOR from manufacturer's full range].

*************************************************************************************************************

If retaining "High-Performance Coating" paragraph below, also retain "Primer Application" paragraph.

*************************************************************************************************************

High-Performance Coating: Apply epoxy intermediate and polyurethane topcoats to prime-coated surfaces. Comply with coating manufacturer's written instructions and with requirements in SSPC-PA 1 for shop painting. Apply at spreading rates recommended by coating manufacturer.

Color: [As indicated by manufacturer's designations] [Match EOR's sample] [As selected by EOR from manufacturer's full range].

Delete first paragraph below if no variable finishes, such as color-anodized aluminum, are used.

Retain paragraph below if exposed fasteners are allowed, especially with color anodic finish.

EXECUTION

EXAMINATION

*************************************************************************************************************

Delete this Article if no handrails are attached to plaster or gypsum board assemblies.

*************************************************************************************************************

Examine plaster and gypsum board assemblies, where reinforced to receive anchors, to verify that locations of concealed reinforcements are clearly marked for Installer. Locate reinforcements and mark locations if not already done.

INSTALLATION, GENERAL

Fit exposed connections together to form tight, hairline joints.

Perform cutting, drilling, and fitting required for installing railings. Set railings accurately in location, alignment, and elevation; measured from established lines and levels and free of rack.

### Do not weld, cut, or abrade surfaces of railing components that are coated or finished after fabrication and that are intended for field connection by mechanical or other means without further cutting or fitting.

*************************************************************************************************************

Revise 2 subparagraphs below if closer tolerances are required. Both are from National Association of Architectural Metal Manufacturers' "Pipe Railing Systems Manual.”

*************************************************************************************************************

Set posts plumb within a tolerance of 1/16 inch in 3 feet.

Align rails so variations from level for horizontal members and variations from parallel with rake of steps and ramps for sloping members do not exceed 1/4 inch in 12 feet.

Control of Corrosion: Prevent galvanic action and other forms of corrosion by insulating metals and other materials from direct contact with incompatible materials.

Coat, with a heavy coat of bituminous paint, concealed surfaces of aluminum that are in contact with grout, concrete, masonry, wood, or dissimilar metals.

Adjust railings before anchoring to ensure matching alignment at abutting joints.

Fastening to In-Place Construction: Use anchorage devices and fasteners where necessary for securing railings and for properly transferring loads to in-place construction.

RAILING CONNECTIONS

*************************************************************************************************************

Delete 1st or 2nd paragraph below unless both methods are required. If both mechanical and welded connections are required, indicate locations of each on Drawings.
*************************************************************************************************************

Nonwelded Connections: Use mechanical or adhesive joints for permanently connecting railing components. Seal recessed holes of exposed locking screws using plastic cement filler colored to match finish of railings.

Welded Connections: Use fully welded joints for permanently connecting railing components. Comply with requirements for welded connections in "Fabrication" Article whether welding is performed in the shop or in the field.

*************************************************************************************************************

Delete paragraph below if no expansion joints are required, or revise to suit Project. Indicate locations on Drawings based on temperature changes expected and coefficient of expansion of metals involved.

*************************************************************************************************************

Expansion Joints: Install expansion joints at locations indicated but not farther apart than required to accommodate thermal movement. Provide slip-joint internal sleeve extending 2 inches beyond joint on either side, fasten internal sleeve securely to one side, and locate joint within 6 inches of post.

ANCHORING POSTS

*************************************************************************************************************

Retain type(s) of anchorage in this Article to suit Project.

Retain 1 of 1st 2 paragraphs below, or delete both if no posts in concrete. Coordinate with products selected in Part 2.

*************************************************************************************************************

Use metal sleeves preset and anchored into concrete for installing posts. After posts are inserted into sleeves, fill annular space between post and sleeve with [nonshrink, nonmetallic grout] [or] [anchoring cement], mixed and placed to comply with anchoring material manufacturer's written instructions.

Form or core-drill holes not less than 5 inches deep and 3/4 inch larger than OD of post for installing posts in concrete. Clean holes of loose material, insert posts, and fill annular space between post and concrete with [nonshrink, nonmetallic grout] [or] [anchoring cement], mixed and placed to comply with anchoring material manufacturer's written instructions.

*************************************************************************************************************

Retain 1 of 1st 2 paragraphs below if retaining either concrete anchorage method above.

*************************************************************************************************************

Cover anchorage joint with flange of same metal as post, [welded to post after placing anchoring material] [attached to post with set screws].

Leave anchorage joint exposed with [1/8-inch buildup, sloped away from post] [anchoring material flush with adjacent surface].

*************************************************************************************************************

Revise 1st paragraph below if posts are welded directly to supports.

*************************************************************************************************************

Anchor posts to metal surfaces with oval flanges, angle type, or floor type as required by conditions, connected to posts and to metal supporting members as follows:

Weld flanges to post and bolt to metal supporting surfaces.

*************************************************************************************************************

Retain paragraph below if applicable.

*************************************************************************************************************

Install removable railing sections, where indicated, in slip-fit metal sockets cast in concrete.

ATTACHING RAILINGS

*************************************************************************************************************

Delete 1st 2 Paragraphs below if railing ends are not returned to walls.

*************************************************************************************************************

Anchor railing ends at walls with round flanges anchored to wall construction and [welded to railing ends] [or] [connected to railing ends using nonwelded connections].

Anchor railing ends to metal surfaces with flanges bolted to metal surfaces and [welded to railing ends] [or] [connected to railing ends using nonwelded connections].

Attach railings to wall with wall brackets [, except where end flanges are used]. Locate brackets as indicated or, if not indicated, at spacing required to support structural loads.

Secure wall brackets and railing end flanges to building construction as follows:

For concrete and solid masonry anchorage, use drilled-in expansion shields and hanger or lag bolts.

For hollow masonry anchorage, use toggle bolts.

For wood stud partitions, use hanger or lag bolts set into studs or wood backing between studs. Coordinate with carpentry work to locate backing members.

*************************************************************************************************************

Retain 1 of 3 subparagraphs below if using steel studs.

*************************************************************************************************************

For steel-framed partitions, use hanger or lag bolts set into [fire-retardant-treated] wood backing between studs. Coordinate with stud installation to locate backing members.

For steel-framed partitions, use self-tapping screws fastened to steel framing or to concealed steel reinforcements.

For steel-framed partitions, use toggle bolts installed through flanges of steel framing or through concealed steel reinforcements.

ADJUSTING AND CLEANING

Clean by washing thoroughly with clean water and soap and rinsing with clean water.

*************************************************************************************************************

Retain paragraph below if touchup painting is included in this Section.

*************************************************************************************************************

Touchup Painting:  Immediately after erection, clean field welds, bolted connections, and abraded areas of shop paint, and paint exposed areas with the same material as used for shop painting to comply with SSPC PA 1 requirements for touching up shop-painted surfaces.

Apply by brush or spray to provide a minimum 2.0-mil dry film thickness.

*************************************************************************************************************

### Retain paragraph below if touchup painting is specified in Division 09 Sections.

*************************************************************************************************************

Touchup Painting:  Cleaning and touchup painting of field welds, bolted connections, and abraded areas of shop paint are specified in {Section 09 9100 Painting.] [Section _______ High-Performance Coatings.]

Galvanized Surfaces:  Clean field welds, bolted connections, and abraded areas and repair galvanizing to comply with ASTM A 780.

PROTECTION

Protect finishes of railings from damage during construction period with temporary protective coverings approved by railing manufacturer.  Remove protective coverings at time of Substantial Completion.

END OF SECTION

**********************************************************************

Do not delete the following reference information:

**********************************************************************

THE FOLLOWING STATEMENT IS FOR LANL USE ONLY

This project specification section is based on LANL Master Specification 05 5213 Rev. 4, dated September 3, 2020.