SECTION 07 2400

EXTERIOR INSULATION AND FINISH SYSTEMS

*************************************************************************************************************

LANL MASTER SPECIFICATION

Word file at https://engstandards.lanl.gov/specs.shtml

Rev. 4 Summary of Changes Updated references and other minor changes

Edit this template for each project.  In doing so, Specifier must add Project-specific requirements.  Brackets are used in the text to indicate where text must be edited or design information provided by the Specifier.  Once the choice is made or text provided, remove the brackets.  This document must also be edited to delete requirements for materials, systems, processes, items, or designs that are not included in the Project, add requirements not included herein and delete specifier’s notes such as these.  To seek a variance from requirements that are applicable, contact the Engineering Standards Manual Architectural POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable sections from all Divisions, especially Division 1, General requirements.

Section developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Chapter 1 Section Z10 Specifications and Quality sections.

*************************************************************************************************************

GENERAL

SECTION INCLUDES

Exterior insulation and finish system (EIFS), air/water resistive barrier and continuous insulation (CI) wall assemblies with cementitious coating and finish applied over [Concrete] [masonry] [cement board] [gypsum sheathing] substrate.

RELATED SECTIONS

[Section 01 8113.13],   [LEED v4 and] Guiding Principles 2020: Requirements for water efficiency, energy efficiency, material composition, and indoor air quality requirements

[Section 03 3001, Reinforced Concrete]

[Section 03 4100, Precast Structural Concrete]

[Section 04 2220, Reinforced Unit Masonry]

[Section 05 4000, Cold-formed Metal Framing]

Section 06 1000, Rough Carpentry

Section 07 6200, Sheet Metal and Flashing

Section 07 9200, Joint Sealants

Division 08, Openings

Section 09 2116, Gypsum Board Systems

REFERENCES

****************************************************************************************************
Edit the references to include only those used in the edited spec section.
****************************************************************************************************

ANSI

ANSI/EIMA 99A-2001 American National Standard for Exterior Insulation and Finish Systems (EIFS)

ASTM International:

ASTM C 578 – Standard Specification for Rigid, Cellular Polystyrene Thermal Insulation.

ASTM C 1063 – Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster.

ASTM C 1193 - Standard Guide for Joint Sealants

ASTM C 1382 - Test Method for Determining Tensile Adhesion Properties of Sealants When Used in Exterior Insulation and Finish Systems (EIFS) Joints.

ASTM C 1481 - Standard Guide for Use of Joint Sealants with Exterior Insulation and Finish Systems (EIFS).

ASTM E 84 – Standard Test Method for Surface Burning Characteristics of Building Materials.

ASTM E 119 – Standard Test Methods for Fire Tests of Building Construction and Materials.

ASTM E 2110 - Standard Terminology for Exterior Insulation and Finish Systems (EIFS)

ASTM E 2134 - Standard Test Method for Evaluating the Tensile-Adhesion Performance of an Exterior Insulation and Finish System (EIFS)

ASTM E 2273 - Standard Test Method for Determining the Drainage Efficiency of Exterior Insulation and Finish Systems (EIFS) Clad Walls

ASTM E 2321 - Standard Practice of Use for Test Methods E 96 for Determining the Water Vapor Transmission (WVT) of Exterior Insulation and Finish Systems (EIFS)

ASTM E 2359 - Standard Test Method for Field Pull Testing of an In-Place Exterior Insulation and Finish System Clad Wall Assembly

ASTM E 2430 - Standard Specification for Expanded Polystyrene (“EPS”) thermal Insulation Boards for Use in Exterior Insulation and Finish System (EIFS)

ASTM E 2485 - Standard Test Method for Freeze/Thaw Resistance of Exterior Insulation and Finish Systems (EIFS) and Water Resistive Barrier Coatings.

ASTM E 2511 - Standard Guide for Detailing of EIFS-Clad Wall Assemblies

ASTM E 2568 - Standard Specification for PB Exterior Insulation and Finish Systems

ASTM E 2570 - New Standard Test Methods for Evaluating Water-Resistive Barrier (WRB) Coatings Used Under Exterior Insulation and Finish Systems (EIFS) or EIFS with Drainage

ICC ES:

Acceptance AC24 Interim Criteria for Exterior Insulation and Finish Systems (EIFS)

AC212 Acceptance Criteria for Water-Resistive Coatings Used as Water-Resistive Barriers Over Exterior Sheathing

AC219 Acceptance Criteria for Exterior Insulation and Finish Systems

AC235e Acceptance Criteria for EIFS Clad Drainage Wall Assemblies

Exterior Insulation Manufacturers Association:

EIMA- Guideline Specification for Exterior Insulation and Finish Systems, Class PB and Class PM.

National Fire Protection Association:

NFPA 259 – Standard Test Method for Potential Heat of Building Materials.

NFPA 268 – Standard Test Method for Determining Ignitability of Exterior Wall Assemblies Using a Radiant Heat Energy Source.

NFPA 285 – Standard Method of Test for the Evaluation of Flammability Characteristics of Exterior Non-Load-Bearing Wall Assemblies Containing Combustible Components Using the Intermediate-Scale, Multistory Test Apparatus.

UL 723 (Underwriters Laboratories, Inc.) – Tests for Surface Burning Characteristics of Building Materials.

EPA (Environmental Protection Agency) CPG (Comprehensive Procurement Guidelines), https://www.epa.gov/cpg. Or https://www.epa.gov/epawaste/conserve/tools/cpg/index.htm

FM (Factory Mutual) – Research Specification Tested Products Guide

UL’s Product Directories, Volume 1 – Building Materials, Roofing Materials and Systems, Fire Protection Equipment, Fire Resistance.

International Code Council – International Building Code

SYSTEM DESCRIPTION

****************************************************************************************************Specification is based on using EIMA classification PM cementitious EIFS systems due to LANL experience with woodpeckers and other animals causing damage to Class PB thin synthetic-based systems particularly near wooded areas adjacent to buildings.  Use of Class PB EIFS system may be approved by the LANL Standards Architectural POC in areas not in or near wooded areas.  If so approved, edit specification for Class PB requirements as required. 
****************************************************************************************************

- Exterior Insulation and Finish System: EIMA Class PM system. Consisting of an air/water-resistive barrier coating, an adhesive, extruded polystyrene insulation board, mechanical fasteners, fiber reinforced polymer modified base coat with reinforcing mesh(es) and finish.

DEFINITIONS

Exterior Insulation and Finish System (EIFS): Exterior assemblies composed of air barrier, assembled (adhesive or mechanical), insulation board, reinforcing mesh, reinforcing trim, base coat, and finish coat, with approved accessories sealants, backer rods, etc.

Air Barrier Assembly:  The collection of air barrier materials, accessory and auxiliary materials applied to an opaque wall, including joints and junctions to abutting construction, to control air movement through the wall.

Continuous Insulation (CI): Insulation that is continuous across all structural members without thermal bridges other than fasteners and service openings installed on the exterior of the building envelope.

ACTION SUBMITTALS

Product Data: Manufacturer’s technical data for each component of exterior insulation and finish system.

Installation Instructions: Manufacturer’s literature indicating installation specifications and procedures.

Shop Drawing(s): Provide details of all elements illustrating integration of the exterior wall systems with other adjacent and/or applicable building systems. Indicate all exposed joints, surface patterns and decorative detailing elements. Graphically illustrate vapor barriers, flashing and sealant locations.

Samples: 24-inch square panels for each type of finish-coat color and texture indicated, prepared using same tools and techniques intended for actual work including [custom trim, each profile,] [and] [an aesthetic reveal].

Include [exposed trim and accessory] <insert item> Samples to verify color selected.

Include a typical control joint filled with sealant of color selected, as specified in Section 07 9200 Joint Sealants.

INFORMATIONAL SUBMITTALS

Qualification Data: For [Installer] [fabricator/erector].

Manufacturer Certificates: Signed by EIFS manufacturer certifying the following:

EIFS substrate is acceptable to EIFS manufacturer.

Accessory products installed with EIFS, including [joint sealants,] [flashing,] [water resistant barriers,] [trim,] <Insert accessory> whether or not furnished by EIFS manufacturer and whether or not specified in this section, are acceptable to EIFS manufacturer.

Product Certificates: For cementitious materials and aggregates and for insulation.

Product Test Reports: For each EIFS assembly and component, for tests performed by a qualified testing agency.

Field quality-control reports [and special inspection reports].

Evaluation Reports: For EIFS, including insulation [fasteners,] [flexible membrane flashing,] from ICC-ES.

Sample Warranty:  For manufacturer’s special warranty.

SUSTAINABLE DESIGN SUBMITTALS

Manufacturer’s Certificate: Certify products meet or exceed specified sustainable design requirements.

******************************************************************************************** Edit material certifications list to suit products specified in this section and Project sustainable design requirements. Specific certificate submittal and supporting data requirements are specified in Section 01 8113.13.
********************************************************************************************

Materials Resources Certificates:

Certify recycled material content for recycled content products.

Certify source for regional materials and distance from Project site.

Product Data:  For solvent cements and adhesive primers, documentation including printed statement of VOC content.

Laboratory Test Reports: For solvent cements and adhesive primers, documentation indicating that products comply with testing and product requirements of 40 CFR 59, Subpart D (EPA Method 24), National Volatile Organic Chemical Emission Standards for Architectural Coatings.

CLOSEOUT SUBMITTALS

Maintenance Data: Include maintenance data for EIFS in maintenance manuals.

Warranty:  Executed copy of Manufacturer’s Special Warranty in accordance with Article 1.15.

Extra Materials: Furnish materials in accordance with Article 1.16.

QUALITY ASSURANCE

Fire Rated Wall Construction: [Rating as indicated on Drawings] [<_______> hour rating].

Tested Rating: Determined in accordance with ASTM E 119.

Fire Performance:

Potential Heat of Foam Insulation: Determined in accordance with NFPA 259.

Potential Heat of Foam Insulation with Wall assembly: Maximum not to exceed potential heat of foam insulation with assembly when tested in accordance with NFPA 285.

Ignition: No sustained flaming when tested in accordance with NFPA 268.

Surface Burning Characteristics:

Foam Insulation: Maximum 75/450 flame spread/smoke developed index when tested in accordance with ASTM E 84.

Apply label from approved agency showing the manufacturer’s name, product listing, product identification and information sufficient to determine that the end use will comply with the code requirements.

QUALIFICATIONS

Manufacturer: Company specializing in manufacturing products specified in this section with minimum three years [documented] experience.

Applicator: Company specializing in performing Work of this section with minimum three years [documented] experience [approved by manufacturer].

[1.12	MOCKUP

************************************************************************************************************* Use this article for full sized erected assemblies required for review of construction, coordination of work of several sections, or review of visual characteristics.
*************************************************************************************************************

- Mockups: Build mockups to verify selections made under Sample submittals, to demonstrate aesthetic effects, to set quality standards for materials and execution, and to set quality standards for fabrication and installation.

  - Subject to compliance with requirements, approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.]

  - DELIVERY, STORAGE, AND HANDLING

    - Deliver materials in original, unopened packages with manufacturer’s labels intact and clearly identifying products.

    - Store materials inside and under cover; keep them dry and protected from weather, direct sunlight, surface contamination, aging, corrosion, damaging temperatures, construction traffic, and other causes.

      - Stack insulation board flat and off the ground with supports at two feet on center minimum.

      - Protect plastic insulation against ignition at all times. Do not deliver plastic insulating materials to Project site before installation time.

      - Complete installation and concealment of plastic materials as rapidly as possible in each area of construction.

  - FIELD CONDITIONS

    - Weather Limitations: Maintain ambient temperatures above 40 degrees F for a minimum of 24 hours before, during, and after adhesives or coatings are applied. Do not apply EIFS adhesives or coatings during rainfall. Proceed with installation only when existing and forecasted weather conditions and ambient outdoor air, humidity, and substrate temperatures permit EIFS to be applied, dried, and cured according to manufacturer’s written instructions and warranty requirements.

  - WARRANTY

    - Manufacturer’s Special Warranty: Manufacturer agrees to repair or replace EIFS that fail in materials or workmanship within specified warranty period.

      - Failures include, but are not limited to, the following:

        - Bond integrity and weather tightness.

        - Deterioration of EIFS finishes and other EIFS materials beyond normal weathering.

      - Warranty coverage includes the following EIFS components.

        - EIFS finish, including base and finish coats and reinforcing mesh.

        - Insulation installed as part of EIFS [including build-outs].

        - Insulation adhesive [and mechanical fasteners].

        - EIFS accessories, including trim components and flashing.

      - Warranty Period: [Five] [10] <Insert number> years from date of Substantial Completion.

  - EXTRA MATERIALS

    - Furnish the following materials to LANL STR, with maintenance instructions and repair procedures:

      - One gallon of base coat.

      - One gallon of primer coat.

      - One gallon of each color of finish coat.

      - Ten foot length of each type of mesh.

PRODUCTS

MANUFACTURERS

Manufacturers: Subject to compliance with requirements, provide products by one the following:

BASF Wall Systems

Dryvit System, Inc.

Parex USA, Inc. (El Rey Stucco)

Sto. Corp

<Insert manufacturer’s name>.

Source Limitations: Obtain EIFS from single source from single EIFS manufacturer and from sources approved by EIFS manufacturer as tested and compatible with EIFS components.

SUSTAINABILITY CHARACTERISTICS

*************************************************************************************************************
Edit sustainable design requirements to suit content of this section and Project sustainable design requirements.
*************************************************************************************************************

Primer: VOC content of 250 g/L or less.

Insulation Adhesive: VOC content of 50 g/L or less.

Waterproof Adhesive/Base Coat Materials: VOC content of 50 g/L or less.

Air Barrier: VOC content of 10 g/L or less.

Insulation: Minimum of 20% pre-consumer recycled content.

Base Coat: VOC content of 10 g/L or less.

Finish Coat: VOC content of 25 g/L or less.

PERFORMANCE REQUIREMENTS

Air/Water- Resistive Barrier Coating

Tensile Bonding: ASTM C 297, Minimum 15 PSI.

Freeze-thaw: ASTM E 2485, Method B. no deleterious effects after 10 cycles.

Water Resistance: ASTM D 2247, no deleterious effects from 14 days of exposure to water.

Water Vapor Transmission: ASTM E 96, Procedure B: Class III vapor barrier.

Air Permeance: ASTM E 2178, less than 0.003 ft3/min-ft2 at 1.56 psf.

Air Barrier Assembly: ASTM E 2357, not greater than 0.003 ft3/min-ft2 tested in both directions.

Air Leakage: ASTM E 283, less than 0.003 ft3/min-ft2 at 1.56 psf.

Fastener Stability: ASTM D 1970, no water penetration at fastener penetration under 5 inches head or water after 3 days at 40 deg. F.

Surface Burning Characteristics: ASTM E 84

Flame spread:  Less than 25.

Smoke developed: Less than 450.

EIFS Performance:  Comply with ASTM E 2568 [and ICC-ES AC219] and with the following:

Weather tightness: Resistant to water penetration from exterior.

System Fire Performance: [Fire-resistance rating of wall assembly] [Full-scale multistory fire test].

Structural Performance: EIFS assembly and components shall comply with ICC-ES AC219 when tested according to ASTM E 2568.

Wind Loads: Uniform pressure of <Insert lbf/sq. ft>, acting inward or outward.

Wind Loads: Uniform pressure as indicated on Drawings.

Impact Performance:  ASTM E 2568, [Standard] [Medium] [High] [Ultra High] impact resistance [unless other indicated].

Bond Integrity: Free from bond failure within EIFS components or between EIFS and substrates, resulting from exposure to fire, wind loads, weather, or other in-service conditions.

Abrasion Resistance of Finish Coat: Sample consisting of 1-inch thick EIFS mounted on ½-inch thick gypsum board; cured for a minimum of 28 days and shows no cracking, checking, or loss of film integrity after exposure to 528 quarts of sand when tested according to ASTM D 968, Method A.

Mildew Resistance of Finish Coat: Sample applied to 2-by-2-inch clean glass substrate; cured for 28 days and shows no growth when tested according to ASTM D 3273 and evaluated according to ASTM D 3274.

Air/Water Resistive Barrier Materials

Provide manufacturer’s recommended air/water resistive barrier coatings, accessory materials, joint reinforcement and flashing materials compatible with EIFS.

Air/water resistive barrier system to comply with ASHRAE 90.1 or 189.1 and ICC code requirements.

Air/water resistive barrier to be evaluated to ASTM E 2357.

EIFS MATERIALS

Insulation Adhesive:  EIFS manufacturer’s standard formulation designed for indicated use; compatible with substrate complying with [one of] the following:

Job-mixed formulation of Portland cement complying with ASTM C 150/C 150M, Type I, and polymer-based adhesive specified for base coat.

Factory-blended dry formulation of Portland cement, dry polymer admixture, and fillers specified for base coat.

Factory-mixed noncementitious formulation designed for adhesive attachment of insulation to substrates of type indicated, as recommended by EIFS manufacturer.

Molded, (expanded) Rigid Cellular Polystyrene Board Insulation (EPS): Comply with ASTM C 578, Type I; and with EIFS manufacturer’s requirements for most stringent requirements for material performance and qualities of insulation, including dimensions and permissible variations, and the following:

Aging: Before cutting and shipping, age insulation in block form by air-drying for not less than six weeks.

Flame-Spread and Smoke-Developed Indexes: 25 and 450 or less, respectively, according to ASTM E 84.

Dimensions: Provide insulation boards of not more than 24 by 48 inches thick or in other thickness indicated, but not more than 4 inches thick or less than the thickness allowed by ASTM C 1397.

Reinforcing Mesh: Balanced, alkali-resistant, open-weave, glass-fiber mesh treated for compatibility with other EIFS materials, made from continuous multi-end strands with retained mesh tensile strength of not less than 120 lbf/in. according to ASTM E 2098 and the following:

Reinforcing Mesh for EIFS, General: Not less than weight required to meet impact-performance level specified in “Performance Requirements” Article.

Strip Reinforcing Mesh: Not less than [3.75 oz/sq. yd.]  [As recommended by EIFS manufacturer] <Insert weight>.

Detail Reinforcing Mesh: Not less than [4.0 oz/sq. yd.] [As recommended by EIFS manufacturer] <Insert weight>.

Corner Reinforcing Mesh: Not less than [7.2 oz/sq. yd.] [As recommended by EIFS manufacturer] <Insert weight>.

Base-Coat Materials:  EIFS manufacturer’s standard mixture complying with [one of] the following:

[Job-mixed formulation of Portland cement complying with ASTM C 150, Type I, white or natural color; and manufacturer’s standard polymer-emulsion adhesive designed for use with Portland cement.]

[Job-combined formulation of manufacturer’s standard polymer-emulsion adhesive and manufacturer’s standard dry mix containing Portland cement.]

[Factory-blended dry formulation of Portland cement, dry polymer admixture, and inert fillers to which only water is added at Project site.]

Waterproof Adhesive/Base-Coat Materials: EIFS manufacturer’s standard waterproof formulation complying with [one of] the following:

[Job-mixed formulation of Portland cement complying with ASTM C 150, Type I, white or natural color; and manufacturer’s standard polymer-emulsion adhesive designed for use with Portland cement.]

[Job-combined formulation of manufacturer’s standard polymer-emulsion adhesive and manufacturer’s standard dry mix containing Portland cement.]

Mechanical Fasteners: EIFS manufacturer’s standard corrosion-resistant fasteners consisting of thermal cap, standard washer and shaft attachments, and fastener indicated below; designed to resist Project’s design loads; capable of pulling fastener head below surface of insulation board; and complying with the following:

For attachment to steel studs from 0.033 to 0.112 inch in thickness, provide steel drill screws complying with ASTM C 954.

For attachment to light-gage steel framing members not less than 0.0179 inch in thickness, provide steel drill screws complying with ASTM C 1002.

For attachment to wood framing members and plywood sheathing, provide steel drill screws complying with ASTM C 1002, Type W.

For attachment to masonry and concrete substrates, provide sheathing dowel in form of a plastic wing-tipped fastener with thermal cap, sized to fit insulation thickness indicated and to penetrate substrate to depth required to secure anchorage.

For attachment to <insert substrate>, provide manufacturer’s standard fasteners suitable for substrate.

Primer: EIFS manufacturer’s standard factory-mixed, elastomeric-polymer primer for preparing base-coat surface for application of finish coat.

Finish-Coat Materials: EIFS manufacturer’s standard cementitious coating complying with the following:

Factory-mixed formulation of Portland cement, hydrated lime, aggregates and additives.

Colors: As selected from manufacturer’s full standard range.

Textures: As selected by A/E of Record from manufacturer’s full range.

Sealer: Manufacturer’s waterproof, clear acrylic-based sealer for protecting finish coat.

Water: Potable.

Trim Accessories:  Type as designated or required to suit conditions indicated and to comply with EIFS manufacturer’s written instructions; manufactured from UV-stabilized PVC; and complying with ASTM D 1784 and ASTM C 1063.

Casing Bead: Prefabricated, one-piece type for attachment behind insulation, of depth required to suit thickness of coating and insulation, with face leg perforated for bonding to coating and back leg.

Drip Screed/Track: Prefabricated, one-piece type for attachment behind insulation with face leg extended to form a drip, of depth required to suit thickness of coating and insulation, with face leg perforated for bonding to coating and back leg.

Expansion Joint: Prefabricated, one-piece V profile; designed to relieve stress of movement.

Windowsill Flashing: Prefabricated type for both flashing and sloping sill over framing beneath windows; with end and back dams; designed to direct water to exterior.

Parapet Cap Flashing: Type for both flashing and covering parapet top [with design complying with ASTM C 1397].

MIXING

Comply with EIFS manufacturer’s requirements for combining and mixing materials. Do not introduce admixtures, water, or other materials except as recommended by EIFS manufacturer. Mix materials in clean containers.  Use materials within time period specified by EIFS manufacturer or discard.

SOURCE QUALITY CONTROL

LANL will engage a qualified testing agency to perform shop tests and inspections indicated below and to prepare test reports:

Shop welds are subject to testing and inspection.

Testing and inspecting agency shall interpret tests and report whether tested work complies with or deviates from requirements.

Correct deficiencies in or replace EIFS prefabricated panels that test reports and inspections indicate do not comply with requirements.

Additional testing and inspection, at Subcontractor’s expense, shall be performed to determine compliance of corrected work with requirements.

EXECUTION

EXAMINATION

Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of the work.

Examine roof edges, wall framing, flashings, openings, substrates, and junctures at other construction for suitable conditions where EIFS will be installed.

Proceed with installation only after unsatisfactory conditions have been corrected.

Begin coating application only after surfaces are dry.

Application of coating indicates acceptance of surfaces and conditions.

PREPARATION

Protect contiguous work from moisture deterioration and soiling caused by application of EIFS. Provide temporary covering and other protection needed to prevent spattering of exterior finish coats on other work.

Protect EIFS, substrates and wall construction behind them from inclement weather during installation. Prevent penetration of moisture behind EIFS and deterioration of substrates.

Prepare and clean substrates to comply with EIFS manufacturer’s written instructions to obtain optimum bond between substrate and adhesive for insulation.

Concrete Substrates: Provide clean, dry, neutral-pH substrate for insulation installation. Verify suitability of substrate by performing bond and moisture tests recommended by EIFS manufacturer.

EIFS INSTALLATION, GENERAL

Comply with ASTM C 1397, ASTM E 2511, and EIFS manufacturer’s written instructions for installation of EIFS as applicable to each type of substrate.

AIR BARRIER INSTALLATION

Coordinate work with other trades to ensure air barrier continuity with connections at foundation, floor lines, flashings, lintels and shelf angles, openings and penetrations such as pipes, vents, windows and doors, masonry anchors, rafters or beams, joints in construction, projections such as decks and balconies, and roof line.

Rough opening protection

Install transition membrane into and around rough opening in accordance with the manufacturer’s recommendations.

Sheathing joints

Install joint treatment material with applicable reinforcement over sheathing joints in accordance with manufacturer’s recommendations.

Transitions

Install air barrier accessory materials (with reinforcement where applicable), or auxiliary material at transition areas: foundation, floor lines, flashings, lintels and shelf angles, openings and penetrations such as pipes, vents, windows and doors, masonry anchors, rafters or beams, joints in construction, projections such as decks and balconies, and roof line in accordance with manufacturer’s recommendations.

Air barrier membrane

Concrete: Install air barrier membrane by spray or roller in a uniform, continuous film to the prepared concrete substrate in accordance with the manufacturer’s recommended installation instructions. Do not install over working or moving joint sealants.

******************************************************************************************** IMPORTANT NOTE:  The number of coats and thickness is highly dependent on CMU composition, unit weight (lightweight or normal weight), porosity, joint profile, and other variables that may exist.  For “rough” CMU wall surfaces skim coat the entire wall surface with the leveling material to fill and level the surface prior to applying the waterproof air barrier membrane and transition materials.  When a skim coat of the leveling material is installed only one coat of the waterproof air barrier membrane is typically required. Use the mock-up and site tests as the basis for the work.
********************************************************************************************

Concrete Masonry: Install air barrier membrane by spray or roller in a uniform, continuous film to the prepared concrete masonry substrate. Back roll spray applications. Allow to dry. Install a second coat of the air barrier membrane in a uniform, continuous film, and back roll spray applications, to achieve a void and pinhole free surface. Depending on the condition of the surface a minimum of 10 wet mils up to maximum of 30 wet mils per coat is required.  Apply additional coats if required to achieve a void and pinhole free surface. Do not install over working or moving joint sealants.

Sheathing

Spot fasteners with knife grade coating or joint treatment material.

Glass mat faced gypsum sheathing: Apply one coat of air barrier membrane by spray or roller in a uniform, continuous film to the prepared glass mat gypsum substrate in accordance with the manufacturer’s recommended installation instructions to achieve a void and pinhole free surface. Do no install over working or moving joint sealants.

Plywood sheathing: Apply one coat of air barrier membrane by spray or roller in a uniform, continuous film to the prepared substrate in accordance with the manufacturer’s recommended installation instructions to achieve a void and pinhole free surface.  Do not install over working or moving joint sealants.

OSB sheathing: Apply one coat of air barrier membrane by spray or roller in a uniform, continuous film to the prepared substrate in accordance with the manufacturer’s recommended installation instructions to achieve a void and pinhole free surface. Inspect surface and touch-up with a second coat at raised wood strands. Do no install over working or moving joint sealants.

Continuous Insulation

Board insulation: [Adhesively] [Mechanically] [Adhesively and mechanically] attach insulation to substrate in compliance with ASTM C 1397 and the following:

Sheathing: Apply adhesive to insulation by notched-trowel method in a manner that results in coating the entire surface of sheathing with adhesive once insulation is adhered to substrate. Apply adhesive to a thickness of not less than ¼ inch for factory mixed and not less than 3/8 inch for field mixed, measured from surface of insulation before placement.

Concrete or Masonry: Apply adhesive by ribbon-and-dab method.

Press and slide insulation into place.  Apply pressure over the entire surface of insulation to accomplish uniform contact, high initial grab, and overall level surface.

Allow adhered insulation to remain undisturbed for not less than 24 hours, before [installing mechanical fasteners] beginning rasping and sanding insulation or before applying base coat and reinforcing mesh.

Mechanically attach insulation to substrate. Install top surface of fastener heads flush with plane of insulation. Install fasteners into or through substrates with the following minimum penetration.

Steel framing: 5/16 inch.

Wood framing: 1 inch.

Concrete and masonry:  1 inch.

Apply insulation over dry substrates in courses with long edges of boards oriented horizontally.

Begin first course of insulation from a level base line and work upward.

Begin first course of insulation from screed/track and work upward.  Work from perimeter casing beads toward interior of panels if possible.

Stagger vertical joints of insulation boards in successive courses to produce running bond pattern. Locate joints so no piece of insulation is less than 12 inches wide or 6 inches high.  Offset joints not less than 6 inches from corners of window and door openings [and not less than 4 inches from aesthetic reveals].

Adhesive attachment:  Offset joints of insulation not less than 6 inches from horizontal and 4 inches from vertical joints in sheathing.

Mechanical attachment: Offset joints of insulation from horizontal joints in sheathing.

Interlock ends at internal and external corners.

Abut insulation tightly at joints within and between each course to produce flush, continuously even surfaces without gaps or raised edges between boards.  If gaps greater than 1/16 inch occur, fill with insulation cut to fit gaps exactly; insert insulation without using adhesive or other material.

Cut insulation to fit openings, corners, and projections precisely and to produce edges and shapes complying with details indicated.

Rasp or sand flush entire surface of insulation to remove irregularities projecting more than [1/32 inch] [1/16 inch] from surface of insulation and to remove yellowed areas due to sun exposure; do not create depressions deeper than 1/16 inch. Prevent airborne dispersal and immediately collect insulation waste.

Cut aesthetic reveals in outside face of insulation with high-speed router and bit configured to produce grooves, rabbets, and other features that comply with profiles and locations indicated. Do not reduce insulation thickness at aesthetic reveals to less than ¾ inch.  Prevent airborne dispersal and immediately collect insulation raspings or sandings.

Install foam build-outs and attach to [sheathing] [structure].

Interrupt insulation for expansion joints where indicated.

Form joints for sealant application by leaving gaps between adjoining insulation edges and between insulation edges and dissimilar adjoining surfaces.  Make gaps wide enough to produce joint widths indicated after encapsulating joint substrates with base coat and reinforcing mesh.

Form joints for sealant application with back-to-back casing beads for joints within EIFS and with perimeter casing beads at dissimilar adjoining surfaces.  Make gaps between casing beads and between perimeter casing beads and adjoining surfaces of width indicated.

Fully wrap board edges with strip reinforcing mesh.

Treat exposed edges of insulation as follows:

Except for edges forming substrates of sealant joints, encapsulate with base coat, reinforcing mesh, and finish coat.

Encapsulate edges forming substrates of sealant joints within EIFS or between EIFS and other work with base coat and reinforcing mesh.

At edges trimmed by accessories, extend base coat, reinforcing mesh, and finish coat over face leg of accessories.

Coordinate installation of flashing and insulation to produce wall assembly that does not allow water to penetrate behind flashing and EIFS lamina.

Expansion Joints: Install at locations indicated, where required by EIFS manufacturer, and as follows:

At expansion joints in substrates behind EIFS.

Where EIFS adjoin dissimilar substrates, materials, and construction, including other EIFS.

At floor lines in multilevel wood-framed construction.

Where wall height or building shape changes.

Where EIFS manufacturer requires joint in long continuous elevations.

Where panels abut one another.

BASE-COAT INSTALLATION

Waterproof Adhesive/Base Coat: To exposed surfaces of insulation, apply a minimum thickness recommended in writing by EIFS manufacturer over [sloped surfaces] [windowsills] [parapets] [foam build-outs] [where indicated on Drawings] <Insert location>.

Base Coat:  Apply to exposed surfaces of insulation [and foam build-outs] in minimum thickness recommended in writing by EIFS manufacturer, but not less than [1/6-inch] <Insert dimension> dry-coat thickness.

Reinforcing Mesh: Embed reinforcing mesh in wet base coat to produce wrinkle-free installation with mesh continuous at corners, overlapped not less than 2-1/2 inches or otherwise treated at joints to comply with ASTM C 1397 and EIFS manufacturer’s written instructions. Do not lap reinforcing mesh within 8 inches or corners.  Completely embed mesh, applying additional base-coat material if necessary, so reinforcing-mesh color and pattern are invisible.

Double-Layer Reinforcing-Mesh Application:  Where indicated or required, apply second base coat and second layer of reinforcing mesh, overlapped not less than 2-1/2 inches or otherwise treated at joints to comply with ASTM C 1397 and EIFS manufacturer’s written instructions in same manner as first application.  Do not apply until first base coat has cured.

Additional Reinforcing Mesh: Apply strip reinforcing mesh around openings, extending 4 inches beyond perimeter.  Apply additional 9-by-12-inch strip reinforcing mesh diagonally at corners of openings (re-entrant corners).  Apply 8-inch wide, strip reinforcing mesh at both inside and outside corners unless base layer of mesh is lapped not less than 4 inches on each side of corners.

At aesthetic reveals, apply strip reinforcing mesh not less than 8 inches wide.

Embed strip enforcing mesh in base coat before applying first layer or reinforcing mesh.

Foam Build-Outs: Fully embed reinforcing mesh in base coat.

Double Base-Coat Application:  Where indicated, apply second base coat in same manner and thickness as first application, except without reinforcing mesh.  Do not apply until first base coat has cured.

FINISH-COAT INSTALLATION

Primer: Apply over dry base coat according to EIFS manufacturer’s written instructions.

Finish Coat: Apply over dry [primed] base coat, maintaining a wet edge at all times for uniform appearance, in thickness required by EIFS manufacturer to produce a uniform finish of color and texture matching approved sample and free of cold joints, shadow lines, and texture variations.

Embed aggregate in finish coat according to EIFS manufacturer’s written instructions to produce a uniform applied-aggregate finish of color and texture matching approved sample.

Sealer Coat: Apply over dry finish coat, in number of coats and thickness required by EIFS manufacturer.

FIELD QUALITY CONTROL

Special Inspections: LANL will perform the following special inspections:

As stipulated in Chapter 17 of the IBC.

According to [ICC-ES AC24] [ICC-ES AC219].

<Insert special inspections>.

Testing Agency: LANL will perform tests and inspections.

EIFS Tests and Inspections: According to [ASTM E 2568] [ICC-ES AC24] [ICC-ES AC219] <Insert tests and inspections>.

EIFS will be considered defective if it does not pass tests and inspections.

Prepare test and inspection reports.

CLEANING AND PROTECTION

Remove temporary covering and protection of other work.  Promptly remove coating materials from window and door frames and other surfaces outside areas indicated to receive EIFS coatings.

Do not permit finish surface to become soiled or damaged.

Repair or replace damaged or disfigured surfaces caused by work of this section.

END OF SECTION

*************************************************************

Do not delete the following reference information:

*************************************************************

THE FOLLOWING STATEMENT IS FOR LANL USE ONLY

This project specification section is based on LANL Master Specification Section 07 2400 Rev. 4, dated December 13, 2022.