SECTION 07 6200

SHEET METAL Flashing and trim

*************************************************************************************************************

LANL MASTER SPECIFICATION

Word file at https://engstandards.lanl.gov/specs.shtml

Rev. 5 Summary of Changes Updated references and other minor changes

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The document must also be edited to delete requirements for processes, items, or designs that are not included in the project, add requirements not included herein as well as delete specifier’s notes such as these.  Additional tailoring requirements are contained in ESM Chapter 1 Section Z10 Att. F, Specifications.

To seek a variance from requirements that are applicable, contact the Engineering Standards Manual Architectural POC. Please contact POC with suggestions for improvement as well. 

When assembling a specification package, include applicable sections from all Divisions, especially Division 1, General requirements.

Section developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Chapter 1 Section Z10 Specifications and Quality sections.
*************************************************************************************************************

GEnERAl

Summary

Section includes:

Manufactured reglets [and counterflashing].

Formed roof drainage sheet metal fabrications.

Formed low-slope roof sheet metal fabrications.

Formed wall sheet metal fabrications.

EPDM flashings.

Miscellaneous sheet metal accessories.

Related Sections

Section 01 8113.13 [LEED v4 and] Guiding Principles 2020: Requirements for water efficiency, energy efficiency, material composition, and indoor air quality requirements.

[Section 03 3001, Reinforced Concrete.]

[Section 04 2220, Reinforced Unit Masonry.]

[Section 06 1000, Rough Carpentry, for wood, nailers, curbs and blocking.]

[Section 07 5213.13, Atactic-Polypropylene Modified-Bitumen Roofing, Cold- Applied.]

[Section 07 5217, SBS Modified-Bitumen Roofing, Cold-Applied.]

[Section 07 5217, Styrene-Butadiene-Styrene (SBS) Modified Bituminous Membrane Roofing, Cold Applied.]

[Section 07 4113, Metal Roof Panels, for custom-formed sheet metal flashing and trim integral with sheet metal roofing.]

[Section 07 7100, Roof Specialties, for set-on-type curbs, equipment supports, roof hatches, vents and other manufactured roof accessory units.]

[Section 07 9200, Joint Sealants.]

references

**************************************************************************************************** Edit the references to include only those that apply to the edited specification section.
****************************************************************************************************

American Architectural Manufactures Association (AAMA)

AAMA 611 – Voluntary Specification for Anodized Architectural Aluminum.

AAMA 620 – Voluntary Specification for High Performance Organic Coatings on Coil Coated Architectural Aluminum Substrates.

AAMA 621 - Voluntary Specifications for High Performance Organic Coatings On Coil Coated Architectural Hot Dipped Galvanized (HDG) And Zinc-aluminum Coated Steel Substrates

AAMA 2603 – Voluntary Specification, Performance Requirements and Test Procedures for Pigmented Organic Coatings on Aluminum Extrusions and Panels.

AAMA 2604 – Voluntary Specification, Performance Requirements and Test Procedures for High Performance Organic Coatings on Aluminum Extrusions and Panels.

AAMA 2605 – Voluntary Specification, Performance Requirements and Test Procedures for Superior Performing Organic Coatings on Aluminum Extrusions and Panels.

ASTM International

ASTM A 153 - Standard Specification for Zinc Coating (Hot-Dip) on Iron and Steel Hardware

ASTM A 240 – Standard Specification for Chromium and Chromium-Nickel Stainless Steel Plate, Sheet, and Strip for Pressure Vessels and for General Applications.

ASTM A 653 – Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-coated (Galvanized) by the Hot-Dip Process.

ASTM A 666 - Standard Specification for Annealed or Cold-Worked Austenitic Stainless Steel Sheet, Strip, Plate, and Flat Bar.

ASTM A 755 – Standard Specification for Steel Sheet, Metallic coated by the Hot-Dip Process and Pre-painted by the Coil-Coating Process for Exterior Exposed Building Products.

ASTM A 792 - Standard Specification for Steel Sheet, 55 % Aluminum-Zinc Alloy-Coated by the Hot-Dip Process.

ASTM B 32 – Standard Specification for Solder Metal.

ASTM B 209 – Standard Specification for Aluminum and Aluminum-Alloy Sheet and Plate.

ASTM C 920 – Standard Specification for Elastomeric Joint Sealants.

ASTM C 1311 - Standard Specification for Solvent Release Sealants.

ASTM D 226 – Standard Specification for Asphalt-Saturated Organic Felt Used in Roofing and Waterproofing.

ASTM D 1187 - Standard Specification for Asphalt-Base Emulsions for Use as Protective Coatings for Metal.

ASTM D 1970 - Standard Specification for Self-Adhering Polymer Modified Bituminous Sheet Materials Used as Steep Roofing Underlayment for Ice Dam Protection.

ASTM D 2244 – Standard Practice for Calculation of Color Tolerances and Color Differences from Instrumentally Measured Color Coordinates.

ASTM D 4214 - Standard Test Methods for Evaluating the Degree of Chalking of Exterior Paint Films.

ASTM D 4397 – Standard Specification for Polyethylene Sheeting for Construction, Industrial, and Agricultural Applications.

ASTM F 2329 - Standard Specification for Zinc Coating, Hot-Dip, Requirements for Application to Carbon and Alloy Steel Bolts, Screws, Washers, Nuts, and Special Threaded Fasteners

Copper Development Association (CDA)

Copper in Architecture – Design Handbook.

Factory Mutual Global (FMG)

Loss Prevention Data Sheet 1-49 – Perimeter Flashing.

Sheet Metal and Air Conditioning Contractors National Association (SMACNA)

Architectural Sheet Metal Manual.

************************************************************************************************************

Edit submittals to include only those absolutely necessary to assure requirements and features that are important for the specific project will be met.

************************************************************************************************************

action SUBMITTALS

[Product Data:  Submit manufacturer’s material and finish data, installation instructions, and general recommendations for each specified flashing material and fabricated product.]

[Shop Drawings: Show installation layouts of sheet metal flashing and trim, including plans, elevations, expansion-joint locations, and keyed details.  Distinguish between shop- and field-assembled work.

Include details for forming, joining, supporting, and securing sheet metal flashing and trim, including pattern of seams, termination points, fixed points, expansion joints, expansion-joint covers, edge conditions, special conditions, and connections to adjoining work.

Samples for Initial Selection Purposes:  Submit manufacturer’s color charts and texture variations for specified sheet materials to be exposed as finished surfaces.]

INFORMATIONAL SUBMITTALS

[Certificates of Qualification

Certificate of Fabricator qualifications.

Certificate of Installer qualifications.]

************************************************************************************************************

Include only sustainable design submittals that are appropriate for the project’s sustainable design goals, if any.

************************************************************************************************************

sustainable design submittals

Sustainable Design (LD) Submittals:  Comply with requirements specified in [individual specification sections]  Section 01 8113.13 - [LEED v4 and] Guiding Principles 2020: Requirements for water efficiency, energy efficiency, material composition, and indoor air quality requirements

[Manufacturer’s Certificate:  Certify products meet or exceed specified sustainable design requirements.]

[Materials Resources Certificates:

Certify recycled material content for recycled content products.]

close-out submittals

[Maintenance Date:  For sheet metal flashing, trim, and accessories to include in maintenance manuals.]

[Warranty:  Sample of special warranty.]

quality assurance

Qualifications

Fabricator:  company specializing in sheet metal work with minimum 6 years documented experience.

Installer:  Engage an experienced installer who has completed flashing, sheet metal, and trim work similar in material design, and extent to that indicated for project that have resulted in construction with a record of successful in-service performance.

delivery, storage, and handling

Do not store sheet metal flashing and trim materials in contact with other materials that might cause staining, denting, or other surface damage.  Store sheet metal flashing and trim materials away from uncured concrete and masonry.

Protect strippable protective covering on sheet metal flashing and trim from exposure to sunlight and high humidity, except to the extent necessary for the period of sheet metal flashing and trim installation.

Warranty

Special Warranty on Finishes:  Manufacturer’s standard form in which manufacturer agrees to repair finish or replace sheet metal flashing and trim that shows evidence of deterioration of factory-applied finishes within specified warranty period.

Exposed Panel Finish:  Deterioration includes, but is not limited to, the following:

Color fading more than 5 Hunter units when tested according to ASTM D 2244.

Chalking more than a No. 8 rating when tested according to ASTM D 4214.

Cracking, checking, peeling, or failure of paint to adhere to bare metal.

Finish Warranty Period: [20] [10] <Insert number> years from date of Substantial Completion.

PRODUCTS

  - MANUFACTURERS

Products made by the following manufacturers will be among those considered acceptable; however, the Construction Subcontractor is responsible for providing only products compatible with adjacent materials in the assembly.

Flashing and Sheet Metal

ATLAS Aluminum Corporation.

Fry Reglet Corporation.

Keystone Flashing Company.

MM Systems Corporation.

Petersen Aluminum Corporation.

Vincent Metals.

Gutters and Down Spouts

Berger Building Products Corp.

Klauer Manufacturing Co.

Obdyke, Inc.

[ ______________ ] Model [ ___________ ].

description

Sustainability Characteristics.

Steel

Post consumer content:  16 percent (Basic Oxygen Furnace (BOF)), 67 percent (Electric Arc Furnace (EAF)).

Total recovered materials:  25-30 percent (BOF), 100 percent (EAF).

Aluminum

Post-consumer content: 25-95 percent.

Total recovered materials: 20-95 percent.

Fiber for Fiber Composite

Post-consumer content: 50-100 percent.

Total recovered materials: 50-100 percent.

Rubber

Post-consumer content: 12-100 percent.

Total recovered materials: 100 percent.

Plastic or Plastic / Rubber Composite

Post-consumer content: 100 percent.

Total recovered materials content: 100 percent.

performance / design criteria

Quality Standard:  Fabricate and install sheet metal work in accordance with SMACNA “Architectural Sheet Metal Manual,” unless specifically indicated otherwise.

Wind Resistance:  Fabricate and install flashings at edges of roof in accordance with FMG Loss Prevention Data Sheet 1-49 for specified wind zone.  Ensure that substrate construction is also in compliance.

Thermal Movements:  Provide sheet metal flashing and trim that allow for thermal movements resulting from the following maximum change (range) in ambient and surface temperatures, by preventing buckling, opening of joints, hole elongation, overstressing of components, failure of joint sealants, failure of connections, and other detrimental effects.  Provide clips that resist rotation and avoid shear stress because of sheet metal and trim thermal movements.  Base engineering calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Temperature Change Range: 120ºF (67º C), ambient; 180ºF (100º C) material surfaces.

Water Infiltration:  Provide sheet metal flashing and trim that do not allow water infiltration to building interior.

Gutter and Downspout Components:  Conform to applicable code for size and method of rainwater discharge.

MATERIALS

Sheet Metals

General:  Protect mechanical and other finishes on exposed surfaces from damage by applying a strippable, temporary protective film before shipping.

Aluminum Sheet:  ASTM B 209, alloy as standard with manufacturer for finish required, with temper as required to suit forming operations and performance required.

As-Milled Finish:  One-side bright mill finish.

Alclad Finish:  Metallurgically bonded surfacing to both sides, forming a composite aluminum sheet with reflective luster.

Factory Prime coating:  Where painting after installation is indicated, pretreat with white or light-colored, factory-applied, baked-on epoxy primer coat; minimum dry film thickness of 0.2 mil (0.005 mm).

Clear Anodic Finish, Coil Coated:  AAMA 611, AA-M12C22A41, Class I, 0.018 mm or thicker.

Color Anodic Finish, Coil Coated:  AAMA 611, AA-M12C22A42/A44, Class I, 0.018 mm or thicker.

- Color: [Champagne] [Light bronze] [Medium bronze] [Dark bronze] [Black] <Insert color>.

Exposed Coil-Coated Finishes:

- Two-coat Fluoropolymer:  AAMA 620.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.

- Three-Coat Fluoropolymer:  AAMA 620.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.

- Siliconized Polyester:  Epoxy primer and silicone-modified, polyester-enamel topcoat.

Color: As selected from manufacturer’s full range. <Insert color>.

Stainless-Steel Sheet:  ASTM A 240 or ASTM A 666, Type 304, dead soft, fully annealed; [2D (dull, cold rolled)] [2B (bright, cold rolled)] [3 coarse, polished directional satin)] [4 (polished directional satin)] finish

Metallic-Coated Steel Sheet:  Restricted flatness steel sheet, metallic coated by the hot-dip process and pre-painted by the coil-coating process to comply with ASTM A 755.

Zinc-coated (Galvanized) Steel Sheet:  ASTM A 653, G90 (Z275) coating designation; structural quality

Aluminum-Zinc Alloy-Coated Steel Sheet:  ASTM A 792, Class AZ50 coating designation, Grade 40 (Class AZM150 coating designation, Grade 275); structural quality.

Surface: [Mill phosphatized for field painting] [Manufacturer’s standard clear acrylic coating on both sides].

Exposed Coil-Coated Finish:

- Two-Coat Fluoropolymer:  AAMA 621.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.

- Three-Coat Fluoropolymer:  AAMA 621.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.

- Siliconized Polyester:  Epoxy primer and silicone-modified, polyester-enamel topcoat.

Color:  As selected from manufacturer’s full range. <Insert color>.

Underlayment Materials

Polyethylene Sheet:  6-mil thick polyethylene sheet complying with ASTM D 4397.

Felt:  ASTM D 226, Type II (No. 30), asphalt-saturated organic felt, non-perforated.

Self-Adhering, High-Temperature Sheet:  Minimum 30 to 40 mils (0.76 to 1.0 mm) thick, consisting of slip-resisting polyethylene-film top surface laminated to layer of butyl or SBS-modified asphalt adhesive, with release-paper backing; cold applied.  Provide primer when recommended by underlayment manufacturer.

Thermal Stability:  ASTM D 1970; stable after testing at 240 deg F (116 deg C).

Low-Temperature Flexibility:  ASTM D 1970; passes after testing at minus 20 deg F (29 deg C).

Slip Sheet:  Building paper, 3-lb/100 sq. ft. minimum, rosin sized.

Reglets

General:  Units of type, material, and profile indicated, formed to provide secure interlocking of separate reglet and counterflashing pieces and compatible with flashing indicated.

Material: [Stainless steel, 0.019 inch (0.48 mm) thick] [Copper, 16 oz. /sq. ft. (0.55 mm thick)] [Aluminum, 0.024 inch (0.61 mm) thick] [Galvanized steel, 0.022 inch (0.56 mm) thick].

Finish: [Mill] [With manufacturer’s standard color coating] <Insert finish>.

Surface Mounted Type:  Provide with slotted holes for fastening to substrate, with neoprene or other suitable weatherproofing washers, and with channel for sealant at top edge.

Stucco Type:  Provide with upturned fastening flange and extension leg of length to match thickness of applied finish materials.

Concrete Type:  Provide temporary closure tape to keep reglet free of concrete materials, special fasteners for attaching reglet to concrete forms, and guides to ensure alignment of reglet section ends.

Masonry Type:  Provide with offset top flange for embedment in masonry mortar joints.

Counter flashing Wind-Restraint Clips:  Provide hold down clips with 1/2-inch kick-out to be installed before counterflashing to prevent wind uplift on the counterflashing lower edge.  Fabricate the clips of the following materials.

Galvanized Steel:  22 gage; 0.0336 inch thick

Gutters and Down Spouts

********************************************************************************************Edit the following descriptive specifications to identify Project requirements and to eliminate conflicts with manufacturers (products) specified above.
********************************************************************************************

- Product Description:

  - Gutters:  Sheet metal; [[CDA] [SMACNA] [Rectangular] [Square] [Semi-circular] style profile.] [Profile as indicated on Drawings.]

********** [OR] **********

  - Gutters: polyvinyl Chloride (PVC); [Rectangular] [Square] [Semi-circular] [Profile as indicated on Drawings.]

  - Downspouts:  Sheet metal; [[CDA] [SMACNA] [Rectangular] [Square] [Round] profile.] [Profile as indicated on Drawings.]

********** [OR] **********

  - Downspouts:  Polyvinyl Chloride (PVC); [[rectangular] [square] [round] profile:] [Profile as indicated:].

******************************************************************************************
Metal splash pans, normally used at roof areas, are light in weight and easily damaged when near grade.  When special shaped pans are required, edit the following paragraphs as appropriate.
******************************************************************************************

- Splash Pans:  Same metal type as downspouts, formed to [___x___] inches ([___x___] mm) size; rolled sides [______] inch ([____] mm) high for inverted pan placement.

- Splash Pads: Precast concrete type, [size] [sizes] and profiles indicated; minimum 3000 psi at 28 days, with minimum 5 percent air entrainment.

********** [OR] **********

- Splash Pads: Polyvinyl Chloride (PVC); [size] [sizes] and profiles indicated:

- Downspout [Boots] [Shoes]: [Cast iron] [Steel] [Plastic] [_______].

EPDM Flashing:  As manufactured by Portals Plus Inc, Carol Stream, IL  60188.

Alumi-Flash Base:  [Standard] [Large], [Extra wide], [or] [Extra tall] as selected for application.

Caps

[a.	Model C-126 for one 2-inch to 6-inch pipes.]

[b.	Model C-412 for four 1-inch to 2-inch pipes.]

[c.	Model C-481 for four 0.375 to 1-inch pipes.]

[d.	Model C-212 for two 0.375 inch to 1-inch pipes and two 1-inch to 2-inch pipes.]

Retrofit Flashing

[a.	Small retrofit flashing: Model 11015, Black EPDM]

[b.	Small retrofit flashing: Model 12015, Neoprene]

[c.	Large retrofit flashing: Model 11025, Black EPDM]

[d.	Large retrofit flashing: Model 12025, Neoprene]

Pipe Flashing

[a.	Small pipe boot:  Model 42100, Black EPDM]

[b. 	Small pipe boot:  Model 42130, White EPDM]

[c.	Medium pipe boot: Model 42110, Black EPDM]

[d.	Medium pipe boot: Model 43170, Neoprene]

[e.	Large pipe boot: Model 42121, Black EPDM]

[f.	Multi pipe boot: Quadraseal Model 412 R.

Metal Roof Flashing

[a.	EPDM Deck Mate: Model

[81006, DM #0, 1/8 inch to ¾ inch],

[81016, DM #1, 1/4 inch to 2 inch],

[81026, DM #2, 1 inch to 3 1/4 inch],

[81036, DM #3, 1/4 inch to 4 inch],

[81040, DM #4, 3 inch to 6 inch],

[81050, DM #5, 4 inch to 7 inch],

[81060, DM #6, 5 inch to 9 inch],

[81070, DM #7, 6 inch to 11 inch],

[81085, DM #8, 7 inch to 13 inch],

[81091, DM #9, 10 inch to 18 inch],

[81101, DM #10, 13 inch to 26 inch],

Adapter Rings: [Small], [Large], [Square Tube], [Angle Iron] adapters in sizes as required.

Clamps

Snaplock stainless steel clamp bands in sizes as required for penetration.

miscellaneous materials

General:  Provide materials and type of fasteners, solder, welding rods, protective coatings, separators, sealants, and other miscellaneous items as required for complete sheet metal flashing and trim installation and recommended by manufacturer of primary sheet metal [or manufactured item] unless otherwise indicated.

Fasteners:  Wood screws, annular threaded nails, self-tapping screws, self-locking rivets and bolts, and other suitable fasteners designed to withstand design loads and recommended by manufacturer of primary sheet metal [or manufactured item].

General:  Blind fasteners or self-drilling screws, gasketed, with hex-washer head.

Exposed Fasteners:  heads matching color of sheet metal using plastic caps or factory-applied coating.

Blind Fasteners: High-strength aluminum or stainless-steel rivets suitable for metal being fastened.

Spikes and Ferrules:  Same material as gutter: with spike with ferrule matching internal gutter width.

Fasteners for Aluminum Sheet:  Aluminum or Series 300 stainless steel.

Fasteners for Stainless-Steel Sheet:  Series 300 stainless steel.

Fasteners for [Zinc-Coated (Galvanized)] [Aluminum-Zinc Alloy-Coated] Steel Sheet:  Hot-dip galvanized steel according to ASTM A 153A, 153M or ASTM F 2329 or Series 300 stainless steel.

Solder:

For Stainless Steel:  ASTM B 32, Grade Sn60, with an acid flux of type recommended by stainless-steel sheet manufacturer.

For Zinc-Coated (Galvanized) Steel:  ASTM B 32, Grade Sn50, 50 percent tin and 50 percent lead or Grade Sn60, 60 percent tin and 40 percent lead.

Sealant Tape:  Pressure-sensitive, 100 percent solids, gray polyisobutylene compound sealant tape with release-paper backing.  Provide permanently elastic, non-sag, nontoxic, non-staining tape 1/2 inch wide and 1/8 inch thick.

Elastomeric Sealant:  ASTM C 920, elastomeric polymer sealant; low modulus; of type, grade, class, and use classifications required to seal joints in sheet metal flashing and trim and remain watertight.

Butyl Sealant:  ASTM C 1311, single-component, solvent-release butyl rubber sealant; polyisobutylene plasticized; heavy bodied for hooked-type expansion joints with limited movement.

Epoxy Seam Sealer:  Two-part, noncorrosive, aluminum seam-cementing compound, recommended by aluminum manufacturer for exterior nonmoving joints, including riveted joints.

Bituminous Coating:  Cold-applied asphalt emulsion complying with ASTM D 1187.

fabrication, general

Sheet Metal Fabrication Standard:  Fabricate sheet metal flashing and trim to comply with recommendation of SMACNA’s “Architectural Sheet Metal Manual” that apply to the design, dimensions, metal, and other characteristics of the item indicated.

Obtain field measurements for accurate fit before shop fabrication.

Form sheet metal flashing and trim without excessive oil canning, buckling, and took marks and true to line and levels indicated, with exposed edges folded back to form hems.

Conceal fasteners and expansion provisions where possible. Exposed fasteners are not allowed on faces exposed to view.

Comply with details shown to fabricate sheet metal flashing and trim that fit substrates and result in waterproof and weather resistant performance once installed.  Verify shapes and dimensions of surfaces to be covered before fabricating sheet metal.

Form exposed sheet metal work that is without excessive oil canning, buckling, and took marks and that is true to line and levels indicated, with exposed edges folded back to form hems.

Seams:  Fabricate nonmoving seams in sheet metal flat-lock seams.

Sealed Joints:  Form non-expansion but movable joints in metal to accommodate elastomeric sealant to comply with SMACNA standards.

Expansion Provisions:  Space movement joints at maximum of 10 feet with no joints allowed within 24 inches of corner or intersection.  Where lapped or bayonet-type expansion provisions in work cannot be used or would not be sufficient weatherproof and waterproof, form expansion joints of intermeshing hooked flange, not less than 1 inch deep filled with mastic sealant concealed within joints.

Separate metal from non-compatible metal or corrosive substrates by coating concealed surfaces at locations of contact with asphalt mastic or other permanent separation as recommended by manufacturer.

Conceal fasteners and expansion provisions where possible.  Exposed fasteners are only allowed on faces of sheet metal exposed to public view with approval of LANL Subcontract Technical Representative (STR) or as part of an exposed fastener roof system

Fabricate cleats and attachment devices from same material as sheet metal component being anchored or from compatible, noncorrosive metal recommended by SMACNA or sheet metal manufacturer.

Size as recommended by SMACNA manual or sheet metal manufacturer for application but never less than thickness of metal being secured.

Form a 1/2-inch hem on underside of exposed edges.

SHEET METAL FABRICATIONS

As a minimum, fabricate flashings using materials in the thickness listed for each flashing application.

Exposed Flashings-Low Slope Roofs or Waterproofing:  Formed copings, gravel stops and scuppers:

Galvanized Steel Sheet:  24 gage (0.0276 inch).

Aluminum-Zinc Alloy-Coated Steel Sheet:  24 gage (0.0276 inch).

Preprinted Coil-Coated Galvanized Steel Sheet:  24 gage (0.0276 inch).

Semi-concealed Flashings-Low Slope Roofs or Waterproofing:  Counter flashing, reglets, equipment support flashing, roof area joint and roof expansion joint covers and pipe/conduit penetration flashing:

Galvanized Steel Sheet:  24 gage (0.0276 inch).

Aluminum-Zinc Alloy-Coated Steel Sheet:  24 gage (0.0276 inch).

Preprinted Coil-Coated Galvanized Steel Sheet:  24 gage (0.0276 inch).

Miscellaneous Flashings:

Galvanized Steel Sheet:  24 gage (0.0276 inch).

Aluminum-Zinc Alloy-Coated Steel Sheet:  24 gage (0.0276 inch).

Preprinted Coil-Coated Galvanized Steel Sheet:  24 gage (0.0276 inch).

Gutters and Downspouts

Fabricate from same material and finish used for adjacent exposed flashings.

Form sheet metal to profile dimensions indicated, free from distortions and defects detrimental to water-tight system.

Provide expansion joints in gutters as spacing not to exceed 30 feet.  Drain each section to allow water to drain that is otherwise trapped by expansion joint ridges.

Provide removable debris screens for gutters, fabricated from ¼-inch mesh wire cloth of same material used for gutters or approved compatible material.  Provided formed sheet metal frame on 4 sides of each screen unit.  Length of screen units not to exceed 10 feet.

Provide wire basket type strainers and downspouts, fabricated from wire and sheet metal of same material used for downspouts or approved compatible material.

Provide sheet metal baffles 6 inches high with legs 18 inches long at gutter corners below roof valleys.

Provide precast concrete splash blocks at downspout discharge.

Provide formed metal splash pans fabricated from same type of sheet metal used for downspouts.  Locate where downspout discharges onto lower roof.

Gutter supports:  Brackets spaced at 30 inches on center.

Downspout supports:  20 gage, (0.0396 inch) straps at each joint and at center of section.

Back-paint concealed metal surfaces with bituminous coating to a minimum of 15 mils dry film thickness.

## ****************************************************************************************************
Delete Article below when no anodized aluminum or pre-finished metal sheet is specified.
****************************************************************************************************

FActory finishing

************************************************************************************
Selections below are for anodized aluminum sheet only.
************************************************************************************

- Class I Natural Anodized Finish:  AAMA 611 [AA-M12C22A41]; clear anodic coating not less than 0.7 mils (0.018 mm) thick.

****** [OR] ******

- Class II Natural Anodized Finish:  AAMA 611 [AA-M12C22A31]; clear anodic coating not less than 0.4 mils (0.01 mm) thick.

****** [OR] ******

- Class I Color Anodized Finish:  AAMA 611 [AA-M12C22A42]; integrally colored anodic coating not less than 0.7 mils (0.018 mm) thick.

****** [OR] ******

- Class II Color Anodized Finish:  AAMA 611 [AA-M12C22A41]; integrally colored anodic coating not less than 0.4 mils (0.01 mm) thick.

****** [OR] ******

************************************************************************************
Selections below are for pre-finished aluminum or steel sheet.
************************************************************************************

- [Polyester] [Silicone polyester] [Acrylic] coating:  Baked enamel system conforming to AAMA 2603.

****** [OR] ******

- Fluoropolymer Coating:  Multiple coats as specified for sheet metal system, thermally cured, conforming to [AAMA 2604] [AAMA 2605].

************************************************************************************
Retain paragraph below only when pre-finished metal sheets specified.
************************************************************************************

- Washcoat:  Finish concealed side of metal sheets with washcoat compatible with finish system, as recommended by finish system manufacturer.

EXECUTION

  - EXAMINATION

Examine substrates and conditions under which sheet metal flashing and trim are to be installed and verify that work may properly commence. Verify that substrate is sound, dry, smooth, clean, sloped for drainage and securely anchored. Do not proceed with installation until unsatisfactory conditions have been corrected.

Verify roof openings, curbs, pipes, sleeves, ducts, and vents through roof are solidly set, reglets in place, and nailing strips located.

Verify roofing termination and base flashings are in place, sealed, and secure.

PREPARATION

Verify shapes and dimensions of surfaces to be covered before fabricating sheet metal.

Isolate dissimilar metals by means of a heavy bituminous coating, approved paint coating, adhered polyethylene sheet, or other means approved by the LANL STR.

Install starter and edge strips, and cleats before starting installation.

Install surface mounted reglets to lines and levels indicated on Drawings. Seal top of reglets with sealant.

Paint concealed metal surfaces with protective backing paint to minimum dry film thickness of 15 mil.

underlayment INSTALLATION

General: Install underlayment as indicated on Drawings.

Polyethylene Sheet:  Install polyethylene sheet with adhesive for anchorage to minimize use of mechanical fasteners under sheet metal flashing and trim.  Apply in shingle fashion to shed water, with lapped and taped joints of not less than 2 inches.

Felt Underlayment:  Install felt underlayment with adhesive for temporary anchorage to minimize use of mechanical fasteners under sheet metal flashing and trim.  Apply in shingle fashion to shed water, with lapped joints of not less than 2 inches.

Self-Adhering Sheet Underlayment:  Install self-adhering sheet underlayment, wrinkle free.  Apply primer if required by underlayment manufacturer.  Comply with temperature restrictions of underlayment manufacturer for installation; use primer rather than nails for installing underlayment at low temperatures.  Apply in shingle fashion to shed water, with end laps of not less than 6 inches staggered 24 inches between courses.  Overlap side edges not less than 3-1/2 inches.  Roll laps with roller.  Cover underlayment within 14 days.

Installation, general

General:  Anchor sheet metal flashing and trim and other components of the Work securely in place, with provisions for thermal and structural movement.  Use fasteners, solder, welding rods, protective coatings, separators, sealants, and other miscellaneous items as required to complete sheet metal flashing and trim system.

- Install sheet metal flashing and trim true to line and levels indicated.  Provide uniform, neat seams with minimum exposure of solder, welds, and sealant.

- Install sheet metal flashing and trim to fit substrates and to result in watertight performance.  Verify shapes and dimensions of surfaces to be covered before fabricating sheet metal.

- Space cleats not more than 12 inches apart.  Anchor each cleat with two fasteners.  Bend tabs over fasteners.

- Install exposed sheet metal flashing and trim without excessive oil canning, buckling, and tool marks.

- Install sealant tape where indicated.

- Torch cutting of sheet metal flashing and trim is not permitted.

- Do not use graphite pencils to mark metal surfaces.

Metal Protection:  Where dissimilar metals will contact each other or corrosive substrates, protect against galvanic action by painting contact surfaces with bituminous coating or by other permanent separation as recommended by SMACNA

Coat back side of [uncoated aluminum] [and] [stainless-steel] sheet metal flashing and trim with bituminous coating where flashing and trim will contact wood, ferrous metal, or cementitious construction.

Underlayment:  Where installing metal flashing directly on cementitious or wood substrates, install a course of felt underlayment and cover with a slip sheet or install a course of polyethylene sheet.

Expansion Provisions:  Provide for thermal expansion of exposed flashing and trim. Space movement joints at a maximum of [10 feet] <Insert dimension> with no joints allowed within 24 inches of corner or intersection.  Where lapped expansion provisions cannot be used or would not be sufficiently watertight, form expansion joints of intermeshing hooked flanges, not less than 1 inch deep, filled with sealant concealed within joints.

Fastener Sizes: Use fasteners of sizes that will penetrate [wood sheathing not less than 1-1/4 inches for nails and not less than ¾ inch for wood screws] [metal decking not less than recommended by fastener manufacturer to achieve maximum pullout resistance] <Insert size requirement>.

Seal joints as shown and as required for watertight construction.

- Where sealant-filled joints are used, embed hooked flanges of joint members not less than 1 inch into sealant. Form joints to completely conceal sealant. When ambient temperature at time of installation is moderate, between 40 and 70 deg F, set joint members for 50 percent movement each way. Adjust setting proportionately for installation at higher ambient temperatures. Do not install sealant-type joints at temperatures below 40 deg F.

- Prepare joints and apply sealants to comply with requirements in Section 07 9200, Joint Sealants.

Soldered Joints:  Clean surfaces to be soldered, removing oils and foreign matter.  Pre-tin edges of sheets to be soldered to a width of 1-1/2 inches, except reduce pre-tinning where pre-tinned surface would show in completed Work.

Do not solder [metallic-coated steel] [and] [aluminum] sheet.

Pre-tinning is not required for zinc-tin alloy-coated stainless steel.

Do not use torches for soldering. Heat surfaces to receive solder and flow solder into joint.  Fill joint completely. Completely remove flux and spatter from exposed surfaces.

Stainless-Steel Soldering: Tin edges of uncoated sheets using solder recommended for stainless steel and acid flux. Promptly remove acid flux residue from metal after tinning and soldering. Comply with solder manufacturer’s recommended methods for cleaning and neutralization.

Rivets: Rivet joints in [uncoated aluminum] [zinc] where indicated and where necessary for strength.

roof drainage system installation

General: Install sheet metal roof drainage items to produce complete roof drainage system according to SMACNA recommendations and as indicated. Coordinate installation of roof perimeter flashing with installation of roof drainage system.

Hanging Gutters:  Join sections with riveted and soldered joints or with lapped joints sealed with sealant. Provide for thermal expansion. Attach gutters at eave or fascia to firmly anchored [gutter brackets’ [straps] [twisted straps] spaced not more than 36 inches apart.  Provide end closures and seal watertight with sealant.  Slope to downspouts.

Fasten gutter spacers to front and back of gutter.

Loosely lock straps to front gutter bead and anchor to roof deck.

Anchor and loosely lock back edge of gutter to continuous [cleat] [eave or apron flashing].

Anchor back of gutter that extends onto roof deck with cleats spaced not more than [24 inches (600 mm)] <Insert dimension> apart.

Anchor gutter with spikes and ferrules spaced not more than [24 inches] [30 inches] <Insert dimension> apart.

Install gutter with expansion joints at locations indicated, but not exceeding, [50 feet] <Insert dimension> apart.  Install expansion-joint caps.

Install continuous gutter screens on gutters with noncorrosive fasteners, [removable] [hinged to swing open] for cleaning gutters.

Built-in Gutters:  Join sections with riveted and soldered or lapped joints sealed with sealant. Provide for thermal expansion. Slope to downspouts. Provide end closures and seal watertight with sealant.

Install felt underlayment layer in built-in gutter trough and extend to drip edge at eaves and under felt underlayment on roof sheathing.  Lap sides a minimum of 2 inches over underlying course.  Lap ends a minimum of 4 inches.  Stagger end laps between succeeding courses at least 72 inches.  Fasten with roofing nails.  Install slip-sheet over felt underlayment.

Anchor and loosely lock back edge of gutter to continuous [cleat] [eave or apron flashing].

Anchor back of gutter that extends onto roof deck with cleats spaced not more than [24 inches] <Insert dimensions apart.

Install gutter with expansion joints at locations indicated, but not exceeding, [50 feet] <Insert dimension> apart.  Install expansion-joint caps.

Downspouts:  Join sections with 1-1/2-inch telescoping joints.

Provide hangers with fasteners designed to hold downspouts securely to walls. Locate hangers at top and bottom and at approximately 60 inches o.c. in between.

Provide elbows at base of downspout to direct water away from building.

Connect downspouts to underground drainage system indicated.

Splash Pans:  Install where downspouts discharge on [low-slope roofs] <Insert surface>.  Set in [asphalt roofing cement] [elastomeric sealant] compatible with [roofing membrane] <Insert material>.

Parapet Scuppers:  Install scuppers where indicated through parapet. Continuously support scupper, set to correct elevation, and seal flanges to interior wall face, over cants or tapered edge strips, and under roofing membrane.

Anchor scupper closure trim flange to exterior wall and [solder] [or] [seal with elastomeric sealant] to scupper.

Loosely lock front edge of scupper with conductor head.

[Solder] [or] [Seal with elastomeric sealant] exterior wall scupper flanges into back of conductor head.

Conductor Heads:  Anchor securely to wall with elevation of conductor head rim 1 inch below [scupper] [gutter] discharge.

Expansion-Joint Covers:  Install expansion-joint covers at locations and of configuration indicated.  Lap joints a minimum of 4 inches in direction of water flow.

Roof flashing installation

General:  Install sheet metal flashing and trim to comply with performance requirements, [sheet metal manufacturer’s written installation instructions,] and SMACNA’s “Architectural Sheet Metal Manual.” Provide concealed fasteners where possible, set units true to line, and level as indicated.  Install work with laps, joints, and seams that will be permanently watertight and weather resistant.

Roof Edge Flashing: Anchor to resist uplift and outward forces according to recommendations in SMACNA’s “Architectural Sheet Metal Manual” and as indicated.  Interlock bottom edge of roof edge flashing with continuous cleat anchored to substrate at [staggered 3-inch] <Insert spacing> centers.

Copings: Anchor to resist uplift and outward forces according to recommendations in SMACNA’s “Architectural Sheet Metal Manual” and as indicated.

Interlock exterior bottom edge of coping with continuous cleat anchored to substrate at [24-inch] [16-inch] <Insert spacing> centers.

Anchor interior log of coping with washers and screw fasteners through slotted holes at [24-inch] <Insert spacing> centers.

Counterflashing:  Coordinate installation of counter flashing with installation of base flashing.  Insert counterflashing in reglets or receivers and fit tightly to base flashing.  Extend counterflashing 4 inches over base flashing.  Lap counterflashing joints a minimum of 4 inches and bed with sealant.  Secure in a waterproof manner by means of [snap-in installation and sealant or lead wedges and sealant] [interlocking folded seam or blind rivets and sealant] [anchor and washer at 36-inch centers].

Wall flashing installation

General:  Install sheet metal wall flashing to intercept and exclude penetrating moisture according to SMACNA recommendation and as indicated. Coordinate installation of wall flashing with installation of wall-opening components such as windows, doors, and louvers.

[Through-Wall Flashing:  Installation of through-wall flashing is specified in Section 04 2220, Reinforced Unit Masonry.]

[Reglets:  Installation of reglets is specified in Sections [03 3001, Reinforced Concrete] [04 2220, Reinforced Unit Masonry].]

Opening Flashings in Frame Construction: Install continuous head, sill, [jamb,] and similar flashings to extend [4 inches] <Insert extension> beyond wall openings.

EPDM Flashing Installation

Install in accordance with manufacturer’s recommended installation procedures.

erection tolerances

Installation Tolerances:  Shim and align sheet metal flashing and trim within installed tolerance of ¼ inch in 20 feet on slope and location lines as indicated and within 1/8- inch offset of adjoining faces and of alignment of matching profiles.

Installation Tolerances:  Shim and align sheet metal flashing and trim within installed tolerances specified in SMACNA, “Architectural Sheet Metal Manual.”

cleaning and protection

Clean exposed metal surfaces of substances that interfere with uniform oxidation and weathering.

Clean and neutralize flux materials.  Clean off excess solder.

Clean off excess sealants.

Remove temporary protective coverings and strippable films as sheet metal flashing and trim are installed unless otherwise indicated in manufacturer’s written installation instructions.  On completion of installation, remove unused materials and clean finished surfaces.  Maintain in a clean condition during construction.

Replace sheet metal flashing and trim that have been damaged or that have deteriorated beyond successful repair by finish touchup or similar minor repair procedures.

END OF SECTION

***********************************************************

Do not delete the following reference information:

***********************************************************

THE FOLLOWING STATEMENT IS FOR LANL USE ONLY

This project specification section is based on LANL Master Specification Section 07 6200 Rev. 5, dated December 13, 2022.