SECTION 08 8000

GLAZING

*************************************************************************************************************

LANL MASTER SPECIFICATION

Word file at http://engstandards.lanl.gov

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for processes, items, or designs that are not included in the project — and specifiers’ notes such as these.  Additional tailoring requirements are contained in ESM Chapter 1 Section Z10 Att. F, Specifications.

To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual Architectural POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

Specification developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Chapter 1 Section Z10 Specifications and Quality Sections.
*************************************************************************************************************

PART 1  GENERAL

  - SECTION INCLUDES

- Glass and glazing for [ storefront ] [ hollow metal work ] [ glazed walls ] [ windows ] [ and doors ].

  - REFERENCES

- American Society of Civil Engineers, ASCE 7 – Minimum Design Loads For Buildings and Other Structures

- American National Standards Institute, ANSI Z97.1 - Safety Glazing Materials Used In Buildings - Safety Performance Specifications And Methods Of Test

- ASTM International

  - ASTM C 864 – Standard Specification for Dense Elastomeric Compression Seal Gaskets, Setting Blocks, and Spacers

  - ASTM C 920 – Standard Specification for Elastomeric Joint Sealants

  - ASTM C 1036 – Standard Specification for Flat Glass

  - ASTM C 1048 - Standard Specification for Heat-Strengthened and Fully Tempered Flat Glass

  - ASTM C 1172 - Standard Specification for Laminated Architectural Flat Glass

  - ASTM E 2190 - Standard Specification for Insulating Glass Unit Performance and Evaluation

- Glazing Association of North America (GANA) – Glazing Manual and Sealant Manual

  - PERFORMANCE REQUIREMENTS

- Provide glass and glazing materials for continuity of building enclosure, vapor retarder, and air barrier:

  - In conjunction with materials described in Section [ 08 1100 ] [08 1213 ]     [ 08 1400 ] [ 08 4113 ] [ 08 5113 ]

  - Maintaining a continuous vapor retarder and air barrier throughout the glazed assembly from glass pane to heel bead of glazing sealant.

- Size glass to withstand dead loads and positive and negative live loads acting normal to plane of glass in accordance with ASCE 7.

- Limit glass deflection to l/200 or flexure limit of glass with full recovery of glazing materials, whichever is less.

*************************************************************************************************************

Edit submittals to include only those absolutely necessary to assure requirements and features that are important for the specific project will be met.

*************************************************************************************************************

  - ACTION SUBMITTALS

- Submit the following in accordance with the requirements of Section 01 3300.

  - Catalog data on glass types indicating structural, physical and environmental characteristics, size limitations, and special handling or installation requirements.

  - Catalog data on glazing compounds indicating chemical, functional and environmental characteristics, limitations, and special handling or installation requirements.

- Manufacturer’s certifications that [sealed insulated glass] [bullet resistant glass] [polycarbonate sheet] meets or exceeds specified requirements.

- Glazing compound manufacturer’s installation instructions.

************************************************************************************************************	Typically, ask for samples of only special types of glass.

*************************************************************************************************************

- Samples: 6 inch square samples of [    ].

- Three-inch-long beads of glazing sealant for color selection.

- Manufacturer’s standard labor and material replacement warranty against sealed insulating glass units having seal failure and/or interspace dusting or misting.

- Product Data

- [ LEED Credit: Product Data for Credit: For glazing sealants used inside of the weatherproofing system, include printed statement of VOC content ]

- Glass Thicknesses: Indicated by thickness designations in millimeters according to ASTM C 1036.

- Interspace: Space between lites of an insulating-glass unit.

- Visible Light Transmittance (T-vis):  Percentage of sun's visible energy transmitted through glass.

- Ultra Violet Transmittance:  Percentage of sun's ultra violet or infrared energy transmitted through glass.

- U-value:  Overall indication of heat flow through glass where a lower value indicates less heat flow and hence better thermal performance.  Winter nighttime values are calculated using outdoor air temperature of 0 degrees F, indoor temperature of 70 degrees F, and 15 MPH outdoor air velocity.  Summer daytime U-values are calculated using outdoor air temperature of 89 degrees F, indoor temperature of 75 degrees F, 7.5 MPH outdoor air velocity, and solar intensity of 248 BTU.

- Shading Coefficient (SC):  Ratio of total solar energy passing through glass relative to amount passing through 1/8 inch thick clear glass under same conditions.  A lower coefficient indicates better performance in reducing heat gain.

- Solar Heat Gain Coefficient (SHGC):  Solar heat gain through glass relative to the amount of solar radiation.  It is equal to 86 percent of the shading coefficient.

- Light-to-Solar Gain Ratio (LSG):  Ratio of visible light transmittance (T-vis) to solar heat gain coefficient (SHGC), LSG = (T-vis)/(SHGC). The higher the ratio, the better the glass is at reducing unwanted solar heat and maximizing light transmittance.

  - QUALITY ASSURANCE

    - Perform Work in accordance with GANA Glazing Manual and GANA Sealant Manual.

    - Use an installer that has completed at least 20 projects of similar size and scope as this Project.

    - Sealant VOC content not to exceed 250 g/L when calculated according to 40 CFR 59, Subpart D.

  - ENVIRONMENTAL REQUIREMENTS

    - Do not install glazing when ambient temperature is lower than the minimum recommended in the glazing compound manufacturer’s installation instructions.

PART 2  PRODUCTS

- FLAT GLASS MATERIALS

A.	Manufacturers

1.	Guardian Industries Corporation

2.	Interpane Glass Company

  - PPG Industries, Inc.

  - Oldcastle Building Envelope

    - Float glass

  - Clear Annealed Float Glass: ASTM C 1036, Type 1 transparent, Class 1 (clear) or Class 2 (tinted), Quality Q3.

    - Laminated safety glass

- [ Clear ] [ Tinted ] Type II, laminated with plastic interlayer to comply with ANSI Z-97.1.

    - Tempered safety glass

- Fully Tempered Float Glass: ASTM C 1048, Kind FT (fully tempered), Condition A (uncoated) unless otherwise indicated, Type 1, Class 1 (clear) or Class 2 (tinted) as indicated, Quality-Q3, complying with ANSI Z-97.1

- SEALED INSULATING GLASS UNITS

  - Manufacturers

- Guardian Industries Corporation

- Interpane Glass Company

- PPG Industries, Inc.

- Oldcastle Building Envelope

  - Sealed insulating glass units

- Factory-assembled units consisting of sealed lites of glass separated by a dehydrated interspace, qualified according to ASTM E 2190.

*************************************************************************************************************

There are several levels of performance of this material. Assistance from the User must be sought to satisfy protection needs, usually dependent on the type(s) of weapons that might be employed.

- BULLET RESISTING LAMINATED GLAZING

*************************************************************************************************************

- PLASTIC SHEET MATERIALS

  - Polycarbonate sheet, ANSI Z97.1 plastic compound, clear, silicone abrasion resistant coating

  - Manufacturers

- Acrylite

- Lexan

- GLAZING COMPOUNDS

  - Silicone sealant, ASTM C 920, Type S, Grade NS, Use NT, single component, non-bleeding, non-staining, color as selected from manufacturer’s standard colors. VOC content not to exceed 250 g/L when calculated according to 40 CFR 59, Subpart D.

  - MANUFACTURERS

- Pecora Corporation

- Tremco Construction Products, Proglaze

- GLAZING ACCESSORIES

  - Use setting blocks; ASTM C 864 Option ll, silicone, Shore A hardness of 80, length of 0.1 inch for each square foot area of glazing.

  - Use spacer shims; ASTM C 864 Option ll, silicone, Shore A hardness of 50, minimum 3 inch long by one half the height of the glazing stop by thickness to suit application.

  - Manufacturers

- Tremco Construction Products

PART 3  EXECUTION

  - INSPECTION

  - Verify that openings for glazing are correctly sized and within tolerance.

  - Verify that surfaces of glazing channels or recesses are clean and free of obstructions that may impede moisture movement, weeps are clear, and ready to receive glazing.

  - PREPARATION

    - Clean contact surfaces with solvent and wipe dry.

    - Seal porous glazing channels or recesses with substrate compatible primer or sealer.

    - Prime surfaces scheduled to receive sealant.

    - Install sealant in accordance with manufacturer’s installation instructions.

  - INSTALLATION - EXTERIOR WET METHOD

- Place setting blocks at 1/4 points and install glazing pane or unit.

- Insert removable stops with glazing centered in space by inserting spacer shims both sides at 24 inch intervals, 1/4 inch below sight line.

- Fill gaps between glazing and stops with sealant to depth of bite on glazing, but not more than 3/8 inch below sight line to ensure full contact with glazing and continue the air and vapor seal.

- Apply sealant to uniform line, flush with sight line. Tool or wipe sealant surface smooth.

  - CLEANING

- Remove glazing materials from finish surfaces.

- Remove labels after Work is complete.

- Clean glass and adjacent surfaces.

  - PROTECTION OF FINISHED WORK

- After installation, mark panes with an “X” using removable plastic tape or paste. Do not mark coated glazing that may be damaged by the marking material.

  - WASTE MANAGEMENT

- Separate float glass and place in designated containers for recycling.

- Separate tempered glass and place in designated containers for recycling.

- Separate corrugated cardboard and place in designated containers for recycling.

- Place used sealant containers in designated containers for legal disposal.

END OF SECTION

************************************************************************************************************

Do not delete the following reference information:

************************************************************************************************************

THE FOLLOWING REFERENCE IS FOR LANL USE ONLY

This project specification is based on LANL Master Specification 08 8000 Rev. 3, dated March 16, 2017.