SECTION 10 4400

FIRE PROTECTION SPECIALTIES

*************************************************************************************************************

LANL MASTER SPECIFICATION

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for processes, items, or designs that are not included in the project -- and specifier’s notes such as these.  To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual Fire POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

Specification developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Chapter 1 Section Z10 Specifications and Quality sections.

*************************************************************************************************************

GENERAL

SECTION INCLUDES

Fire extinguishers, fire extinguisher cabinets, and brackets for wall mounting.

SUBMITTALS

Submit the following in accordance with Section 01 3300, Submittal Procedures:

Catalog data indicating roughing-in dimensions and details showing mounting methods, relationships of box and trim to surrounding construction, door hardware, cabinet type and materials, trim style and door construction, and panel style and materials.

[Shop Drawings indicating location and type of fire extinguisher.]

*************************************************************************************************************

Require Shop Drawings submittal if fire extinguisher or cabinet locations and types are not provided in the design drawings.

*************************************************************************************************************

PRODUCTS

  - PRODUCT OPTIONS AND SUBSTITUTIONS

Comply with Section 01 2500, Substitution Procedures.

MANUFACTURERS (CABINETS)

J. L. Industries

Larsen's Mfg. Co.

Johnson-Lee, Division of W. F. Lee Corp.

Muckle Manufacturing, Division of Technico, Inc.

Watrous, Inc.

FIRE EXTINGUISHER CABINETS

General:  Provide fire extinguisher cabinets where indicated, of suitable size for housing fire extinguishers of types and capacities indicated.

Construction:  Manufacturer's standard enameled steel box, with trim, frame, door and hardware to suit cabinet type, trim style, and door style indicated.  Weld all joints and grind smooth.  Miter and weld perimeter door frames.

Cabinet Type:  Suitable for mounting conditions indicated, of the following types:

Semi-Recessed:  Cabinet box (tub) recessed in walls of sufficient depth to suit style of trim indicated.  Minimum size of 12 x 27 x 8 inches inside to house one Subcontractor-furnished and installed extinguisher.

Outdoor/Exterior: Cabinet box (tub) surface mounted with sloped roof and weatherproof gasket around door jam.

Trim Style:  Fabricate trim in one piece with corners metered, welded and ground smooth.

Exposed Trim: One-piece combination trim and perimeter door frame overlapping surrounding wall surface with exposed trim face and wall return at outer edge (backbend).

Rolled-Edged Trim: Rolled edges with backbend depth of 4 1/2 inches.

Trim Metal: of same metal as door.

Door Material and Construction: Manufacturer's standard door construction, of hollow steel construction, coordinated with cabinet types and trim styles selected.

Door Style: Manufacturer's standard design with Full-Glass Panel with 1/4 inch tempered glass.

Door Hardware: Provide manufacturer's standard door operating hardware of proper type for cabinet type, trim style, and door material and style indicated.  Provide either lever handle with cam action latch, or door pull, exposed or concealed, and friction latch.  Provide concealed or continuous type hinge permitting door to open 180 degrees.

FACTORY FINISHING OF FIRE EXTINGUISHER CABINETS

General: Comply with NAAMM "Metal Finishes Manual" for finish designations and application recommendations except as otherwise indicated.  Apply finishes in factory after products are assembled.  Protect cabinets with plastic or paper covering, prior to shipment.

Painted Finishes: Apply baked enamel finish to both concealed and exposed surfaces of cabinet components except where other than a painted finish is indicated.

Color: Red.

FIRE EXTINGUISHER

Provide portable fire extinguishers, UL Listed, in accordance with NFPA 10 for quantity and type, based on occupancy and hazards, and ambient temperature range.

Provide fire extinguishers manufactured by Amerex, unless approved otherwise.

ACCESSORIES

Provide screw anchored hooks for extinguishers in non-public spaces.

Provide signage to be located above the recessed cabinets capable of view perpendicular and horizontal to the surface of the cabinet.  Typical signs are white lettering or symbols on red background.

Provide weather-resistant covers when installed in outdoor/exterior conditions and not within a cabinet.

EXECUTION

  - INSTALLATION

Install cabinets in locations indicated on the Drawings and at the mounting height of 5 feet maximum from finished floor to top inside surface of cabinet.

Prepare recesses in walls for fire extinguisher cabinets as required by type and size of cabinet and style of trim and to comply with manufacturer's instructions.

Securely fasten mounting brackets and fire extinguisher cabinets to structure, square and plumb, to comply with manufacturer's instructions.

Install signage above at the elevation indicated in the Drawings.

Install fire extinguishers in locations indicated on the Drawings and at the mounting height of 42 inches from the finished floor to the handle, unless indicated otherwise.

Provide weather-resistant covers where installed in exterior conditions.

END OF SECTION

************************************************************

Do not delete the following reference information:

************************************************************

FOR LANL USE ONLY

This project specification is based on LANL Master Specification 10 4400 Rev. 2, dated November 3, 2020.