SECTION 32 1216

aSPHALT PAVING

*************************************************************************************************************

LANL MASTER SPECIFICATION

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for processes, items, or designs that are not included in the project -- and specifier’s notes such as these.  To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual Civil POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

Specification developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Chapter 1 Section Z10 Specifications and Quality sections.
*************************************************************************************************************

GENERAL

SECTION INCLUDES

Subgrade and Base Course

Plant-Mix Bituminous Pavements

Open graded Friction Course

Tack Coat and Prime Coat

Traffic Control Markings

SUBMITTALS

Submit the following in accordance with Section 01 3300, Submittal Procedures:

Material certifications documenting compliance with the New Mexico Department of Transportation (NMDOT) Standard Specifications for Highway and Bridge Construction (SSHBC) including any Supplemental or Interim Specifications (i.e., latest specs).  Guidance:  Document(s) at http://nmshtd.state.nm.us/main.asp?secid=11183

Proposed design mix of each class of bituminous pavement.

Laboratory test reports for design mix for bituminous pavement.  The mix design reports shall be less than one year old and be from the same source for the aggregate to be used for the project.

Traffic analysis, vehicle loadings, and structural design.

Detailed plan for permanent traffic control markings and traffic informational signs.

QUALITY ASSURANCE

Perform work in accordance with the respective, noted Sections of the NMDOT Standard Specifications for Highway and Bridge Construction.  Exclude NMDOT Division 100, General Provisions, and any other references to METHOD OF MEASUREMENT, to BASIS OF PAYMENT, and for pay factor determination. Guidance:  Document(s) at http://nmshtd.state.nm.us/main.asp?secid=11183

Supply the base course and prepare the subgrade in accordance with the NMDOT SSHBC, Section 304, Base Course and in accordance with LANL Standard Specification 31 2000, Earth Moving. Obtain materials from same source throughout project, unless approved otherwise by LANL STR.

PRODUCTS

  - MATERIALS

Provide treated open-graded base course conforming to NMDOT SSHBC, Section 311, Treated Open-Graded Base Course.

Provide plant mix bituminous pavement conforming to NMDOT Supplemental SSHBC, Section 420, Plant-Mix Bituminous Pavement (Dense-Graded A, B, C, D: or Section 422, Plant-Mix Bituminous Pavement (Superpave).

Section 420, plant-mix bituminous pavement: Provide aggregates conforming to the requirements of Grade A for a traffic loading of greater than 500,000 ESALs over 20 years.  Provide aggregates conforming to the requirements of Grade B for a traffic loading of less than 500,000 ESALs over 20 years, unless approved otherwise by LANL Subcontract Technical Representative (STR).  Provide aggregates conforming to the requirements of Grade C for Pedestrian and Bicycle Paths, Parking Lots, and low volume access driveway.

Section 422, plant-mix bituminous pavement: Provide aggregates conforming to the requirements of Table 422-A, as recommended by the laboratory mix design and approved by the LANL STR.

Provide performance graded asphalt cement conforming to NMDOT Supplemental SSHBC, Section 402, Bituminous Material, Hydrated Lime, and Liquid Anti-stripping Agents.

Provide open-graded friction course conforming to NMDOT Supplemental SSHBC, Section 404, Open-Graded Friction Course.

Open-graded friction course: Provide aggregates conforming to the requirements of Type 1 or 2.

Provide asphalt cement conforming to NMDOT SSHBC, Section 402, Table 402-A, Bituminous Material, Hydrated Lime, and Liquid Anti-stripping Agents.

Provide liquid asphalt tack coat conforming to NMDOT SSHBC, Section 407, Tack Coat.

Provide liquid asphalt prime coat conforming to NMDOT SSHBC, Section 408, Prime Coat.

TRAFFIC CONTROL MARKING

A.	Provide pavement markings and paint conforming to NMDOT SSHBC, Section 704, Pavement Markings.  Comply with the requirements for the application, protection, and limitations of the paint or the inlaid retroreflective preformed plastic markings.

EXECUTION

  - INSPECTION

Verify the compacted subgrade and base is ready to support paving and imposed loads.

Verify grades and elevations of base course are correct.

PREPARATION

Remove loose and deleterious material from compacted base surface immediately before applying prime coat. Surface shall be free of frozen material.

Proof roll prepared subgrade surface to check for unstable areas and areas requiring additional compaction.

Do not place asphalt when base surface temperature is less than 40 degrees F.

Apply prime coat at the rate as recommended by the laboratory mix design and approved by the LANL STR, over compacted base course.  Apply material to penetrate and seal, but not flood, surface.  Cure and dry as long as necessary to attain penetration and evaporation of volatiles.

Apply a tack coat to existing asphalt or new Portland cement concrete surfaces to receive plant-mix bituminous pavement. Apply tack coat to vertical surfaces of existing or new pavement and concrete surfaces abutting or projecting into new asphalt pavement and construction joints. Apply material at a uniform application rate of 0.10 to 0.15 gal/sy to give a 0.03 to 0.05 gal/sy of residual asphalt on surfaces receiving the tack coat

PLACING ASPHALT PAVement

Place bituminous pavement mixture by means of a paving machine on prepared surface, spread, and strike-off.  Thickness of the pavement lifts shall be as recommended by the laboratory mix design and approved by the LANL STR.  Place inaccessible and small areas by hand.  Place each course to required grade, cross section, and compacted thickness, as shown on drawings.

Target temperature shall be as indicated in the laboratory mix design for bituminous pavement course or between 180 degrees F. and 260 degrees F. for open-graded friction course, unless approved otherwise by LANL STR.  Compact pavement by rolling immediately after the bituminous mixture has been spread and struck-off.  Hand compact areas inaccessible to rolling equipment.  Compact pavement to density and method specified in the respective Section of the NMDOT SSHBC, reference Section 420, Part 420.52, Plant-Mix Bituminous Pavement (Dense-Graded A, B, C, D) and Section 422, Part 422.52, Plant-Mix Bituminous Pavement (Superpave), except a roadway density between 93.0 and 95.99 shall be achieved. Density testing shall be performed by the subcontractor’s independent testing agency. If this minimum to maximum density range is not met the section or lot shall be removed and replaced to the satisfaction of LANL STR.

Construct joints between old and new pavements, or between successive days' work. Construction joints to have same texture, density, and smoothness as other sections of bituminous pavement course. Clean joint contact surfaces and apply tack coat.  The location of cold joints in roadways shall be approved by the LANL STR.

TOLERANCES

A.	Pavement smoothness shall conform to the tolerances required by NMDOT SSHBC, Section 401, Pavement Smoothness Measurement, if the International Roughness Index for roadways is greater than 75.8, (inch per 0.1 mile) and for ramps, tapers, holding lanes is greater than 67.6 the section or lot shall be removed and replaced to the satisfaction of LANL STR.  Reference Section 401, Part 401.3.2, for inclusion as the testing requirements for Pedestrian and Bicycle Paths and Parking Lots.

CLEANING AND PROTECTION

Cleaning

After completion of paving operations, clean surfaces of excess or spilled asphalt material to the satisfaction of LANL STR.

Protection

After final rolling, do not permit vehicular traffic on bituminous pavement until it has properly cooled and hardened.

Provide barricades and warning devices as required to protect pavement, employees, and the general public.  Temporary traffic control devices shall meet the requirements of the Manual on Uniform Traffic Control Devices, latest Edition.

PAVEMENT MARKINGS

*************************************************************************************************************Refer to Civil Standard Drawing ST-G2020-1 for parking lot pavement marking layout.

*************************************************************************************************************

Sweep and clean surfaces to eliminate loose material, dirt, and debris.

Perform detailed layout of the pavement markings as shown on the approved detail plan.

Paint markings and placement of inlaid retroreflective preformed plastic markings shall be as shown on the Drawings.

Apply three (3) coats of paint or one application of inlaid retroreflective preformed plastic markings.  The second and third application of paint shall be placed no sooner the 14 days after the first application.

Apply paint with a spray-type self-propelled pavement marking machine to produce uniform straight edges.

Provide necessary measures to divert traffic from the installation area during the application and drying time of the permanent traffic control markings.

FIELD QUALITY CONTROL

Submit proposed mix design of each class of bituminous pavement to the LANL STR for review and approval prior to commencement of Work.

Provide an independent testing agency approved by LANL to perform testing.

Provide unobstructed access to work and cooperate with appointed testing laboratory.

Frequency of Asphalt Testing

Asphalt Binder Content and Aggregate Gradation; subcontractor shall follow applicable NMDOT Section except material shall be sampled and tested at a rate of one test per 300 tons of material produced with at least a minimum of two tests per day's production.  Aggregate quality testing shall include Los Angeles Abrasion, fractured faces, and Marshall Stability.

Subcontractor Quality Control for Compaction; subcontractor shall follow applicable NMDOT Section for PMBP compaction testing.

END OF SECTION

************************************************************

Do not delete the following reference information:

************************************************************

FOR LANL USE ONLY

This project specification is based on LANL Master Specification 32 1216 Rev. 2, dated April 29, 2008.