# Attachment F  Job Task List for Inspectors (Guidance)

The LANL Chief Inspector may desire to review these tasks in reviewing the proposed special inspection activities for a particular project and evaluating the qualifications of inspectors.

General Tasks for all Categories Below

- Review approved plans and specifications for special inspection requirements.

- Comply with special inspection requirements of LANL.

- Notify the subcontractor of deviations from approved plans and specifications. If the deviations are uncorrected, notify the DPIRC and the LBO.

- Submit progress reports to the DPIRC and the LBO, describing tests that were performed and compliance of work.

- Submit final summary report stating whether work requiring inspection was in conformance with the approved plans and applicable provisions of the IBC.

A.	Reinforced Concrete

1. Concrete Quality

- Verify that individual batch tickets indicate delivery of the approved mix as specified.

- Verify time limits of mixing, total water added, and proper consistency and workability for placement.

- Determine the required type, quantity and frequency of tests to be performed on fresh and hardened concrete – e.g., sampling of concrete, field testing of fresh concrete and making of test specimens.

- Provide or arrange for proper specimen identification, site storage and protection, and transportation to the testing laboratory.

- Provide or arrange for communication of field-testing results to the DPIRC and to the LBO.

2. Reinforcement

- Verify that reinforcing steels are of the type, grade and size specified and are in conformance with acceptable quality standards.

- Ensure that reinforcing steel is free of oil, dirt and rust and that steel is properly coated sheathed as specified.

- Verify that reinforcing steels are located within acceptable tolerances and are adequately supported and secured to prevent displacement during concrete placement.

- Verify that minimum concrete cover is provided.

- Verify that placement of reinforcing steel (or ducts) complies with required spacing, profile and quantity requirements, as indicated by both the approved plans and installation drawings.

- Verify that hooks, bends, ties, stirrups, and supplemental reinforcement are fabricated and placed as specified.

- Verify that required lap lengths, stagger and offsets are provided.

- Verify proper installation of approved mechanical connections per the manufacturer's instructions evaluation reports.

- Ensure that all welds of reinforcing steel and other weldments are as specified and have been inspected and approved by an approved welding inspector.

3. Formwork, Joints and Embeds

- Verify the specified size and shape.

- Verify that the location and preparation of construction joints are in accordance with the approved plans, specifications and building code requirements.

- Verify that the type, quantity, size, spacing and location of embeds are as specified.

4. Concrete Placement, Protection and Curing

- Verify acceptable condition of the place of deposit before the concrete is placed.

- Verify that methods of conveying and depositing concrete avoid contamination and segregation of the mix.

- Verify that concrete is being properly consolidated during placement.

- Verify that concrete is protected from temperature extremes, and determine that proper curing is initiated.

B. 	Prestressed Concrete 

All items listed above under General and Reinforced Concrete are considered prerequisite to the knowledge for special inspection of prestressed concrete.

1. Concrete Quality

- Verify that individual batch tickets indicate delivery of the approved mix as specified.

- Verify time limits of mixing, total water added, and proper consistency and workability for placement.

- Determine the required type, quantity and frequency of tests to be performed on fresh and hardened concrete.

- Observe of fresh concrete and making of test specimens.

- Provide or arrange for proper specimen identification, site storage and protection, and transportation to the testing laboratory.

- Provide or arrange for communication of field testing results to the DPIRC and LBO

2. Reinforcement

- Verify that reinforcing steel and tendons are of the type, grade and size specified and are in conformance with acceptable quality standards.

- Verify that the reinforcing steel and tendon system are fabricated in conformance with acceptable quality standards.

- Verify that the condition of tendons at the time of concrete placement are free of oil, dirt and excessive rust, and are properly coated sheathed as specified.

- Verify that reinforcing steel and tendons are located within specified tolerances, and are adequately supported and secured to prevent displacement during concrete placement.

- Verify that minimum concrete cover is provided.

- Verify that placement of reinforcing steel and tendons (or ducts) comply with spacing, profile and quantity requirements, as indicated by the installation drawings and approved plans.

- Verify that hooks, bends, ties, stirrups and supplemental reinforcement are fabricated and placed as specified.

- Verify that required lap lengths, stagger and offsets are provided.

- Verify proper installation of approved mechanical connections per the manufacturer's instructions evaluation reports.

- Verify that welds have been inspected and approved as specified.

- Verify that pre-stressed rock and soil anchors are fabricated and installed as specified.

3. Prestressing and Grouting

- Verify that the required concrete strength has been attained prior to transferring pre-stressing forces. Verify proper equipment calibration.

- Verify that proper stressing (or tensioning) sequences are used, proper jacking forces are applied, and acceptable elongations are attained and recorded.

- Verify that tendons and anchorages are properly sealed or otherwise protected as specified.

- Verify that ducts including inlets and outlets are of the required size, are mortar-tight and are located correctly.

- Verify that proper grout materials, strength and grouting pressures are used as specified.

4. Formwork, Joints and Embedments

- Verify that will provide concrete elements of the specified size and shape.

- Verify that the location and preparation of construction joints are in accordance with the approved plans, specifications, and applicable codes and standards.

- Verify that the type, quantity, size, spacing, condition and location of embedded items are as specified.

5. Concrete Placement, Protection and Curing

- Verify acceptable condition of the place of deposit before the concrete is placed.

- Verify that methods of conveying and depositing concrete avoid contamination, segregation of the mix, and displacement of reinforcement, embedments and forms.

- Verify that concrete is being properly consolidated during placement.

- Verify that concrete is protected from ambient temperature extremes during placement and curing.

- Verify that concrete is being cured as specified by approved plans, specifications and applicable codes.

C.   Structural Masonry

1. Materials

- Verify that brick, block, cement, lime, aggregates, reinforcement, connectors, water, admixtures and other materials are the type specified and approved.

- Verify that materials are properly stored.

- Verify that mix proportions, material handling and mixing are in accordance with code requirements.

- Verify that grout is in accordance with approved mix.

- Determine the required material strengths, type and frequency of tests to be performed.

- Observe sampling, field testing and fabrication of test specimens.

- Verify that masonry strength meets the approved specifications.

- Verify proper sample identification, site storage, protection and transportation to the testing laboratory.

2. Masonry Placement

- Verify that the condition of substrate is acceptable for placement, that mortar is properly placed and that the masonry units are placed in accordance with the approved plans.

- Verify that the type, quantity, size, spacing and location of embedded items are as specified.

- Verify that the location and preparation of movement joints are in accordance with the approved plans, specifications and building code requirements.

- Verify that the masonry is protected from temperature extremes and adverse weather conditions.

3. Reinforcement and Connector Placement

- Verify that the reinforcing steel and connectors comply with required size, spacing, profile, condition and quantity requirements, as indicated by both the approved plans and installation drawings.

- Verify that reinforcing steel and connectors are placed in the proper location within acceptable tolerances.

- Verify minimum coverage and clearance to masonry surfaces.

- Verify that hooks, bends, ties, stirrups and supplemental reinforcement are fabricated and placed as specified.

- Verify that required lap lengths, stagger and offsets are provided.

- Verify installation of approved mechanical connections per manufacturer’s instructions and evaluation reports.

4. Grout Placement

- Verify that grout spaces are free of obstructions and that cleanouts are provided as required.

- Verify that methods of conveying and placing grout avoid contamination and segregation and comply with time limits and grout lift requirements.

- Verify that grout is being properly consolidated and reconsolidated during the placement.

D.     Structural Steel and Bolting

1. Material Sampling, Testing and Verification

- Verify that the steel shapes and bolts are of the type, size, grade and condition specified on the approved plans and specifications.

- Verify the required type, quantity, location and frequency of tests to be performed, and witness preparation of properly identified test material samples of all materials.

- Provide or arrange for documentation and transportation of samples to the laboratory.

- Verify that required testing is performed on materials as required by applicable standards and specifications.

2. High-Strength Bolting

- Verify correct type, size and location of bolts and bolt holes, nuts and washers for type of connection specified on approved plans and specifications.

- Verify protected storage of bolts, nuts and washers as required by applicable standards and specifications.

- Verify that faying surfaces at connections utilizing high-strength bolts are in compliance with applicable standards.

- Observe or conduct bolt tension verification tests on required high-strength bolt assemblies.

- Identify and verify joint type and installation of bolt assemblies per approved plans and specifications.

- Verify use of the approved method and sequence of bolt tightening.

3. Steel Framing Observation

- Verify that structural steel frame orientation, details and frame member sizes are in accordance with approved plans and specifications.

- Verify that column base plates are the designed configuration, have correct hole size, and proper clearance for grouting.

- Verify grout placement and sampling.

- Verify that base plates are securely seated and fastened in accordance with applicable drawings and specifications.

E.      Structural Welding

1. Material Sampling, Testing and Verification

- Verify that the steel shapes, base metals, filler metals and gases are of the type, size, grade and condition specified on the approved plans, specifications and Welding Procedure Specifications.

- Verify the required type, quantity, location and frequency of tests to be performed, and witness preparation of properly identified test material samples on all materials.

- Provide or arrange for documentation and transportation of samples to the laboratory.

- Verify that required destructive testing is performed on materials as required by applicable standards and specifications.

- Verify that required nondestructive examinations are performed as required by applicable standards and specifications.

2. Structural, Reinforcing and Sheet Steel Welding

- Verify that the welding equipment and process has the capability to produce the specified welds.

- Ensure that welding equipment is calibrated and appropriate for use with the welding process.

- Verify and/or witness qualification of welders, welding operators and tackers for conformance with AWS standards and specifications.

- Verify that welders are qualified to perform the specified work.

- Verify that the proposed welding procedure for structural steel, reinforcing steel and sheet metal is a standard prequalified procedure, or has been properly qualified and approved.

- Verify that welding processes, sequences and procedures are followed in accordance with approved direction.

3. Welding Procedures Specifications

- Review approved plans and specifications for weld types and locations

- Verify that filler materials are stored and handled in accordance with manufacturer and project specifications.

- Verify that base metal to be welded is properly prepared and oriented.

- Verify that weldments have proper joint geometry and have backing and tabs where required.

- Inspect to ensure that weld and structural steel repairs are performed in accordance with approved procedures.

- Verify that fabricated elements are within permissible tolerances.

- Verify that welds have the specified length and effective throat.

- Verify that the weld profile meets applicable shape, size and quality requirements.

F. 	Spray-applied Fireproofing

1. Materials, Preparation, Application and Testing

- Verify that the proposed materials are of the type specified, are properly stored and have been approved by the DPIRC and LBO.

- Verify that the substrate has been properly prepared and is free of oil, dirt, scale, loose paint or primer and other materials that may prevent adequate adhesion.

- Identify the members to be fireproofed and the minimum required coverage and thickness.

- Verify the condition of the finished application.

- Determine the required type and frequency of tests to be performed.

- Observe the sampling, field testing and fabrication of test specimens.

- Verification that materials are of type specified, properly stored and approved

- Verification that the substrate has been properly prepared and free of conditions which may prevent adhesion; identification of members to be fireproofed, the minimum required coverage and thickness of the fireproofing, and the condition of the finished application; and determination of the required tests and observation of sampling, field testing and fabrication of test specimens.

G. 	Special Cases

Special cases are often proprietary or specially-made anchors and devices to be used in construction. The special inspection should follow the ICC evaluation reports; these are generally listed on the ICC Evaluation Service website in the appropriate ES report. Note: the ESR or ES number should also be verifiable on the bolt, anchor, or devices boxes that they are delivered in. http://www.icc-es.org/