## Sheet1
Type | Subtype | Equipment/Component Name (Default Sort) | Origin | Primary Discipline
MISC | MISC | Miscellaneous (consult Ch 1 POC before using) | ASME | All
PROGRM | PROG | Program (Use for where the MEL record is for a “program” vs an real piece of equipment) |  | All
PROGRM | PSS | Pressure Safety System Program
SYSTEM | SYS | System (for single CMMS entry for entire Op System or System) | ASME | All
SYSTEM | SMCS | SPRAY MIST COOLING SYSTEM | LANL
FLASHR | FLSR | Flasher | LANL | I&C
ACTUAT | ACTA | Actuator, Air |  | Mech
ACTUAT | ACTE | Actuator, Electrical |  | Mech
ACTUAT | ACTR | Actuator | ASME | Mech
ADA | LWI | Lift, wheelchair, inclined | LANL | C/S/Arch
ADA | LWV | Lift, wheelchair, vertical | LANL | C/S/Arch
ADA | RAMP | ADA ramp (bldg or sidewalk) | LANL | C/S/Arch
AED | AED | Automated external defibrillator | LANL | C/S/Arch
HX | ACL | Aftercooler | LANL | Mech
AGITR | AGT | Agitator | 803.1 | Mech
AIRBOX | ACB | Box, atmospheric control (TA-55 PSAA pos pr GB) | LANL | Mech
AIRBOX | CAV | Constant air volume (box) | LANL | Mech
AIRBOX | FVAV | Variable air volume box with fan | LANL | Mech
AIRBOX | VAV | Variable air volume box | ASH4 | Mech
ALARM | AA | Alarm, analyzer | 5.1 | I&C
ALARM | AGA | Alarm, combustible gas | LANL | I&C
ALARM | ALC | Alarm, carbon monoxide | LANL | I&C
ALARM | ALM | Alarm | 803.1 | I&C
ALARM | ANN | Annunciator | 803.1 | I&C
ALARM | CA | Alarm, conductivity | 5.1 | I&C
ALARM | EA | Alarm, voltage | 5.1 | I&C
ALARM | FA | Alarm, flow | 5.1 | I&C
ALARM | HACP | Alarm, HVAC Bldg. 030141 Only |  | I&C
ALARM | IA | Alarm, current | 5.1 | I&C
ALARM | JA | Alarm, power | 5.1 | I&C
ALARM | LA | Alarm, level | 5.1 | I&C
ALARM | MA | Alarm, moisture | 5.1 | I&C
ALARM | NAA | Notification appliance, audio | 5.1 | I&C
ALARM | NAAV | Notification appliance, audio visual | 5.1 | I&C
ALARM | NAV | Notification appliance, visual | 5.1 | I&C
ALARM | OIA | Alarm, oxygen, indicating | 5.1 | I&C
ALARM | PA | Alarm, pressure | 5.1 | I&C
ALARM | PDA | Alarm, differential pressure | 5.1 | I&C
ALARM | RA | Alarm, radiation | 5.1 | I&C
ALARM | RLT | Alarm, access, red-light | LANL | I&C
ALARM | SA | Alarm, speed | 5.1 | I&C
ALARM | TA | Alarm, temperature | 5.1 | I&C
ALARM | VA | Alarm, vibration | 5.1 | I&C
ALARM | XA | Alarm, special (incl. refrigerant monitors and fire alarms at TA-55) | 5.1 | I&C
ALARM | ZA | Alarm, zone or position | 5.1 | I&C
ANCHOR | ANCR | Anchor as in a wall, ceiling, floor, etc. |  | C/S/Arch
ANLYZR | AE | Analyzer or analytical instrument (when more specific does not exist) | LANL | I&C
ANYLZR | AW | Well, analyzer | 5.1 | I&C
ANYLZR | RGA | Residual Gas Analyzer | LANL | Process
APLNCE | CDRY | Dryer, household clothes dryer |  | Mech
APLNCE | DSHW | Dishwasher, glassware cleaner, or sterilizer | LANL | Mech
APLNCE | DWSH | Kitchen Appliances, dishwasher |  | Mech
APLNCE | FRZR | Kitchen Appliances, freezer, ice makers |  | Mech
APLNCE | IMKR | Ice maker machine | LANL | C/S/Arch
ARPLT | ARPL | Armor plate (e.g., ceiling) | ASME | C/S/Arch
ASMBLY | ASSY | Assembly | ASME | Mech
BARR | BARR | Barrier (rail, bollard, jersey, manual gate, etc.) | ASME | C/S/Arch
BARR | GE | Gate, electric | LANL | C/S/Arch
BARR | GH | Gate, hydraulic | LANL | C/S/Arch
BARR | RBE | Road block, electric | LANL | BARR
BARR | RBH | Road block, hydraulic | LANL | C/S/Arch
BASIN | BSIN | Basin or pond Basins are open, such as the pools at the Otowi building. Berms surround something such as a tank to control spills/leaks. | LANL | C/S/Arch
BATERY | BB | Battery, banked | LANL | Elec
BATERY | BTRY | Battery or battery box | 803.1 | Elec
BATH | CB | CIRCULATOR, HEATED OR REFRIGERATED BATH | LANL
BATH | CTB | Constant Temperature Bath
BATH | DB | Density Bath
BATTRY | CB | Charger, battery | LANL | Elec
BDGRDR | RDR | Reader | 803.1 | I&C
BEAM | CCIP | Concrete, Cast in place |  | C/S/Arch
BEAM | PREC | Precast Concrete |  | C/S/Arch
BEAM | WBM | W-Beam (Wide Flange) |  | C/S/Arch
BEAM | WOOD | Wood Beam |  | C/S/Arch
BERM | BERM | Berm | LANL | C/S/Arch
BLDG | BLDG | Building incl. office trailers, transportainers, and sheds | 803.1 | C/S/Arch
BLDG | EDS | Electrical distribution system Use for entire building |  | Elec
BLOCK | TBLK | Electrical terminal block, including terminals | ASME | I&C
BLOWER | BL | Blower | LANL | Mech
BLOWER | BV | Blower, vacuum | LANL | Mech
BOILER | BHW | Boiler, hot water | LANL | Mech
BOILER | BS | Boiler, steam | LANL | Mech
BOILER | BWS | Boiler, water supply | LANL | Mech
BOX | FTB | Field termination box | LANL | Security
BOX | JBOX | Box, junction | LANL | Elec
BRIDGE | BRDG | Bridge | ASME | C/S/Arch
BUSDCT | DB | Bus duct (aboveground) | LANL | Elec
BUSDCT | DBPL | Bus Plug | LANL | Elec
CABINET | CAB | Cabinet (including control)
CAMERA | CAMR | Camera | LANL | Process
CANOPY | CNPY | Canopy |  | C/S/Arch
CAPCTR | CAP | Capacitor, non-pad mounted | 803 | Elec
CAPCTR | CPMD | Capacitor, pad mounted | LANL | Elec
CEILING | CLNG | Ceiling, structural |  | C/S/Arch
CHMBR | CMBR | Chamber | ASME | Process
CKTBKR | CBA | Circuit breaker, air (MV or HV) | LANL | El Util Dwgs
CKTBKR | CBE | Circuit breaker, enclosed (individual MCCB NEMA AB 1, often used as disconnect) | LANL | Elec
CKTBKR | CBG | Circuit breaker, gas (MV or HV) | LANL | Elec
CKTBKR | CBO | Circuit breaker, oil (MV or HV) | LANL | El Util Dwgs
CKTBKR | CBV | Circuit breaker, vacuum (MV or HV) | LANL | Elec
CKTBKR | GFCI | Ground Fault Circuit Interrupter | NEC | Elec
CKTBKR | ICCB | Circuit breaker, insulated case (in a LV swbd) | 1015 | Elec
CKTBKR | LVCB | Circuit breaker, low voltage power (draw-out mounted power CB in ANSI-rated LV swgr) | 1015 | Elec
CKTBKR | MCCB | Circuit breaker, molded-case in pnlbd or swbd | 1015 | Elec
CKTBKR | 6 | Circuit Breaker, Starting | 803.1 | El Util Dwgs
CKTBKR | 7 | Circuit Breaker, Anode | 803.1 | El Util Dwgs
CKTBKR | 22 | Circuit Breaker, Equalizer | 803.1 | El Util Dwgs
CKTBKR | 41 | Circuit Breaker, Field | 803.1 | El Util Dwgs
CKTBKR | 42 | Circuit Breaker, Running | 803.1 | El Util Dwgs
CKTBKR | 52 | Circuit breaker, AC | 803.1 | El Util Dwgs
CKTBKR | 72 | Circuit Breaker, DC | 803.1 | El Util Dwgs
CLLCTR | CD | Collector, dust | LANL | Shop
CLLCTR | COL | Collector (e.g., drip or catch pan) | 803.1 | Mech
CLNOUT | CO | Cleanout | ASPE | Mech
CMPCTR | ERTH | Compactor, Earth
CMPCTR | TRSH | Compactor, Trash |  | Mech
CNECTR | CONN | Connector or coupling (including electrical grounds) | LANL | Mech
CNECTR | PSX | Flexible connector, e.g. hose | LANL | Mech
CNTCTR | CNTR | Contactor | 803.1 | Elec
CNTCTR | 4 | Contactor, Master | 803.1 | El Util Dwgs
CNTCTR | 19 | Contactor, Starting-To-Running Transition | 803.1 | El Util Dwgs
CNTCTR | 29 | Contactor, Isolating | 803.1 | El Util Dwgs
CNTCTR | 73 | Contactor, Load-Resistor | 803.1 | El Util Dwgs
CNTCTR | 93 | Contactor, Field Changing | 803.1 | El Util Dwgs
CNTLR | AC | Control, analyzer | 5.1 | I&C
CNTLR | AIC | Control, indicating, analyzer | 5.1 | I&C
CNTLR | ARC | Control, recording, analyzer | 5.1 | I&C
CNTLR | BC | Control, burner | 5.1 | I&C
CNTLR | BIC | Control, indicating, burner | 5.1 | I&C
CNTLR | BRC | Control, recording, burner | 5.1 | I&C
CNTLR | CC | Control, conductivity | 5.1 | I&C
CNTLR | CIC | Control, indicating, conductivity | 5.1 | I&C
CNTLR | CNLR | Controller – Use specific kind where possible | LANL | I&C
CNTLR | CPF | Controller, pneumatic, flow | LANL | I&C
CNTLR | CRC | Control, recording, conductivity | 5.1 | I&C
CNTLR | EC | Control, voltage | 5.1 | I&C
CNTLR | EIC | Control, indicating, voltage | 5.1 | I&C
CNTLR | ERC | Control, recording, voltage | 5.1 | I&C
CNTLR | FC@ | Control, flow | 5.1 | I&C
CNTLR | FFC | Control, flow, ratio | 5.1 | I&C
CNTLR | FFIC | Control, indicating, flow ratio | 5.1 | I&C
CNTLR | FFRC | Control, recording, flow, ratio | 5.1 | I&C
CNTLR | FIC | Control, indicating, flow | 5.1 | I&C
CNTLR | FQIC | Control, indicating, flow, quantity | 5.1 | I&C
CNTLR | FQRC | Control, recording, flow, quantity | 5.1 | I&C
CNTLR | FRC | Control, recording, flow | 5.1 | I&C
CNTLR | HC | Control, hand | 5.1 | I&C
CNTLR | HIC | Control, indicating, hand | 5.1 | I&C
CNTLR | IC | Control, current | 5.1 | I&C
CNTLR | IIC | Control, indicating, current | 5.1 | I&C
CNTLR | IOM | Remote I/O Adaptor Module | LANL | I&C
CNTLR | IRC | Control, recording, current | 5.1 | I&C
CNTLR | JC | Controller, power | 5.1 | I&C
CNTLR | JIC | Controller, indicating, power | 5.1 | I&C
CNTLR | JRC | Controller, recording, power | 5.1 | I&C
CNTLR | KC | Controller, time | 5.1 | I&C
CNTLR | KIC | Controller, indicating, time | 5.1 | I&C
CNTLR | KRC | Controller, recording, time | 5.1 | I&C
CNTLR | LC | Controller, level | 5.1 | I&C
CNTLR | LIC | Controller, indicating, level | 5.1 | I&C
CNTLR | LRC | Controller, recording, level | 5.1 | I&C
CNTLR | MIC | Controller, indicating, moisture | 5.1 | I&C
CNTLR | MRC | Controller, recording, moisture | 5.1 | I&C
CNTLR | MOTR | Controller, motor
CNTLR | PC@ | Controller, pressure | 5.1 | I&C
CNTLR | PDC | Controller, differential pressure | 5.1 | I&C
CNTLR | PDIC | Controller, indicating, differential pressure | 5.1 | I&C
CNTLR | PDRC | Controller, recording, differential pressure | 5.1 | I&C
CNTLR | PIC | Controller, indicating, pressure | 5.1 | I&C
CNTLR | PLC | Controller, programmable logic | ASME | I&C
CNTLR | PRC | Controller, recording, pressure | 5.1 | I&C
CNTLR | QIC | Controller, indicating, quantity | 5.1 | I&C
CNTLR | QRC | Controller, recording, quantity | 5.1 | I&C
CNTLR | RC | Controller, radiation | 5.1 | I&C
CNTLR | RIC | Controller, indicating, radiation | 5.1 | I&C
CNTLR | RRC | Controller, recording, radiation | 5.1 | I&C
CNTLR | RTU | Remote terminal unit | LANL | I&C
CNTLR | SC | Controller, speed | 5.1 | I&C
CNTLR | SIC | Controller, indicating, speed | 5.1 | I&C
CNTLR | SRC | Controller, recording, speed | 5.1 | I&C
CNTLR | TC@ | Controller, temperature | 5.1 | I&C
CNTLR | TDC | Controller, differential temperature | 5.1 | I&C
CNTLR | TDIC | Controller, indicating, differential temperature | 5.1 | I&C
CNTLR | TDRC | Controller, recording, differential temperature | 5.1 | I&C
CNTLR | TH | Thermostat | 803.1 | I&C
CNTLR | TIC | Controller, indicating, temperature | 5.1 | I&C
CNTLR | TRC@ | Controller, recording, temperature | 5.1 | I&C
CNTLR | VFD | Drive, variable frequency | LANL | Elec
CNTLR | WC | Controller, weight or force | 5.1 | I&C
CNTLR | WDC | Controller, force differential | 5.1 | I&C
CNTLR | WDIC | Controller, indicating, force differential | 5.1 | I&C
CNTLR | WDRC | Controller, recording, force differential | 5.1 | I&C
CNTLR | WIC | Controller, indicating, weight or force | 5.1 | I&C
CNTLR | WRC | Controller, recording, weight or force | 5.1 | I&C
CNTLR | XC | Controller, special | 5.1 | I&C
CNTLR | XIC | Controller, indicating, special | 5.1 | I&C
CNTLR | XRC | Controller, recording, special | 5.1 | I&C
CNTLR | YC | Controller, presence or state | 5.1 | I&C
CNTLR | YIC | Controller, indicating, presence or state | 5.1 | I&C
CNTLR | ZC | Controller, zone or position | 5.1 | I&C
CNTLR | ZDC | Controller, deviation | 5.1 | I&C
CNTLR | ZDIC | Controller, indicating, deviation | 5.1 | I&C
CNTLR | ZDRC | Controller, recording, deviation | 5.1 | I&C
CNTLR | ZIC | Controller, indicating, zone or position | 5.1 | I&C
CNTLR | ZRC | Controller, recording, position | 5.1 | I&C
CNTLRO | ACO | Controller operator, analyzer | 803.1 | I&C
CNTLRO | CCO | Controller operator, conductivity | 803.1 | I&C
CNTLRO | FCO | Controller operator, flow | 803.1 | I&C
CNTLRO | HCO | Controller operator, hand | 803.1 | I&C
CNTLRO | LCO | Controller operator, level | 803.1 | I&C
CNTLRO | PCO | Controller operator, pressure | 803.1 | I&C
CNTLRO | PDCO | Controller operator, differential pressure | 803.1 | I&C
CNTLRO | SCO | Controller operator, speed | 803.1 | I&C
CNTLRO | TCO | Controller operator, temperature | 803.1 | I&C
CNTLRO | XCO | Controller operator, special | 803.1 | I&C
CNTLRS | AIK | Control station, indicating, analyzer | 5.1 | I&C
CNTLRS | ARK | Control station, recording, analyzer | 5.1 | I&C
CNTLRS | BIK | Control station, indicating, burner | 5.1 | I&C
CNTLRS | CIK | Control station, indicating, conductivity | 5.1 | I&C
CNTLRS | CRK | Control station, recording, conductivity | 5.1 | I&C
CNTLRS | EIK | Control station, indicating, voltage | 5.1 | I&C
CNTLRS | FIK | Control station, indicating, flow | 5.1 | I&C
CNTLRS | FRK | Control station, recording, flow | 5.1 | I&C
CNTLRS | IIK | Control station, indicating, current | 5.1 | I&C
CNTLRS | JIK | Control station, indicating, power | 5.1 | I&C
CNTLRS | LRK | Control station, recording, level | 5.1 | I&C
CNTLRS | MIK | Control station, indicating, moisture | 5.1 | I&C
CNTLRS | PDIK | Control station, indicating, differential pressure | 5.1 | I&C
CNTLRS | PDRK | Control station, recording, differential pressure | 5.1 | I&C
CNTLRS | SIK | Control station, indicating, speed | 5.1 | I&C
CNTLRS | TIK | Control station, indicating, temperature | 5.1 | I&C
CNTLRS | TRK | Control station, recording, temperature | 5.1 | I&C
CNTLRS | XIK | Control station, indicating, special | 5.1 | I&C
CNTLRS | XRK | Control station, recording, special | 5.1 | I&C
COLUMN | CCIP | Concrete, Cast in place |  | C/S/Arch
COLUMN | STL | Steel |  | C/S/Arch
COLUMN | WOOD | Wood |  | C/S/Arch
COMM | CHAS | Chassis (including Ethernet) | LANL | I&C
COMM | COMX | Communication, Special | LANL | I&C
COMM | ICOM | Intercom | 803.1 | I&C
COMM | MBRM | Message board, permanent | LANL | C/S/Arch
COMM | MBRT | Message board, portable | LANL | C/S/Arch
COMM | MIKE | Microphone | 803.1 | I&C
COMM | MIX | Mixer (e.g., PA) | 803.1 | Elec
COMM | MUX | Multiplexer | ASME | I&C
COMM | OUT | Outlet, non-telephone | 803.1 | Elec
COMM | SPK | Speaker | 803.1 | Elec
COMM | TEL | Telecom or data jack, or phone itself | 803.1 | Elec
COMM | TELE | Television | 803.1 | Elec
COMM | TRNK | Communication, Trunked radio | LANL | I&C
COMPR | CA | Compressor, air | LANL | Mech
COMPR | CMPR | Compressor | ASME | Mech
COMPTR | CPU | Central processing unit (computer) | 803.1 | I&C
COMPTR | CRT | Terminal or screen, cathode ray tube or solid state | 803.1 | I&C
COMPTR | KYBD | Keyboard | ASME | I&C
CONDSR | CDN | Condensate neutralizer |  | Mech
CONDSR | COND | Condenser (e.g., process or steam) | 803.1 | Mech
CONDSR | CTE | Condenser, turbine exhaust | LANL | Mech
CONTNR | CONT | Container | LANL | Process
CONTNR | SWB | Box, standard waste | LANL | Process
CONTNR | 55G | Drum, 55 gallon | LANL | Process
CONTNR | 85G | Drum, 85 gallon | LANL | Process
CONTNR | 110G | Drum, 110 gallon | LANL | Process
CONVEY | CVVR | Conveyor (belt, auger, etc.) | 803.1 | Mech
CONVRT | CNV | Converter | 803.1 | I&C
COOLER | CRYO | COOLER, CRYOCOOLER (CRYOSTAT) | LANL | MECH
COOLER | WCR | Cooler, water (including drinking fountains) | ASME | Mech
CRANE | CJ | Crane, jib | LANL | C/S/Arch
CRANE | CM | Crane, monorail | LANL | C/S/Arch
CRANE | CRNE | Crane, mobile or fixed (use specific type where possible) | LANL | Mobile Eq
CRANE | CS | Crane, shop | LANL | C/S/Arch
CRANE | CTG | Crane, gantry | LANL | C/S/Arch
CRANE | CTO | Crane, bridge | LANL | C/S/Arch
CRUC | CRUC | Crucible | LANL | Process
CURB | CURB | Curbing (asphalt, concrete) | LANL | C/S/Arch
CYLNDR | CYL | Cylinder (Used mostly for gas cylinders/bottles, but some hydraulic or air operated cylinders) | ASME | Mech
DAMPER | DBD | Damper, Backdraft |  | Mech
DAMPER | DF | Damper, fire | LANL | Fire Prot
DAMPER | DMPM | Damper, Motorized |  | Mech
DAMPER | DMP | Damper | 803.1 | Mech
DAMPER | DS | Damper, smoke (some legacy use as door switch, now use BMS) | LANL | Fire Prot
DAMPER | DV | Damper, Volume |  | Mech
DAQ | DAQ | Data Acquisition | LANL | I&C
DECK | DECK | Deck (e.g., bridge, roof) | LANL | C/S/Arch
DECKNG | CCIP | Concrete, Cast in place, roof construction |  | C/S/Arch
DECKNG | CONC | Concrete, floor and roof construction |  | C/S/Arch
DECKNG | LGS | Light Gauge Steel, floor construction |  | C/S/Arch
DECKNG | METL | Metal, floor construction |  | C/S/Arch
DECKNG | PREC | Precast Concrete, floor and roof construction |  | C/S/Arch
DECKNG | STL | Steel |  | C/S/Arch
DECKNG | WOOD | Wood, floor and roof construction |  | C/S/Arch
DEVICE | NCD | Device, network communication | LANL | I&C
DEVICE | PSD | Phase shifting device | 803.1 | Elec
DEVICE | RTD | Reagent (or remote) transfer device | LANL | Process
DEVICE | 5 | Device, Stopping | 803.1 | El Util Dwgs
DEVICE | 8 | Device, Control Power Disconnecting | 803.1 | El Util Dwgs
DEVICE | 9 | Device, Reversing | 803.1 | El Util Dwgs
DEVICE | 12 | Device, Overspeed | 803.1 | El Util Dwgs
DEVICE | 13 | Device, Synchronous Speed | 803.1 | El Util Dwgs
DEVICE | 14 | Device, Underspeed | 803.1 | El Util Dwgs
DEVICE | 15 | Device, Speed or Frequency Matching | 803.1 | El Util Dwgs
DEVICE | 18A | Device, Accelerating | 803.1 | El Util Dwgs
DEVICE | 18D | Device, Decelerating | 803.1 | El Util Dwgs
DEVICE | 23 | Device, Temperature Control | 803.1 | El Util Dwgs
DEVICE | 26 | Device, Apparatus Thermal | 803.1 | El Util Dwgs
DEVICE | 31 | Device, Separate Excitation | 803.1 | El Util Dwgs
DEVICE | 34 | Device, Master Sequence | 803.1 | El Util Dwgs
DEVICE | 35 | Device, Brush-Operating or Slip-Ring Short Circuiting | 803.1 | El Util Dwgs
DEVICE | 36 | Device, Polarity or Polarizing Voltage | 803.1 | El Util Dwgs
DEVICE | 38 | Device, Bearing Protective | 803.1 | El Util Dwgs
DEVICE | 43 | Device, Manual Trans/Select | 803.1 | El Util Dwgs
DEVICE | 57 | Device, Short-Circuiting or Grounding | 803.1 | El Util Dwgs
DEVICE | 66 | Device, Notching or Jogging | 803.1 | El Util Dwgs
DEVICE | 69 | Control Device, Permissive | 803.1 | El Util Dwgs
DEWAR | DEWR | Dewar | LANL | Mech
DIFUSR | DAB | Diffuser, aeration basin | LANL | Mech
DISCNT | CDD | Disconnect, circuit (enclosed switch, safety switch) | LANL | Elec
DMIST | DMST | Demister | 803.1 | Process
DOOR | ALDR | Door, aluminum |  | C/S/Arch
DOOR | CONF | Door, radiological confinement |  | C/S/Arch
DOOR | DAC | Door, air curtain | LANL | C/S/Arch
DOOR | DAC | Door, air curtain |  | C/S/Arch
DOOR | DAL | Door, airlock |  | C/S/Arch
DOOR | DM | Door, motorized | LANL | C/S/Arch
DOOR | DR | Door | 803.1 | C/S/Arch
DOOR | DRB | Door, blast resistant |  | C/S/Arch
DOOR | DRE | Door, roll-up, electric | LANL | C/S/Arch
DOOR | DRH | Door, roll-up, hydraulic | LANL | C/S/Arch
DOOR | DRHO | Door, hydraulically operated |  | C/S/Arch
DOOR | DRHG | Door, hangar |  | C/S/Arch
DOOR | DRM | Door, roll-up, manual | LANL | C/S/Arch
DOOR | DRP | Door, pneumatically operated |  | C/S/Arch
DOOR | FDC | Door, fire, structural | LANL | Fire Prot
DOOR | FDE | Door, fire, electrical | LANL | Fire Prot
DOOR | FDF | Door, fire, mechanical | LANL | Fire Prot
DOOR | GLAS | Door, glass |  | C/S/Arch
DOOR | METL | Door, metal |  | C/S/Arch
DOOR | RLSE | Magnetic Door Release
DOOR | MRNE | Door, marine |  | C/S/Arch
DOOR | SLDG | Door, sliding |  | C/S/Arch
DOOR | SP | Door, Shield Plug | LANL | C/S/Arch
DOOR | STL | Door, steel |  | C/S/Arch
DOOR | STRK | Strike, door (e.g., electric; some legacy use of DS, but use STRIKE) | LANL | Security
DOOR | WOOD | Door, wood |  | C/S/Arch
DRAIN | DRN | Drain | 803.1 | Mech
DRAIN | FD | Drain, floor | ASME | Mech
DRAWER | DWR | Drawer | ASME | C/S/Arch
DRIVE | DFL | Drive, fluid | LANL | Mech
DRYER | DAD | Dryer, air, desiccant | LANL | Mech
DRYER | DAR | Dryer, air, refrigerant | LANL | Mech
DRYER | DDT | Dryer, catalyst (e.g., Dri-Train) | LANL | Process
DRYER | DGR | Dryer, gas, refrigerant | LANL | Mech
DSCNCT | DHO | Disconnect, hand-operated | LANL | El Util Dwgs
DSCNCT | DMO | Disconnect, motor-operated | LANL | El Util Dwgs
EDUCTR | EDUC | Eductor |  | Mech
EJECTR | AES | Air-ejector, steam | LANL | Mech
ELECRN | AMP | Amplifier | 803.1 | Elec
ELECRN | ATT | Attenuator – sound, etc. | 803.1 | Mech
ENCL | ENC | Box, Enclosure
EVAP | EVP | Evaporator | 803.1 | Process
EXPJNT | EXJT | Expansion joint (piping, bridge) | ASME | Mech
FAN | FAN | Fan | 803.1 | Mech
FAN | FB | Fan, booster | LANL | Mech
FAN | FC | Fan, circulating | LANL | Mech
FAN | FCD | Fan, condenser | LANL | Mech
FAN | FCT | Fan, cooling tower | LANL | Mech
FAN | FCU | Fan coil unit | 803.1 | Mech
FAN | FE | Fan, exhaust | LANL | Mech
FAN | FEH | Fan, exhaust, fume hood | LANL | Mech
FAN | FGR | Fan, Flue Gas Recirculation
FAN | FRA | Fan, return or recirculation | LANL | Mech
FAN | FS | Fan, supply | LANL | Mech
FENCE | CAGE | Cage (wire/fence or restraint) | LANL | C/S/Arch
FENCE | FEN | Fence | LANL | C/S/Arch
FILTER | FAB | Filter, air, bag or box | LANL | Mech
FILTER | FAC | Filter, air, cleanable | LANL | Mech
FILTER | FAF | Filter, air, fire | LANL | Mech
FILTER | FAH | Filter, air, HEPA (or gas) | LANL | Mech
FILTER | FAL | Filter, air, charcoal | LANL | Mech
FILTER | FAM | Filter, air, mat | LANL | Mech
FILTER | FAP | Filter, air, pad | LANL | Mech
FILTER | FAR | Filter, air, roughing | LANL | Mech
FILTER | FLC | Filter, cartridge or canister |  | Mech
FILTER | FES | Filter, air, electrostatic | LANL | Mech
FILTER | FF | Frame, Filter | LANL | Mech
FILTER | FLT | Filter, generic | 803.1 | Mech
FILTER | FO | Filter, oil | LANL | Mech
FILTER | FRL | Filter, roll | LANL | Mech
FILTER | HEPU | HEPA filter, portable unit or vacuum | LANL | Mobile Eq
FINISH | ACTL | Acoustic tile |  | C/S/Arch
FINISH | CARP | Carpet |  | C/S/Arch
FINISH | CTL | Ceramic Tile |  | C/S/Arch
FINISH | EPOX | Epoxy |  | C/S/Arch
FINISH | FLTL | Floor Tile |  | C/S/Arch
FINISH | GYP | Gypsum |  | C/S/Arch
FINISH | MEMB | Membrane |  | C/S/Arch
FINISH | METL | Metal |  | C/S/Arch
FINISH | MTL | Marble Tile |  | C/S/Arch
FINISH | PANL | Paneling |  | C/S/Arch
FINISH | PNT | Paint |  | C/S/Arch
FINISH | PSTC | Plastic |  | C/S/Arch
FINISH | QTL | Quarry Tile |  | C/S/Arch
FINISH | RAIS | Raised Access |  | C/S/Arch
FINISH | SLRS | Sealer |  | C/S/Arch
FINISH | STL | Steel |  | C/S/Arch
FINISH | STON | Stone |  | C/S/Arch
FINISH | SUSP | Suspension System |  | C/S/Arch
FINISH | TILE | Tile, ceramic, marble, slate |  | C/S/Arch
FINISH | TRZO | Terrazzo |  | C/S/Arch
FINISH | VNYL | Vinyl |  | C/S/Arch
FINISH | WOOD | Wood |  | C/S/Arch
FINISH | WPPR | Wallpaper |  | C/S/Arch
FIRDET | FCP | Panel, control, fire alarm | 170 | Fire Prot
FIRDET | FCPB | Battery, fire control panel | LANL | Fire Prot
FIRDET | HCP | Panel, control, halon | 170 | Fire Prot
FIRDET | HD | Detector, heat (but XTS preferred) | LANL | Fire Prot
FIRDET | HSSD | Detector, smoke, high sensitivity (incl. aspirating) | N'A318 | Fire Prot
FIRDET | PBX | Box, pull | 803.1 | Fire Prot
FIRDET | SMD | Detector, smoke | LANL | Fire Prot
FIRDET | XHS | Pull Station, Fire Alarm (TA-55 only, others use pull box-- pbx) | LANL | Fire Prot
FIRDET | XTS | Detector, Heat (XTS preferred) | 5.1 | Fire Prot
FIRSUP | AFD | Actuator, fire device | LANL | Fire Prot
FIRSUP | EXS | Fire suppression extinguishing system, gaseous or halon | LANL | Fire Prot
FIRSUP | EXT | Extinguisher, fire | LANL | Fire Prot
FIRSUP | FCLD | Fire extinguishing agent, Class D | NFPA10 | Fire Prot
FIRSUP | FDC@ | Fire department connection | 170mod | Fire Prot
FIRSUP | FSDC | Fire suppression dry chemical | LANL | Fire Prot
FIRSUP | FSWC | Fire suppression wet chemical | LANL | Fire Prot
FIRSUP | FSWF | Fire suppression wet foam | LANL | Fire Prot
FIRSUP | FSWP | Fire suppression wet foam pre-action | LANL | Fire Prot
FIRSUP | HOSE | Fire Hose Station, often attached to a standpipe |  | Fire Prot
FIRSUP | HYD | Hydrant | 803.1 | Fire Prot
FIRSUP | OSY | Valve, Outside Screw & Yoke | ASME | Fire Prot
FIRSUP | PFP | Pump, Fire Protection | LANL | Fire Prot
FIRSUP | PIV | Valve, Post Indicating | LANL | Fire Prot
FIRSUP | PIVA | Valve, Post Indicating, Annunciated | LANL | Fire Prot
FIRSUP | SPA | Sprinkler, Pre-action | LANL | Fire Prot
FIRSUP | SPD | Sprinkler, Dry Pipe | LANL | Fire Prot
FIRSUP | SPDA | Sprinkler, Dry/Pre-action combined | LANL | Fire Prot
FIRSUP | SPDE | Sprinkler, Deluge | LANL | Fire Prot
FIRSUP | SPF | Sprinkler, anti-freeze | LANL | Fire Prot
FIRSUP | SPH | Standpipe | LANL | Fire Prot
FIRSUP | SPHD | Standpipe, Dry (Manual) | LANL | Fire Prot
FIRSUP | SPW | Sprinkler, Wet Pipe | LANL | Fire Prot
FIRSUP | SRNK | Sprinkler (head) | 803.1 | Fire Prot
FIRSUP | TSE | Safety device, temperature (fusible link) | 5.1 | Mech
FIRSUP | XFC | Fill cup, sprinkler standpipe (funnel) | LANL | Fire Prot
FIRSUP | XFS | Flow Switch |  | Fire Prot
FIRSUP | XPS | Pressure Switch |  | Fire Prot
FIRSUP | XVAC | Valve, Alarm Check | LANL | Fire Prot
FIRSUP | XVIT | Valve, Inspector's Test | LANL | Fire Prot
FIRSUP | XVMD | Valve, Main Drain | LANL | Fire Prot
FIRSUP | XVV | Valve, Air Vent | LANL | Fire Prot
FIRSUP | XWMG | Water Motor Gong (flow alarm) | LANL | Fire Prot
FIXTUR | FXTR | Generic for a holding device. Lighting fixture is LIGHT/FIXT. | ASME | Process
FLASH | ALUM | Aluminum |  | C/S/Arch
FLASH | MTL | Metal, sheet |  | C/S/Arch
FLASH | UNK | Unknown |  | C/S/Arch
FOOTER | SPRD | Spread Footings |  | C/S/Arch
FRKLFT | FRKL | Forklift | LANL | Mobile Eq
FUSE | FU | Fuse | 803.1 | Elec
GENRTR | EXC | Exciter | 803.1 | Elec
GENRTR | GDE | Generator, diesel engine | LANL | Elec
GENRTR | GEN | Generator | 803.1 | Elec
GENRTR | GNE | Generator, natural gas engine | LANL | Elec
GENRTR | GSE | Generator, steam driven | LANL | Elec
GENRTR | MG | Generator, motor | 803.1 | Elec
GENRTR | PMG | Generator, permanent magnet | 803.1 | Elec
GENRTR | RLB | Load bank, resistance | LANL | Elec
GENRTR | 88 | Generator, Auxiliary Motor or Motor | 803.1 | El Util Dwgs
GLBBOX | DB | Drop Box | LANL | Mech
GLVBOX | FH | Fume hood (but use XB when leading to a GB) | LANL | Mech
GLVBOX | GB | Glovebox | LANL | Mech
GLVBOX | OF | Open front hood (RLUOB red/zone 2 hoods only; TA-55 uses XB for similar) | LANL | Mech
GLVBOX | SEAL | Seal or sealing containment ring (or gasket) | LANL | Process
GLVBOX | XB | Glovebox, introductory/exchange (fume hd leading to GB) | LANL | Mech
GRNDR | GRB | Grinder, belt | LANL | Shop
GRNDR | GRP | Grinder, pedestal | LANL | Shop
GRNDR | GRS | Grinder, surface | LANL | Shop
GUTTER | STL | Steel |  | C/S/Arch
HATCH | HTCH | Hatch, like to roof, basement, or pit |  | C/S/Arch
HBACR | DIF | Diffuser | 803.1 | Process
HEATER | ELEM | Element (electric, heating, etc.) | ASME | Elec
HEATER | FGF | Furnace, gas fired | LANL | Mech
HEATER | HDA | Heater, deaerating | LANL | Mech
HEATER | HDE | Heater, duct, electric | LANL | Mech
HEATER | HDG | Heater, duct, gas | LANL | Mech
HEATER | HFH | Heater, feed water, high-pressure | LANL | Mech
HEATER | HFI | Heater, feed water, intermediate-pressure | LANL | Mech
HEATER | HFL | Heater, feed water, low-pressure | LANL | Mech
HEATER | HPLT | Hot Plate | LANL | Process
HEATER | HSE | Heater unit, air, steam-electric (space heater) | LANL | Mech
HEATER | HTE | Heater, tank, electric | LANL | Mech
HEATER | HTR | Heater (e.g., electric element) | ASME | Process
HEATER | HUE | Heater unit, air, electric (space heater) | LANL | Mech
HEATER | HUG | Heater unit, air, gas (space heater) | LANL | Mech
HEATER | HUI | Heater unit, air, infrared (space heater) | LANL | Mech
HEATER | HUS | Heater unit, air, steam (space heater) | LANL | Mech
HEATER | HUW | Heater unit, air, water (space heater) | LANL | Mech
HEATER | HWE | Heater, water, electric (electric heated hot water heater) | LANL | Mech
HEATER | HWG | Heater, water, gas (gas heated hot water heater) | LANL | Mech
HEATER | HWS | Heater, water, steam (steam heated hot water heater) | LANL | Mech
HEATER | PLTE | Light, pilot | ASME | Mech
HEATER | TRCE | Heat trace, freeze protection | LANL | Mech
HOIST | HE | Hoist or winch, electric | LANL | C/S/Arch
HOIST | HM | Hoist or winch, manual | LANL | C/S/Arch
HOIST | HP | Hoist or winch, pneumatic/hyd | LANL | C/S/Arch
HOIST | HST | Hoist or winch (TA55 only; others use specific kind) | ASME | C/S/Arch
HUMID | DHM | Dehumidifier | LANL | Mech
HUMID | HAS | Humidifier, air, steam | LANL | Mech
HUMID | HAW | Humidifier, air, water | LANL | Mech
HVAC | ACR | Air conditioner, refrigerant | LANL | Mech
HVAC | ACW | Air Conditioner, Window Unit |  | Mech
HVAC | AHU | Air Handling Unit |  | Mech
HVAC | BSU | Branch selector unit | LANL | Mech
HVAC | CAE | Cooler, air, evaporative | LANL | Mech
HVAC | CAW | Cooler, air, water | LANL | Mech
HVAC | CCE | Coil, cooling, evaporative | LANL | Mech
HVAC | CCG | Coil, cooling, glycol | LANL | Mech
HVAC | CCL | Coil, cooling | 803.1 | Mech
HVAC | CR | Compressor, refrigerant | LANL | Mech
HVAC | CRA | Condenser, refrigerant, air-cooled (if compressor see RUA; see also CRAC) | LANL | Mech
HVAC | CRAC | Computer room air conditioner (e.g., the indoor unit connected to a CRA or RUA) | LANL | Mech
HVAC | CRE | Condenser, refrigerant, evaporative | LANL | Mech
HVAC | CWA | Chiller, water, absorption | LANL | Mech
HVAC | CWE | Chiller, water, evaporative | LANL | Mech
HVAC | CWR | Chiller, water, refrigerant | LANL | Mech
HVAC | DUCT | HVAC, Ventilation Duct | 803.1 | Mech
HVAC | ERV | Energy recovery ventilator | LANL | Mech
HVAC | GBTC | Glovebox Thermal Conditioning |  | Mech
HVAC | GRD | Grille, register, diffuser, or louver (HVAC) | LANL | Mech
HVAC | HCL | Coil, heating | 803.1 | Mech
HVAC | HVA | Heating ventilation air conditioning unit (furnace or heat pump w/ heat and cool; heat only see Furnace; cool only see ACR; fan/coil only see fan coil unit FCU) | LANL | Mech
HVAC | HVP | Heating Ventilation Plenum Frame (has coils; otherwise use frame, filter) | LANL | Mech
HVAC | LVCW | Limited volume circulation chilled water unit | LANL | Mech
HVAC | MAU | Makeup Air Unit |  | Mech
HVAC | RUA | Refrigeration unit, air cooled (combined unit with both compressor and condensing coil; see also CRA, CRAC) | LANL | Mech
HVAC | SLW | Slinger, water spray | LANL | Mech
HVAC | SYS | Use when record is for a HVAC system for an entire building |  | Mech
HVAC | VENT | Vent | LANL | Mech
HVAC | WA | Washer, air | LANL | Mech
HX | HX | Heat exchanger | 803.1 | Mech
HX | HXG | Heat exchanger, glycol | LANL | Mech
HX | HXO | Heat exchanger, oil | LANL | Mech
HX | HXR | Heat exchanger, refrigerant | LANL | Mech
HX | HXS | Heat exchanger, steam | LANL | Mech
HX | HXW | Heat exchanger, water | LANL | Mech
HYDRLC | CYL | Hydraulic cylinder |  | Mech
HYDRLC | HYDS | Hydraulic system | LANL | Mech
IGNTR | IGNT | Igniter | ASME | Process
INCLR | ICLR | Intercooler | ASME | Mech
INDCTR | AI | Indicator, analyzer | 5.1 | I&C
INDCTR | BI | Indicator, burner | 5.1 | I&C
INDCTR | CI | Indicator, conductivity | 5.1 | I&C
INDCTR | CW | Column, water | LANL | Mech
INDCTR | EI | Indicator, voltage | 5.1 | I&C
INDCTR | FFI | Indicator, flow, ratio | 5.1 | I&C
INDCTR | FG | Sight glass, flow | 5.1 | I&C
INDCTR | FI | Indicator, flow | 5.1 | I&C
INDCTR | FQI | Indicator, flow, totalized | 5.1 | I&C
INDCTR | GI | Indicator, ground | 5.1 | I&C
INDCTR | II | Indicator, current | 5.1 | I&C
INDCTR | JI | Indicator, power | 5.1 | I&C
INDCTR | KI | Indicator, time | 5.1 | I&C
INDCTR | KQI | Indicator, time, totalized | 5.1 | I&C
INDCTR | LG | Sight glass, level | 5.1 | I&C
INDCTR | LI | Indicator, level | 5.1 | I&C
INDCTR | MI | Indicator, moisture | 5.1 | I&C
INDCTR | PDI | Indicator, pressure differential | 5.1 | I&C
INDCTR | PHI | Indicator, pH | 5.1 | I&C
INDCTR | PI | Indicator, pressure | 5.1 | I&C
INDCTR | QI | Indicator, quantity | 5.1 | I&C
INDCTR | RI | Indicator, radiation | 5.1 | I&C
INDCTR | SI | Indicator, speed | 5.1 | I&C
INDCTR | SYN | Synchroscope | 803.1 | I&C
INDCTR | TDI | Indicator, differential temperature | 5.1 | I&C
INDCTR | TI | Indicator, temperature | 5.1 | I&C
INDCTR | UI | Indicator, multivariable | 5.1 | I&C
INDCTR | VI | Indicator, vibration | 5.1 | I&C
INDCTR | WDI | Indicator, force differential | 5.1 | I&C
INDCTR | WI | Indicator, weight or force | 5.1 | I&C
INDCTR | XI | Indicator, special | 5.1 | I&C
INDCTR | YI | Indicator, presence or state | 5.1 | I&C
INDCTR | ZDI | Indicator, deviation | 5.1 | I&C
INDCTR | ZI | Indicator, zone or position | 5.1 | I&C
INSTMT | BAL | Balance or scale | ASME | M&TE
INSTMT | EG | Electro corrector, gas | LANL | M&TE
INSTMT | IN | Instrument (legacy RLUOB R&D only; when new use true functional ID) | LANL | I&C
INSTMT | SAI | Solution assay instrument | LANL | I&C
INSUL | BATT | Fiberglass batt insulation, usually has vapor seal too |  | C/S/Arch
INSUL | RIGD | Rigid insulation, likely foam, may be backed one or both sides with aluminum foil |  | C/S/Arch
INTRLK | DIL | Interlock, door (includes airlock doors) |  | C/S/Arch
JETPRI | JCP | Jet, condenser, priming | LANL | Mech
JOIST | IWD | I-Beam, wide flange |  | C/S/Arch
JOIST | K | K Series |  | C/S/Arch
JOIST | STL | Joist, steel |  | C/S/Arch
LADDER | LADR | Ladder | 803 | C/S/Arch
LASER | LASR | Laser | ASME | Process
LASER | LIL | Interlock, laser | LANL | I&C
LCHR | LCHR | Launcher | ASME | Process
LIFT | DKLV | Lift, dock levelers |  | C/S/Arch
LIFT | DW | Dumbwaiter | ASME | C/S/Arch
LIFT | ELEV | Elevator | LANL | C/S/Arch
LIFT | LFT | Lift (use specific where possible) | LANL | C/S/Arch
LIFT | MATL | Lift, material | LANL | Mobile Eq
LIFT | PERS | Lift, personnel | LANL | Mobile Eq
LIFTEQ | RGNG | Rigging (slings, shackles, etc) | ASME | C/S/Arch
LIGHT | FIXT | Lighting fixture | 803.1 | Elec
LIGHT | HALO | Lighting, halogen
LIGHT | HPS | Lighting, high pressure sodium
LIGHT | LED | Lighting, LED
LIGHT | LF | Lighting, fluorescent
LIGHT | LN | Lighting, incandescent | LANL | Elec
LIGHT | LPS | Lighting, low pressure sodium
LIGHT | LSP | Light, security perimeter
LIGHT | LTE | Light, emergency | LANL | Elec
LIGHT | LTEC | Light, emergency/exit sign combo | LANL | Elec
LIGHT | LTET | Light, exit sign, tritium or other self-luminous | LANL | Elec
LIGHT | LTNT | Light, exit sign, lit (non-tritium/not self-luminous) | LANL | Elec
LIGHT | LUV | Light, ultraviolet (e.g., UV sterilization) | LANL | Mech
LIGHT | MERC | Lighting, mercury vapor
LIGHT | MHAL | Light, metal halide
LIGHT | STRB | Light, strobe, beacon e.g. warning light on communications towers
LTGPRO | ATRM | Air terminal (e.g., LPS) | LANL | Elec
LTGPRO | LPT | Lightning protection | LANL | Elec
LTGPRO | SPDE | Surge protective device (lightning suppressor or arrestor, all voltages) | NECmod | Elec
LUBRI | LML | LUBRICATOR, MAINLINE | LANL | MECH
MACH | MACH | Machine | ASME | Mech
MAGNET | MGNT | MAGNET, NON-SUPERCONDUCTOR | LANL | MECH
MAGNET | SCND | MAGNET, SUPERCONDUCTOR | LANL | MECH
MANFLD | GAS | Manifold for gas cylinders/bottles |  | Mech
MANFLD | H2O | Water system manifolds |  | Mech
MANFLD | MANF | Manifold Use GAS or H2O where known. | ASME | Mech
MANHOL | MHE | Manhole, electric | LANL | C/S/Arch
MANHOL | MHFP | Manhole, Fire Protection | LANL | C/S/Arch
MANHOL | MHS | Manhole, steam | LANL | C/S/Arch
MANHOL | MWW | Manhole, waste water | LANL | C/S/Arch
MECHNL | GRBX | Gearbox | ASME | Mech
MECISM | 75 | Mechanism, Position Changing | 803.1 | El Util Dwgs
METER | MGD | Meter, gas, district | LANL | Mech
METER | MGR | Meter, gas, revenue | LANL | Mech
METER | MHT | Meter, humidity or temperature | LANL | I&C
METER | MMD | Meter, multimeter, digital | LANL | M&TE
METER | MMO | Meter, megohm | LANL | M&TE
METER | MPH | Meter, pH | LANL | M&TE
METER | MTR | Meter (generic) | 803.1 | I&C
METER | MW | Meter, water | LANL | I&C
MIOX | MDS | Disinfection system, mixed-oxidant | LANL | Mech
MIXER | MC | Mixer, chemical | LANL | Mech
MIXER | MIXR | Mixer, other than chemical and sound | LANL | Mech
MONITR | CAM | Monitor, continuous air | LANL | I&C
MONITR | CASD | Criticality Alarm Sys (CAS) Detector | LANL | I&C
MONITR | CASR | Criticality Alarm Sys (CAS) Ratemeter | LANL | I&C
MONITR | CSM | Continuous Air Monitor (CAM) Supervisor Module | LANL | I&C
MONITR | GC | Gas chromatograph | LANL | Process
MONITR | GXT | Leak detector or tester | LANL | M&TE
MONITR | HFM | Hand and foot monitor | LANL | M&TE
MONITR | LCC | Logic control chassis | LANL | I&C
MONITR | MON | Monitor (generic) | 803.1 | I&C
MONITR | OM | Monitor, Oxygen | 5.1 | I&C
MONITR | PCM | Personnel contamination monitor | LANL | M&TE
MONITR | SPEC | Mass Spectrometer or other | LANL | M&TE
MONITR | 39 | Monitor, mechanical, condition | 803.1 | El Util Dwgs
MONITR | 45 | Monitor, atmospheric condition | 803.1 | El Util Dwgs
MSCOPE | SEM | Scanning Electron MICROSCOPE
MUFLR | MUF | Muffler | ASME | Mech
OVEN | AUTO | Autoclave
OVEN | IND | Induction Furnace
OVEN | OVEN | Generic Use specific where possible | LANL | Process
OVEN | RES | Electric resistance furnace/oven
OVEN | RFHD | Radio frequency inductively heated device | LANL | Process
PANEL | CIP | Panel, camera interface | LANL | Security
PANEL | CMBP | Combination Panel (where panel contains two or more functions, e.g. the Argus Field Control Panel that modulates voltage and has breakers) | LANL
PANEL | CP | Panel, control (TA55 only; others use CPL) | LANL | I&C
PANEL | CPL | Panel, control | LANL | I&C
PANEL | EP | Panel, emergency power | LANL | Elec
PANEL | LP | Panel, lighting (legacy; use PP now) | 100 | Elec
PANEL | MCC | Motor control center | 803.1 | Elec
PANEL | PL | Panel (TA-55 legacy; use specific where possible) | 803.1 | I&C
PANEL | PNL | Panel (Use specific where possible) | 803.1 | I&C
PANEL | PP | Panel, power (use this for the distribution panel portion of a combo xfmr and panel, e.g. Mini-Power Zone units) | 100 | Elec
PANEL | PPDC | Panel, power, direct current | LANL | Elec
PANEL | RAP | Panel, remote access | LANL | Security
PANEL | SWBD | Switchboard (NEMA) | 100 | Elec
PANEL | SWGR | Switchgear (ANSI) with either breakers or fused interrupter switches | 803.1 | Elec
PEN | FP | Penetration, floor or ceiling | LANL | C/S/Arch
PEN | WP | Penetration, Wall or roof | LANL | C/S/Arch
PILING | CAP | Pile caps
PILING | PILE | Pile foundations
PIPING | NZL | Nozzle | 803.1 | Mech
PIPING | PIPE | Pipe | LANL | Mech
PIPING | RO | Orifice, restricting | ASME | Mech
PIPING | SMPL | Pipe, sampling | LANL | Mech
PKLOT | PAVD | Parking lot, paved | LANL | C/S/Arch
PKLOT | UPVD | Parking lot, unpaved | LANL | C/S/Arch
PLT | PLT | Plate | LANL | Process
PLUMB | PLFX | Generic plumbing fixture, sanitary sewer |  | Plumb
PLUMB | HB | Hose bib | ASME | Mech
PLUMB | SNK | Sink, including kitchen sinks, restroom lavatories, floor drains, and janitors sink. Use for sanitary sewer, industrial, and radioactive waste. |  | Plumb
PLUMB | TOLT | Toilet or Commode, sanitary sewer |  | Plumb
PLUMB | URIN | Urinal, sanitary sewer |  | Plumb
PORT | AP | Test point or port, analyzer | 5.1 | I&C
PORT | BP | Test point or port, burner | 5.1 | I&C
PORT | PP@ | Test point or port, pressure | 5.1 | I&C
PORT | PP@ | Test point or port, pressure | 5.1mod | I&C
PORT | SAMP | Sample Port or sampler | IEEE | Process
PORT | TP | Test point or port, temperature | 5.1 | I&C
POWER | ENG | Engine | 803.1 | Mech
POWER | HPU | Power unit, hydraulic | LANL | Mech
POWER | INVT | Inverter | 803.1 | Elec
POWER | JX | Power supply, electric | 5.1 | I&C
POWER | MO | Motor Use for electric, pneumatic, or hydraulic. | 803.1 | Elec
POWER | PDU | Power distribution unit | 1100 | Elec
POWER | PVNL | Photovoltaic panel | LANL | Elec
PPTT | PPTT | Pipette | LANL | Process
PRNT | PRNT | Printer or plotter | IEEE | I&C
PRSDEV | PSE | Safety device, pressure (rupture disk) RPD preferred | 5.1 | Mech
PRSDEV | RPD | Rupture disk or disc | 803.1 | Mech
PUMP | P | Pump | 803.1 | Mech
PUMP | PAC | Pump, acid or chemical | LANL | Mech
PUMP | PBF | Pump, boiler feed | LANL | Mech
PUMP | PC | Pump, condensate | LANL | Mech
PUMP | PCR | Pump, circulating | LANL | Mech
PUMP | PCT | Pump, cooling tower | LANL | Mech
PUMP | PCW | Pump, chilled or cooling water | LANL | Mech
PUMP | PDH | Pump, hot water, domestic (potable) | LANL | Mech
PUMP | PDW | Pump, deionized water | LANL | Mech
PUMP | PFO | Pump, fuel oil | LANL | Mech
PUMP | PG | Pump, glycol | LANL | Mech
PUMP | PHO | Pump, hydraulic | LANL | Mech
PUMP | PHW | Pump, hot water | LANL | Mech
PUMP | PO | Pump, oil | LANL | Mech
PUMP | PPB | Pump, pressure, boosting | LANL | Mech
PUMP | PS | Pump, sump | LANL | Mech
PUMP | PSA | Pump, sampler air | LANL | Mech
PUMP | PSR | Pump, sewage, raw | LANL | Mech
PUMP | PSUB | Pump, submersible |  | Mech
PUMP | PSW | Pump, sealant water | LANL | Mech
PUMP | PTW | Pump, tempered water | LANL | Mech
PUMP | PV | Pump, vacuum | LANL | Mech
PUMP | PWS | Pump, water spray | LANL | Mech
PUMP | PWT | Pump, waste treatment | LANL | Mech
REAC | REAC | Reactor | ASME | Process
RECOVR | CRU | Condensate recovery unit | LANL | Mech
RECRDR | AIR | Recorder, indicating, analyzer | 5.1 | I&C
RECRDR | AR | Recorder, analyzer | 5.1 | I&C
RECRDR | BR | Recorder, burner | 5.1 | I&C
RECRDR | CR@ | Recorder, conductivity | 5.1mod | I&C
RECRDR | ER | Recorder, voltage | 5.1 | I&C
RECRDR | HZR | Recorder, frequency
RECRDR | FFR | Recorder, flow, ratio | 5.1 | I&C
RECRDR | FQR | Recorder, flow, totalized | 5.1 | I&C
RECRDR | FR | Recorder, flow | 5.1 | I&C
RECRDR | IR | Recorder, current | 5.1 | I&C
RECRDR | JQR | Recorder, power, totalizing (incl watt-hr mtr) | 5.1 | I&C
RECRDR | JR | Recorder, power | 5.1 | I&C
RECRDR | KR | Recorder, time | 5.1 | I&C
RECRDR | LR | Recorder, level | 5.1 | I&C
RECRDR | MR | Recorder, moisture | 5.1 | I&C
RECRDR | PDR | Recorder, differential pressure | 5.1 | I&C
RECRDR | PR@ | Recorder, pressure | 5.1mod | I&C
RECRDR | QR | Recorder, quantity | 5.1 | I&C
RECRDR | RR | Recorder, radiation | 5.1 | I&C
RECRDR | SESR | Recorder, seismic | 5.1 | I&C
RECRDR | SR | Recorder, speed | 5.1 | I&C
RECRDR | TDR | Recorder, differential temperature | 5.1 | I&C
RECRDR | TR | Recorder, temperature | 5.1 | I&C
RECRDR | UR | Recorder, multivariable | 5.1 | I&C
RECRDR | VR | Recorder, vibration | 5.1 | I&C
RECRDR | WDR | Recorder, force differential | 5.1 | I&C
RECRDR | WR | Recorder, weight or force | 5.1 | I&C
RECRDR | XR | Recorder, special | 5.1 | I&C
RECRDR | YR | Recorder, presence or state | 5.1 | I&C
RECRDR | ZDR | Recorder, deviation | 5.1 | I&C
RECRDR | ZR | Recorder, position | 5.1 | I&C
REGLTR | DGRS | Regulator, gas, district | LANL | Mech
REGLTR | NGRS | Regulator, natural gas | LANL | Mech
REGLTR | REG | Regulator, gas bottle | LANL | Mech
REGLTR | RPG | Regulator, pressure, gas | LANL | Mech
REGLTR | RPW | Regulator, pressure, water | LANL | Mech
REGLTR | RV | Regulator, voltage | LANL | Elec
REGLTR | 90 | Regulating Device | 803.1 | El Util Dwgs
RELAY | AY | Relay, analyzer | 5.1 | I&C
RELAY | BY | Relay, burner | 5.1 | I&C
RELAY | EY | Relay, voltage | 5.1 | I&C
RELAY | FQY | Relay, flow, quantity | 5.1 | I&C
RELAY | FY | Relay, flow, rate | 5.1 | I&C
RELAY | IY | Relay, current | 5.1 | I&C
RELAY | JY | Relay, power | 5.1 | I&C
RELAY | KY | Relay, time | 5.1 | I&C
RELAY | LY | Relay, level | 5.1 | I&C
RELAY | PDY | Relay, differential pressure | 5.1 | I&C
RELAY | PR | Relay, protective | LANL | Elec
RELAY | PY | Relay, pressure | 5.1 | I&C
RELAY | QY | Relay, quantity | 5.1 | I&C
RELAY | RLY | Relay or Relay Module (TA-55 only, others use specific type) | IEEE | Elec
RELAY | RY | Relay, radiation | 5.1 | I&C
RELAY | SY | Relay, speed | 5.1 | I&C
RELAY | TDY | Relay, differential temperature | 5.1 | I&C
RELAY | TY | Relay, temperature | 5.1 | I&C
RELAY | UY | Relay, multivariable | 5.1 | I&C
RELAY | VY | Relay, vibration analysis | 5.1 | I&C
RELAY | WDY | Relay, force differential | 5.1 | I&C
RELAY | WY | Relay, weight or force | 5.1 | I&C
RELAY | YY | Relay, presence or state | 5.1 | I&C
RELAY | ZDY | Relay, deviation | 5.1 | I&C
RELAY | ZY | Relay, position | 5.1 | I&C
RELAY | 2 | Relay, Time-Delay Starting or Closing | 803.1 | El Util Dwgs
RELAY | 3 | Relay, Checking or Interlocking | 803.1 | El Util Dwgs
RELAY | 21 | Relay, Distance | 803.1 | El Util Dwgs
RELAY | 24 | Relay, Static Breaker Failure | 803.1 | El Util Dwgs
RELAY | 27 | Relay, Undervoltage | 803.1 | El Util Dwgs
RELAY | 30 | Relay, Annunciator | 803.1 | El Util Dwgs
RELAY | 32 | Relay, Directional Power | 803.1 | El Util Dwgs
RELAY | 37 | Relay, Undercurrent or Underpower | 803.1 | El Util Dwgs
RELAY | 40 | Relay, Field | 803.1 | El Util Dwgs
RELAY | 44 | Relay, Unit Sequence Starting | 803.1 | El Util Dwgs
RELAY | 46 | Relay, Phase-Balance Current or Reverse-Phase | 803.1 | El Util Dwgs
RELAY | 47 | Relay, Phase-Sequence Voltage | 803.1 | El Util Dwgs
RELAY | 48 | Relay, Incomplete Sequence | 803.1 | El Util Dwgs
RELAY | 49 | Relay, Machine or Transformer Thermal | 803.1 | El Util Dwgs
RELAY | 50 | Relay, Instantaneous Overcurrent (OC) | 803.1 | El Util Dwgs
RELAY | 51 | Relay, AC Time Overcurrent | 803.1 | El Util Dwgs
RELAY | 53 | Relay, Exciter or DC Generator | 803.1 | El Util Dwgs
RELAY | 55 | Relay, Power Factor | 803.1 | El Util Dwgs
RELAY | 56 | Relay, Field Application | 803.1 | El Util Dwgs
RELAY | 58 | Relay, Rectifier Failure | 803.1 | El Util Dwgs
RELAY | 59 | Relay, Overvoltage | 803.1 | El Util Dwgs
RELAY | 60 | Relay, Voltage or Current Balance | 803.1 | El Util Dwgs
RELAY | 61 | Relay, Current Balance | 803.1 | El Util Dwgs
RELAY | 62 | Relay, Time-Delay Starting or Closing | 803.1 | El Util Dwgs
RELAY | 64 | Relay, Ground Detector (Not CT Secondary) | 803.1 | El Util Dwgs
RELAY | 67 | Relay, AC Directional Overcurrent | 803.1 | El Util Dwgs
RELAY | 68 | Relay, Blocking | 803.1 | El Util Dwgs
RELAY | 74 | Relay, Alarm | 803.1 | El Util Dwgs
RELAY | 76 | Relay, DC Overcurrent | 803.1 | El Util Dwgs
RELAY | 78 | Relay, Out-of-Step Protective Phase-Angle Measuring | 803.1 | El Util Dwgs
RELAY | 79 | Relay, AC Reclosing | 803.1 | El Util Dwgs
RELAY | 81 | Relay, Frequency | 803.1 | El Util Dwgs
RELAY | 82 | Relay, DC Reclosing | 803.1 | El Util Dwgs
RELAY | 83 | Relay, Automatic Selective Control or Transfer | 803.1 | El Util Dwgs
RELAY | 85 | Relay, Carrier/Pilot-Wire Receiver | 803.1 | El Util Dwgs
RELAY | 86 | Relay, Locking-Out | 803.1 | El Util Dwgs
RELAY | 87 | Relay, Differential Protective | 803.1 | El Util Dwgs
RELAY | 91 | Relay, Voltage Directional | 803.1 | El Util Dwgs
RELAY | 92 | Relay, Voltage and Power Directional | 803.1 | El Util Dwgs
RELAY | 94 | Relay, Tripping | 803.1 | El Util Dwgs
RELAY | 95 | Relay, Phase Discordance Handling Unit | 803.1 | El Util Dwgs
RESN | RESN | Resin | LANL | Process
RNG | CPRT | Counter, portable | LANL | M&TE
RNG | CTRM | Counter, permanent (e.g., autos, not PCM) | LANL | M&TE
RNG | MKGS | Markings (pavement or otherwise) | ASME | C/S/Arch
RNG | PVMT | Roads & Grounds, Pavement (asphalt, concrete), pad, or slab | LANL | C/S/Arch
RNG | RDLC | Road, local (incl. driveways) | LANL | C/S/Arch
RNG | RDPM | Road, primary (arterial) | LANL | C/S/Arch
RNG | RDSC | Road, secondary (collector) | LANL | C/S/Arch
RNG | RDUP | Road, unpaved | LANL | C/S/Arch
RNG | RPP | Road & park lots, paved (legacy) | LANL | C/S/Arch
RNG | RSPM | Sign, radar speed, permanent | LANL | C/S/Arch
RNG | RSPT | Sign, radar speed, portable | LANL | C/S/Arch
RNG | RUP | Road & park lots, unpaved (legacy) | LANL | C/S/Arch
RNG | SDWK | Sidewalk | LANL | C/S/Arch
RNG | SIGN | Sign (traffic, reflectors, etc.) | LANL | C/S/Arch
RNG | SOIL | Soil (dirt cover) | LANL | C/S/Arch
RNG | SPSR | Superstructure (e.g., bridge) | LANL | C/S/Arch
RNG | SUBS | Substructure (e.g., bridge, slab, foundation) | LANL | C/S/Arch
RNG | TGNL | Signal, traffic | LANL | C/S/Arch
RNG | TRL | Trail | LANL | C/S/Arch
RNG | TRM | Traffic calming (hump, bump, table) | LANL | C/S/Arch
RNG | TUNL | Tunnel | LANL | C/S/Arch
ROBOT | RMHD | Robotic Material Handler, manipulator, master-slave | TA-55 | Process
ROOF | RS | Roof section, general (Parametric) | LANL | C/S/Arch
ROOFC | ACRL | Roof Covering, acrylic
ROOFC | ALTL | Roof Covering, aluminum tile
ROOFC | ASPH | Roof Covering, asphalt
ROOFC | CONC | Roof Covering, concrete covered
ROOFC | EPDM | Roof Covering, EPDM Rubber
ROOFC | ERTH | Roof Covering, earth covered
ROOFC | FOAM | Roof Covering, Polyurethane foam
ROOFC | MEMB | Roof Covering, membrane
ROOFC | STL | Roof Covering, steel
RP | RP | Reference Point
SAFE | SAFE | Safe | LANL | Process
SAFETY | FPE | Fall protection equipment | LANL | C/S/Arch
SAMPLR | ASE | Air sampler, exhaust stack | LANL | Mech
SB | SB | Screen, bar, mechanical | LANL | Mech
SCRUBR | SCB | Scrubber | 803.1 | Mech
SCRUBR | SF | Scrubber, fume | LANL | Mech
SENSOR | AE | Primary element, analyzer | 5.1 | I&C
SENSOR | BE | Primary element, burner | 5.1 | I&C
SENSOR | CE | Primary element, conductivity | 5.1 | I&C
SENSOR | EE | Primary element, voltage | 5.1 | I&C
SENSOR | FE@ | Primary element, flow | 5.1 | I&C
SENSOR | FQE | Primary element, flow, quantity | 5.1 | I&C
SENSOR | IE | Primary element, current | 5.1 | I&C
SENSOR | JE | Primary element, power | 5.1 | I&C
SENSOR | KE | Primary element, time | 5.1 | I&C
SENSOR | LDC | Load cell | 803.1 | M&TE
SENSOR | LE | Primary element, level | 5.1 | I&C
SENSOR | ME | Primary element, moisture | 5.1 | I&C
SENSOR | OI | Primary element, oxygen | 5.1 | I&C
SENSOR | PDE | Primary element, differential pressure | 5.1 | I&C
SENSOR | PE | Primary element, pressure | 5.1 | I&C
SENSOR | PHE | Primary element, pH | 5.1 | I&C
SENSOR | QE | Primary element, quantity | 5.1 | I&C
SENSOR | RE | Primary element, radiation (beta, beta/gamma, etc.) | 5.1 | I&C
SENSOR | SE | Primary element, speed | 5.1 | I&C
SENSOR | SESE | Primary element, seismic | 5.1 | I&C
SENSOR | SNSR | Sensor, generic (use specific element where possible) | ASME | I&C
SENSOR | TE | Primary element, temperature (e.g., T/C, TC, TCP, thermocouple, thermistor) | 5.1 | I&C
SENSOR | VE | Primary element, vibration | 5.1 | I&C
SENSOR | WDE | Primary element, force differential | 5.1 | I&C
SENSOR | WE | Primary element, weight or force | 5.1 | I&C
SENSOR | WRE | Primary element, wear | 5.1 | I&C
SENSOR | XE | Primary element, special | 5.1 | I&C
SENSOR | YZ | Primary element, Presence or State
SENSOR | ZDE | Primary element, deviation | 5.1 | I&C
SENSOR | ZE | Primary element, zone or position | 5.1 | I&C
SENSOR | 1 | Master Element | 803.1 | El Util Dwgs
SENSOR | 28 | Detector, Flame (e.g., boiler) | 803.1 | El Util Dwgs
SEPART | SO | Separator, oil | LANL | Mech
SEPART | SEP | Separator, process | 803.1 | Process
SEWAGE | SLS | Lift station, sewage | LANL | C/S/Arch
SEWAGE | SMF | Main, force, sewage | LANL | C/S/Arch
SHADES | SHDE | Shades, (Window and door coverings)
SHIELD | SHLD | Shielding, radioactive or other (also see Door Plug) | LANL | C/S/Arch
SHOPEQ | DP | Press, drill | LANL | Shop
SHOPEQ | EWM | Welder, electric | LANL | Shop
SHOPEQ | LAT | Lathe | LANL | Shop
SHOPEQ | LMF | Lock, metal former | LANL | Shop
SHOPEQ | MF | Metal forming machine | LANL | Shop
SHOPEQ | MM | Milling machine | LANL | Shop
SHOPEQ | MNC | Mill, numeric control | LANL | Shop
SHOPEQ | PH | Press, hydraulic | LANL | Shop
SHOPEQ | PNCH | Punch | LANL | Shop
SHOPEQ | PPNU | Press, pneumatic | LANL | Shop
SHOPEQ | RMF | Roller, metal forming | LANL | Shop
SHOPEQ | SAW | Saw | LANL | Shop
SHOPEQ | SBL | Sand blaster | LANL | Shop
SHOPEQ | SD | Sander | LANL | Shop
SHOPEQ | SMC | Shear, metal cutting | LANL | Shop
SHOPEQ | TOOL | Tool or tooling | LANL | Shop
SHOPEQ | WB | Workbench | ASME | Shop
SHOWER | COMB | Combination safety shower and eyewash | LANL | Mech
SHOWER | EW | Eyewash | LANL | Mech
SHOWER | SHD | Shower, decontamination | LANL | Mech
SHOWER | SHR | Shower enclosure (general use) | 803.1 | Mech
SHOWER | SHS | Shower, safety | LANL | Mech
SHRDR | SHDR | Shredder | ASME | Process
SIDING | SDNG | Siding, General |  | C/S/Arch
SIDING | WOOD | Siding, Wood |  | C/S/Arch
SKYLTE | SLTE | Window installed in roof or ceiling |  | C/S/Arch
SLAB | SLAB | Slab, standard slab on grade |  | C/S/Arch
SOFFIT | SOFT | Underside of an architectural structure such as an arch, a balcony, or overhanging eaves |  | C/S/Arch
SPACER | DWR | Bisco Divider/Spacer | ASME | Mech
SPACER | SPCR | Spacer | ASME | Mech
SPRT | RSNT | restraint (e.g., strapping, banding, netting, film, chain) | LANL | Process
SPRT | SPRT | Support Mechanism (e.g., HVAC seismic restraint) Includes mounting brackets | LANL | Mech
SPRT | STND | Support or Stand (GB, etc.) | ASME | Mech
STACK | ES | Stack, exhaust | LANL | Mech
STAIRS | CCIP | Stairs (interior or exterior), concrete, cast in place |  | C/S/Arch
STAIRS | FIRE | Stairs (interior or exterior), fire access |  | C/S/Arch
STAIRS | GEN | Stairs (interior or exterior), General |  | C/S/Arch
STAIRS | STL | Stairs (interior or exterior), steel |  | C/S/Arch
STAIRS | WOOD | Stairs (interior or exterior), wood |  | C/S/Arch
STN | BAS | Station, breathing air | LANL | Mech
STN | STA | Station (except breathing air) | ASME | Mech
STN | TBTS | Tube trailer station | LANL | Mech
STNR | SCR | Strainer | LANL | Mech
STRG | KRDX | Automated storage and retrieval (Lektriever, Kardex) | LANL | C/S/Arch
STRG | RACK | Rack | LANL | C/S/Arch
STRG | SHLO | Shelves or shelf | LANL | C/S/Arch
STRTR | MSTR | Starter, motor | 803.1 | Elec
STRTR | PSTR | Starter, pneumatic | LANL | Elec
SUBSTN | RCTR | Current limiting reactor |  | Elec
SUBSTN | SSBU | Bus, substation (HV) | 803.1 | Elec
SUBSTN | SUB | Substation (HV) | LANL | Elec
SUBSTN | SUS | Substation, unit, secondary [integrated assy w/ fused MV interrupter switch(es), power xfmr(s), swgr, breakers, and LV swgr assy] | LANL | Elec
SUPHTR | DSH | Desuperheater | LANL | Mech
SWITCH | AIS | Switch, indicating, analyzer | 5.1 | I&C
SWITCH | AITS | Switch, transmitting, indicating, analyzer | 5.1 | I&C
SWITCH | AS | Switch, analyzer | 5.1 | I&C
SWITCH | ASH | Switch, analyzer, high | 5.1 | I&C
SWITCH | ASHL | Switch, analyzer, high or low | 5.1 | I&C
SWITCH | ASL | Switch, analyzer, low | 5.1 | I&C
SWITCH | ATS | Switch, transfer, automatic | 1100 | Elec
SWITCH | BMS | Switch, magnetic, balanced (e.g., door) | LANL | Security
SWITCH | BSH | Switch, burner, high | 5.1 | I&C
SWITCH | BSHL | Switch, burner, high low | 5.1 | I&C
SWITCH | BSL | Switch, burner, low | 5.1 | I&C
SWITCH | BTN | Button, Push (switch) | ASME | Elec
SWITCH | CIS | Switch, indicating, conductivity | 5.1 | I&C
SWITCH | CS | Conductivity Switch
SWITCH | CS@ | Switch, conductivity Historical, use SWITCH/CS all future records. | 5.1 | I&C
SWITCH | EIS | Switch, indicating, voltage | 5.1 | I&C
SWITCH | ESH | Switch, voltage, high | 5.1 | I&C
SWITCH | ESHL | Switch, voltage, high or low | 5.1 | I&C
SWITCH | ESL | Switch, voltage, low | 5.1 | I&C
SWITCH | FFS | Switch, flow, ratio | 5.1 | I&C
SWITCH | FFSH | Switch, flow, ratio, high | 5.1 | I&C
SWITCH | FFSL | Switch, flow, ratio, low | 5.1 | I&C
SWITCH | FIS | Switch, indicating, flow | 5.1 | I&C
SWITCH | FQIS | Switch, indicating, totalizing, flow | 5.1 | I&C
SWITCH | FQS | Switch, flow, totalized | 5.1 | I&C
SWITCH | FQSH | Switch, flow, quantity, high | 5.1 | I&C
SWITCH | FQSL | Switch, flow, quantity, low | 5.1 | I&C
SWITCH | FS@ | Switch, flow | 5.1 | I&C
SWITCH | FSH | Switch, flow, high | 5.1 | I&C
SWITCH | FSHL | Switch, flow, high or low | 5.1 | I&C
SWITCH | FSL | Switch, flow, low | 5.1 | I&C
SWITCH | FSW | Switch, flow (TA-55, not preferred) | LANL | I&C
SWITCH | HIS | Switch, indicating, hand | 5.1 | I&C
SWITCH | HOA | Switch, hand off auto or selector | LANL | I&C
SWITCH | HS | Switch, hand (single throw or push putton; for selectors use hand-off-auto HOA) | 5.1 | I&C
SWITCH | IIS | Switch, indicating, current | 5.1 | I&C
SWITCH | IS | Switch, current | 5.1 | I&C
SWITCH | ISH | Switch, current, high | 5.1 | I&C
SWITCH | ISHL | Switch, current, high or low | 5.1 | I&C
SWITCH | ISL | Switch, current, low | 5.1 | I&C
SWITCH | JS | Switch, power | 5.1 | I&C
SWITCH | JSH | Switch, power, high | 5.1 | I&C
SWITCH | JSHL | Switch, power, high or low | 5.1 | I&C
SWITCH | JSL | Switch, power, low | 5.1 | I&C
SWITCH | KIS | Switch, indicating, time | 5.1 | I&C
SWITCH | KS | Switch, timer | 5.1 | I&C
SWITCH | KSH | Switch, time, high | 5.1 | I&C
SWITCH | KSHL | Switch, time, high or low | 5.1 | I&C
SWITCH | KSL | Switch, time, low | 5.1 | I&C
SWITCH | LIS | Switch, indicating, level | 5.1 | I&C
SWITCH | LS | Switch, level | 5.1 | I&C
SWITCH | LSH | Switch, level, high | 5.1 | I&C
SWITCH | LSHL | Switch, level, high or low | 5.1 | I&C
SWITCH | LSL | Switch, level, low | 5.1 | I&C
SWITCH | MIS | Switch, indicating, moisture | 5.1 | I&C
SWITCH | MS | Switch, moisture | 5.1 | I&C
SWITCH | MTS | Switch, transfer, manual | 100 | Elec
SWITCH | PDIS | Switch, indicating, pressure differential | 5.1 | I&C
SWITCH | PDS | Switch, pressure differential | 5.1 | I&C
SWITCH | PDIH | Switch, indicating, pressure differential, high | 5.1 | I&C
SWITCH | PDSH | Switch, pressure differential, high | 5.1 | I&C
SWITCH | PDIL | Switch, indicating, pressure differential, low | 5.1 | I&C
SWITCH | PDSL | Switch, pressure differential, low | 5.1 | I&C
SWITCH | PIS | Switch, indicating, pressure | 5.1 | I&C
SWITCH | PS@ | Switch, pressure | 5.1 | I&C
SWITCH | PSH | Switch, pressure, high | 5.1 | I&C
SWITCH | PSHL | Switch, pressure, high or low | 5.1 | I&C
SWITCH | PSL | Switch, pressure, low | 5.1 | I&C
SWITCH | QSH | Switch, quantity, high | 5.1 | I&C
SWITCH | QSHL | Switch, quantity, high or low | 5.1 | I&C
SWITCH | QSL | Switch, quantity, low | 5.1 | I&C
SWITCH | RIS | Switch, indicating, radiation | 5.1 | I&C
SWITCH | RSH | Switch, radiation, high | 5.1 | I&C
SWITCH | RSHL | Switch, radiation, high or low | 5.1 | I&C
SWITCH | RSL | Switch, radiation, low | 5.1 | I&C
SWITCH | SIS | Switch, indicating, speed | 5.1 | I&C
SWITCH | SPM | Switch, pad mounted (MV, has 1 or more interrupter switches) | LANL | Elec
SWITCH | SS | Switch, speed | 5.1 | I&C
SWITCH | SSH | Switch, speed, high | 5.1 | I&C
SWITCH | SSHL | Switch, speed, high or low | 5.1 | I&C
SWITCH | SSL | Switch, speed, low | 5.1 | I&C
SWITCH | ST | Switch, transformer | LANL | Elec
SWITCH | SV | Switch, vacuum | LANL | Elec
SWITCH | SW | Switch, generic (use specific where possible) | ASME | I&C
SWITCH | TDS | Switch, temperature differential | 5.1 | I&C
SWITCH | TDSH | Switch, temperature differential, high | 5.1 | I&C
SWITCH | TDSL | Switch, temperature differential, low | 5.1 | I&C
SWITCH | TIS | Switch, indicating, temperature | 5.1 | I&C
SWITCH | TS@ | Switch, temperature | 5.1 | I&C
SWITCH | TSH | Switch, temperature, high | 5.1 | I&C
SWITCH | TSHL | Switch, temperature, high or low | 5.1 | I&C
SWITCH | TSL | Switch, temperature, low | 5.1 | I&C
SWITCH | VIS | Switch, indicating, vibration | 5.1 | I&C
SWITCH | VS | Switch, vibration | 5.1 | I&C
SWITCH | VSH | Switch, vibration, high | 5.1 | I&C
SWITCH | VSHL | Switch, vibration, high or low | 5.1 | I&C
SWITCH | VSL | Switch, vibration, low | 5.1 | I&C
SWITCH | WDSH | Switch, force differential, high | 5.1 | I&C
SWITCH | WDSL | Switch, force differential, low | 5.1 | I&C
SWITCH | WIS | Switch, indicating, weight or force | 5.1 | I&C
SWITCH | WSH | Switch, weight or force, high | 5.1 | I&C
SWITCH | WSHL | Switch, weight or force, high or low | 5.1 | I&C
SWITCH | WSL | Switch, weight or force, low | 5.1 | I&C
SWITCH | XIS | Switch, indicating, special | 5.1 | I&C
SWITCH | XZS | Switch, tamper (TA-55 only, others use switch, pos -- ZS) | LANL | Fire Prot
SWITCH | YSH | Switch, presence or state, high | 5.1 | I&C
SWITCH | YSL | Switch, presence or state, low | 5.1 | I&C
SWITCH | ZDSH | Switch, deviation, high | 5.1 | I&C
SWITCH | ZDSL | Switch, deviation, low | 5.1 | I&C
SWITCH | ZIS | Switch, indicating, zone or position | 5.1 | I&C
SWITCH | ZS | Switch, position (limit, including valve position, damper position, tamper, supervisory, or supervised) | 5.1 | I&C
SWITCH | ZSC | Switch, position (limit), closed (ZSO if open) | 5.1 | I&C
SWITCH | ZSH | Switch, position, high | 5.1 | I&C
SWITCH | ZSHL | Switch, position, high or low | 5.1 | I&C
SWITCH | ZSL | Switch, position, low | 5.1 | I&C
SWITCH | 10 | Switch, Unit Sequence | 803.1 | El Util Dwgs
SWITCH | 17 | Switch, shunting or discharge | 803.1 | El Util Dwgs
SWITCH | 25 | Switch, Synchronizing or Synchronism-Check Drive | 803.1 | El Util Dwgs
SWITCH | 33 | Switch, position (HV) | 803.1 | El Util Dwgs
SWITCH | 63 | Switch, pressure (HV) | 803.1 | El Util Dwgs
SWITCH | 71 | Switch, level | 803.1 | El Util Dwgs
SWITCH | 80 | Switch, flow | 803.1 | El Util Dwgs
SWITCH | 89 | Switch, line | 803.1 | El Util Dwgs
SYSTEM | SVC | Static VAR compensator or control system | IEEE519 | El Util Dwgs
TABLE | PLAT | Platform (fixed or moveable) | ASME | C/S/Arch
TABLE | TBL | Table (includes fixed, moveable, but NOT lift) | LANL | Mech
TABLE | TTT | Turntable | LANL | C/S/Arch
TANK | TAC | Tank, acid or chemical | LANL | Mech
TANK | TCA | Tank, compressed air | LANL | Mech
TANK | TCF | Tank, condensate, flash | LANL | Mech
TANK | TCI | Tank, chemical injection | LANL | Mech
TANK | TCS | Tank, condensate, steam | LANL | Mech
TANK | TCW | Tank, condensate, water | LANL | Mech
TANK | TEFF | Tank, effluent | LANL | Mech
TANK | TFUL | Tank, fuel | LANL | Mech
TANK | TG | Tank, glycol | LANL | Mech
TANK | THP | Tank, hydraulic pressure | LANL | Mech
TANK | TK | Tank | 803.1 | Mech
TANK | TO | Tank, oil | LANL | Mech
TANK | TPWS | Tank, potable water, storage | LANL | Mech
TANK | TRC | Tank, refrigerant | LANL | Mech
TANK | TRS | Tank, retention or storage | LANL | Mech
TANK | TSA | Tank, separator, air | LANL | Mech
TANK | TV | Tank, vacuum | LANL | Mech
TANK | TWC | Tank, water, chilled or cooling | LANL | Mech
TANK | TWD | Tank, water, deionized or demineralized | LANL | Mech
TANK | TWH | Tank, water, hot | LANL | Mech
TANK | TWS | Tank, water, sealant | LANL | Mech
TANK | TWT | Tank, waste treatment | LANL | Mech
TANK | TX | Tank, expansion | LANL | Mech
TANK | VP | Vessel, pressure | LANL | Mech
TEST | CBT | Test set, relay, overload, and or circuit breaker | LANL | M&TE
TEST | GX | Tester, balance | LANL | M&TE
TEST | PTR | Pressure test rig (hydro/pneumo) | LANL | M&TE
TEST | TQT | Tester, torque | LANL | M&TE
TEST | TSTE | Equipment, Test (only when no specific applies) | ASME | M&TE
TEST | WW | Wig-wag gate or testing tool | LANL | C/S/Arch
TND | CEO | Circuit, electric, overhead | LANL | Elec
TND | CEU | Circuit, electric, underground | LANL | Elec
TND | LET | Line, electric, transmission | LANL | El Util Dwgs
TND | PE | Pole, electrical distribution | LANL | Elec
TOOL | SG | Shaker, graphite | LANL | Shop
TOOL | TQS | Screwdriver, torque | LANL | M&TE
TOOL | TQW | Wrench, torque | LANL | M&TE
TOOL | USC | Ultrasonic cleaner or bath | 803.1 | Process
TOTAL | EQ | Totalizer, voltage | 5.1 | I&C
TOTAL | FQ | Totalizer, flow | 5.1 | I&C
TOTAL | IQ | Totalizer, current | 5.1 | I&C
TOTAL | JWHQ | Totalizer, power, watt-hour | 5.1 | I&C
TOTAL | KQ | Totalizer, time | 5.1 | I&C
TOWER | TC | Tower, cooling | LANL | Mech
TOWER | TLA | Tower, electric, PNM LA | LANL | El Util Dwgs
TOWER | TMP | Tower, electric, PNM MP | LANL | El Util Dwgs
TOWER | TNL | Tower, electric, PNM NL | LANL | El Util Dwgs
TOWER | TTE | Tower, electric, PNM TE | LANL | El Util Dwgs
TRACTR | LDR | Tractor, including large front end loaders or dozers | ASME | Mobile Eq
TRACTR | MOWR | Tractor, including self-powered riding mowers
TRACTR | TRCH | Tractor, trencher
TRACTR | TRCT | Tractor (generic) | LANL | Mobile Eq
TRAP | GT | Trap, grease | LANL | Mech
TRAP | TRP | Trap | 803.1 | Mech
TRAP | TRPP | Trap primer | LANL | Mech
TRAP | TS | Trap, steam | LANL | Mech
TRLR | TLRB | Trailer, box |  | Mobile Eq
TRLR | TLRD | Trailer, dump |  | Mobile Eq
TRLR | TLRF | Trailer, flatbed |  | Mobile Eq
TRLR | TRLR | Trailer, generic (if office, use BLDG) | ASME | Mobile Eq
TROLEY | TRLY | Trolley | ASME | Mech
TROLEY | TRYT | Trolley Tunnel | LANL | Mech
TRUCK | CRGO | Truck, enclosed cargo boxes Incl those with lifts
TRUCK | DUMP | Truck, dump
TRUCK | FLAT | Truck, flat bed Incl those with lifts
TRUCK | FUEL | Truck, for refueling equipment
TRUCK | PKUP | Truck, pickup Incl those with lifts
TRUCK | TCTR | Truck, semi-truck tractor
TRUCK | TRCK | Truck, generic | LANL | Mobile Eq
TRUCK | TUBE | Truck, tube, for delivery of gases to facilities
TRUCK | UTV | ATVs, side-by-sides, incl Suzuki mini-trucks and such
TUMBLR | DT | Drum Tumbler | LANL | Process
TURBIN | TSD | Turbine, steam driven | LANL | Mech
TURBIN | TURB | Turbine (including gas-driven power turbines) | ASME | Mech
UPS | UPS | Uninterruptible power supply | 1100 | Elec
VALVE | AAV | Automatic air vent (hydronic systems) | LANL | Mech
VALVE | AFCV | Automatic Fixture Control Valve (auto flush valves in restrooms)
VALVE | AOBV | Valve, ball, air-operated | LANL | Mech
VALVE | AOV | Valve, air operated (TA-55 only, others use Valve, solenoid - SOV | LANL | Mech
VALVE | ARV | Valve, air relief (UI water distribution systems) | AWWA | Mech
VALVE | BFP | Backflow preventer | 803.1 | Mech
VALVE | BV | Valve, ball |  | Mech
VALVE | BVT | Valve, ball, trunnion | LANL | Mech
VALVE | CTRV | Valve, control (generic) |  | Mech
VALVE | CV | Valve, check | LANL | Mech
VALVE | FCV | Valve, control, flow | 5.1 | Mech
VALVE | FICV | Valve, control, indicating, flow | 5.1 | Mech
VALVE | GV | Valve, gate |  | Mech
VALVE | KCV | Valve, control, timed | 5.1 | Mech
VALVE | KV | Valve, key, natural gas | LANL | Mech
VALVE | LCV | Valve, control, level | 5.1 | Mech
VALVE | NV | Valve, Needle |  | Mech
VALVE | PCV | Valve, control, pressure | 5.1 | Mech
VALVE | PDCV | Valve, control, differential pressure | 5.1 | Mech
VALVE | PRD | Pressure regulating device (bubbler; use PRV for valves) | LANL | Mech
VALVE | PRV | Valve, pressure relief (preferred acro for all RVs) | LANL | Mech
VALVE | PSV | Valve, pressure safety (steam-air-gas service only) but see PRV | 5.1 | Mech
VALVE | RPV | Valve, Residual Pressure |  | Mech
VALVE | RVS | Valve, regulator, steam | LANL | Mech
VALVE | SCV | Valve, control, speed | 5.1 | Mech
VALVE | SOV | Valve, solenoid | LANL | Mech
VALVE | TCV | Valve, control, temperature | 5.1 | Mech
VALVE | TDCV | Valve, control, differential temperature | 5.1 | Mech
VALVE | V | Valve, also known as HV, Hand Valve | 803.1 | Mech
VALVE | VABG | Valve, gate, aeration basin | LANL | Mech
VALVE | VB | Valve, block | LANL | Mech
VALVE | VBG | Valve, burner, gas | LANL | Mech
VALVE | VBH | Valve, block, hydrant | LANL | Mech
VALVE | VBO | Valve, burner, oil | LANL | Mech
VALVE | VBK | Vacuum Breaker |  | Mech
VALVE | VBW | Valve, block, water | LANL | Mech
VALVE | VC | Valve, check (historical) Use CV now. |  | Mech
VALVE | VEQG | Valve, gate, equalization basin | LANL | Mech
VALVE | VM | Valve, motor-operated (an MOV) | LANL | Mech
VALVE | VPR | Valve, pressure reducing | LANL | Mech
VALVE | WCV | Valve, control, force | 5.1 | Mech
VALVE | WDCV | Valve, control, force differential | 5.1 | Mech
VALVE | ZCV | Valve, control, zone or position | 5.1 | Mech
VALVE | ZDCV | Valve, control, deviation | 5.1 | Mech
VALVE | 20 | Valve, electrically operated | 803.1 | El Util Dwgs
VIBI | VIBI | Vibration isolator | LANL | Mech
WALL | BRKE | Wall Exterior, brick |  | C/S/Arch
WALL | BRKI | Wall Interior, brick |  | C/S/Arch
WALL | CIPE | Wall Exterior, concrete cast in place |  | C/S/Arch
WALL | CIPI | Wall Interior, concrete cast in place |  | C/S/Arch
WALL | CLKE | Wall Exterior, concrete block |  | C/S/Arch
WALL | CLKI | Wall Interior, concrete block |  | C/S/Arch
WALL | CLPE | Wall Exterior, clapboard profile, woodgrain texture |  | C/S/Arch
WALL | CLPI | Wall Interior, clapboard profile, woodgrain texture |  | C/S/Arch
WALL | CMUE | Wall Exterior, concrete block (CMU) |  | C/S/Arch
WALL | CMUI | Wall Interior, concrete block (CMU) |  | C/S/Arch
WALL | CPRE | Wall Exterior, precast concrete |  | C/S/Arch
WALL | CPRI | Wall Interior, precast concrete |  | C/S/Arch
WALL | GBKE | Wall Exterior, glass block |  | C/S/Arch
WALL | GBKI | Wall Interior, glass block |  | C/S/Arch
WALL | GLSE | Wall Exterior, glass |  | C/S/Arch
WALL | GLSI | Wall Interior, glass |  | C/S/Arch
WALL | GYPI | Wall Interior, gypsum board |  | C/S/Arch
WALL | MSHE | Wall Exterior, wire mesh |  | C/S/Arch
WALL | MSHI | Wall Interior, wire mesh |  | C/S/Arch
WALL | RETW | Wall, retaining | LANL | C/S/Arch
WALL | RMOV | Wall Interior, removable |  | C/S/Arch
WALL | RSRM | Wall Interior, restroom partition |  | C/S/Arch
WALL | STLE | Wall Exterior, steel |  | C/S/Arch
WALL | STLI | Wall Interior, steel |  | C/S/Arch
WALL | STNE | Wall Exterior, stone |  | C/S/Arch
WALL | STNI | Wall Interior, stone |  | C/S/Arch
WALL | TEMP | Wall Interior, temporary, cubicle |  | C/S/Arch
WALL | WALL | Wall | LANL | C/S/Arch
WALL | WFE | Wall, exterior, fire rated |  | C/S/Arch
WALL | WFI | Wall, interior, fire rated |  | C/S/Arch
WALL | WODE | Wall Exterior, wood |  | C/S/Arch
WALL | WODI | Wall Interior, wood |  | C/S/Arch
WATER | DMN | Demineralizer | LANL | Mech
WATER | DNZ | Water unit, deionized | LANL | Mech
WATER | DWS | Water softener | LANL | Mech
WATER | IX | DI Water ion exchanger |  | Mech
WATER | ROU | Reverse osmosis unit | 803.1 | Mech
WATER | WHA | Water hammer arrestor | LANL | Mech
WEIR | WGS | Weir gate, sludge or stormwater | LANL | C/S/Arch
WELL | TW | Well, thermal (thermowell) | 5.1 | I&C
WINDOW | ALUE | Window, exterior aluminum |  | C/S/Arch
WINDOW | ALUI | Window, interior aluminum |  | C/S/Arch
WINDOW | GLAS | Window, glazed storefront |  | C/S/Arch
WINDOW | RLUP | Window, interior rollup |  | C/S/Arch
WINDOW | STLE | Window, exterior steel |  | C/S/Arch
WINDOW | WDO | Window (bldg, shield, or vessel) | ASME | C/S/Arch
WINDOW | WODE | Window, exterior wood |  | C/S/Arch
WINDOW | WODI | Window, interior wood |  | C/S/Arch
XFCART | CART | Cart for transfer of nuclear materials | LANL | Mobile Eq
XFMR | XFIH | Transformer, Induction Heating
XFMR | XFMR | Transformer (LV, 480 or less) (use this for the transformer portion of a combo xfmr and panel, e.g. Mini-Power Zone units) | 803.1 | Elec
XFMR | XFRD | Transformer, distribution (MV) | LANL | Elec
XFMR | XFRP | Transformer, power (HV) | LANL | El Util Dwgs
XFMR | XFRR | Transformer, rectifier | LANL | Elec
XMTR | AIT | Transmitter, indicating, analyzer | 5.1 | I&C
XMTR | ART | Transmitter, recording, analyzer | 5.1 | I&C
XMTR | AT | Transmitter, analyzer | 5.1 | I&C
XMTR | BIT | Transmitter, indicating, burner | 5.1 | I&C
XMTR | BRT | Transmitter, recording, burner | 5.1 | I&C
XMTR | BT | Transmitter, burner | 5.1 | I&C
XMTR | CIT | Transmitter, indicating, conductivity | 5.1 | I&C
XMTR | CT | Transmitter, conductivity | 5.1 | I&C
XMTR | EIT | Transmitter, indicating, voltage | 5.1 | I&C
XMTR | ERT | Transmitter, recording, voltage | 5.1 | I&C
XMTR | ET | Transmitter, voltage | 5.1 | I&C
XMTR | FFT | Transmitter, flow, ratio | 5.1 | I&C
XMTR | FIT | Transmitter, indicating, flow | 5.1 | I&C
XMTR | FQIT | Transmitter, indicating, flow, quantity | 5.1 | I&C
XMTR | FQT | Transmitter, flow, totalizer | 5.1 | I&C
XMTR | FRT | Transmitter, recording, flow | 5.1 | I&C
XMTR | FT | Transmitter, flow | 5.1 | I&C
XMTR | IIT | Transmitter, indicating, current | 5.1 | I&C
XMTR | IRT | Transmitter, recording, current | 5.1 | I&C
XMTR | IT | Transmitter, current | 5.1 | I&C
XMTR | JIT | Transmitter, indicating, power | 5.1 | I&C
XMTR | JRT | Transmitter, recording, power | 5.1 | I&C
XMTR | JT | Transmitter, power | 5.1 | I&C
XMTR | JWHT | Transmitter, power, watt-hour | 5.1 | I&C
XMTR | KIT | Transmitter, indicating, time | 5.1 | I&C
XMTR | KQT | Transmitter, time, totalized | 5.1 | I&C
XMTR | KRT | Transmitter, recording, time | 5.1 | I&C
XMTR | KT | Transmitter, time | 5.1 | I&C
XMTR | LIT | Transmitter, indicating, level | 5.1 | I&C
XMTR | LRT | Transmitter, recording, level | 5.1 | I&C
XMTR | LT | Transmitter, level | 5.1 | I&C
XMTR | MIT | Transmitter, indicating, moisture | 5.1 | I&C
XMTR | MT | Transmitter, moisture | 5.1 | I&C
XMTR | PDIT | Transmitter, indicating, differential pressure | 5.1 | I&C
XMTR | PDRT | Transmitter, recording, differential pressure | 5.1 | I&C
XMTR | PDT | Transmitter, differential pressure | 5.1 | I&C
XMTR | PIT | Transmitter, indicating, pressure | 5.1 | I&C
XMTR | PRT | Transmitter, recording, pressure | 5.1 | I&C
XMTR | PT | Transmitter, pressure | 5.1 | I&C
XMTR | QIT | Transmitter, indicating, quantity | 5.1 | I&C
XMTR | QRT | Transmitter, recording, quantity | 5.1 | I&C
XMTR | QT | Transmitter, quantity | 5.1 | I&C
XMTR | RIT | Transmitter, indicating, radiation | 5.1 | I&C
XMTR | RRT | Transmitter, recording, radiation | 5.1 | I&C
XMTR | RT | Transmitter, radiation | 5.1 | I&C
XMTR | SIT | Transmitter, indicating, speed | 5.1 | I&C
XMTR | SRT | Transmitter, recording, speed | 5.1 | I&C
XMTR | ST@ | Transmitter, speed | 5.1 | I&C
XMTR | TDIT | Transmitter, indicating, differential temperature | 5.1 | I&C
XMTR | TDRT | Transmitter, recording, differential temperature | 5.1 | I&C
XMTR | TDT | Transmitter, differential temperature | 5.1 | I&C
XMTR | TIT | Transmitter, indicating, temperature | 5.1 | I&C
XMTR | TRT | Transmitter, recording, temperature | 5.1 | I&C
XMTR | TT | Transmitter, temperature | 5.1 | I&C
XMTR | VIT | Transmitter, indicating, vibration | 5.1 | I&C
XMTR | VRT | Transmitter, recording, vibration analysis | 5.1 | I&C
XMTR | VT | Transmitter, vibration | 5.1 | I&C
XMTR | WDIT | Transmitter, indicating, force differential | 5.1 | I&C
XMTR | WDRT | Transmitter, recording, force differential | 5.1 | I&C
XMTR | WDT | Transmitter, force differential | 5.1 | I&C
XMTR | WIT | Transmitter, indicating, weight or force | 5.1 | I&C
XMTR | WRT | Transmitter, recording, weight or force | 5.1 | I&C
XMTR | WT | Transmitter, weight or force | 5.1 | I&C
XMTR | XIT | Transmitter, indicating, special | 5.1 | I&C
XMTR | XT | Transmitter, special | 5.1 | I&C
XMTR | YT | Transmitter, presence or state | 5.1 | I&C
XMTR | ZDIT | Transmitter, indicating, deviation | 5.1 | I&C
XMTR | ZDRT | Transmitter, recording, deviation | 5.1 | I&C
XMTR | ZDT | Transmitter, deviation | 5.1 | I&C
XMTR | ZIT | Transmitter, indicating, position | 5.1 | I&C
XMTR | ZRT | Transmitter, recording, position | 5.1 | I&C
XMTR | ZT | Transmitter, zone or position | 5.1 | I&C
XMTR | 77 | Transmitter, Pulse | 803.1 | El Util Dwgs
XRAY | XRAY | X-ray (security or process) | 803.1 | M&TE