## Type and Subtype
Type | Type Name | Subtype | Subtype Name | Origin | Primary Discipline
ACTUAT | Actuator | ACTA | Air | LANL | Mech
ACTUAT | Actuator | ACTE | Electrical | LANL | Mech
ACTUAT | Actuator | ACTR | Generic | ASME | Mech
ADA | American Disabilities Act | LWI | Lift, Wheelchair, Inclined | LANL | C/S/Arch
ADA | American Disabilities Act | LWV | Lift, Wheelchair, Vertical | LANL | C/S/Arch
ADA | American Disabilities Act | RAMP | Ramp (Bldg./sidewalk) | LANL | C/S/Arch
AED | Automated external defibrillator | AED | Automated external defibrillator | LANL | C/S/Arch
AGITR | Agitator | AGT | Agitator | 803.1 | Mech
AIRBOX | Airbox | ACB | Atmospheric Control Box | LANL | Mech
AIRBOX | Airbox | CAV | Constant Air Volume | LANL | Mech
AIRBOX | Airbox | FVAV | Variable Are Volume box w/ fan | LANL | Mech
AIRBOX | Airbox | VAV | Variable Air Volume | ASH4 | Mech
ALARM | Alarm | AA | Analyzer | 5.1 | I&C
ALARM | Alarm | AGA | Combustible Gas | LANL | I&C
ALARM | Alarm | ALC | Carbon Monoxide | LANL | I&C
ALARM | Alarm | ALM | Alarm | 803.1 | I&C
ALARM | Alarm | ANN | Annunciator | 803.1 | I&C
ALARM | Alarm | CALM | Alarm, Continuous Air Monitors | LANL | I&C
ALARM | Alarm | EA | Voltage | 5.1 | I&C
ALARM | Alarm | FA | Flow | 5.1 | I&C
ALARM | Alarm | HACP | HVAC Bldg. 030141 Only | LANL | I&C
ALARM | Alarm | IA | Current | 5.1 | I&C
ALARM | Alarm | JA | Power | 5.1 | I&C
ALARM | Alarm | LA | Level | 5.1 | I&C
ALARM | Alarm | LAHH | Level, High-High | 5.1 | I&C
ALARM | Alarm | MA | Moisture | 5.1 | I&C
ALARM | Alarm | MOA | Motor | 5.1 | I&C
ALARM | Alarm | NAA | Notification Appliance, Audio | 5.1 | I&C
ALARM | Alarm | NAAV | Notification Appliance, Audio and Visual | 5.1 | I&C
ALARM | Alarm | NAV | Notification Appliance, Visual | 5.1 | I&C
ALARM | Alarm | OIA | Oxygen, Indicating | 5.1 | I&C
ALARM | Alarm | OM | Oxygen, monitoring | 5.1 | I&C
ALARM | Alarm | PA | Pressure | 5.1 | I&C
ALARM | Alarm | PAH | Pressure, High | 5.1 | I&C
ALARM | Alarm | PAHH | Pressure, High-High | 5.1 | I&C
ALARM | Alarm | PAL | Pressure, Low | 5.1 | I&C
ALARM | Alarm | PALL | Pressure, Low-Low | 5.1 | I&C
ALARM | Alarm | PDA | Differential Pressure | 5.1 | I&C
ALARM | Alarm | RA | Radiation | 5.1 | I&C
ALARM | Alarm | RLT | Access, Red-light | LANL | I&C
ALARM | Alarm | SA | Speed | 5.1 | I&C
ALARM | Alarm | TA | Temperature | 5.1 | I&C
ALARM | Alarm | TAHH | Temperature, High-High | 5.1 | I&C
ALARM | Alarm | VA | Vibration | 5.1 | I&C
ALARM | Alarm | VAHH | Vibration, High-High | 5.1 | I&C
ALARM | Alarm | XA | Special | 5.1 | I&C
ALARM | Alarm | ZA | Zone or Position | 5.1 | I&C
ANCHOR | Anchor | ANCR | Wall, Ceiling, Floor etc. | LANL | C/S/Arch
ANLYZR | Analyzer | AE | Analytical Instrument | LANL | I&C
ANLYZR | Analyzer | AO | Oxygen (Used here as oxygen analyzer and controller, preferred to use MONITR/OM) | LANL | I&C
ANLYZR | Analyzer | AW | Well | 5.1 | I&C
ANLYZR | Analyzer | IN | Generic (RLUOB only) | LANL | I&C
ANLYZR | Analyzer | RGA | Residual Gas | LANL | Process
ANLYZR | Analyzer | SPEC | Mass Spectrometer or other | LANL | M&TE
ANLYZR | Analyzer | XRD | X-ray Powder Diffraction | LANL | M&TE
ANLYZR | Analyzer | XRF | X-ray Fluorescence Spectrometer | LANL | M&TE
APLNCE | Appliance | CDRY | Household Dryer | LANL | Mech
APLNCE | Appliance | DSHW | Dish/glass washer/sterilizer | LANL | Mech
APLNCE | Appliance | FRZR | Freezer | LANL | Mech
APLNCE | Appliance | IMKR | Ice Maker | LANL | C/S/Arch
ARPLT | Armor Plate | ARPL | Armor Plate (e.g. ceiling) | ASME | C/S/Arch
ASMBLY | Assembly | ASSY | Assembly | ASME | Mech
BARR | Barrier | BARM | Moister | LANL | C/S/Arch
BARR | Barrier | BARR | Rail, bollard, gate, etc. | ASME | C/S/Arch
BARR | Barrier | FIRE | Fire Barrier | LANL | C/S/Arch
BARR | Barrier | GE | Electric Gate | LANL | C/S/Arch
BARR | Barrier | GH | Hydraulic Gate | LANL | C/S/Arch
BARR | Barrier | RBE | Electric Road Block | LANL | BARR
BARR | Barrier | RBH | Hydraulic Road Block | LANL | C/S/Arch
BASIN | Basin | BSIN | Pools at Otowi, Berms | LANL | C/S/Arch
BATH | Bath | CRB | Circulator/heated/fridge | LANL | C/S/Arch
BATH | Bath | CTB | Constant Temperature | LANL | C/S/Arch
BATH | Bath | DBH | Density | LANL | C/S/Arch
BATTRY | Battery | BB | Bank of Batteries | LANL | Elec
BATTRY | Battery | BTRY | Battery/Battery Box | 803.1 | Elec
BATTRY | Battery | CB | Battery Charger | LANL | Elec
BDGRDR | Badge Reader | RDR | Reader | 803.1 | I&C
BEAM | Beam | BEAM | All Type and Material | LANL | C/S/Arch
BERM | Berm | BERM | Border that controls leaks/etc. | LANL | C/S/Arch
BLDG | Building | BLDG | Trailers, sheds, etc. | 803.1 | C/S/Arch
BLDG | Building | EDS | Electrical Distribution System | 803.1 | Elec
BLOCK | Block | TBLK | Electrical Terminal | ASME | I&C
BLOWER | Blower | BL | Blower | LANL | Mech
BLOWER | Blower | BV | Vacuum | LANL | Mech
BOILER | Boiler | BHW | Hot Water | LANL | Mech
BOILER | Boiler | BS | Steam | LANL | Mech
BOILER | Boiler | BWS | Water Supply | LANL | Mech
BOX | Box | FTB | Field Termination | LANL | Security
BOX | Box | JBOX | Junction | LANL | Elec
BRIDGE | Bridge | BRDG | Bridge | ASME | C/S/Arch
BUSDCT | Bus Duct | DBD | Bus Duct (aboveground) | LANL | Elec
BUSDCT | Bus Duct | DBPL | Bus Plug | LANL | Elec
CABNET | Cabinet | CAB | Cabinet (include Control) | 803.1 | Elec
CAMERA | Camera | CAMR | Camera | LANL | Process
CANOPY | Canopy | CNPY | Canopy | LANL | C/S/Arch
CAPCTR | Capacitor | CAP | Non-pad Mounted | 803.1 | Elec
CAPCTR | Capacitor | CPMD | Pad Mounted | LANL | Elec
CEILNG | Ceiling | FNSH | Finish | LANL | C/S/Arch
CENT | Centrifuge | CENT | Centrifuge | LANL | Projects
CHMBR | Chamber | CMBR | Chamber | ASME | Process
CKTBKR | Circuit Breaker | 6 | Starting | 803.1 | El Util Dwgs
CKTBKR | Circuit Breaker | 7 | Anode | 803.1 | El Util Dwgs
CKTBKR | Circuit Breaker | 22 | Equalizer | 803.1 | El Util Dwgs
CKTBKR | Circuit Breaker | 41 | Field | 803.1 | El Util Dwgs
CKTBKR | Circuit Breaker | 42 | Running | 803.1 | El Util Dwgs
CKTBKR | Circuit Breaker | 52 | AC | 803.1 | El Util Dwgs
CKTBKR | Circuit Breaker | 72 | DC | 803.1 | El Util Dwgs
CKTBKR | Circuit Breaker | CBA | Air (MV or HV) | LANL | El Util Dwgs
CKTBKR | Circuit Breaker | CBE | Enclosed | LANL | Elec
CKTBKR | Circuit Breaker | CBG | Gas (MV or HV) | LANL | Elec
CKTBKR | Circuit Breaker | CBO | Oil (MV or HV) | LANL | El Util Dwgs
CKTBKR | Circuit Breaker | CBV | Vacuum (MV or HV) | LANL | Elec
CKTBKR | Circuit Breaker | GFCI | Ground Fault Interrupter | NEC | Elec
CKTBKR | Circuit Breaker | ICCB | Insulated Case (LV swbd) | 1015 | Elec
CKTBKR | Circuit Breaker | LVCB | Low Voltage Power | 1015 | Elec
CKTBKR | Circuit Breaker | MCCB | Molded Case (pnlbd/ swbd) | 1015 | Elec
CLLCTR | Collector | CD | Dust | LANL | Shop
CLLCTR | Collector | COL | Collector (e. drip/catch pan) | 803.1 | Mech
CLNOUT | Cleanout | CO | Cleanout | ASPE | Mech
CMPCTR | Compactor | ERTH | Earth, Asphalt, etc. | 803.1 | Mech
CMPCTR | Compactor | TRSH | Trash | 803.1 | Mech
CNECTR | Connector | CONN | Connector or Coupling | LANL | Mech
CNECTR | Connector | PSX | Flexible (e. hose) | LANL | Mech
CNTCTR | Contactor | 4 | Master | 803.1 | El Util Dwgs
CNTCTR | Contactor | 19 | Start-Running Transition | 803.1 | El Util Dwgs
CNTCTR | Contactor | 29 | Isolating | 803.1 | El Util Dwgs
CNTCTR | Contactor | 73 | Load-Resistor | 803.1 | El Util Dwgs
CNTCTR | Contactor | 93 | Field Changing | 803.1 | El Util Dwgs
CNTCTR | Contactor | CNTR | Contactor | 803.1 | Elec
CNTLR | Controller | AC | Analyzer | 5.1 | I&C
CNTLR | Controller | BC | Burner | 5.1 | I&C
CNTLR | Controller | CNLR | Controller | LANL | I&C
CNTLR | Controller | CPF | Pneumatic Flow | LANL | I&C
CNTLR | Controller | FC@ | Flow | 5.1 | I&C
CNTLR | Controller | FCO | Flow Control Operator (specific type of flow controller in TA16 on steam supplied heaters) | LANL | I&C
CNTLR | Controller | FIC | Flow Indicating | 5.1 | I&C
CNTLR | Controller | IOM | Remote I/O Adaptor Mod | LANL | I&C
CNTLR | Controller | JC | Power | 5.1 | I&C
CNTLR | Controller | KC | Time | 5.1 | I&C
CNTLR | Controller | LC | Level | 5.1 | I&C
CNTLR | Controller | LIC | Indicating, Level | 5.1 | I&C
CNTLR | Controller | MOTR | Motor | 5.1 | I&C
CNTLR | Controller | PC@ | Pressure | 5.1 | I&C
CNTLR | Controller | PDC | Differential Pressure | 5.1 | I&C
CNTLR | Controller | PDIC | Indicate Differential Pressure | 5.1 | I&C
CNTLR | Controller | PIC | Indicating Pressure | 5.1 | I&C
CNTLR | Controller | PLC | Programmable Logic | ASME | I&C
CNTLR | Controller | RTU | Remote Terminal Unit | LANL | I&C
CNTLR | Controller | SIC | Speed, Indicating | 5.1 | I&C
CNTLR | Controller | TC@ | Temperature | 5.1 | I&C
CNTLR | Controller | TH | Thermostat | 803.1 | I&C
CNTLR | Controller | TIC | Indicating, Temperature | 5.1 | I&C
CNTLR | Controller | TRC@ | Recording Temperature | 5.1 | I&C
CNTLR | Controller | VFD | Drive, Variable Frequency | LANL | Elec
CNTLR | Controller | XC | Special | 5.1 | I&C
CNTLR | Controller | YC | Presence or State | 5.1 | I&C
CNTLR | Controller | YIC | Indicate Presence or State | 5.1 | I&C
CNTLR | Controller | ZC | Zone or Position | 5.1 | I&C
COLUMN | Column | COL | Structural Column | LANL | C/S/Arch
COMM | Communication | CHAS | Chassis (Ethernet) | LANL | I&C
COMM | Communication | COMX | Special | LANL | I&C
COMM | Communication | ICOM | Intercom | 803.1 | I&C
COMM | Communication | MIKE | Microphone | 803.1 | I&C
COMM | Communication | MIX | Mixer (e. PA) | 803.1 | Elec
COMM | Communication | MUX | Multiplexer | ASME | I&C
COMM | Communication | OUT | Outlet, Non-telephone | 803.1 | Elec
COMM | Communication | SPK | Speaker | 803.1 | Elec
COMM | Communication | TEL | Telecom, data jack, phone | 803.1 | Elec
COMM | Communication | TELE | Television | 803.1 | Elec
COMM | Communication | TRNK | Trunked Radio | LANL | I&C
COMPR | Compressor | CA | Air | LANL | Mech
COMPR | Compressor | CMPR | Compressor | ASME | Mech
COMPTR | Computer | CPU | Central Processing Unit | 803.1 | I&C
COMPTR | Computer | CRT | Terminal, cathode, solid state | 803.1 | I&C
COMPTR | Computer | KYBD | Keyboard | ASME | I&C
CONDSR | Condenser | CDN | Condensate Neutralizer | 803.1 | Mech
CONDSR | Condenser | COND | Condenser (process/steam) | 803.1 | Mech
CONDSR | Condenser | CTE | Turbine Exhaust | LANL | Mech
CONTMT | Containment | DB | Drop Box | LANL | Mech
CONTMT | Containment | FH | Fume Hood | LANL | Mech
CONTMT | Containment | GB | Glovebox | LANL | Mech
CONTMT | Containment | GLV | Glove Component | LANL | Mech
CONTMT | Containment | OF | Open Front Hood | LANL | Mech
CONTMT | Containment | SEAL | Seal (or Gasket) | LANL | Process
CONTMT | Containment | SUMP | Secondary Containment | LANL | Process
CONTMT | Containment | XB | Introductory/Exchange | LANL | Mech
CONTNR | Container | 110G | 110 Gallon Drum | LANL | Process
CONTNR | Container | 55G | 55 Gallon Drum | LANL | Process
CONTNR | Container | 85G | 85 Gallon Drum | LANL | Process
CONTNR | Container | CONT | Container | LANL | Process
CONTNR | Container | PIPE | Pipe | LANL | Process
CONTNR | Container | SWB | Standard Waste Box | LANL | Process
CONTNR | Container | TDOP | Ten Drum Over pack | LANL | Process
CONTNR | Container | TRAY | Tray | LANL | Process
CONTNR | Container | TRUP | TRUPACT-II, HALFPACT | LANL | Process
CONVEY | Conveyor | CVVR | Conveyor or Feeder (belt/auger/vibratory, etc.) | 803.1 | Mech
CONVRT | Converter | CNV | Converter | 803.1 | I&C
COOLER | Cooler | CRYO | Cooler/Cryocooler | LANL | MECH
COOLER | Cooler | WCR | Water (drinking fountains) | ASME | Mech
CRACK | Crack | CRCK | Crack/fissure in Confinement Structure Covers any penetration in containment structure not by design. Design penetrations covered by WCFD. | LANL | Mech
CRANE | Crane | CJ | Jib | LANL | C/S/Arch
CRANE | Crane | CM | Monorail | LANL | C/S/Arch
CRANE | Crane | CRNE | Mobile, Fixed Crane | LANL | Mobile Eq
CRANE | Crane | CTG | Gantry | LANL | C/S/Arch
CRANE | Crane | CTO | Bridge | LANL | C/S/Arch
CRUC | Crucible | CRUC | Crucible | LANL | Process
CURB | Curbing | CURB | Asphalt/Concrete | LANL | C/S/Arch
CVDSPH | CVD Sphere | CVDS | CVD sphere design | LANL | Mech
CYLNDR | Cylinder | CYL | Cylinder (gas, hydraulic, air) | ASME | Mech
DAMPER | Damper | BDD | Backdraft | LANL | Fire Prot
DAMPER | Damper | DF | Fire | LANL | Fire Prot
DAMPER | Damper | DMP | Damper | 803.1 | Mech
DAMPER | Damper | DMPM | Motorized | 803.1 | Mech
DAMPER | Damper | DS | Smoke | LANL | Fire Prot
DAMPER | Damper | DV | Volume | 803.1 | Mech
DAQ | Data Acquisition | DAQ | Data Acquisition | LANL | I&C
DECK | Deck | DECK | Deck (bridge, roof) | LANL | C/S/Arch
DEVICE | Device | 5 | Stopping | 803.1 | El Util Dwgs
DEVICE | Device | 8 | Control Power Disconnecting | 803.1 | El Util Dwgs
DEVICE | Device | 9 | Reversing | 803.1 | El Util Dwgs
DEVICE | Device | 12 | Over speed | 803.1 | El Util Dwgs
DEVICE | Device | 13 | Synchronous Speed | 803.1 | El Util Dwgs
DEVICE | Device | 14 | Under speed | 803.1 | El Util Dwgs
DEVICE | Device | 15 | Speed, Frequency Matching | 803.1 | El Util Dwgs
DEVICE | Device | 23 | Temperature Control | 803.1 | El Util Dwgs
DEVICE | Device | 26 | Apparatus Thermal | 803.1 | El Util Dwgs
DEVICE | Device | 31 | Separate Excitation | 803.1 | El Util Dwgs
DEVICE | Device | 34 | Master Sequence | 803.1 | El Util Dwgs
DEVICE | Device | 35 | Brush-Operating/Slip-Ring | 803.1 | El Util Dwgs
DEVICE | Device | 36 | Polarity/Polarizing Voltage | 803.1 | El Util Dwgs
DEVICE | Device | 38 | Bearing Protective | 803.1 | El Util Dwgs
DEVICE | Device | 43 | Manual Trans/Select | 803.1 | El Util Dwgs
DEVICE | Device | 57 | Short-Circuiting or Grounding | 803.1 | El Util Dwgs
DEVICE | Device | 66 | Notching or Jogging | 803.1 | El Util Dwgs
DEVICE | Device | 69 | Control, Permissive | 803.1 | El Util Dwgs
DEVICE | Device | 18A | Accelerating | 803.1 | El Util Dwgs
DEVICE | Device | 18D | Decelerating | 803.1 | El Util Dwgs
DEVICE | Device | NCD | Network Communication | LANL | I&C
DEVICE | Device | PSD | Phase Shifting Device | 803.1 | Elec
DEVICE | Device | RTD | Reagent/Remote Transfer Device | LANL | Process
DEWAR | Dewar | DEWR | Dewar | LANL | Mech
DIFUSR | Diffuser | DAB | Aeration Basin | LANL | Mech
DIFUSR | Diffuser | GRD | HVAC Grille/Register/Diff/etc. | LANL | Mech
DIFUSR | Diffuser | PUMP | Pump | LANL | Mech
DISP | Display | DISP | Display Screen | LANL | I&C
DMIST | Demister | DMST | Demister | 803.1 | Process
DOOR | Door | CONF | Radiological Confinement | LANL | C/S/Arch
DOOR | Door | DAC | Air Curtain | LANL | C/S/Arch
DOOR | Door | DAL | Airlock | LANL | C/S/Arch
DOOR | Door | DM | Motorized (hinged doors) | LANL | C/S/Arch
DOOR | Door | DR | Door | 803.1 | C/S/Arch
DOOR | Door | DRB | Blast Resistant | LANL | C/S/Arch
DOOR | Door | DRE | Roll-up Electric | LANL | C/S/Arch
DOOR | Door | DRH | Hydraulically Operated | LANL | C/S/Arch
DOOR | Door | DRM | Roll-up Manuel | LANL | C/S/Arch
DOOR | Door | DRP | Pneumatically Operated | LANL | C/S/Arch
DOOR | Door | FDC | Structural Fire | LANL | Fire Prot
DOOR | Door | FDE | Electrical Fire | LANL | Fire Prot
DOOR | Door | FDF | Mechanical Fire | LANL | Fire Prot
DOOR | Door | MRNE | Marine | LANL | C/S/Arch
DOOR | Door | RLSE | Magnetic Release | LANL | C/S/Arch
DOOR | Door | SLDG | Sliding | LANL | C/S/Arch
DOOR | Door | SP | Shield Plug | LANL | C/S/Arch
DOOR | Door | STRK | Strike | LANL | Security
DRAIN | Drain | DRN | Drain | 803.1 | Mech
DRAIN | Drain | FD | Floor | ASME | Mech
DRAWER | Drawer | DWR | Drawer | ASME | C/S/Arch
DRIVE | Drive | DFL | Fluid | LANL | Mech
DRPTWR | Drop Tower | DROP | Drop Tower | LANL | Projects
DRYER | Dryer | DAD | Air, Desiccant | LANL | Mech
DRYER | Dryer | DAR | Air, Refrigerant | LANL | Mech
DRYER | Dryer | DDT | Catalyst | LANL | Process
DRYER | Dryer | DGR | Gas, Refrigerant | LANL | Mech
DSCNCT | Disconnect | DHO | Hand-operated | LANL | El Util Dwgs
DSCNCT | Disconnect | DMO | Motor-operated | LANL | El Util Dwgs
EDUCTR | Eductor | EDUC | Eductor | LANL | Mech
EJECTR | Ejector | AES | Air-ejector, Steam | LANL | Mech
ELECRN | Elecrn | AMP | Amplifier | 803.1 | Elec
ELECRN | Elecrn | ATT | Attenuator- Sound, etc. | 803.1 | Mech
ENCL | Enclosure | ENC | Box Enclosure | LANL | Mech
EVAP | Evaporator | EVP | Evaporator | 803.1 | Process
EXPJNT | Expansion Joint | EXJT | Expansion Joint(piping, bridge) | ASME | Mech
FAN | Fan | FAN | Fan | 803.1 | Mech
FAN | Fan | FB | Booster | LANL | Mech
FAN | Fan | FC | Circulating | LANL | Mech
FAN | Fan | FCD | Condenser | LANL | Mech
FAN | Fan | FCT | Cooling Tower | LANL | Mech
FAN | Fan | FE | Exhaust | LANL | Mech
FAN | Fan | FEH | Exhaust, Fume Hood | LANL | Mech
FAN | Fan | FFU | Filter Unit | LANL | Mech
FAN | Fan | FGR | Flue Gas Recirculation | LANL | Mech
FAN | Fan | FRA | Return or Recirculation | LANL | Mech
FAN | Fan | FS | Supply | LANL | Mech
FENCE | Fence | CAGE | Cage (wire/fence, restrain) | LANL | C/S/Arch
FENCE | Fence | FEN | Fence | LANL | C/S/Arch
FILTER | Filter | FAB | Air, Bag/Box | LANL | Mech
FILTER | Filter | FAC | Air, Cleanable | LANL | Mech
FILTER | Filter | FAF | Air, Fire | LANL | Mech
FILTER | Filter | FAH | Air, HEPA (or gas) | LANL | Mech
FILTER | Filter | FAL | Air, Charcoal | LANL | Mech
FILTER | Filter | FAM | Air, Mat | LANL | Mech
FILTER | Filter | FAP | Air, Pad | LANL | Mech
FILTER | Filter | FAR | Air, Replaceable (roughing) | LANL | Mech
FILTER | Filter | FES | Air, Electrostatic | LANL | Mech
FILTER | Filter | FF | Frame | LANL | Mech
FILTER | Filter | FLC | Cartridge or Canister | LANL | Mech
FILTER | Filter | FLT | Generic | 803.1 | Mech
FILTER | Filter | FO | Oil | LANL | Mech
FILTER | Filter | FRL | Roll | LANL | Mech
FILTER | Filter | HEPU | HEPA, Portable unit/vacuum | LANL | Mobile Eq
FILTER | Filter | MIST | Filter, Mist | LANL | Mech
FILTER | Filter | SCR | Strainer | LANL | Mech
FILTER | Filter | SG | Shaker, Graphite | LANL | Shop
FIRDET | Fire Detector | BSP | Booster Power Supply | LANL | Fire Prot
FIRDET | Fire Detector | FCP | Control, Panel, Fire Alarm | 170 | Fire Prot
FIRDET | Fire Detector | FCPB | Battery, Fire Control Panel | LANL | Fire Prot
FIRDET | Fire Detector | HCP | Halon, Control, Panel | 170 | Fire Prot
FIRDET | Fire Detector | HD | Heat (XTS Preferred) | LANL | Fire Prot
FIRDET | Fire Detector | HSSD | High Sensitivity, Smoke | N'A318 | Fire Prot
FIRDET | Fire Detector | MOD | Module, Control Panel | 170 | Fire Prot
FIRDET | Fire Detector | PBX | Pull, Box | 803.1 | Fire Prot
FIRDET | Fire Detector | SMD | Smoke | LANL | Fire Prot
FIRDET | Fire Detector | XHS | Pull Station (TA-55 only) | LANL | Fire Prot
FIRDET | Fire Detector | XTS | Heat (XTS Preferred) | 5.1 | Fire Prot
FIRSUP | Fire Suppression | AFD | Actuator, Fire Device | LANL | Fire Prot
FIRSUP | Fire Suppression | EXS | Extinguish System, Gas/Halon | LANL | Fire Prot
FIRSUP | Fire Suppression | EXT | Extinguisher | LANL | Fire Prot
FIRSUP | Fire Suppression | FCLD | Extinguishing Agent Class D | NFPA10 | Fire Prot
FIRSUP | Fire Suppression | FDC@ | Fire Department Connection | 170mod | Fire Prot
FIRSUP | Fire Suppression | FSDC | Dry Chemical | LANL | Fire Prot
FIRSUP | Fire Suppression | FSWC | Wet Chemical | LANL | Fire Prot
FIRSUP | Fire Suppression | FSWF | Wet Foam | LANL | Fire Prot
FIRSUP | Fire Suppression | FSWP | Wet Foam Pre-action | LANL | Fire Prot
FIRSUP | Fire Suppression | HOSE | Hose Station | LANL | Fire Prot
FIRSUP | Fire Suppression | HYD | Hydrant | 803.1 | Fire Prot
FIRSUP | Fire Suppression | MISC | Miscellaneous | LANL | Fire Prot
FIRSUP | Fire Suppression | OSY | Valve, Outside Screw & Yoke | ASME | Fire Prot
FIRSUP | Fire Suppression | PFP | Pump, Fire Protection | LANL | Fire Prot
FIRSUP | Fire Suppression | PIV | Post Indicating Valve There are no PIVA's (an internally alarmed PIV) Some PIV's have an external position switch that initiates an alarm. These switches would be a "component" of the PIV. | LANL | Fire Prot
FIRSUP | Fire Suppression | SPA | Sprinkler, Pre-action | LANL | Fire Prot
FIRSUP | Fire Suppression | SPD | Sprinkler, Dry Pipe | LANL | Fire Prot
FIRSUP | Fire Suppression | SPDA | Sprinkler, Dry/Pre-action comb. | LANL | Fire Prot
FIRSUP | Fire Suppression | SPDL | Sprinkler, Deluge | LANL | Fire Prot
FIRSUP | Fire Suppression | SPF | Sprinkler, Anti-freeze | LANL | Fire Prot
FIRSUP | Fire Suppression | SPH | Standpipe | LANL | Fire Prot
FIRSUP | Fire Suppression | SPHD | Standpipe, Dry (Manual) | LANL | Fire Prot
FIRSUP | Fire Suppression | SPW | Sprinkler, Wet Pipe | LANL | Fire Prot
FIRSUP | Fire Suppression | SRNK | Sprinkler (Head) | LANL | Fire Prot
FIRSUP | Fire Suppression | TSE | Temperature, Safety Device | LANL | Fire Prot
FIRSUP | Fire Suppression | VBH | Block Hydrant | LANL | Fire Prot
FIRSUP | Fire Suppression | VENT | Exh Ventilation 550001 only | LANL | Fire Prot
FIRSUP | Fire Suppression | XBYP | Fire Riser Trim Bypass Valve | LANL | Fire Prot
FIRSUP | Fire Suppression | XFC | Sprinkler Standpipe Fill Cup | LANL | Fire Prot
FIRSUP | Fire Suppression | XFS | Flow Switch | LANL | Fire Prot
FIRSUP | Fire Suppression | XHOV | Hand Operated Valve | LANL | Fire Prot
FIRSUP | Fire Suppression | XPI | Pressure Indicator | LANL | Fire Prot
FIRSUP | Fire Suppression | XPS | Pressure Switch | LANL | Fire Prot
FIRSUP | Fire Suppression | XSR | Riser, Shotgun (aka Straight Pipe Riser) | LANL | Fire Prot
FIRSUP | Fire Suppression | XV | Trim Isolation/Test Valve | LANL | Fire Prot
FIRSUP | Fire Suppression | XVAC | Valve, Alarm Check | LANL | Fire Prot
FIRSUP | Fire Suppression | XVCK | Valve, Check (Do not use, here to cover legacy records only) | LANL | Fire Prot
FIRSUP | Fire Suppression | XVIT | Valve, Inspector's Test | LANL | Fire Prot
FIRSUP | Fire Suppression | XVMD | Valve, Main Drain | LANL | Fire Prot
FIRSUP | Fire Suppression | XVV | Valve, Air Vent | LANL | Fire Prot
FIRSUP | Fire Suppression | XWMG | Water Motor Gong | LANL | Fire Prot
FIRSUP | Fire Suppression | XZS | Tamper Switch | LANL | Fire Prot
FIXTUR | Fixture | FXTR | Generic for Holding Device | ASME | Process
FLASHR | Flasher | FLSR | Flasher | LANL | I&C
FLOOR | Floor | CNST | Construction | LANL | C/S/Arch
FLOOR | Floor | FNSH | Finish | LANL | C/S/Arch
FOOTER | Footer | CNST | Construction for Walls | LANL | C/S/Arch
LFRAME | Load Frame | FRAM | Load Frame | LANL | Projects
FRKLFT | Forklift | FRKE | Forklift, Electric | LANL | Mobile Eq
FRKLFT | Forklift | FRKF | Forklift, Fueled (gasoline, diesel, propane, etc.) | LANL | Mobile Eq
FURNSH | Furnishing | FRNS | Furnishings | LANL | I&C
FUSE | Fuse | FU | Fuse | 803.1 | Elec
GENRTR | Generator | 88 | Auxiliary Motor or Motor | 803.1 | El Util Dwgs
GENRTR | Generator | EXC | Exciter | 803.1 | Elec
GENRTR | Generator | GDE | Diesel Engine | LANL | Elec
GENRTR | Generator | GEN | Generator, generic (Use specific acronym when possible) | 803.1 | Elec
GENRTR | Generator | GNE | Natural Gas Engine | LANL | Elec
GENRTR | Generator | GSE | Steam Driven | LANL | Elec
GENRTR | Generator | MG | Motor | 803.1 | Elec
GENRTR | Generator | PMG | Permanent Magnet | 803.1 | Elec
GENRTR | Generator | RLB | Resistance, Load Bank | LANL | Elec
HATCH | Hatch | HTCH | Hatch | LANL | C/S/Arch
HEATER | Heater | ELEM | Element | ASME | Elec
HEATER | Heater | FGF | Furnace, Gas Fired | LANL | Mech
HEATER | Heater | HDA | Deaerating | LANL | Mech
HEATER | Heater | HDE | Duct, Electric | LANL | Mech
HEATER | Heater | HDG | Duct, Gas | LANL | Mech
HEATER | Heater | HFH | Feed Water, High pressure | LANL | Mech
HEATER | Heater | HFI | Feed Water, Intermediate pressure | LANL | Mech
HEATER | Heater | HFL | Feed Water, Low pressure | LANL | Mech
HEATER | Heater | HPLT | Hot Plate | LANL | Process
HEATER | Heater | HSE | Unit, Air, Steam-electric | LANL | Mech
HEATER | Heater | HTE | Tank, Electric | LANL | Mech
HEATER | Heater | HTR | Heater (e. Electric Element) | ASME | Process
HEATER | Heater | HUE | Unit, Air, Electric | LANL | Mech
HEATER | Heater | HUG | Unit, Air, Gas | LANL | Mech
HEATER | Heater | HUI | Unit, Air, Infrared | LANL | Mech
HEATER | Heater | HUS | Unit, Air, Steam | LANL | Mech
HEATER | Heater | HUW | Unit, Air, Water | LANL | Mech
HEATER | Heater | HWE | Water, Electric | LANL | Mech
HEATER | Heater | HWG | Water, Gas | LANL | Mech
HEATER | Heater | HWS | Water, Steam | LANL | Mech
HEATER | Heater | PLTE | Light, Pilot | ASME | Mech
HEATER | Heater | TRCE | Trace, Freeze Protection | LANL | Mech
HOA | Horizontal Air Bearing | HOA | Horizontal Air Bearing | LANL | Projects
HOIST | Hoist/Winch | HE | Electric | LANL | C/S/Arch
HOIST | Hoist/Winch | HM | Manual | LANL | C/S/Arch
HOIST | Hoist/Winch | HP | Pneumatic/Hydraulic | LANL | C/S/Arch
HOIST | Hoist/Winch | HST | TA 55 Only | ASME | C/S/Arch
HOTC | Hot Cell | HTC | Hot Cell | LANL | Mech
HUMID | Humidifier | DHM | Dehumidifier | LANL | Mech
HUMID | Humidifier | HAS | Air, Steam | LANL | Mech
HUMID | Humidifier | HAW | Air, Water | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | ACR | Air Condition, Refrigerant | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | ACW | Air Condition, Window Unit | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | AHU | Air Handling Unit | 803.1 | Mech
HVAC | Heating, Ventilation, Air Condition | BSU | Branch Selector Unit | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | CAE | Cooler, Air, Evaporative | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | CAW | Cooler, Air, Water | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | CCE | Coil, Cooling, Evaporative | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | CCG | Coil, Cooling, Glycol | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | CCL | Coil, Cooling | 803.1 | Mech
HVAC | Heating, Ventilation, Air Condition | CR | Compressor, Refrigerant | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | CRA | Condenser, Refrigerant, Air-cooled | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | CRAC | Computer Room Air Condition | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | CRE | Condenser, Refrigerant, Evaporative | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | CWA | Chiller, Water, Absorption | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | CWE | Chiller, Water, Evaporative | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | CWR | Chiller, Water, Refrigerant | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | DUCT | Ventilation Duct | 803.1 | Mech
HVAC | Heating, Ventilation, Air Condition | ERV | Energy Recovery Ventilator | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | FCU | Coil Unit | 803.1 | Mech
HVAC | Heating, Ventilation, Air Condition | GBTC | Glovebox Thermal Condition | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | GRD | Grille, Register, Diffuser, Louver | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | HCL | Coil, Heating | 803.1 | Mech
HVAC | Heating, Ventilation, Air Condition | HVA | Heating Ventilation Air Condition | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | HVP | Heating Ventilation Plenum Frame | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | LVCW | Limited Volume Chilled Water (chiller, refrigerant, unique to F01) | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | LVCW | Limit Volume Circulation Chill Water | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | MAU | Makeup Air Unit | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | OAU | Outside Air Handling Unit | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | RUA | Refrigeration Unit, Air Cooled | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | SLW | Slinger, Water Spray | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | SYS | HVAC System for Entire Building | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | TRN | HVAC Train | LANL | Mech
HVAC | Heating, Ventilation, Air Condition | WA | Washer, Air | LANL | Mech
HX | Heat Exchanger | ACL | After cooler | LANL | Mech
HX | Heat Exchanger | DSH | Desuperheater | LANL | Elec
HX | Heat Exchanger | HX | Heat Exchanger | 803.1 | Mech
HX | Heat Exchanger | HXG | Glycol | LANL | Mech
HX | Heat Exchanger | HXO | Oil | LANL | Mech
HX | Heat Exchanger | HXR | Refrigerant | LANL | Mech
HX | Heat Exchanger | HXS | Steam | LANL | Mech
HX | Heat Exchanger | HXW | Water | LANL | Mech
HX | Heat Exchanger | ICLR | Intercooler | ASME | Mech
HYDRLC | Hydraulic | CYL | Cylinder | ASME | Mech
HYDRLC | Hydraulic | HYDS | System | LANL | Mech
IGNTR | Igniter | IGNT | Igniter | ASME | Process
INDCTR | Indicator | AI | Analyzer | 5.1 | I&C
INDCTR | Indicator | BI | Burner | 5.1 | I&C
INDCTR | Indicator | CI | Conductivity | 5.1 | I&C
INDCTR | Indicator | CW | Column, Water | LANL | Mech
INDCTR | Indicator | EI | Voltage | 5.1 | I&C
INDCTR | Indicator | FFI | Flow, Ratio | 5.1 | I&C
INDCTR | Indicator | FG | Sight Glass, Flow | 5.1 | I&C
INDCTR | Indicator | FI | Flow | 5.1 | I&C
INDCTR | Indicator | FQI | Flow, Totalized | 5.1 | I&C
INDCTR | Indicator | GI | Ground | 5.1 | I&C
INDCTR | Indicator | II | Current | 5.1 | I&C
INDCTR | Indicator | JI | Power | 5.1 | I&C
INDCTR | Indicator | KI | Time | 5.1 | I&C
INDCTR | Indicator | KQI | Time, Totalized | 5.1 | I&C
INDCTR | Indicator | LG | Sight Glass, Level | 5.1 | I&C
INDCTR | Indicator | LI | Level | 5.1 | I&C
INDCTR | Indicator | MDE | Measuring Device | 5.1 | I&C
INDCTR | Indicator | MI | Moisture | 5.1 | I&C
INDCTR | Indicator | OI | Oxygen | 5.1 | I&C
INDCTR | Indicator | PDI | Pressure Differential | 5.1 | I&C
INDCTR | Indicator | PHI | pH | 5.1 | I&C
INDCTR | Indicator | PI | Pressure | 5.1 | I&C
INDCTR | Indicator | QI | Quantity | 5.1 | I&C
INDCTR | Indicator | RI | Radiation | 5.1 | I&C
INDCTR | Indicator | SI | Speed | 5.1 | I&C
INDCTR | Indicator | SYN | Synchro scope | 803.1 | I&C
INDCTR | Indicator | TDI | Differential Temperature | 5.1 | I&C
INDCTR | Indicator | TI | Temperature | 5.1 | I&C
INDCTR | Indicator | UI | Multivariable | 5.1 | I&C
INDCTR | Indicator | VI | Vibration | 5.1 | I&C
INDCTR | Indicator | WDI | Force Differential | 5.1 | I&C
INDCTR | Indicator | WI | Weight or Force | 5.1 | I&C
INDCTR | Indicator | XI | Special | 5.1 | I&C
INDCTR | Indicator | YI | Presence or State | 5.1 | I&C
INDCTR | Indicator | ZDI | Deviation | 5.1 | I&C
INDCTR | Indicator | ZI | Zone or Position | 5.1 | I&C
INSTMT | Instrument | BAL | Balance or Scale | ASME | M&TE
INSTMT | Instrument | EG | Electro Corrector, Gas | LANL | M&TE
INSTMT | Instrument | IN | Instrument | LANL | I&C
INSTMT | Instrument | PLT | Plate | LANL | Process
INSTMT | Instrument | SAI | Solution Assay | LANL | I&C
INSUL | Insulation | BATT | Fiberglass Batt | 803.1 | C/S/Arch
INSUL | Insulation | RIGD | Rigid | 803.1 | C/S/Arch
INTRLK | Interlock | DIL | Door (Airlock) | 803.1 | C/S/Arch
JETPRI | Jet Priming | JCP | Jet, Condenser, Priming | LANL | Mech
JOIST | Joist | CNST | Construction | ASME | C/S/Arch
JOIST | Joist | IWD | I-Beam, wide flange | LANL | C/S/Arch
JOIST | Joist | K | K Series | LANL | C/S/Arch
JOIST | Joist | STL | Joist, steel | LANL | C/S/Arch
LADDER | Ladder | LADR | Ladder | 803.1 | C/S/Arch
LASER | Laser | LASR | Laser | ASME | Process
LASER | Laser | LIL | Interlock | 803.1 | C/S/Arch
LCHR | Launcher | LCHR | Launcher | ASME | Process
LIFT | Lift | DKLV | Dock Levelers | LANL | I&C
LIFT | Lift | DW | Dumbwaiter | ASME | Process
LIFT | Lift | EE | Elevator, Electric | LANL | C/S/Arch
LIFT | Lift | EH | Elevator, Hydraulic | ASME | C/S/Arch
LIFT | Lift | LFT | Lift | LANL | C/S/Arch
LIFT | Lift | MATL | Material | LANL | C/S/Arch
LIFT | Lift | PERS | Personnel | LANL | C/S/Arch
LIFTEQ | Lift Equipment | RGNG | Rigging | LANL | Mobile Eq
LIGHT | Lighting | FIXT | Fixture | LANL | Mobile Eq
LIGHT | Lighting | HALO | Halogen | ASME | C/S/Arch
LIGHT | Lighting | HPS | High Pressure Sodium | 803.1 | Elec
LIGHT | Lighting | LED | LED | ASME | C/S/Arch
LIGHT | Lighting | LF | Fluorescent | ASME | C/S/Arch
LIGHT | Lighting | LN | Incandescent | ASME | C/S/Arch
LIGHT | Lighting | LPS | Low Pressure Sodium | 803.1 | Elec
LIGHT | Lighting | LSP | Security Perimeter | LANL | Elec
LIGHT | Lighting | LTE | Emergency | LANL | Elec
LIGHT | Lighting | LTEC | Emergency/Exit Sign Combo | LANL | Elec
LIGHT | Lighting | LTET | Exit Sign, Tritium, etc. | LANL | Elec
LIGHT | Lighting | LTNT | Exit Sign, Lit (Non-tritium) | LANL | Elec
LIGHT | Lighting | LUV | Ultraviolet | LANL | Elec
LIGHT | Lighting | MERC | Mercury Vapor | LANL | Elec
LIGHT | Lighting | MHAL | Metal Halide | LANL | Mech
LIGHT | Lighting | STRB | Light, Strobe, Beacon | LANL | Elec
LTGPRO | Lighting Protection | ATRM | Air Terminal | LANL | Mech
LTGPRO | Lighting Protection | LPT | Lighting Protection | LANL | Elec
LTGPRO | Lighting Protection | SPDE | Surge Protective Device | LANL | Elec
LUBRI | Lubricator | LML | Mainline | LANL | Elec
MACH | Machine | MACH | Machine | NECmod | Elec
MAGNET | Magnet | MGNT | Non-Superconductor | LANL | MECH
MAGNET | Magnet | SCND | Superconductor | ASME | Mech
MANFLD | Manifold | GAS | Gas Cylinders/Bottles | LANL | MECH
MANFLD | Manifold | H2O | Water System | LANL | MECH
MANFLD | Manifold | MANF | Manifold | ASME | Mech
MANHOL | Manhole | MHE | Electric | LANL | C/S/Arch
MANHOL | Manhole | MHFP | Fire Protection | ASME | Mech
MANHOL | Manhole | MHS | Steam | LANL | C/S/Arch
MANHOL | Manhole | MWW | Waste Water | LANL | C/S/Arch
MECHNL | Mechanical | GRBX | Gearbox | LANL | C/S/Arch
MECISM | Mechanism | 75 | Position Changing | LANL | C/S/Arch
METER | Meter | MGD | Gas, District | ASME | Mech
METER | Meter | MGR | Gas Revenue | 803.1 | El Util Dwgs
METER | Meter | MHT | Humidity or Temperature | LANL | Mech
METER | Meter | MKH | Kilowatt Per Hour | LANL | Mech
METER | Meter | MMD | Multimeter, Digital | LANL | I&C
METER | Meter | MMO | Megohm | LANL | M&TE
METER | Meter | MPH | pH | LANL | M&TE
METER | Meter | MTR | Meter (Generic) | LANL | M&TE
METER | Meter | MW | Water | LANL | M&TE
MIOX | Mixed-oxidant | MDS | Disinfection System | 803.1 | I&C
MISC | Miscellaneous | MISC | Consult CH 1 POC before use | ASME | All
MIXER | Mixer | COMP | Components | LANL | Mech
MIXER | Mixer | MC | Chemical | LANL | I&C
MIXER | Mixer | MIX | Other than Chemical and Sound | LANL | Mech
MONITR | Monitor | 39 | Mechanical, Condition | LANL | Mech
MONITR | Monitor | 45 | Atmospheric Conditions | LANL | Mech
MONITR | Monitor | CAM | Continuous Air | 803.1 | El Util Dwgs
MONITR | Monitor | CASD | Criticality Alarm Sys Detector | 803.1 | El Util Dwgs
MONITR | Monitor | CASR | Criticality Alarm Sys Ratemeter | LANL | I&C
MONITR | Monitor | CSM | Continuous Air, Supervisor Module | LANL | I&C
MONITR | Monitor | GC | Gas Chromatograph | LANL | I&C
MONITR | Monitor | GXT | Leak Detector or Tester | LANL | I&C
MONITR | Monitor | HFM | Hand and Foot | LANL | Process
MONITR | Monitor | LCC | Logic Control Chassis | LANL | M&TE
MONITR | Monitor | MON | Generic | LANL | M&TE
MONITR | Monitor | OM | Oxygen (Preferred, see also ANLYZR/AO where used as oxygen controller) | LANL | I&C
MONITR | Monitor | PCM | Personnel Contamination | 803.1 | I&C
MSCOPE | Microscope | SCPE | General | 5.1 | I&C
MSCOPE | Microscope | SEM | Scanning Electron | LANL | M&TE
MUFLR | Muffler | MUF | Muffler | ASME | Mech
OVEN | Oven | AUTO | Autoclave | ASME | Mech
OVEN | Oven | IND | Induction Furnace | ASME | Mech
OVEN | Oven | OVEN | Generic | LANL | Process
OVEN | Oven | RES | Electric Resistance Furnace/Oven | LANL | Process
OVEN | Oven | RFHD | Radio Frequency Heater Device | LANL | Process
OVEN | Oven | TUBE | Tube within Oven | LANL | Process
PANEL | Panel | CIP | Camera Interface | LANL | Process
PANEL | Panel | CMBP | Combination | LANL | Process
PANEL | Panel | CP | Control (TA 55 Only) | LANL | Security
PANEL | Panel | CPL | Control | LANL | I&C
PANEL | Panel | EP | Emergency Power | LANL | I&C
PANEL | Panel | LP | Lighting (Legacy use only, use PP) | LANL | I&C
PANEL | Panel | MCC | Motor Control Center | LANL | Elec
PANEL | Panel | PL | Panel | 803.1 | I&C
PANEL | Panel | PNL | Generic | 803.1 | I&C
PANEL | Panel | PP | Power | 100 | Elec
PANEL | Panel | PPDC | Power, Direct Current | LANL | Elec
PANEL | Panel | RAP | Remote Access | LANL | Security
PANEL | Panel | SWBD | Switchboard (NEMA) | LANL | Elec
PANEL | Panel | SWGR | Switchgear (ANSI) | LANL | Security
PEN | Penetration | FP | Floor or Ceiling | LANL | C/S/Arch
PEN | Penetration | WP | Wall or Roof | LANL | C/S/Arch
PILING | Piling | CAP | Caps | LANL | C/S/Arch
PILING | Piling | PILE | Foundations | LANL | C/S/Arch
PIPING | Piping | FLNG | Flange | LANL | Mech
PIPING | Piping | PIPE | Pipe | LANL | Mech
PIPING | Piping | RO | Orifice, Restricting | ASME | Mech
PIPING | Piping | SMPL | Sampling | LANL | Mech
PKLOT | Parking Lot | PAVD | Paved | ASME | Mech
PKLOT | Parking Lot | UPVD | Unpaved | LANL | Mech
PLUMB | Plumbing | HB | Hose Bib | LANL | C/S/Arch
PLUMB | Plumbing | PLFX | Generic Fixture, Sanitary Sew | LANL | C/S/Arch
PLUMB | Plumbing | SNK | Sink | ASME | Mech
PLUMB | Plumbing | TOLT | Toilet or Commode, Sanitary | ASME | Plumb
PLUMB | Plumbing | URIN | Urinal, Sanitary Sewer | LANL | Plumb
PORT | Test Point or Port | AP | Analyzer | 5.1 | I&C
PORT | Test Point or Port | BP | Burner | 5.1 | I&C
PORT | Test Point or Port | PP@ | Pressure | 5.1 | I&C
PORT | Test Point or Port | SAMP | Sampler | 5.1 | I&C
PORT | Test Point or Port | TP | Temperature | 5.1mod | I&C
POTTY | Toilet | PAP | Mobile (Port-a-Potty) | IEEE | Process
POWER | Power | ENG | Engine | 803.1 | Mech
POWER | Power | HPU | Power Unit, Hydraulic | LANL | Mech
POWER | Power | INVT | Inverter | 803.1 | Mech
POWER | Power | JX | Power Supply, Electric | LANL | Mech
POWER | Power | MO | Motor Use | 803.1 | Elec
POWER | Power | PDU | Power Distribution Unit | 5.1 | I&C
POWER | Power | PVNL | Photovoltaic Panel | 803.1 | Elec
POWER | Power | SUPR | Electric Supply Suppressor | 1100 | Elec
PPTT | Pipette | PPTT | Pipette | LANL | Elec
PRNT | Printer | PRNT | Printer or Plotter | IEEE | I&C
PROGRM | Program | ODR | Operations Directive, not a real piece of equipment | LANL | All
PROGRM | Program | PROG | Program, not real piece of equipment | LANL | All
PROGRM | Program | PSS | Pressure Safety System | LANL | All
PRSDEV | Pressure Device | PRD | Pressure Relief Device | LANL | Process
PRSDEV | Pressure Device | RPD | Rupture Disk or Disc | IEEE | I&C
PUMP | Pump | ACPV | Vacuum, Air Cooled | LANL | Mech
PUMP | Pump | P | Pump | 803.1 | Mech
PUMP | Pump | PAC | Acid or Chemical | 803.1 | Mech
PUMP | Pump | PBF | Boiler Feed | 803.1 | Mech
PUMP | Pump | PC | Condensate | LANL | Mech
PUMP | Pump | PCR | Circulating | LANL | Mech
PUMP | Pump | PCT | Cooling Tower | LANL | Mech
PUMP | Pump | PCW | Chilled/Cooling Water | LANL | Mech
PUMP | Pump | PDH | Hot Water, Domestic | LANL | Mech
PUMP | Pump | PDW | Deionized Water | LANL | Mech
PUMP | Pump | PFO | Fuel Oil | LANL | Mech
PUMP | Pump | PG | Glycol | LANL | Mech
PUMP | Pump | PHO | Hydraulic | LANL | Mech
PUMP | Pump | PHW | Hot Water | LANL | Mech
PUMP | Pump | PO | Oil | LANL | Mech
PUMP | Pump | PPB | Pressure, Boosting | LANL | Mech
PUMP | Pump | PS | Sump | LANL | Mech
PUMP | Pump | PSA | Sampler Air | LANL | Mech
PUMP | Pump | PSR | Sewage Raw | LANL | Mech
PUMP | Pump | PSUB | Submersible | LANL | Mech
PUMP | Pump | PSW | Sealant Water | LANL | Mech
PUMP | Pump | PTW | Tempered Water | LANL | Mech
PUMP | Pump | PV | Vacuum | LANL | Mech
PUMP | Pump | PWS | Water Spray | LANL | Mech
PUMP | Pump | PWT | Waste Treatment | LANL | Mech
REAC | Reactor | REAC | Reactor | LANL | Mech
RECOVR | Recovery | CRU | Condensate Recover Unit | LANL | Mech
RECRDR | Recorder | CR@ | Conductivity | ASME | Process
RECRDR | Recorder | FR | Flow | LANL | Mech
RECRDR | Recorder | HZR | Frequency | 5.1mod | I&C
RECRDR | Recorder | JR | Power | 5.1 | I&C
RECRDR | Recorder | LR | Level | 5.1 | I&C
RECRDR | Recorder | PR@ | Pressure | 5.1 | I&C
RECRDR | Recorder | TR | Temperature | 5.1 | I&C
RECRDR | Recorder | WR | Weight or Force | 5.1mod | I&C
REGLTR | Regulator | 90 | Regulating Device | 5.1 | I&C
REGLTR | Regulator | DGRS | Gas, District | 5.1 | I&C
REGLTR | Regulator | NGRS | Natural Gas | 803.1 | El Util Dwgs
REGLTR | Regulator | REG | Gas Bottle | LANL | Mech
REGLTR | Regulator | RPG | Pressure, Gas | LANL | Mech
REGLTR | Regulator | RPW | Pressure, Water | LANL | Mech
REGLTR | Regulator | RV | Voltage | LANL | Mech
RELAY | Relay | 2 | Time-Delay Starting/Closing | LANL | Mech
RELAY | Relay | 3 | Checking or Interlocking | 803.1 | El Util Dwgs
RELAY | Relay | 21 | Distance | LANL | Elec
RELAY | Relay | 24 | Static Breaker Failure | 803.1 | El Util Dwgs
RELAY | Relay | 27 | Under voltage | 803.1 | El Util Dwgs
RELAY | Relay | 30 | Annunciator | 803.1 | El Util Dwgs
RELAY | Relay | 32 | Directional Power | 803.1 | El Util Dwgs
RELAY | Relay | 37 | Undercurrent or Under power | 803.1 | El Util Dwgs
RELAY | Relay | 40 | Field | 803.1 | El Util Dwgs
RELAY | Relay | 44 | Unit Sequence Starting | 803.1 | El Util Dwgs
RELAY | Relay | 46 | Phase-Balance Current/Reverse | 803.1 | El Util Dwgs
RELAY | Relay | 47 | Phase-Sequence Voltage | 803.1 | El Util Dwgs
RELAY | Relay | 48 | Incomplete Sequence | 803.1 | El Util Dwgs
RELAY | Relay | 49 | Machine/Transformer Thermal | 803.1 | El Util Dwgs
RELAY | Relay | 50 | Instantaneous Overcurrent | 803.1 | El Util Dwgs
RELAY | Relay | 51 | AC Time Overcurrent | 803.1 | El Util Dwgs
RELAY | Relay | 53 | Exciter or DC Generator | 803.1 | El Util Dwgs
RELAY | Relay | 55 | Power Factor | 803.1 | El Util Dwgs
RELAY | Relay | 56 | Field Application | 803.1 | El Util Dwgs
RELAY | Relay | 58 | Rectifier Failure | 803.1 | El Util Dwgs
RELAY | Relay | 59 | Overvoltage | 803.1 | El Util Dwgs
RELAY | Relay | 60 | Voltage or Current Balance | 803.1 | El Util Dwgs
RELAY | Relay | 61 | Current Balance | 803.1 | El Util Dwgs
RELAY | Relay | 62 | Time-Delay Stopping/Opening | 803.1 | El Util Dwgs
RELAY | Relay | 64 | Ground Detector | 803.1 | El Util Dwgs
RELAY | Relay | 67 | AC Directional Overcurrent | 803.1 | El Util Dwgs
RELAY | Relay | 68 | Blocking | 803.1 | El Util Dwgs
RELAY | Relay | 74 | Alarm | 803.1 | El Util Dwgs
RELAY | Relay | 76 | DC Overcurrent | 803.1 | El Util Dwgs
RELAY | Relay | 78 | Out-of-Step Protective | 803.1 | El Util Dwgs
RELAY | Relay | 79 | AC Reclosing | 803.1 | El Util Dwgs
RELAY | Relay | 81 | Frequency | 803.1 | El Util Dwgs
RELAY | Relay | 82 | DC Reclosing | 803.1 | El Util Dwgs
RELAY | Relay | 83 | Automatic Selective Control | 803.1 | El Util Dwgs
RELAY | Relay | 85 | Carrier/Pilot-Wire Receiver | 803.1 | El Util Dwgs
RELAY | Relay | 86 | Locking-Out | 803.1 | El Util Dwgs
RELAY | Relay | 87 | Differential Protective | 803.1 | El Util Dwgs
RELAY | Relay | 91 | Voltage Directional | 803.1 | El Util Dwgs
RELAY | Relay | 92 | Voltage/Power Directional | 803.1 | El Util Dwgs
RELAY | Relay | 94 | Tripping | 803.1 | El Util Dwgs
RELAY | Relay | 95 | Phase Discordance Handling | 803.1 | El Util Dwgs
RELAY | Relay | AY | Analyzer | 803.1 | El Util Dwgs
RELAY | Relay | BY | Burner | 803.1 | El Util Dwgs
RELAY | Relay | EY | Voltage | 5.1 | I&C
RELAY | Relay | FQY | Flow, Quantity | 5.1 | I&C
RELAY | Relay | FY | Flow Rate | 5.1 | I&C
RELAY | Relay | IY | Current | 5.1 | I&C
RELAY | Relay | JY | Power | 5.1 | I&C
RELAY | Relay | KY | Time | 5.1 | I&C
RELAY | Relay | LY | Level | 5.1 | I&C
RELAY | Relay | PDY | Differential Pressure | 5.1 | I&C
RELAY | Relay | PR | Protective | 5.1 | I&C
RELAY | Relay | PY | Pressure | 5.1 | I&C
RELAY | Relay | QY | Quantity | LANL | Elec
RELAY | Relay | RLY | Relay Module (TA 55 Only) | 5.1 | I&C
RELAY | Relay | RY | Radiation | 5.1 | I&C
RELAY | Relay | SY | Speed | IEEE | Elec
RELAY | Relay | TDY | Differential Temperature | 5.1 | I&C
RELAY | Relay | TY | Temperature | 5.1 | I&C
RELAY | Relay | UY | Multivariable | 5.1 | I&C
RELAY | Relay | VY | Vibration Analysis | 5.1 | I&C
RELAY | Relay | WDY | Force Differential | 5.1 | I&C
RELAY | Relay | WY | Weight or Force | 5.1 | I&C
RELAY | Relay | YY | Presence or State | 5.1 | I&C
RELAY | Relay | ZDY | Deviation | 5.1 | I&C
RELAY | Relay | ZY | Position | 5.1 | I&C
RESN | Resin | RESN | Resin | 5.1 | I&C
RGD | Radiation Generating Device | RGD | Radiation Generating Device | 5.1 | I&C
RNG | Roads & Grounds | CPRT | Counter, Portable | LANL | M&TE
RNG | Roads & Grounds | CTRM | Counter, Permanent | LANL | M&TE
RNG | Roads & Grounds | MKGS | Markings | LANL | M&TE
RNG | Roads & Grounds | PVMT | Pavement (Asphalt/Concrete) | LANL | M&TE
RNG | Roads & Grounds | RDLC | Local | ASME | C/S/Arch
RNG | Roads & Grounds | RDPM | Primary | LANL | C/S/Arch
RNG | Roads & Grounds | RDSC | Secondary | LANL | C/S/Arch
RNG | Roads & Grounds | RDUP | Unpaved | LANL | C/S/Arch
RNG | Roads & Grounds | RPP | Road/Park Lots, Paved | LANL | C/S/Arch
RNG | Roads & Grounds | RSPM | Sign, Radar Speed, Permanent | LANL | C/S/Arch
RNG | Roads & Grounds | RSPT | Sign, Radar Speed, Portable | LANL | C/S/Arch
RNG | Roads & Grounds | RUP | Road/Park Lots, Unpaved | LANL | C/S/Arch
RNG | Roads & Grounds | SDWK | Sidewalk | LANL | C/S/Arch
RNG | Roads & Grounds | SIGN | Sign | LANL | C/S/Arch
RNG | Roads & Grounds | SOIL | Soil | LANL | C/S/Arch
RNG | Roads & Grounds | SPSR | Superstructure | LANL | C/S/Arch
RNG | Roads & Grounds | SUBS | Substructure | LANL | C/S/Arch
RNG | Roads & Grounds | TGNL | Signal, Traffic | LANL | C/S/Arch
RNG | Roads & Grounds | TRL | Trail | LANL | C/S/Arch
RNG | Roads & Grounds | TRM | Traffic Calming | LANL | C/S/Arch
RNG | Roads & Grounds | TUNL | Tunnel | LANL | C/S/Arch
ROBOT | Robot | RMHD | Robotic Material Handler | LANL | C/S/Arch
ROOF | Roof | CNST | Construction | LANL | C/S/Arch
ROOF | Roof | COVR | Covering | TA-55 | Process
RP | Reference Point | RP | Reference Point | LANL | I&C
SAFE | Safe | SAFE | Safe | LANL | Process
SAFETY | Safety | FPE | Fall Protecting Equipment | LANL | C/S/Arch
SAMPLR | Sampler | ASE | Air Sampler, Exhaust Stack | LANL | Process
SB | Screen Bar | SB | Screen Bar, Mechanical | LANL | C/S/Arch
SCRUBR | Scrubber | SCB | Scrubber | LANL | Mech
SCRUBR | Scrubber | SF | Fume | LANL | Mech
SEAL | Seal | SEAL | Seals/Gaskets/O Rings | 803.1 | Mech
SENSOR | Sensor | 1 | Master Element | LANL | Mech
SENSOR | Sensor | 28 | Detector, Flame (e. Boiler) | 803.1 | El Util Dwgs
SENSOR | Sensor | BE | Burner | 803.1 | El Util Dwgs
SENSOR | Sensor | CE | Conductivity | 5.1 | I&C
SENSOR | Sensor | EE | Voltage | 5.1 | I&C
SENSOR | Sensor | FE@ | Flow | 5.1 | I&C
SENSOR | Sensor | FQE | Flow, Quantity | 5.1 | I&C
SENSOR | Sensor | IE | Current | 5.1 | I&C
SENSOR | Sensor | JE | Power | 5.1 | I&C
SENSOR | Sensor | KE | Time | 5.1 | I&C
SENSOR | Sensor | LDC | Load Cell | 5.1 | I&C
SENSOR | Sensor | LE | Level | 5.1 | I&C
SENSOR | Sensor | ME | Moisture | 803.1 | M&TE
SENSOR | Sensor | OI | Oxygen | 5.1 | I&C
SENSOR | Sensor | PAE | Analyzer | 803.1 | El Util Dwgs
SENSOR | Sensor | PDE | Differential Pressure | 5.1 | I&C
SENSOR | Sensor | PES | Pressure | 5.1 | I&C
SENSOR | Sensor | PHE | pH | 5.1 | I&C
SENSOR | Sensor | QE | Quantity | 5.1 | I&C
SENSOR | Sensor | RE | Radiation | 5.1 | I&C
SENSOR | Sensor | SE | Speed | 5.1 | I&C
SENSOR | Sensor | SESE | Seismic | 5.1 | I&C
SENSOR | Sensor | SNSR | Generic | 5.1 | I&C
SENSOR | Sensor | TE | Temperature | 5.1 | I&C
SENSOR | Sensor | VE | Vibration | ASME | I&C
SENSOR | Sensor | WDE | Force Differential | 5.1 | I&C
SENSOR | Sensor | WE | Weight or Force | 5.1 | I&C
SENSOR | Sensor | WRE | Wear | 5.1 | I&C
SENSOR | Sensor | XE | Special | 5.1 | I&C
SENSOR | Sensor | YZ | Presence or State | 5.1 | I&C
SENSOR | Sensor | ZDE | Deviation | 5.1 | I&C
SENSOR | Sensor | ZE | Zone or Position | 5.1 | I&C
SEPART | Separator | SEP | Generic (Outside of F01, TANK/TSA is used for air separators) | LANL | Mech
SEPART | Separator | SO | Oil | LANL | Mech
SEWAGE | Sewage | SLS | Lift Station | 803.1 | Process
SEWAGE | Sewage | SMF | Main, Force | LANL | Mech
SHADES | Shades | SHDE | Shades (Window/Door) | LANL | C/S/Arch
SHIELD | Shielding | SHLD | Radioactive or Other | LANL | C/S/Arch
SHKTBL | Shaker Table | AMPL | Amplifier | LANL | Projects
SHKTBL | Shaker Table | SHKR | Shaker | LANL | Projects
SHKTBL | Shaker Table | ST | Shaker Table | LANL | Projects
SHOPEQ | Shop Equipment | DP | Drill Press | LANL | Shop
SHOPEQ | Shop Equipment | ETCH | Etcher | LANL | C/S/Arch
SHOPEQ | Shop Equipment | EWM | Electric Welder | LANL | Shop
SHOPEQ | Shop Equipment | GRB | Grinder Belt | LANL | Shop
SHOPEQ | Shop Equipment | GRP | Grinder Pedestal | LANL | Shop
SHOPEQ | Shop Equipment | GRS | Grinder Surface | LANL | Shop
SHOPEQ | Shop Equipment | LAT | Lathe | LANL | Shop
SHOPEQ | Shop Equipment | LMF | Lock, Metal Former | LANL | Shop
SHOPEQ | Shop Equipment | MF | Metal Forming Machine | LANL | Shop
SHOPEQ | Shop Equipment | MM | Milling Machine | LANL | Shop
SHOPEQ | Shop Equipment | MNC | Mill, Numeric Control | LANL | Shop
SHOPEQ | Shop Equipment | PH | Press, Hydraulic | LANL | Shop
SHOPEQ | Shop Equipment | PLSH | Polisher | LANL | Shop
SHOPEQ | Shop Equipment | PNCH | Punch | LANL | Shop
SHOPEQ | Shop Equipment | RMF | Roller, Metal Forming | LANL | Shop
SHOPEQ | Shop Equipment | SAW | Saw | LANL | Shop
SHOPEQ | Shop Equipment | SBL | Sand Blaster | LANL | Shop
SHOPEQ | Shop Equipment | SD | Sander | LANL | Shop
SHOPEQ | Shop Equipment | SMC | Shear, Metal Cutting | LANL | Shop
SHOPEQ | Shop Equipment | TOOL | Tool/Tooling | LANL | Shop
SHOPEQ | Shop Equipment | TQS | Screwdriver, Torque | LANL | Shop
SHOPEQ | Shop Equipment | TQW | Wrench, Torque | LANL | Shop
SHOPEQ | Shop Equipment | USC | Ultrasonic Cleaner or Bath | LANL | Shop
SHOPEQ | Shop Equipment | WB | Workbench | LANL | M&TE
SHOWER | Shower | COMB | Combination Safety Shower/Eye | 803.1 | M&TE
SHOWER | Shower | EW | Eyewash | ASME | Shop
SHOWER | Shower | SHD | Decontamination | LANL | Mech
SHOWER | Shower | SHR | Enclosure (General Use) | LANL | Mech
SHOWER | Shower | SHS | Safety | LANL | Mech
SHRDR | Shredder | SHDR | Shredder | 803.1 | Mech
SLAB | Slab | SLAB | Slab, Standard on Grade | LANL | Mech
SOFFIT | Underside Archi. Structure | SOFT | Underside Archi. Structure | ASME | Process
SPACER | Spacer | DWR | Bisco Divider | ASME | C/S/Arch
SPACER | Spacer | SPCR | Spacer | ASME | Mech
SPRT | Support | RSNT | Restraint (includes beams, cables, etc.) | ASME | Mech
SPRT | Support | SPRT | Support Mechanism | ASME | Mech
SPRT | Support | STND | Support/Stand | LANL | Process
STACK | Stack | ES | Exhaust | LANL | Mech
STAIRS | Stairs | CNST | Construction | ASME | Mech
STAIRS | Stairs | FNSH | Finish | LANL | Mech
STN | Station | BAS | Breathing Air | LANL | Mech
STN | Station | STA | (Except Breathing Air) | ASME | Mech
STN | Station | TBTS | Tube Trailer Station | LANL | Mech
STRG | Storage | KRDX | Automated and Retrieval | ASME | Mech
STRG | Storage | RACK | Rack | LANL | Mech
STRG | Storage | SHLO | Shelves or Shelf | LANL | Mech
STRTR | Starter | MSTR | Motor | LANL | C/S/Arch
STRTR | Starter | PSTR | Pneumatic | LANL | C/S/Arch
SUBSTN | Substation | RCTR | Current Limiting Reactor | 803.1 | C/S/Arch
SUBSTN | Substation | SSBU | Bus (HV) | LANL | Elec
SUBSTN | Substation | SUB | Substation (HV) | LANL | Elec
SUBSTN | Substation | SUS | Unit, Secondary | 803.1 | Elec
SWITCH | Switch | 10 | Unit Sequence | LANL | Elec
SWITCH | Switch | 17 | Shunting or Discharge | LANL | Elec
SWITCH | Switch | 25 | Synchronizing/ism Check Drive | 803.1 | I&C
SWITCH | Switch | 33 | Position (HV) | 803.1 | El Util Dwgs
SWITCH | Switch | 63 | Pressure (HV) | 803.1 | El Util Dwgs
SWITCH | Switch | 71 | Level | 803.1 | El Util Dwgs
SWITCH | Switch | 80 | Flow | 803.1 | El Util Dwgs
SWITCH | Switch | 89 | Line | 803.1 | El Util Dwgs
SWITCH | Switch | AIS | Indicating, Analyzer | 803.1 | El Util Dwgs
SWITCH | Switch | AITS | Transmitting, Indicating, Analyzer | 803.1 | El Util Dwgs
SWITCH | Switch | AS | Analyzer | 5.1 | Mech
SWITCH | Switch | ASH | Analyzer High | 5.1 | I&C
SWITCH | Switch | ASHL | Analyzer, High or Low | 5.1 | I&C
SWITCH | Switch | ASL | Analyzer, Low | 5.1 | I&C
SWITCH | Switch | ATS | Automatic, Transfer | 5.1 | I&C
SWITCH | Switch | BMS | Balanced Magnetic | 5.1 | I&C
SWITCH | Switch | BSH | Burner, High | 1100 | I&C
SWITCH | Switch | BSHL | Burner High or Low | LANL | Elec
SWITCH | Switch | BSL | Burner Low | 5.1 | Security
SWITCH | Switch | BTN | Button | 5.1 | I&C
SWITCH | Switch | CDD | Circuit Disconnect | 5.1 | I&C
SWITCH | Switch | CIS | Indicating Conductivity | ASME | I&C
SWITCH | Switch | CS | Conductivity | LANL | Elec
SWITCH | Switch | CS@ | Switch, conductivity Historical, use SWITCH/CS | 5.1mod | I&C
SWITCH | Switch | EIS | Indicating Voltage | 5.1 | I&C
SWITCH | Switch | ESH | Voltage High | 5.1 | I&C
SWITCH | Switch | ESHL | Voltage High or Low | 5.1 | I&C
SWITCH | Switch | ESL | Voltage Low | 5.1 | I&C
SWITCH | Switch | FFS | Switch, flow, ratio | 5.1 | I&C
SWITCH | Switch | FFSH | Flow Ratio High | 5.1 | I&C
SWITCH | Switch | FFSL | Flow Ratio Low | 5.1 | I&C
SWITCH | Switch | FIS | Indicating Flow | 5.1 | I&C
SWITCH | Switch | FQIS | Indicating Totalizing Flow | 5.1 | I&C
SWITCH | Switch | FQS | Flow Totalized | 5.1 | I&C
SWITCH | Switch | FQSH | Flow Quantity High | 5.1 | I&C
SWITCH | Switch | FQSL | Flow Quantity Low | 5.1 | I&C
SWITCH | Switch | FS@ | Flow | 5.1 | I&C
SWITCH | Switch | FSH | Flow High | 5.1 | I&C
SWITCH | Switch | FSHL | Flow High or Low | 5.1 | I&C
SWITCH | Switch | FSL | Flow Low | 5.1 | I&C
SWITCH | Switch | FSW | Flow (TA-55 Not Preferred) | 5.1 | I&C
SWITCH | Switch | HIS | Indicating Hand | 5.1 | I&C
SWITCH | Switch | HOA | Hand Off Auto or Selector | LANL | I&C
SWITCH | Switch | HS | Hand | 5.1 | I&C
SWITCH | Switch | IIS | Indicating Current | LANL | I&C
SWITCH | Switch | IS | Current | 5.1 | I&C
SWITCH | Switch | ISH | Current High | 5.1 | I&C
SWITCH | Switch | ISHL | Current High or Low | 5.1 | I&C
SWITCH | Switch | ISL | Current Low | 5.1 | I&C
SWITCH | Switch | JS | Power | 5.1 | I&C
SWITCH | Switch | JSH | Power High | 5.1 | I&C
SWITCH | Switch | JSHL | Power High or Low | 5.1 | I&C
SWITCH | Switch | JSL | Power Low | 5.1 | I&C
SWITCH | Switch | KIS | Indicating Time | 5.1 | I&C
SWITCH | Switch | KS | Timer | 5.1 | I&C
SWITCH | Switch | KSH | Time High | 5.1 | I&C
SWITCH | Switch | KSHL | Time High or Low | 5.1 | I&C
SWITCH | Switch | KSL | Time Low | 5.1 | I&C
SWITCH | Switch | LIS | Indicating Level | 5.1 | I&C
SWITCH | Switch | LS | Level | 5.1 | I&C
SWITCH | Switch | LSH | Level High | 5.1 | I&C
SWITCH | Switch | LSHH | Level High-High | 5.1 | I&C
SWITCH | Switch | LSHL | Level High or Low | 5.1 | I&C
SWITCH | Switch | LSL | Level Low | 5.1 | I&C
SWITCH | Switch | LSLL | Level Low-Low | 5.1 | I&C
SWITCH | Switch | MIS | Indicating Moisture | 5.1 | I&C
SWITCH | Switch | MS | Moisture | 5.1 | I&C
SWITCH | Switch | MTS | Manuel Transfer | 5.1 | I&C
SWITCH | Switch | PDIH | Indicate Press. Diff. High | 5.1 | I&C
SWITCH | Switch | PDIL | Indicate Press. Diff. Low | 100 | I&C
SWITCH | Switch | PDIS | Indicate Pressure Differential | 5.1 | I&C
SWITCH | Switch | PDS | Pressure Differential | 5.1 | I&C
SWITCH | Switch | PDSH | Pressure Differential High | 5.1 | Elec
SWITCH | Switch | PDSL | Pressure Differential Low | 5.1 | I&C
SWITCH | Switch | PIS | Indicating Pressure | 5.1 | I&C
SWITCH | Switch | PS@ | Pressure | 5.1 | I&C
SWITCH | Switch | PSH | Pressure High | 5.1 | I&C
SWITCH | Switch | PSHL | Pressure High or Low | 5.1 | I&C
SWITCH | Switch | PSL | Pressure Low | 5.1 | I&C
SWITCH | Switch | PSLL | Pressure Low-Low | 5.1 | I&C
SWITCH | Switch | QSH | Quantity High | 5.1 | I&C
SWITCH | Switch | QSHL | Quantity High or Low | 5.1 | I&C
SWITCH | Switch | QSL | Quantity Low | 5.1 | I&C
SWITCH | Switch | RIS | Indicating Radiation | 5.1 | I&C
SWITCH | Switch | RSH | Radiation High | 5.1 | I&C
SWITCH | Switch | RSHL | Radiation High or Low | 5.1 | I&C
SWITCH | Switch | RSL | Radiation Low | 5.1 | I&C
SWITCH | Switch | SIS | Indicating Speed | 5.1 | I&C
SWITCH | Switch | SPM | Pad Mounted | 5.1 | I&C
SWITCH | Switch | SS | Speed | 5.1 | I&C
SWITCH | Switch | SSH | Speed High | LANL | I&C
SWITCH | Switch | SSHL | Speed High or Low | 5.1 | Elec
SWITCH | Switch | SSL | Speed Low | 5.1 | I&C
SWITCH | Switch | ST | Transformer | 5.1 | I&C
SWITCH | Switch | SV | Vacuum | 5.1 | I&C
SWITCH | Switch | SW | Generic | LANL | I&C
SWITCH | Switch | TDS | Temperature Differential | LANL | Elec
SWITCH | Switch | TDSH | Temp. Differential High | ASME | Elec
SWITCH | Switch | TDSL | Temp. Differential Low | 5.1 | I&C
SWITCH | Switch | TIS | Indicating Temperature | 5.1 | I&C
SWITCH | Switch | TS@ | Temperature | 5.1 | I&C
SWITCH | Switch | TSH | Temperature High | 5.1 | I&C
SWITCH | Switch | TSHL | Temperature High or Low | 5.1 | I&C
SWITCH | Switch | TSL | Temperature Low | 5.1 | I&C
SWITCH | Switch | VIS | Indicating Vibration | 5.1 | I&C
SWITCH | Switch | VS | Vibration | 5.1 | I&C
SWITCH | Switch | VSH | Vibration High | 5.1 | I&C
SWITCH | Switch | VSHL | Vibration High or Low | 5.1 | I&C
SWITCH | Switch | VSL | Vibration Low | 5.1 | I&C
SWITCH | Switch | WDSH | Force Differential High | 5.1 | I&C
SWITCH | Switch | WDSL | Force Differential Low | 5.1 | I&C
SWITCH | Switch | WIS | Indicating Weight or Force | 5.1 | I&C
SWITCH | Switch | WSH | Weight or Force High | 5.1 | I&C
SWITCH | Switch | WSHL | Weight or Force High or Low | 5.1 | I&C
SWITCH | Switch | WSL | Weight or Force Low | 5.1 | I&C
SWITCH | Switch | XIS | Indicating Special | 5.1 | I&C
SWITCH | Switch | XZS | Tamper (TA-55 Only) | 5.1 | I&C
SWITCH | Switch | YSH | Presence or State High | 5.1 | I&C
SWITCH | Switch | YSL | Presence or State Low | LANL | I&C
SWITCH | Switch | ZDSH | Deviation High | 5.1 | Fire Prot
SWITCH | Switch | ZDSL | Deviation Low | 5.1 | I&C
SWITCH | Switch | ZIS | Indicating Zone or Position | 5.1 | I&C
SWITCH | Switch | ZS | Position | 5.1 | I&C
SWITCH | Switch | ZSC | Position Closed | 5.1 | I&C
SWITCH | Switch | ZSH | Position High | 5.1 | I&C
SWITCH | Switch | ZSHL | Position High or Low | 5.1 | I&C
SWITCH | Switch | ZSL | Position Low | 5.1 | I&C
SYSTEM | System | SVC | Static VAR Compensator | 5.1 | I&C
SYSTEM | System | SYS | One entry for all equip in sys | ASME | All
TABLE | Table | PLAT | Platform (Fixed/Moved) | 5.1 | I&C
TABLE | Table | TBL | Table (Not Lift) | IEEE519 | El Util Dwgs
TABLE | Table | TTT | Turntable | ASME | El Util Dwgs
TANK | Tank | TAC | Acid or Chemical | LANL | C/S/Arch
TANK | Tank | TCA | Compressed Air | LANL | Mech
TANK | Tank | TCF | Condensate Flash | LANL | C/S/Arch
TANK | Tank | COL | Pyrex Vertical Columns | LANL | Mech
TANK | Tank | TCI | Chemical Injection | LANL | Mech
TANK | Tank | TCS | Condensate Steam | LANL | Mech
TANK | Tank | TCW | Condensate Water | LANL | Mech
TANK | Tank | TEFF | Effluent | LANL | Mech
TANK | Tank | TFUL | Fuel | LANL | Mech
TANK | Tank | TG | Glycol | LANL | Mech
TANK | Tank | THP | Hydraulic Pressure | LANL | Mech
TANK | Tank | TK | Tank | LANL | Mech
TANK | Tank | TO | Oil | LANL | Mech
TANK | Tank | TPWS | Potable Water Storage | 803.1 | Mech
TANK | Tank | TRC | Refrigeration | LANL | Mech
TANK | Tank | TRS | Retention or Storage | LANL | Mech
TANK | Tank | TSA | Separator Air (F01 typically uses SEPART/SEP) | LANL | Mech
TANK | Tank | TV | Vacuum | LANL | Mech
TANK | Tank | TWC | Water, Chilled or Cooling | LANL | Mech
TANK | Tank | TWD | Water, Deionized/Demineralization | LANL | Mech
TANK | Tank | TWH | Water Hot | LANL | Mech
TANK | Tank | TWS | Water Sealant | LANL | Mech
TANK | Tank | TWT | Waste Treatment | LANL | Mech
TANK | Tank | TX | Expansion | LANL | Mech
TANK | Tank | VP | Vessel Pressure | LANL | Mech
TEST | Test | CBT | Set/Relay/Overload/Circ. Breaker | LANL | Mech
TEST | Test | GX | Balance | LANL | Mech
TEST | Test | PTR | Pressure Test Rig | LANL | Mech
TEST | Test | TQT | Torque | LANL | M&TE
TEST | Test | TSTE | Equipment (for no specific) | LANL | M&TE
TEST | Test | WW | Wig-wag Gate, Tool | LANL | M&TE
TND | Transmission & Distribution | CEO | Circuit, Electric, Overhead | ASME | M&TE
TND | Transmission & Distribution | CEU | Circuit , Electric, Underground | LANL | M&TE
TND | Transmission & Distribution | LET | Line, Electric, Transmission | LANL | C/S/Arch
TND | Transmission & Distribution | PE | Pole, Electrical Distribution | LANL | Elec
TOTAL | Totalizer | EQ | Voltage | LANL | Elec
TOTAL | Totalizer | FQ | Flow | LANL | El Util Dwgs
TOTAL | Totalizer | IQ | Current | 5.1 | Process
TOTAL | Totalizer | JWHQ | Power, Watt-Hour | 5.1 | I&C
TOTAL | Totalizer | KQ | Time | 5.1 | I&C
TOWER | Tower | TC | Cooling | 5.1 | I&C
TOWER | Tower | TLA | Electric PNM LA | 5.1 | I&C
TOWER | Tower | TMP | Electric PNM MP | LANL | I&C
TOWER | Tower | TNL | Electric PNM NL | LANL | Mech
TOWER | Tower | TTE | Electric PNM TE | LANL | El Util Dwgs
TRACTR | Tractor | LDR | Large Front End Loaders/Dozers | LANL | El Util Dwgs
TRACTR | Tractor | MOWR | Riding/Walking Mowers | LANL | El Util Dwgs
TRACTR | Tractor | TRCH | Trencher | LANL | Mobile Eq
TRACTR | Tractor | TRCT | Generic | LANL | Mobile Eq
TRAP | Trap | GT | Grease | LANL | Mobile Eq
TRAP | Trap | TRP | Generic | LANL | Mobile Eq
TRAP | Trap | TRPP | Primer | LANL | Mobile Eq
TRAP | Trap | TS | Steam | 803.1 | Mech
TRLR | Trailer | TLRB | Box | LANL | Mech
TRLR | Trailer | TLRD | Dump | LANL | Mech
TRLR | Trailer | TLRF | Flatbed | LANL | Mech
TRLR | Trailer | TRLR | Generic | LANL | C/S/Arch
TROLEY | Trolley | TRLY | Trolley | ASME | Mech
TROLEY | Trolley | TRYT | Tunnel | ASME | Mobile Eq
TRUCK | Truck | CRGO | Enclosed Cargo Boxes | ASME | Mobile Eq
TRUCK | Truck | DUMP | Dump | LANL | Mech
TRUCK | Truck | FLAT | Flatbed | LANL | Mobile Eq
TRUCK | Truck | FUEL | For Refueling Equipment | LANL | Mobile Eq
TRUCK | Truck | PKUP | Pickup | LANL | Mobile Eq
TRUCK | Truck | TCTR | Semi-Truck Tractor | LANL | Mobile Eq
TRUCK | Truck | TRCK | Generic | LANL | Mobile Eq
TRUCK | Truck | TUBE | Tube (Delivery of Gases) | LANL | Mobile Eq
TRUCK | Truck | UTV | ATV's, Side-by-Sides | LANL | Mobile Eq
TSTTBL | Test Table | TTBL | Test Table | LANL | Projects
TUMBLR | Tumbler | DT | Drum | LANL | Process
TURBIN | Turbine | TSD | Steam Driven | LANL | Mech
TURBIN | Turbine | TURB | Generic | ASME | Mech
UPS | Uninterruptible Power Supply | UPS | Uninterruptible Power Supply | LANL | Process
VALVE | Valve | 20 | Electrical Operated | ASME | Mech
VALVE | Valve | AAV | Automatic Air Vent (Hydronic) | 1100 | Mech
VALVE | Valve | AFCV | Automatic Fixture Control | 803.1 | Mech
VALVE | Valve | AOBV | Air Operated, Ball | LANL | Mech
VALVE | Valve | AOV | Air Operated (TA-55 Only) | LANL | Mech
VALVE | Valve | ARV | Air Relief | AWWA | Mech
VALVE | Valve | BFP | Backflow Preventer | LANL | Mech
VALVE | Valve | BVT | Ball, Trunnion | AWWA | Mech
VALVE | Valve | CTRV | Control (Generic) | 803.1 | Mech
VALVE | Valve | CV | Check | LANL | Mech
VALVE | Valve | FCV | Control Flow | 5.1 | Mech
VALVE | Valve | FICV | Control Indicating Flow | LANL | Mech
VALVE | Valve | GV | Gate | 5.1 | Mech
VALVE | Valve | HV | Hand | 5.1 | Mech
VALVE | Valve | KCV | Control Timed | 5.1 | Mech
VALVE | Valve | KV | Key Natural Gas | LANL | Mech
VALVE | Valve | LCV | Level Control | 5.1 | Mech
VALVE | Valve | NV | Needle | LANL | Mech
VALVE | Valve | PCV | Control Pressure | 5.1 | Mech
VALVE | Valve | PDCV | Control Differential Pressure | 5.1 | Mech
VALVE | Valve | PRD | Pressure Regulating Device | 5.1 | Mech
VALVE | Valve | PRV | Pressure Relief (preferred acronym for all relief valves – not safety valves) Some legacy use for Pressure Reducing Valves, use VPR going forward. | 5.1 | Mech
VALVE | Valve | PSV | Pressure Safety | LANL | Mech
VALVE | Valve | RPV | Residual Pressure | LANL | Mech
VALVE | Valve | RVS | Regulator, Steam | 5.1 | Mech
VALVE | Valve | SCV | Control Speed | 5.1 | Mech
VALVE | Valve | SOV | Solenoid | LANL | Mech
VALVE | Valve | TCV | Control Temperature | 5.1 | Mech
VALVE | Valve | TDCV | Control Differential Temperature | LANL | Mech
VALVE | Valve | TSV | Temperature Safety Valve | 5.1 | Mech
VALVE | Valve | V | Valve, Hand Valve | 5.1 | Mech
VALVE | Valve | VABG | Gate Aeration Basin | 5.1 | Mech
VALVE | Valve | VB | Block | 803.1 | Mech
VALVE | Valve | VBG | Burner Gas | LANL | Mech
VALVE | Valve | VBK | Vacuum Breaker | LANL | Mech
VALVE | Valve | VBO | Burner Oil | LANL | Mech
VALVE | Valve | VBW | Block Water | LANL | Mech
VALVE | Valve | VC | Valve, check (historical) Use CV | LANL | Mech
VALVE | Valve | VENT | Vent | LANL | Mech
VALVE | Valve | VEQG | Gate Equalization Basin | LANL | Mech
VALVE | Valve | VM | Motor Operated | LANL | Mech
VALVE | Valve | VPR | Pressure Reducing | LANL | Mech
VALVE | Valve | WCV | Control Force | LANL | Mech
VALVE | Valve | WDCV | Control Force Differential | LANL | Mech
VALVE | Valve | ZCV | Control Force or Position | LANL | Mech
VALVE | Valve | ZDCV | Control Deviation | 5.1 | Mech
VIBI | Vibrator | VIBI | Vibrator | 5.1 | Mech
WALL | Wall | CNST | Construction | 5.1 | Mech
WALL | Wall | FNSH | Finish | 5.1 | Mech
WATER | Water | DMN | Demineralizer | LANL | Mech
WATER | Water | DNZ | Deionized, Water Unit | LANL | Mech
WATER | Water | DWS | Water Softener | LANL | Mech
WATER | Water | IX | DI Water Ion Exchanger | LANL | C/S/Arch
WATER | Water | ROU | Reverse Osmosis Unit | LANL | Mech
WATER | Water | WHA | Hammer Arrestor | LANL | Mech
WEIR | Weir | WGS | Weir Gate, Sludge/Storm water | LANL | C/S/Arch
WELL | Well | TW | Thermal (Thermowell) | 803.1 | Mech
WINDOW | Window | SKYL | Skylight | LANL | Mech
WINDOW | Window | WDO | Specialized, Shield, Vessel | LANL | Mech
WINDOW | Window | WNDW | Generic | 5.1 | C/S/Arch
XFCART | Cart | CART | For Transfer of Nuclear Material | LANL | Mobile Eq
XFMR | Transformer | XFIH | Induction Heating | ASME | C/S/Arch
XFMR | Transformer | XFMR | Transformer | 803.1 | Elec
XFMR | Transformer | XFRD | Distribution (MV) | LANL | C/S/Arch
XFMR | Transformer | XFRP | Power (HV) | LANL | El Util Dwgs
XFMR | Transformer | XFRR | Rectifier | LANL | Elec
XMTR | Transmitter | 77 | Pulse | LANL | Elec
XMTR | Transmitter | AIT | Indicating Analyzer | LANL | Elec
XMTR | Transmitter | ART | Recording Analyzer | LANL | El Util Dwgs
XMTR | Transmitter | AT | Analyzer | 803.1 | I&C
XMTR | Transmitter | BIT | Indicating Burner | 5.1 | Elec
XMTR | Transmitter | BRT | Recording Burner | 5.1 | I&C
XMTR | Transmitter | BT | Burner | 5.1 | I&C
XMTR | Transmitter | CIT | Indicating Conductivity | 5.1 | I&C
XMTR | Transmitter | CT | Conductivity | 5.1 | I&C
XMTR | Transmitter | EIT | Indicating Voltage | 5.1 | I&C
XMTR | Transmitter | ERT | Recording Voltage | 5.1 | I&C
XMTR | Transmitter | ET | Voltage | 5.1 | I&C
XMTR | Transmitter | FFT | Flow Ratio | 5.1 | I&C
XMTR | Transmitter | FIT | Indicating Flow | 5.1 | I&C
XMTR | Transmitter | FQIT | Indication Flow Quantity | 5.1 | I&C
XMTR | Transmitter | FQT | Flow Totalizer | 5.1 | I&C
XMTR | Transmitter | FRT | Recording Flow | 5.1 | I&C
XMTR | Transmitter | FT | Flow | 5.1 | I&C
XMTR | Transmitter | IIT | Indicating Current | 5.1 | I&C
XMTR | Transmitter | IRT | Recording Current | 5.1 | I&C
XMTR | Transmitter | IT | Current | 5.1 | I&C
XMTR | Transmitter | JIT | Indicating Power | 5.1 | I&C
XMTR | Transmitter | JRT | Recording Power | 5.1 | I&C
XMTR | Transmitter | JT | Power | 5.1 | I&C
XMTR | Transmitter | JWHT | Power, Watt-Hour | 5.1 | I&C
XMTR | Transmitter | KIT | Indicating Time | 5.1 | I&C
XMTR | Transmitter | KQT | Timed Totalized | 5.1 | I&C
XMTR | Transmitter | KRT | Recording Time | 5.1 | I&C
XMTR | Transmitter | KT | Time | 5.1 | I&C
XMTR | Transmitter | LIT | Indicating Level | 5.1 | I&C
XMTR | Transmitter | LRT | Recording Level | 5.1 | I&C
XMTR | Transmitter | LT | Level | 5.1 | I&C
XMTR | Transmitter | MIT | Indicating Moisture | 5.1 | I&C
XMTR | Transmitter | MT | Moisture | 5.1 | I&C
XMTR | Transmitter | PAT | Pressure and Temperature | 5.1 | I&C
XMTR | Transmitter | PDIT | Ind. Differential Pressure | 5.1 | I&C
XMTR | Transmitter | PDRT | Record. Differential Pressure | 5.1 | I&C
XMTR | Transmitter | PDT | Differential Pressure | 5.1 | I&C
XMTR | Transmitter | PIT | Indicating Pressure | 5.1 | I&C
XMTR | Transmitter | PRT | Recording Pressure | 5.1 | I&C
XMTR | Transmitter | PT | Pressure | 5.1 | I&C
XMTR | Transmitter | QIT | Indicating Quantity | 5.1 | I&C
XMTR | Transmitter | QRT | Recording Quantity | 5.1 | I&C
XMTR | Transmitter | QT | Quantity | 5.1 | I&C
XMTR | Transmitter | RIT | Indicating Radiation | 5.1 | I&C
XMTR | Transmitter | RRT | Recording Radiation | 5.1 | I&C
XMTR | Transmitter | RT | Radiation | 5.1 | I&C
XMTR | Transmitter | SIT | Indicating Speed | 5.1 | I&C
XMTR | Transmitter | SRT | Recording Speed | 5.1 | I&C
XMTR | Transmitter | ST@ | Speed | 5.1 | I&C
XMTR | Transmitter | TDIT | Ind. Differential Temperature | 5.1 | I&C
XMTR | Transmitter | TDRT | Record. Differential Temperature | 5.1 | I&C
XMTR | Transmitter | TDT | Differential Temperature | 5.1 | I&C
XMTR | Transmitter | TIT | Indicating Temperature | 5.1 | I&C
XMTR | Transmitter | TRT | Recording Temperature | 5.1 | I&C
XMTR | Transmitter | TT | Temperature | 5.1 | I&C
XMTR | Transmitter | VIT | Indicating Vibration | 5.1 | I&C
XMTR | Transmitter | VRT | Recording Vibration Analysis | 5.1 | I&C
XMTR | Transmitter | VT | Vibration | 5.1 | I&C
XMTR | Transmitter | WDIT | Ind. Force Differential | 5.1 | I&C
XMTR | Transmitter | WDRT | Record Force Differential | 5.1 | I&C
XMTR | Transmitter | WDT | Force Differential | 5.1 | I&C
XMTR | Transmitter | WIT | Ind. Weight or Force | 5.1 | I&C
XMTR | Transmitter | WRT | Record. Weight or Force | 5.1 | I&C
XMTR | Transmitter | WT | Weight or Force | 5.1 | I&C
XMTR | Transmitter | XIT | Indicating Special | 5.1 | I&C
XMTR | Transmitter | XT | Special | 5.1 | I&C
XMTR | Transmitter | YT | Presence or State | 5.1 | I&C
XMTR | Transmitter | ZDIT | Indicating Deviation | 5.1 | I&C
XMTR | Transmitter | ZDRT | Recording Deviation | 5.1 | I&C
XMTR | Transmitter | ZDT | Deviation | 5.1 | I&C
XMTR | Transmitter | ZIT | Indication Position | 5.1 | I&C
XMTR | Transmitter | ZRT | Recording Position | 5.1 | I&C
XMTR | Transmitter | ZT | Zone or Position | 5.1 | I&C
XRAY | X-Ray | XRAY | X-Ray (Security or Process) | 5.1 | I&C
POI | POI 3500 | TABL | Table (Product of Inertia) | LANL | Projects

## Summary of Changes May '21
Changed format such that body is in MS Excel.
Added ANLYZR/IN, Analyzer, generic (RLUOB only)
Corrected RELAY/62 from “Relay, Time-Delay Starting or Closing” to “Relay, Time-Delay Stopping or Opening”
Added FRKLFT/FRKE and FRKLFT/FRKF, deleted FRKLFT/FRKL, to distinguish between electric and fueled forklifts
Added HVAC/LVCW, Limited Volume Chilled Water (chiller, refrigerant, unique to F01)
Added ANLYZR/XRD, Analyzer, X-ray powder diffraction
Added FIRSUP/XSR, Riser, Shotgun (aka Straight Pipe Riser)
Added the following:
Type | Type Name | Subtype | Subtype Name
ALARM | Alarm | LAHH | Level, High-High
ALARM | Alarm | PAH | Pressure, High
ALARM | Alarm | PAHH | Pressure, High-High
ALARM | Alarm | PALL | Pressure, Low-Low
ALARM | Alarm | TAHH | Tempurature, High-High
ALARM | Alarm | VAHH | Vibration, High-High
SWITCH | Switch | LSHH | Level High-High
SWITCH | Switch | LSLL | Level Low-Low
SWITCH | Switch | PSLL | Pressure Low-Low
Added COMP as Sys under Op Sys MIXER to accommodate specifically referenced like blades and such.
Added FIRSUP, Fire Suppression / XZS, Tamper Switch
Added VALVE/TSV, Temperature Safety Valve
Added CNTLR/FCO, Flow Control Operator (specific type of flow controller in TA16 on steam supplied heaters)
Changed the Type for Air Separator from TANK to SEPART.
Add clarifying info for air separators
TANK/TSA, Separator Air (F01 typically uses SEPART/SEP)
SEPART/SEP, Generic (Outside of F01, TANK/TSA is used for air separators)
Changed COLUMN/CNST to COLUMN/COL, Structural Column
Added TANK/COL, Pyrex Vertical Columns