PRESSURE TEST RECORD

[SAMPLE – Edit to suit but capture all data required for ASME B31 compliance]

| TEST NUMBER: | PROJECT NO.: | PAGE 1 OF |
| --- | --- | --- |
| PROJECT NAME: |
| TEST INFORMATION |
| SYSTEM DESCRIPTION: |
| DESCRIPTION OF TEST BOUNDARIES: (Attach Sketch Showing Boundaries as Required. P&ID Recommended) |
| DESIGN TEMPERATURE: | DESIGN PRESSURE: |
| TEST METHOD: ( HYDROSTATIC ( PNEUMATIC: |
| TEST FLUID: | APPLICABLE CODE: |
| TEST REQUIREMENTS |
| REQUIRED TEST PRESSURE: | TEST FLUID TEMPERATURE: |
| REQUIRED TEST DURATION: | AMBIENT TEMPERATURE: |
| GAUGE PRESSURE CALCULATION (See Section 4.2.4) |
| ELEVATION DIFFERENCE BETWEEN GAUGE AND HIGH POINT: |  |
| X CONVERSION FACTOR: |  |
| PLUS REQUIRED TEST PRESSURE: |  |
| EQUALS REQUIRED GAUGE PRESSURE: |  |
| TEST RESULTS |
| TEST DATE: | START TIME: | ( AM ( PM |  |
|  | FINISH TIME: | ( AM ( PM |  |
| ACTUAL GAUGE PRESSURE: |
| TEST EQUIPMENT |
| TYPE: | RANGE: | CAL. DATE: | CAL. DUE: |
| REMARKS: |
| TEST ACCEPTANCE |
| CODE EXAMINER: |  |  | DATE: |
| CODE INSPECTOR: |  |  | DATE: |