Section 01 2500 
Substitution Procedures

  - ************************************************************************************************************

    - LANL MASTER SPECIFICATION SECTION

Rev. 5 Summary of Changes: Edited and updated as required for import into SpecLink.

      - NOTE TO SPECIFIER ON USAGE IN SPECLINK: Activate the Section by turning on Seq #0000, followed by activating paragraphs in PART 1, Article SECTION INCLUDES. This will activate related articles, paras/subparas in the rest of the Section (i.e., SECTION INCLUDES in PART 1 activates articles and paras/subparas in PARTS 2 and 3). If there are choice fields to edit the entire Section (typically in this first author note or beginning of the Section), make selections at those locations, which will filter through the remaining Section. All Articles, paragraphs and subparagraphs must be activated sequentially from top to bottom, unless noted otherwise.

      - This template must be edited for each project. In doing so, Specifier must add job-specific requirements. Selections and choice fields are used to indicate designer choices or locations where text must be supplied by the designer. The section must also be edited to remove requirements for processes, items, or designs that are not included in the project.

      - To seek a variance from applicable requirements in this Section, contact the Engineering Standards Manual (ESM) General POC  (LANL access only). Please contact POC with suggestions for improvement as well. LANL personnel should submit here: Suggested Change or Request Clarification; subcontractors via email to engstandards@lanl.gov.

      - When assembling a specification package, include applicable specification sections from all Divisions, especially Division 1, General Requirements.

      - Section is developed for ML-4 projects. For ML-1, 2, and 3 applications, additional requirements may be added if increased confidence in procurement or execution is desired, and independent review of final section is required; see LANL ESM Chapter 1 - General, Section Z10 Att F.

  - ************************************************************************************************************

PART 1 - GENERAL

SECTION INCLUDES

Administrative and procedural requirements for substitutions for products, fabrication, or installation methods.

Substitutions shall only be considered prior to bidding and according to the terms outlined in the Subcontract Documents. Formal acceptance of proposed substitutions shall be distributed to bidders prior to the bid date.

          - **********************************************************************

          - The Exception in the subparagraph below is a designer-choice and is activated automatically if option for Substitutions for Convenience is included in PART 2, Article Substitutions.

          - **********************************************************************

Exception: Substitution requests submitted after the bid date will only be considered if/when allowed by Article Substitutions, paragraph << 2.1.B; or  ______>>Substitutions for Convenience.

      - ***************************************************************************************

      - Section << 01 6000 - Product Requirements>>is not referenced in the body of this Section. Including it is a designer-choice.

      - ***************************************************************************************

RELATED REQUIREMENTS

Section << 01 3300 - Submittal Procedures>>​

Section << 01 6000 - Product Requirements>>

      - ***************************************************************************************

      - The following Article Reference Standards is a designer-choice.

      - ***************************************************************************************

REFERENCE STANDARDS

None

DEFINITIONS

Substitutions: Changes in products, materials, equipment, and methods of construction from those required by the Subcontract Documents and proposed by Subcontractor.

Substitutions for Cause: Changes proposed by Subcontractor that are required due to changed Project conditions, such as unavailability of product, regulatory changes, or unavailability of required warranty terms.

Substitutions for Convenience: Changes proposed by Subcontractor that are not required in order to meet other Project requirements but may offer advantage to Subcontractor or LANL. Substitutions for convenience shall be considered prior to bidding only.

        - NOTE: The presence of product names in LANL specification sections is not sole-sourcing. Thus, “or engineering-approved equal” is always implied and substitutions may be requested where allowed by this Section. Exception: When product name is followed by “No substitutions”.

ADMINISTRATIVE REQUIREMENTS

Coordination: Revise or adjust affected work as necessary to integrate work of the approved substitutions.

SUBMITTAL PROCESS FOR SUBSTITUTIONS

Substitution Requests: Submit request for consideration per Section << 01 3300 - Submittal Procedures>>. Identify product or fabrication or installation method to be replaced. Include Specification Section number and title and Drawing numbers and titles.

Substitution Request Form: Use LANL’s Substitution Request Form, 01 2500 FM01 (attached to this Section for reference).

Documentation: Show compliance with requirements for substitutions and the following, as applicable:

Statement indicating why specified product or fabrication or installation cannot be provided, if applicable.

Coordination information, including a list of changes or revisions needed to other parts of the Work and to construction performed by LANL and separate Subcontractors that will be necessary to accommodate proposed substitution.

Detailed comparison of significant qualities of proposed substitution with those of the Work specified. Include annotated copy of applicable Specification Section. Significant qualities may include attributes such as performance, weight, size, durability, visual effect, sustainable design characteristics, warranties, and specific features and requirements indicated. Indicate deviations, if any, from the Work specified.

Product Data, including drawings and descriptions of products and fabrication and installation procedures.

Samples, where applicable or requested.

Certificates and qualification data, where applicable or requested.

List of similar installations for completed projects with project names and addresses and names and addresses of A/E of Record and owners.

Material test reports from a qualified testing agency indicating and interpreting test results for compliance with requirements indicated.

Research reports evidencing compliance with building code in effect for Project, from ICC-ES or applicable code organization or similar third party.

Detailed comparison of Subcontractor's construction schedule using proposed substitution with products specified for the Work, including effect on the overall Subcontract Time. If specified product or method of construction cannot be provided within the Subcontract Time, include letter from manufacturer, on manufacturer's letterhead, stating date of receipt of purchase order, lack of availability, or delays in delivery.

Cost information, including a proposal of change, if any, in the Subcontract Sum.

Subcontractor's certification that proposed substitution complies with requirements in the Subcontract Documents except as indicated in substitution request, is compatible with related materials, and is appropriate for applications indicated.

Subcontractor's waiver of rights to additional payment or time that may subsequently become necessary because of failure of proposed substitution to produce indicated results.

A/E of Record’s Action: If necessary, A/E of Record will request additional information or documentation for evaluation within ​<< seven; or  _______>>​ days of receipt of a request for substitution. A/E of Record will notify Subcontractor << through LANL STR ; or  None - N/A>>​of acceptance or rejection of proposed substitution within << 15; or  _______>> days of receipt of request, or << seven; or  _______>> days of receipt of additional information or documentation, whichever is later.

Forms of Acceptance before award: Addendum.

Forms of Acceptance after award: Change Order, Design Revision Notice (DRN), Field Change Request (FCR), or Subcontractor Deviation Disposition Request (SDDR, Form 2178 (LANL access only)) for changes in the Work.

Use product specified if A/E of Record does not issue a decision on use of a proposed substitution within time allocated.

QUALITY ASSURANCE

Compatibility of Substitutions: Investigate and document compatibility of proposed substitution with related products and materials. Engage a qualified testing agency to perform compatibility tests recommended by manufacturers.

PART 2 - PRODUCTS

SUBSTITUTIONS

Substitutions for Cause: Submit requests for substitution immediately on discovery of need for change, but not later than << 15; or  _______>> days prior to time required for preparation and review of related submittals.

Conditions: A/E of Record will consider Subcontractor's request for substitution when the following conditions are satisfied. If the following conditions are not satisfied, A/E of Record will return requests without action, except to record noncompliance with these requirements:

Requested substitution is consistent with the Subcontract Documents and will produce indicated results.

Requested substitution provides sustainable design characteristics that specified product provided ​​<< for achieving LEED prerequisites and credits; or  None - N/A>>​​.

Substitution request is fully documented and properly submitted.

Requested substitution will not adversely affect Subcontractor's construction schedule.

Requested substitution has received necessary approvals of authorities having jurisdiction.

Requested substitution is compatible with other portions of the Work.

Requested substitution has been coordinated with other portions of the Work.

Requested substitution provides specified warranty.

If requested substitution involves more than one Subcontractor, requested substitution has been coordinated with other portions of the Work, is uniform and consistent, is compatible with other products, and is acceptable to all Subcontractors involved.

      - ***************************************************************************************

      - Retain only one of the following paragraphs, as needed.

      - ***************************************************************************************

Substitutions for Convenience: Not allowed​<< unless otherwise indicated; or  None - N/A>>​.

      - *** OR ***

Substitutions for Convenience: A/E of Record will consider requests for substitution if received within ​​<< 60; or  ______>>​​ days after ​​<< commencement of the Work;  the Notice to Proceed; or  the Notice of Award>>​​. Requests received after that time may be considered or rejected at discretion of A/E of Record.

Conditions: LANL STR and/or A/E of Record will consider Subcontractor's request for substitution when the following conditions are satisfied. If the following conditions are not satisfied, A/E of Record will return requests without action, except to record noncompliance with these requirements:

Requested substitution offers LANL a substantial advantage in cost, time, energy conservation, or other considerations, after deducting additional responsibilities LANL must assume.  LANL’s additional responsibilities may include compensation to A/E of Record for redesign and evaluation services, increased cost of other construction by LANL, and similar considerations.

Requested substitution does not require extensive revisions to the Subcontract Documents.

Requested substitution is consistent with the Subcontract Documents and will produce indicated results.

Requested substitution provides sustainable design characteristics that specified product provided ​<< for achieving LEED prerequisites and credits; or  None - N/A>>​.

Substitution request is fully documented and properly submitted.

Requested substitution will not adversely affect Subcontractor's construction schedule.

Requested substitution has received necessary approvals of authorities having jurisdiction.

Requested substitution is compatible with other portions of the Work.

Requested substitution has been coordinated with other portions of the Work.

Requested substitution provides specified warranty.

If requested substitution involves more than one subtier Subcontractor, requested substitution has been coordinated with other portions of the Work, is uniform and consistent, is compatible with other products, and is acceptable to all subtier Subcontractors involved.

PART 3 - EXECUTION (Not Used)

END of MAIN section; FORM FOLLOWS

    - **********************************************************************************************

      - Do not omit the following reference information:

    - **********************************************************************************************

THE FOLLOWING STATEMENT IS FOR LANL USE ONLY

THIS PROJECT SPECIFICATION SECTION IS BASED ON LANL MASTER SPECIFICATION SECTION 01 2500, REV. 5, DATED APRIL 15, 2026.

    - **********************************************************************************************

      - The Substitution Request (01 2500 FM01) form is located in the LANL Master Specifications Index below Section 01 2500 at http://engstandards.lanl.gov/specs.shtml#01. Tailor and attach or include immediately after this section so it appears to be an attachment.

    - **********************************************************************************************

01 2500 FM01: SUBSTITUTION REQUEST