Section 01 6000 
Product Requirements

  - ************************************************************************************************************

    - LANL MASTER SPECIFICATION SECTION

Rev. 3 Summary of Changes: Edited and updated as required for import into SpecLink.

      - NOTE TO SPECIFIER ON USAGE IN SPECLINK: Activate the Section by turning on Seq #0000, followed by activating paragraphs in PART 1, Article SECTION INCLUDES. This will activate related articles, paras/subparas in the rest of the Section (i.e., SECTION INCLUDES in PART 1 activates articles and paras/subparas in PARTS 2 and 3). If there are choice fields to edit the entire Section (typically in this first author note or beginning of the Section), make selections at those locations, which will filter through the remaining Section. All Articles, paragraphs and subparagraphs must be activated sequentially from top to bottom, unless noted otherwise.

      - This template must be edited for each project. In doing so, Specifier must add job-specific requirements. Selections and choice fields are used to indicate designer choices or locations where text must be supplied by the designer. The section must also be edited to remove requirements for processes, items, or designs that are not included in the project.

      - To seek a variance from applicable requirements in this Section, contact the Engineering Standards Manual (ESM) General POC  (LANL access only). Please contact POC with suggestions for improvement as well. LANL personnel should submit here: Suggested Change or Request Clarification; subcontractors via email to engstandards@lanl.gov.

      - When assembling a specification package, include applicable specification sections from all Divisions, especially Division 1, General Requirements.

      - Section is developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see LANL ESM Chapter 1 - General, Section Z10 Specifications and Quality sections.

  - ************************************************************************************************************

PART 1 - GENERAL

SECTION INCLUDES

Products.

Transportation and handling.

Storage and protection.

      - ***************************************************************************************

      - The following Article Related Requirements is a designer-choice.

      - ***************************************************************************************

RELATED REQUIREMENTS

None

      - ***************************************************************************************

      - The following Article Reference Standards is a designer-choice.

      - ***************************************************************************************

REFERENCE STANDARDS

None

PRODUCTS

      - ***************************************************************************************

      - The following paragraph is intended for alteration or remodeling work.

      - ***************************************************************************************

Do not use materials and equipment removed from existing premises, except as specifically permitted by the Subcontract Documents.

Provide interchangeable components of the same manufacture for components being replaced.

TRANSPORTATION AND HANDLING

Transport and handle products in accordance with manufacturer's instructions.

Promptly inspect shipments to ensure that products comply with requirements, quantities are correct, and products are undamaged.

Provide equipment and personnel to handle products by methods to prevent soiling, disfigurement, or damage.

STORAGE AND PROTECTION

Store and protect products in accordance with manufacturers' instructions.

Store with seals and labels intact and legible.

Store sensitive products in weather tight, climate-controlled enclosures in accordance with the manufacturer’s requirements.

For exterior storage of fabricated products, place on sloped supports above ground.

Provide off-site storage and protection when site does not permit on-site storage or protection.

Cover Products subject to deterioration with impervious sheet covering. Protect Products from dust, liquids, debris and any deleterious matter, once it is installed and until operational start-up. Provide ventilation to prevent condensation and degradation of products.

Store loose granular materials on solid flat surfaces in a well-drained area. Prevent mixing with foreign matter.

Provide equipment and personnel to store products by methods to prevent soiling, disfigurement, or damage.

Arrange storage of products to permit access for inspection. Periodically inspect to verify products are undamaged and are maintained in acceptable condition.

Manually rotate shafts of rotating equipment (fans, pumps, cooling towers, etc.) weekly from time of arrival to start-up.

PART 2 - PRODUCTS (NOT USED)

PART 3 - EXECUTION (NOT USED)

END OF SECTION

    - **********************************************************************************************

      - Do not omit the following reference information:

    - **********************************************************************************************

THE FOLLOWING REFERENCE IS FOR LANL USE ONLY

THIS PROJECT SPECIFICATION SECTION IS BASED ON LANL MASTER SPECIFICATION SECTION 01 6000, REV. 3, DATED APRIL 15, 2026.