SECTION 01 1116

wORK BY OWNER

*************************************************************************************************************

LANL MASTER SPECIFICATION

When editing to suit project, author shall add job-specific requirements and delete only those portions that in no way apply to the activity (e.g., a component that does not apply).  To seek a variance from applicable requirements, contact the ESM General POC.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General Requirements.

Delete information within “stars” during editing.

Specification developed for ML-3 projects.  For ML-1 / ML-2, additional requirements and QA reviews are required.

*************************************************************************************************************

GENERAL

Section Includes

LANL furnished equipment for Contractor installation (GFE).

LANL furnished and installed equipment.

LANL performed work.

Definitions

- Government Furnished Equipment (GFE): Term used in Contract Documents to refer to LANL furnished property, products or in general to describe any LANL furnished equipment for Contractor installation.

- Provide:  Term in all Spec Sections means Contractor shall furnish and install.

LANL Furnished Equipment for Contractor Installation (GFE)

LANL will furnish as free issue Government Furnished Equipment, identified in Contract Documents as GFE, to be installed by the Contractor in the work or used in its performance.

LANL will deliver GFE to project site except as noted in technical spec sections. (e.g., CCN-4 may require the Contractor to receive material at the CCN-4 warehouse).

Notify Contract Administrator, in writing, 5 calendar days prior to desired date of delivery.

Upon receipt, verify quantity and condition of GFE.  Report any shortages or damages in writing to Contract Administrator within 24 hours.

Install or incorporate all GFE into the work unless otherwise noted.  Uncrate, assemble, perform all prestart-up activity, and place in operation all GFE as recommended by the manufacturer(s).

LANL Furnished and Installed Equipment

LANL will furnish and install equipment identified in Contract Documents as “by LANL”, and will coordinate work with the contractor.

LANL Performed Work

LANL will perform work identified in Contract Documents “by LANL”, and will coordinate work with the contractor.

PRODUCTS

Not Applicable.

EXECUTION

Not Applicable.

END OF SECTION

********************************************************

Do not delete the following reference information:

********************************************************

FOR LANL USE ONLY

This project specification is based on LANL Master Specification 01 1116 Rev. 0, dated January 6, 2006.