SECTION 01 4219

REFERENCE STANDARDS

*************************************************************************************************************

LANL MASTER SPECIFICATION

When editing to suit project, author shall add job-specific requirements and delete only those portions that in no way apply to the activity (e.g., a component that does not apply).  To seek a variance from applicable requirements, contact the ESM General POC.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General Requirements.

Delete information within “stars” during editing.

Specification developed for ML-3 projects.  For ML-1 / ML-2, additional requirements and QA reviews are required.

*************************************************************************************************************

This is an all-inclusive list of Codes, References, Standards, and Organizations for all disciplines with full names, web addresses, and phone numbers.  Therefore, a listing of references in Part 1 of each Spec Section is undesirable and misleading because the specifier falsely believes he has mandated a requirement when he has only listed a reference.  However, the individual sections should individually specify conformance to specific publications or requirements as required in the text of each Spec Section.  If the title as well as the number of a specific reference is desirable to the designer, write it out in the first occurrence and refer to it by number in the remainder of that Spec, i.e., "Conform to ACI 318, Building Code Requirements for Reinforced Concrete."

The list can include extra names of organizations that may not appear in the specs, but should have all those that are actually referenced there.

*************************************************************************************************************

PART 1	GENERAL

1.1	SECTION INCLUDES

A.	Quality Assurance.

B.	Schedule of References.

1.2	QUALITY ASSURANCE

A.	Conform to reference standard by date of issue current on date for receiving bids.

B.	Should specified reference standards conflict with Contract Documents, request clarification from Contract Administrator before proceeding.

1.3	SCHEDULE OF REFERENCES

[Add additional references to suit project]

To the extent specified elsewhere in these Contract Documents, comply with the requirements of the following standards and associations.

AA	Aluminum Association

www.aluminum.org

202-862-5100

AABC	Associated Air Balance Council

www.aabchq.com

202-737-0202

AAMA	American Architectural Manufacturers Association

www.aamanet.org

864-303-5664

AASHTO	American Association of State Highway and Transportation Officials

www.aashto.org

202-624-5800

ABMA	American Bearing Manufacturers Association

www.abma-dc.org

202-367-1155

ABMA	American Boiler Manufactures Association

www.abma.com

703-522-7350

ACI 	American Concrete Institute International

www.aci-int.org

248-848-3700

ADC 	Air Diffusion Council

www.flexibleduct.com

847-706-6750

AEIC	Association of Edison Illuminating Companies

www.aeic.org/

205-257-2530

AF&PA	American Forest & Paper Association

www.afandpa.org

AGA	American Gas Association

www.aga.org

202-824-7000

AGC 	Associated General Contractors of America

www.agc.org/

703-837-5312

AI	Asphalt Institute

www.asphaltinstitute.org

859-288-4960

AIA	American Institute of Architects

www.aia.org

800-242-3837

202-626-7300

AISC	American Institute of Steel Construction

www.aisc.org

312-670-2400

AISI	American Iron and Steel Institute

www.steel.org

202-452-7100

AITC	American Institute of Timber Construction

www.aitc-glulam.org

303-792-9559

ALSC	American Lumber Standards Committee

www.alsc.org

301-972-1700

AMCA	Air Movement and Control Association International

www.amca.org

847-394-0150

ANSI	American National Standards Institute

www.ansi.org

212-642-4980

APA 	APA Engineered Wood Association

www.apawood.org

253-565-6600

API	American Petroleum Institute

www.api.org

202-682-8000

ARI 	Air-Conditioning and Refrigeration Institute

www.ari.org

703-524-8800

ASA	Acoustical Society of America

http://asa.aip.org/

516-576-2360

ASCE	American Society of Civil Engineers

www.asce.org

800-548-2723

ASHRAE	American Society of Heating, Refrigerating and Air Conditioning Engineers

www.ashrae.org

800-527-4273

404-636-8400

ASME	ASME (American Society of Mechanical Engineers) International

www.asme.org

800-843-2763

212-591-7722

ASTM	ATSM (American Society for Testing and Materials) International

www.astm.org

610-832-9585

AWI 	Architectural Woodwork Institute

www.awinet.org

703-733-0600

AWPA	American Wood-Preservers' Association

www.awpa.com

334-874-9800

AWS 	American Welding Society

www.aws.org

800-443-9353

305-443-9353

AWWA	American Water Works Association

www.awwa.org

800-926-7337

303-794-7711

BHMA	Builders Hardware Manufacturers Association

www.buildershardware.com

212-297-2122

BIA 	Brick Industry Association

www.bia.org

703-620-0010

BOCA	Building Officials & Code Administrators

(Consolidated into International Code Council – ICC)

CDA 	Copper Development Association

www.copper.org

212-251-7200

CFR	Code of Federal Regulations

www.gpoaccess.gov/cfr/index.html

CGA	Compressed Gas Association

www.cgnet.com

703-788-2700

CISPI	Cast Iron Soil Pipe Institute

www.cispi.org

423-892-0137

CLFMI	Chain Link Fence Manufacturers Institute

www.chainlinkinfo.org

301-596-2583

CMAA	Crane Manufactures Association of America

www.mhia.org/cmaa

704-676-1190

CRSI	Concrete Reinforcing Steel Institute

www.crsi.org

847-517-1200

CSI	Construction Specifications Institute

www.csinet.org

800-689-2900

CTI	Cooling Tower Institute

www.cti.org

281-583-4087

DHI 	Door and Hardware Institute

www.dhi.org

703-222-2010

DOE	Department of Energy Directives, Regulations and Standards

www.directives.doe.gov or

http://www.eh.doe.gov/techstds

EJMA	Expansion Joint Manufacturers Association

www.ejma.org

914-332-0040

ETL	Environmental Testing Laboratories

www.etlsemko.com

607-753-6711

FGMA	Flat Glass Marketing Association

(see GANA)

FM	FM (Factory Mutual) Global

www.fmglobal.com

401-275-3000

FS	Federal Specification

http://apps.fss.gsa.gov/pub/fedspecs/index.cfm

www.global.ihs.com

800-854-7179

303-347-7956

GA	Gypsum Association

www.gypsum.org

202-289-5440

GANA	Glass Association of North America

(Comprised of LSGA, GRA, and FGMA)

www.cssinfo.com/info/gana.html

HMI	Hoist Manufacturers Institute

www.mhia.org/htmi

704-676-1190

IAMPO	International Association of Plumbing and Mechanical Officials

www.iapmo.com

909-472-4100

ICBO	International Conference of Building Officials

(Consolidated into International Code Council – ICC)

ICC	International Code Council

(Comprised of BOCA and ICBO)

www.iccsafe.org

703-931-4533

ICEA	Insulated Cable Engineers Association

www.icea.net

800-854-7179

303-397-7956

IEEE	Institute of Electrical and Electronics Engineers

www.ieee.org

732-981-0060

IES	Illuminating Engineering Society of North America

www.iesna.org

212-248-5000

IEST	Institute of Environmental Sciences and Technology

http://www.iest.org

847-255-1581

IFI	Industrial Fasteners Institute

www.industrial-fasteners.org

216-241-1482

IGMA	Insulating Glass Manufacturers Alliance

www.igmaonline.org

613-233-1590

IMI	International Masonry Institute

www.imiweb.org

410-280-1305

IRI	Industrial Risk Insurers

www.industrialrisk.com

800-255-6931
                        913-676-5200

ISA	Instrumentation, Systems, and Automation Society

www.isa.org

919-549-8411

ISO	International Organization for Standardization

http://www.iso.org

LPI	Lightning Protection Institute

www.lightning.org

800-488-6864
                     847-577-7200

MBMA	Metal Building Manufacturer's Association

www.mbma.com

216-241-7333

MFMA	Maple Flooring Manufacturers Association

www.maplefloor.org

847-480-9138

MHIA	Material Handling Industry of America

www.mhia.org

704-676-1190

MIL 	Military Specifications

http://assist2.daps.dla.mil/quicksearch

www.global.ihs.com

800-854-7179

303-397-7956

MS	Military Standard Drawings

www.global.ihs.com

800-854-7179

303-397-7956

MSS	Manufacturer's Standardization Society of the Valve and Fittings Industry

www.mss-hq.com

703-281-6613

NAAMM	National Association of Architectural Metal Manufacturers

www.naamm.org

312-332-0405

NADCA	National Air Duct Cleaners Association
		www.nadca.com
		202-737-2926

NBBP	National Board of Boiler & Pressure Vessel Inspectors

www.nationalboard.org

614-888-8320

NCMA	National Concrete Masonry Association

www.ncma.org

703-713-1900

NEBB	National Environmental Balancing Bureau

www.nebb.org

301-977-3698

NECA	National Electrical Contractors Association

www.necanet.org

301-657-3110

NEMA	National Electrical Manufacturers Association

www.nema.org

703-841-5900

NETA	International Electrical Testing Association

www.netaworld.org

303-697-8441

NFPA	National Fire Protection Association

National Fire Codes

www.nfpa.org

617-770-3000

NIST	National Institute of Standards and Technology

U. S. Department of Commerce

www.nist.gov

301-975-6478

NMDOT	New Mexico Department of Transportation

(Formerly New Mexico State Highway Department)

www.nmshtd.state.nm.us

505-827-5100

NSWMA	National Solid Wastes Management Association

www.nswma.org

`		800-424-2869

NTMA	National Terrazzo and Mosaic Association

www.ntma.com

540-751-0930

OSHA	Occupational Safety and Health Administration

www.osha.gov

800-321-6742

877-889-5627

PCA 	Portland Cement Association

www.portcement.org

847-966-6200

PCI 	Precast/Prestressed Concrete Institute

www.pci.org

312-786-0300

PDI	Plumbing and Drainage Institute

www.pdionline.org

800-589-8956

PS	Product Standard, U. S. Department of Commerce

Standards and Codes Information

www.nist.gov

301-975-2000

SDI 	Steel Deck Institute

http://www.sdi.org/

847-458-4647

SDI	Steel Door Institute

www.steeldoor.org

440-899-0010

SJI	Steel Joist Institute

www.steeljoist.org

843-626-1995

SMACNA	Sheet Metal and Air Conditioning Contractors' National Association

www.smacna.org

703-803-2980

SPIB	Southern Pine Inspection Bureau

www.spib.org

850-434-2611

SPRI	Single Ply Roofing Institute

www.spri.org

781-647-7026

SSPC	Society for Protection Coating

www.sspc.org

877-281-7772

STI	Steel Tank Institute

www.steeltank.com

847-438-8265

TCA 	Tile Council America

www.tileusa.com

864-646-8453

TEMA	Tubular Exchanger Manufactures Association

www.tema.org

914-332-0040

TPI	Turfgrass Producers International

www.lawninstitute.com

800-405-8873

847-705-7898

UL	Underwriters' Laboratories

www.ul.com

877-854-3577

UMC	Uniform Mechanical Code (IAPMO)

www.iapmo.com

909-472-4100

UPC	Uniform Plumbing Code (IAPMO)

www.iapmo.com

909-472-4100

USC-		University of Southern California, Foundation for Cross-Connection FCCCHR  	Control and Hydraulic Research

www.usc.edu/dept/fccchr

866-545-6340

213-740-2032

WCLIB	West Coast Lumber Inspection Bureau

www.wclib.org

503-639-0651

WDMA	Window and Door Manufacturers Association

www.nwwda.org

800-223-2301

847-299-5200

WWPA	Western Wood Products Association

www.wwpa.org

503-224-3930

PART 2	PRODUCTS

Not Used.

PART 3	EXECUTION

Not Used.

END OF SECTION

**********************************************************

Do not delete the following reference information:

**********************************************************

FOR LANL USE ONLY

This project specification is based on LANL Master Specification 01 4219 Rev. 0, dated January 6, 2006.