SECTION 01 6000

PRODUCT REQUIREMENTS

*************************************************************************************************************

LANL MASTER SPECIFICATION

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for processes, items, or designs that are not included in the project, add specification requirements not included herein as well as delete specifier’s notes such as these. Additional tailoring requirements are contained in ESM Chapter 1 Section Z10 Att. F, Specifications.

To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual (ESM) General POC. Also please contact the POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

Specification developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Chapter 1 Section Z10 Specifications and Quality sections.

*************************************************************************************************************

PART 1  GENERAL

  - SECTION INCLUDES

- Products.

- Transportation and handling.

- Storage and protection.

  - PRODUCTS

*************************************************************************************************************

The following paragraph is intended for alteration or remodeling work.

*************************************************************************************************************

- Do not use materials and equipment removed from existing premises, except as specifically permitted by the Subcontract Documents.

- Provide interchangeable components of the same manufacture for components being replaced.

  - TRANSPORTATION AND HANDLING

- Transport and handle Products in accordance with manufacturer's instructions.

- Promptly inspect shipments to ensure that Products comply with requirements, quantities are correct, and Products are undamaged.

- Provide equipment and personnel to handle Products by methods to prevent soiling, disfigurement, or damage.

  - STORAGE AND PROTECTION

- Store and protect Products in accordance with manufacturers' instructions.

- Store with seals and labels intact and legible.

- Store sensitive Products in weather tight, climate controlled enclosures in accordance with the manufacturer’s requirements.

- For exterior storage of fabricated Products, place on sloped supports above ground.

- Provide off-site storage and protection when site does not permit on-site storage or protection.

- Cover Products subject to deterioration with impervious sheet covering. Protect Products from dust, liquids, debris and any deleterious matter, once it is installed and until operational start-up. Provide ventilation to prevent condensation and degradation of Products.

- Store loose granular materials on solid flat surfaces in a well-drained area.  Prevent mixing with foreign matter.

- Provide equipment and personnel to store Products by methods to prevent soiling, disfigurement, or damage.

- Arrange storage of Products to permit access for inspection. Periodically inspect to verify Products are undamaged and are maintained in acceptable condition.

- Manually rotate shafts of rotating equipment (fans, pumps, cooling towers, etc.) weekly from time of arrival to start-up.

PART 2  PRODUCTS

Not Used.

PART 3  EXECUTION

Not Used.

END OF SECTION

********************************************************

Do not delete the following reference information:

********************************************************

THE FOLLOWING REFERENCE IS FOR LANL USE ONLY

This project specification is based on LANL Master Specification Section 01 6000 Rev. 2, dated May 31, 2017.