Section 02 4119 
Selective Structure Demolition

  - ************************************************************************************************************

    - LANL MASTER SPECIFICATION SECTION

Rev. 3 Summary of Changes: Edited and updated as required for import into SpecLink.

      - NOTE TO SPECIFIER ON USAGE IN SPECLINK: Activate the Section by turning on Seq #0000, followed by activating paragraphs in PART 1, Article SECTION INCLUDES. This will activate related articles, paras/subparas in the rest of the Section (i.e., SECTION INCLUDES in PART 1 activates articles and paras/subparas in PARTS 2 and 3). If there are choice fields to edit the entire Section (typically in this first author note or beginning of the Section), make selections at those locations, which will filter through the remaining Section. All Articles, paragraphs and subparagraphs must be activated sequentially from top to bottom, unless noted otherwise.

      - This template must be edited for each project. In doing so, Specifier must add job-specific requirements. Selections and choice fields are used to indicate designer choices or locations where text must be supplied by the designer. The section must also be edited to remove requirements for processes, items, or designs that are not included in the project.

      - To seek a variance from applicable requirements in this Section, contact the Engineering Standards Manual (ESM) Structural POC  (LANL access only). Please contact POC with suggestions for improvement as well. LANL personnel should submit here: Suggested Change or Request Clarification; subcontractors via email to engstandards@lanl.gov.

      - When assembling a specification package, include applicable sections from all Divisions, especially Division 1, General Requirements.

      - Section is developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see LANL ESM Chapter 1 - General, Section Z10 Specifications and Quality sections.

  - ************************************************************************************************************

PART 1 - GENERAL

SECTION INCLUDES

Protection of existing materials.

Disposal of materials.

      - ***************************************************************************************

      - Retain the following paragraph when required for project.

      - ***************************************************************************************

Identification of utilities.

Demolition.

      - ***************************************************************************************

      - The following Articles Related Requirements and Reference Standards are a designer-choice.

      - ***************************************************************************************

RELATED REQUIREMENTS

None

REFERENCE STANDARDS

None

      - ***************************************************************************************

      - Edit submittals to include only those absolutely necessary to assure the requirements and features that are important for the specific project will be met. Coordinate with Article Section Includes and PART 3.

      - ***************************************************************************************

INFORMATIONAL SUBMITTALS

Closeout: Accurately record actual locations of capped utilities in Project Record Documents.

SITE CONDITIONS

Do not close or obstruct egress width to exits.

Do not disable or disrupt building fire or life safety systems without << 3 days; or  _______>> prior written notice to the LANL Subcontract Technical Representative (LANL STR).

PART 2 - PRODUCTS (not used)

PART 3 - EXECUTION

PREPARATION

Protect existing materials which are not to be demolished.

Do not damage existing materials designated to be reused.

      - ***************************************************************************************

      - Retain the following paragraph when required for project.

      - ***************************************************************************************

Identify location of existing utilities.

DEMOLITION REQUIREMENTS

Conduct demolition to minimize interference with, and to ensure the safety of, occupied building areas.

If existing structure appears to be in danger, cease operations and notify the LANL STR immediately. Do not resume affected operations until directed by the STR.

If hazardous or contaminated materials are discovered, cease operations immediately and notify LANL STR for direction.

Maintain protected egress and access to the work.

DEMOLITION

      - ***************************************************************************************

      - Retain the following paragraph when required for project.

      - ***************************************************************************************

Disconnect, remove, cap and identify designated utilities within demolition areas.

Demolish in an orderly and safe manner.

        - ******************************************************************************

        - The following subparagraph is a designer-choice.

        - ******************************************************************************

When work includes the removal of a post-installed expansion anchors in a concrete slab that is above a habitable area, the anchor shall be cut off and then ground flush with the slab surface rather than driven-in.

Remove demolished materials from site as work progresses​<< and haul to the Los Alamos County Landfill; or  None - N/A>>​.  Upon completion of work, leave areas in clean condition.

Do not burn or bury materials on site.

Remove temporary work.

END OF SECTION

    - **********************************************************************************************

      - Do not omit the following reference information:

    - **********************************************************************************************

THE FOLLOWING STATEMENT IS FOR LANL USE ONLY

THIS PROJECT SPECIFICATION SECTION IS BASED ON LANL MASTER SPECIFICATION SECTION 02 4119, REV. 3, DATED APRIL 15, 2026.