Section 05 1305 
Stainless Steel

  - *************************************************************************************************************

    - LANL MASTER SPECIFICATION SECTION

Rev. 3 Summary of Changes: Edited and updated as required for import into SpecLink.

      - NOTE TO SPECIFIER ON USAGE IN SPECLINK: Activate the Section by turning on Seq #0000, followed by activating paragraphs in PART 1, Article SECTION INCLUDES. This will activate related articles, paras/subparas in the rest of the Section (i.e., SECTION INCLUDES in PART 1 activates articles and paras/subparas in PARTS 2 and 3). If there are choice fields to edit the entire Section (typically in this first author note or beginning of the Section), make selections at those locations, which will filter through the remaining Section. All Articles, paragraphs and subparagraphs must be activated sequentially from top to bottom, unless noted otherwise.

      - This template must be edited for each project. In doing so, Specifier must add job-specific requirements. Selections and choice fields are used to indicate designer choices or locations where text must be supplied by the designer. The section must also be edited to remove requirements for processes, items, or designs that are not included in the project.

      - To seek a variance from applicable requirements in this Section, contact the Engineering Standards Manual (ESM) Structural POC  (LANL access only). Please contact POC with suggestions for improvement as well. LANL personnel should submit here: Suggested Change or Request Clarification; subcontractors via email to engstandards@lanl.gov.

      - When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General Requirements.

      - Section is developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see LANL ESM Chapter 1 - General, Section Z10 Quality section and Att. F, Specifications.

      - When stainless steel (S/S) is used in ML-1/ -2 structural applications, LANL ESM Chapter 5 - Structural, Sect. III is used for design.  It requires use of ASCE N690 for design of safety-related steel structures and ASCE 8 for design of safety-related S/S.  There is no conflict, however, since N690 requires use of ASCE 8 only for determining strength of S/S members (Section 3), assemblies (Sect. 4) and connections (Sect. 5), respectively.

  - *************************************************************************************************************

PART 1 - GENERAL

SECTION INCLUDES

Section Includes the technical requirements for forms of stainless steel as follows:

        - ******************************************************************************

        - Retain those that apply to the project.

        - ******************************************************************************

Sheet

Plate

Bars

Structural Shapes

Structural Tubing

Piping and Tubing

Forgings and Castings

Section does not include

Compression fittings

RELATED REQUIREMENTS

Section << 01 2500 - Substitution Procedures>>.

REFERENCE STANDARDS

ASTM A182/A182M - Standard Specification for Forged or Rolled Alloy and Stainless Steel Pipe Flanges, Forged Fittings, and Valves and Parts for High-Temperature Service.

ASTM A240/A240M - Standard Specification for Chromium and Chromium-Nickel Stainless Steel Plate, Sheet, and Strip for Pressure Vessels and for General Applications.

ASTM A249/A249M - Standard Specification for Welded Austenitic Steel Boiler, Superheater, Heat- Exchanger, and Condenser Tubes.

ASTM A269/A269M - Standard Specification for Seamless and Welded Austenitic Stainless Steel Tubing for General Service.

ASTM A276/A276M - Standard Specification for Stainless Steel Bars and Shapes.

ASTM A312/A312M - Standard Specification for Seamless, Welded, and Heavily Cold Worked Austenitic Stainless Steel Pipes.

ASTM A376/A376M - Standard Specification for Seamless Austentitic Steel Pipe for High-Temperature Service.

ASTM A479/A479M - Standard Specification for Stainless Steel Bars and Shapes for Use in Boilers and Other Pressure Vessels.

ASTM A480/A480M - Standard Specification for General Requirements for Flat-Rolled Stainless and Heat-Resisting Steel Plate, Sheet, and Strip.

ASTM A511/A511M - Standard Specification for Seamless Stainless Steel Mechanical Tubing and Hollow Bar.

ASTM A554 - Standard Specification for Welded Stainless Steel Mechanical Tubing.

DEFINITIONS

For definitions and acronyms, refer to COE Glossary of Terms.

Certified Material Test Report (CMTR) - Document issued and authenticated by the material manufacturer, defining the chemical composition, mechanical properties and heat treatment of a material.  Provide Certification that defines applicable material specification, Purchase Order number, manufacturer’s order number and applicable heat or lot number.

ACTION SUBMITTALS

Submit the following:

Certified Material Test Reports (CMTR). Certificates of Conformance (CoC) may be provided in lieu of CMTRs, when CMTRs are not available from the mill or sub-tier supplier. Where approved by LANL prior to submittal, CoCs may be submitted in lieu of CMTRs.

        - ******************************************************************************

        - Chlorides (e.g., NaCl, CaCl₂, MgCl₂) are aggressive ions that disrupt the passive chromium oxide film on stainless steel surfaces. Once this layer is breached, localized corrosion can rapidly advance.

        - Include the following subparagraph and its subparagraphs if required by the project.

        - ******************************************************************************

Material Safety Data Sheets (MSDS) or independent lab test reports indicating chloride content for, but not limited to, the following items used by the supplier or manufacturer that comes in contact with the material

Compounds

Cleaning solvents

Liquids

Tape adhesive

Marking pens

      - ***************************************************************************************

      - Include the following Article if required by the project.

      - ***************************************************************************************

QUALITY ASSURANCE/QUALITY CONTROL

      - ***************************************************************************************

      - Invoke quality requirements appropriate for the specific use of the finished product.  For example, use Section 11 5311.10 - Glovebox Fabrication, as a model for content to be inserted here when glovebox-like items are required that are not addressed in Section 11 5311.10.

      - ***************************************************************************************

<< _______>>

PART 2 - PRODUCTS

    - **********************************************************************************************

      - The following Article is a designer-choice.

    - **********************************************************************************************

PRODUCT OPTIONS AND SUBSTITUTIONS

Alternate products may be accepted; follow Section << 01 2500 - Substitution Procedures>>.

MATERIALS

Use only virgin (non-reprocessed) materials.

      - ***************************************************************************************

      - Retain the applicable paragraphs from the following 8 paragraph, as required by the project. Coordinate with corresponding subparagraphs in Section Includes.

      - ***************************************************************************************

Stainless Steel Sheet:

Provide stainless steel sheet per <<ASTM A240/A240M>> and in accordance with the surface finish requirements of <<ASTM A480/A480M>>. Refer to <<ASTM A480/A480M>> for ordering information.

Stainless Steel Plate:

Provide stainless steel plate per <<ASTM A240/A240M>> and in accordance with the surface finish requirements of <<ASTM A480/A480M>>. Refer to <<ASTM A480/A480M>> for ordering information.

      - ***************************************************************************************

      - For ML-1/2 structural and other work: Per AISC N690-2012’s User Note to para. NA3.1a, martensitic grades of ASTM A276 shouldn’t be welded. This shall be taken into account when editing the following two paragraphs.

      - ***************************************************************************************

Stainless Steel Bars

Provide stainless steel bars including round, flat, square, and hexagonal per ​​​<< ASTM A276/A276M; or  ASTM A479/A479M>>​​​.

Stainless Steel Structural Shapes

Provide stainless steel structural shapes including channel, I-beam, and L-angle per ​​​<< ASTM A276/A276M; or  ASTM A479/A479M>>​​​.

        - ******************************************************************************

        - The following is a designer-choice.

        - ******************************************************************************

Equivalent shapes may be fabricated by bending the appropriate sheet or plate stock, with prior LANL approval.

Stainless Steel Structural Tubing

Provide stainless steel square and rectangular tubing per ​​​​<< ASTM A511/A511M; or  ASTM A554>>​​​​.

Stainless Steel Tubing

Provide stainless tubing per ​​​​<< ASTM A249/A249M; or  ASTM A269/A269M>>​​​​.

Stainless Steel Pipe

Provide stainless pipe per ​​​<< ASTM A312/A312M; or  ASTM A376/A376M>>​​​.

Stainless Steel Forgings and Castings

Provide forgings per <<ASTM A182/A182M>>.

        - ******************************************************************************

        - The following is a designer-choice.

        - ******************************************************************************

Castings are permitted for Class 150 rated pipe elbows only if specified on the subcontract drawings.

MATERIAL CONTROL

Material Control Procedure

Implement provisions to ensure that materials used or supplied are not counterfeit or of other suspect origin.

      - ***************************************************************************************

      - Stainless steel is prized for its corrosion resistance, which is primarily due to the formation of a passive chromium oxide layer on the surface. However, carbon contamination can compromise this protective layer, leading to corrosion. Iron or carbon particles embedded in the surface can disrupt the chromium oxide layer. These particles rust, initiating localized corrosion (pitting or crevice corrosion).

      - ***************************************************************************************

Carbon Contamination

Perform cutting with mechanical shop tools, plasma arc, laser, or water jet.  Do not use carbon-arc or iron-powder cutting on stainless steel.

Use wire brushes made of stainless steel.  Ensure grinding wheels and wire brushes are new or previously used only on stainless steel.

Do not allow carbon steel materials to come into contact with stainless steel materials.

PART 3 - EXECUTION

CHLORIDE CONTENT CONTROL

Avoid chloride-bearing compounds, cleaning solvents, tape adhesive, liquids, and marking pens. If used, they are to contain no more than 250 ppm by weight chloride and are to be completely removed by thorough cleaning.

END OF SECTION

    - **********************************************************************************************

      - Do not omit the following reference information:

    - **********************************************************************************************

THE FOLLOWING STATEMENT IS FOR LANL USE ONLY

THIS PROJECT SPECIFICATION SECTION IS BASED ON LANL MASTER SPECIFICATION SECTION 05 1305, REV. 3, DATED APRIL 15, 2026.