SECTION 05 4000

COLD-FORMED METAL FRAMING

*************************************************************************************************************

LANL MASTER SPECIFICATION SECTION

Word file at https://engstandards.lanl.gov

Rev. 7 Summary of Changes: Streamlined welding-related submittals and QC/QA requirements, and clarified items in Related Sections.

This Section specifies cold-formed metal (referred to hereafter by the industry-standard term, cold-formed steel, or CFS) framing including exterior and interior load-bearing and exterior non-load-bearing wall studs, and load bearing floors and roofs.   Members comprising such framing typically have a min. base metal thickness, t, of 0.0329 - 0.118”, although the max. of a member can be as large as 1” (under the AISI definition of “structural CFS”).

CFS trusses; CFS special bolted moment frames; proprietary CFS (e.g., Unistrut, B-Line, etc.); Z- or C-shaped purlin or girt components; cold-formed stainless-steel framing; and interior non-load-bearing, or interior nonstructural, CFS are not included in this section. Studs of the latter type are included in Section 09 2116, Gypsum Board Systems.  Finally, CFS floor and roof deck aren’t included herein, rather they are included in Section 05 3000, Metal Decking.

This Section is for use with LANL ESM Chapter 5, Sections I and II in particular; therefore, it is primarily applicable to ML-4 (routine) projects.  For ML-1, ML-2, and some ML-3, additional requirements and independent reviews may be required; see ESM Chapter 1 Section Z10 Specifications and Quality sections.

ESM Chapter 5, Part II, para. 5.0, via reference to the International Building Code (IBC), Chapter 22, contains provisions governing the quality, design, fabrication, and erection of steel used structurally in buildings or structures.  It is the intent of this and other METALS sections (of the specifications) to address those provisions pertaining to quality, fabrication, and erection; however, the specifier is ultimately responsible for ensuring ALL para. 5.0/ Chapter 22 provisions are complied with on a given Project.

Sustainable design:  This Section includes reference to SD that only applies to certain larger projects (e.g., Total Estimated Cost > $5 million) and other projects having SD goals (ref. ESM Ch. 14).  Delete if not applicable.

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for processes, items, or designs that are not included in the project -- and specifier’s notes such as these.  Additional tailoring requirements are contained in ESM Chapter 1 Section Z10 Att. F, Specifications.

To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual Structural Specs POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

*************************************************************************************************************

GENERAL

SUMMARY

Section includes

Load-bearing wall framing.

Exterior non-load-bearing wall framing.

Floor joist framing.

Roof rafter framing.

Ceiling joist framing.

Soffit framing.

Related Sections:

*************************************************************************************************************

Retain subparagraphs below to cross-reference requirements Subcontractor might expect to find in this Section but are specified in other Sections.

*************************************************************************************************************

Section 01 4444 Offsite Welding and Joining Requirements:  General welding requirements.

Section 01 4455 Onsite Welding and Joining Requirements:  General welding requirements.

Section 01 8113 [LEED v4 and] Guiding Principles 2020: Requirements for water efficiency, energy efficiency, material composition, and indoor air quality requirements

Section 03 6000 Grouting:  For use if/ when concrete or masonry substrates require leveling before setting cold-formed steel track or prefabricated assemblies.

Section 09 2116 Gypsum Board Systems: Interior non-load- bearing, metal-stud-framed wall assemblies, and metal-channel-framed ceiling assemblies.

Section [______-_____________]: [_________].

REFERENCES

**********************************************************************************************************

List reference standards included within text of this Section. Edit for Project conditions.

**********************************************************************************************************

American Iron and Steel Institute (AISI):

AISI S200  North American Standard for Cold-Formed Steel Framing - General Provisions.

AISI S202  Code of Standard Practice for Cold-Formed Steel Structural Framing.

AISI S210  North American Standard for Cold-Formed Steel Framing – Floor and Roof System Design.

AISI S211  North American Standard for Cold-Formed Steel Framing – Wall Stud Design

AISI S212  North American Standard for Cold-Formed Steel Framing - Header Design.

AISI S213  North American Standard for Cold-Formed Steel Framing - Lateral Design.

ASTM International:

ASTM A36    Carbon Structural Steel.

ASTM A123   Zinc (Hot-Dip Galvanized) Coatings on Iron and Steel Products.

ASTM A153   Zinc Coating (Hot-Dip) on Iron and Steel Hardware.

ASTM A563   Carbon and Alloy Steel Nuts.

ASTM A653   Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process.

ASTM A780   Repair of Damaged and Uncoated Areas of Hot-Dip Galvanized Coatings.

ASTM A1003  Standard Specification for Steel Sheet, Carbon, Metallic- and Nonmetallic-Coated for Cold-Formed Framing Members.

ASTM B695   Coatings of Zinc Mechanically Deposited on Iron and Steel.

ASTM C1513  Steel Tapping Screws for Cold-Formed Steel Framing Connections.

ASTM E119   Test Methods for Fire Tests of Building Construction and Materials.

ASTM F436    Hardened Steel Washers.

ASTM F1554  Anchor Bolts, Steel, 36, 55, and 105-ksi Yield Strength.

American Welding Society:

AWS B5.1	Specification for the Qualification of Welding Inspectors.

AWS D1.1	Structural Welding Code - Steel.

AWS D1.3	Structural Welding Code - Sheet Steel.

The Society for Protective Coatings:

SSPC Paint 20 - Zinc-Rich Primers (Type I - Inorganic and Type II - Organic).

DEFINITIONS

EOR:	Engineer-of-Record.

Cold-Formed Steel (CFS):  The industry-standard term for cold-formed metal.

Installer:  Party responsible for the installation of CFS light-frame construction.

*************************************************************************************************************

Per NIST GCR 16-917-38, LFRS is a broader term than Seismic Force-Resisting System (SFRS); the LFRS transfers and resists lateral forces and includes the SFRS as well as the other elements and connections in the lateral load path.

For the content of the following Paragraph to make sense, EOR shall designate on Drawings as “LFRS” any/all structural elements (e.g., shear walls, strap braced walls, diaphragms, etc.) and connections required to resist racking and overturning because of wind forces, or seismic forces, or other predominantly horizontal forces, or combinations thereof, imposed upon the structure.

If Project does not include LFRS, delete Para.

*************************************************************************************************************

Lateral Force-Resisting System (LFRS): The structural elements and connections designated as "LFRS” on the Drawings.

  - ACTION SUBMITTALS

Installation Drawings.

Product Data/ Test Reports:

CFS Members.

Product data sheets, catalogue data or independent evaluation reports, including material, corrosion protection, base steel thickness, and dimensions.

NOTE:  Showing material, corrosion protection, base steel thickness, and dimensions on the installation drawings is an acceptable alternative to this submittal.

Connectors and Mechanical Fasteners.

Product data sheets, catalogue data or independent evaluation reports.

Shop Drawings:

Include layout, spacings, sizes, thicknesses, and types of CFS framing; fabrication; and fastening and anchorage details, including mechanical fasteners.

Indicate reinforcing channels, opening framing, supplemental framing, strapping, bracing, bridging, splices, accessories, connection details, and attachment to adjoining work.

*************************************************************************************************************

The following two Paras. apply only to LFRSs designed in accordance with AISI S213.

NOTE 1:  If Project includes such LFRS(s), but either of the following apply, these submittals aren’t required:

-  The sheathing of the shear wall is gypsum board or fiberboard.

-  The sheathing is wood structural sheathing or steel sheet sheathing on only one side of the shear wall or diaphragm assembly and the fastener spacing of the sheathing is > 4” o.c.

NOTE 2:  The welding-related submittals in Para. 1.4.F for Component Assemblies are not required if/when an assembly is commercial off-the-shelf (COTS) as defined by (as defined by ESM Chapter 13, Volume 1, GWS 1-02).

*************************************************************************************************************

Component Assemblies:  The component manufacturer shall submit the following additional documents, as applicable, for approval prior to the installation of the CFS LFRS elements:

  - Mechanical fastener installation procedures.

  - Product data sheets, catalogue data or independent evaluation reports on hold-downs.

Other Than Component Assemblies:  The installer shall submit the following additional documents, as applicable, for approval prior to the installation of the CFS LFRS elements:

Mechanical fastener installation procedures.

Product data sheets, catalogue data or independent evaluation reports on hold-downs.

Per the requirements of 01 4444 Offsite Welding and Joining Requirements and/or 01 4455 Onsite Welding and Joining Requirements, submit

****************************************************************************************************

When Offsite only, delete submittals below regarding Onsite welding. For high-risk applications such as ML-1 or ML-2, add submittals for “Weld Filler Material Control Procedures” and “Filler Material Certified Material Test Reports (CMTRs)” when required.  Add “Post-Weld Heat Treatment Procedures” when required.

****************************************************************************************************

    - Welding Procedure Specification (WPS) and supporting Procedure Qualification Record (PQR).  [Note:  For Onsite welding use of LANL WPS/PQR is the default; coordinate usage with the LANL CWI; no submittal required]

    - Welder Performance Qualification Records (WPQR) including continuity [Note: For Onsite, welders are tested by LANL who will produce WPQR and track continuity; this includes brazing, bonding and fusing; no submittal required]

    - Inspector qualification records

    - Inspection procedures

    - Shop drawings with weld details/symbols

*************************************************************************************************************

Informational submittals must be limited to those necessary for adequate quality control (QC). The importance of an item, or complexity, in the context of the Project should determine whether a submittal is required.

Retain "Qualification Data" paragraph below with qualification requirements in Section 01 4000 Quality Requirements and as may be supplemented in "Quality Control" Article.  It should be noted that AISI doesn’t stipulate specific qualifications for QC Inspector (QCI); however, this is not the case for QC welding and mechanical fastener inspection personnel.
*************************************************************************************************************

G.	Qualifications/ Qualification Data: For component manufacturer’s and installer’s Quality Control [Mechanical Fastener Inspector] [Inspector].

*************************************************************************************************************

Coordinate first paragraph below with qualification requirements in Section 01 4000 Quality Requirements.

The source of some of this Para. is the SPECTEXT-version of 05 4000, & the rest comes from AIA MasterSpec-version of 05 4000 (i.e., QA Article, Product Tests Para.).

*************************************************************************************************************

H.	Mill Certifications: Submit mill certifications for steel sheet. Certify base steel thickness in 0.001 inch, yield strength, tensile strength, total elongation in 2-inch gauge length, chemical analysis, and galvanized coating thickness.

*************************************************************************************************************

Depending on the complexity, needs, etc. of Project, the EOR is free to “recategorize” any/all of the documents in the following Article as a submittal(s).  If such is desired/required then do so by relocating the document(s) to the applicable Submittals article.

*************************************************************************************************************

AVAILABLE DOCUMENTS

The following documents, as applicable and upon request, shall be made available by the component manufacturer or installer, as applicable, in electronic or printed form for review prior to installation of the CFS light-frame construction:

Manufacturer’s installation instructions for connectors, hold-downs, and mechanical fasteners.

Manufacturer’s product data sheets or catalog data for welding consumables, filler metals and fluxes that include the product, limitations of use, recommended or typical welding parameters, and storage and exposure requirements.

Welding procedure specifications (WPS).

Procedure qualification records (PQR) for WPS and, as applicable, LANL WPS, that are not prequalified in accordance with AWS D1.3 and, as applicable, AWS D1.1.

Component manufacturer’s and installer’s written quality control (QC) program(s) that include material control procedures, inspection procedures, and nonconformance procedures.

SUSTAINABLE DESIGN SUBMITTALS

Sustainable Design (LD) Submittals:  Comply with requirements specified in [individual Sections]  Section 01 8113 - [LEED v4 and] Guiding Principles 2020: Requirements for water efficiency, energy efficiency, material composition, and indoor air quality requirements

Manufacturer's Certificate: Certify products meet or exceed specified sustainable design requirements.

**********************************************************************************************************

Edit material certifications list to suit products specified in this section and Project sustainable design requirements. Specific certificate submittal and supporting data requirements are specified in ESM Chapter 14.

**********************************************************************************************************

Materials Resources Certificates:

Certify source and origin for [salvaged] [and] [reused] products.

Certify recycled material content for recycled content products.

Certify source for local and regional materials and distance from Project site.

Indoor Air Quality Certificates:

Certify volatile organic compound content for each interior paint and coating.

Product Cost Data: Submit cost of products to verify compliance with Project sustainable design requirements. Exclude cost of labor and equipment to install products.

Provide cost data for the following products:

***********************************************************************************************************

Edit list of material cost data to suit products specified in this section and Project sustainable design requirements. Specific cost data requirements are specified in ESM Chapter 14.

***********************************************************************************************************

Salvaged, refurbished, and reused products.

Products with recycled material content.

Regional products.

[____________________.]

QUALITY CONTROL (QC)

*************************************************************************************************************
AISI S240-15 Ch. D distinguishes between quality control (QC) and quality assurance (QA):

- QC is what is contained herein and is the responsibility of the Component Manufacturer & the Installer.

- QA (which is also required by IBC Chapter, 17) is contained in the EOR’s Statement of Special Inspections (SSI), & is the responsibility of LANL (i.e., execution of the SSI).  The SSI template is found in ESM Ch. 16, Sect. IBC-IP, Attach. B.

*************************************************************************************************************

QC Inspector (QCI) Qualifications:  The qualifications of the QCI(s) engaged by the component manufacturer and the Installer shall comply with the applicable provisions in Section 01 4000, Quality Requirements, and the following, as applicable:

QC welding inspection personnel shall be qualified in accordance with the component manufacturer’s or installer’s QC program, as applicable, and in accordance with one of the following:

Associate Welding Inspector (AWI) or higher as defined in AWS B5.1.

Qualified by training or experience, or both, in CFS light-frame construction component manufacturing, installation, inspection, or testing and competent to perform inspection of the work.

QC mechanical fastener inspection personnel shall be qualified in accordance with the installer’s QC program based on training and experience in installation of similar fasteners and shall be competent to perform inspection of the work.

**********************************************************************************************************

Retain appropriate subparagraph(s) under paragraph below if shop and /or field welding is required. If retaining, also retain "WPQR" Para. in Action Submittals Article.

**********************************************************************************************************

Welding Qualifications:

        - Refer to 01 4444 Offsite Welding and Joining Requirements and/or Section 01 4455 Onsite Welding and Joining Requirements.

Comply with applicable provisions of the following standards and documents:

**********************************************************************************************************

Retain references in subparagraphs below if applicable. Insert others to suit Project.

**********************************************************************************************************

AISI S200.

AISI S202.

AISI S210.

AISI S211.

AISI S212.

AISI S213.

DELIVERY, STORAGE, AND HANDLING

Comply with any /applicable portions of AISI S202 Chapter F Paragraph F3, Delivery, Handling and Storage of Materials.

Protect cold-formed steel framing from corrosion, moisture staining, deformation, and other damage during delivery, storage, and handling.

PRODUCTS

PERFORMANCE REQUIREMENTS

************************************************************************************************************

Retain Para. below only if products specified are part of a fire-resistance-rated assembly. Indicate rating, testing agency, and testing agency's design designation on Drawings.

************************************************************************************************************

Fire-Resistance Ratings: Comply with ASTM E 119; testing by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

Indicate design designations from UL's "Fire Resistance Directory" or from the listings of another qualified testing agency.

CFS FRAMING, GENERAL

Steel Sheet: ASTM A1003; Structural Grade, Type H, metallic coated, of grade and coating weight as follows:

*************************************************************************************************************

Retain minimum grade requirements from options in "Grade" subparagraph below. If more than one grade option is required, indicate location of each on Drawings.

Grade designations indicate yield strength in ksi.

*************************************************************************************************************

Grade: [ST33H.] [ST50H.] [            .]

*************************************************************************************************************

Minimum coating requirement for Structural Grade, Type H steel is G60 or equivalent. Retain first option in subparagraphs below if ASTM A 1003's listing of minimum coating thicknesses is required. This minimum coating designation assumes normal exposure conditions and construction practices. When more severe exposure conditions are probable, consider specifying G90, which is a heavier (& costlier) coating. The Brick Industry Association recommends G90 coating for stud backup applications. Verify availability of heavier-coated steel. If more than one coating option is required, indicate location of each on Drawings

*************************************************************************************************************

Coating: [G60, A60, AZ50, or GF30] [G90 or equivalent] [              ].

*************************************************************************************************************

Retain Para. below if applicable.  Vertical-deflection clips are typically used in CFS applications in which the CFS is not to be subjected to compression loads.  One such example would be the connection of CFS-curtain-wall studs to a bldg. floor slab; although the CFS relies on the slab for support, it cannot tolerate axial load resulting from to slab deflection.  These clips allow for the CFS to move vertically on the order of 2” (i.e., 1” up & 1” down). Drift clips allow for the same vertical movement, & also permit limited lateral movement (e.g., 1” left & 1” right).  These might be necessary for connection between the top of a CFS wall & the underside of a member in the LFRS, as well as for some curtain walls.
*************************************************************************************************************

Steel Sheet for [Vertical Deflection] [Drift] Clips: ASTM A 653, structural steel, zinc coated, of grade and coating as follows:

*************************************************************************************************************

Retain grade requirements from options in subpara. below.  Class 1 (in Gr 50) has Fu = 65 ksi, which isn’t the case w/ the other classes that are available.

*************************************************************************************************************

Grade: [33] [50, Class 1].

Coating: [G60] [G90].

LOAD-BEARING WALL FRAMING

*************************************************************************************************************

Retain this Article if load-bearing steel studs are required. Either here or on the Drawings, distinguish location of axial load-bearing framing from exterior non-load-bearing wall framing.

Indicate stud and track web depth on Drawings or insert here.

*************************************************************************************************************

Steel Studs: Manufacturer's standard C-shaped steel studs, of web depths indicated, punched, with stiffened flanges, and as follows:

*************************************************************************************************************

Retain one steel thickness from subpara. below or revise to suit Project. Sequence corresponds to common thickness designators 33, 43, 54, 68, and 97 and obsolete 20-, 18-, 16-, 14-, and 12-gage designations. If retaining different thicknesses for different components, indicate locations here or in framing Articles below.

*************************************************************************************************************

Minimum Base-Steel Thickness: [0.0329 inch] [0.0428 inch] [0.0538 inch] [0.0677 inch] [0.0966 inch].

*************************************************************************************************************

Flange widths vary with application. If sheathing or masonry ties are required, consider minimum flange width of 1-5/8 inches. Sequence corresponds to common flange width designators 137, 162, 200, and 250.

*************************************************************************************************************

Flange Width: [1-3/8 inches] [1-5/8 inches] [2 inches] [2-1/2 inches].

*************************************************************************************************************

Provide values of properties indicated in subparagraph below, and state whether they are “gross” or “effective.”

*************************************************************************************************************

[Gross] [Effective] Section Properties: [Insert minimum allowable calculated section modulus, moment of inertia, and allowable moment].

Steel Track: Manufacturer's standard U-shaped steel track, of web depths indicated, unpunched, with straight flanges, and as follows:

*************************************************************************************************************

Retain one steel thickness from subparagraph below or revise to suit Project.

*************************************************************************************************************

Minimum Base-Steel Thickness: [0.0329 inch] [0.0428 inch] [0.0538 inch] [0.0677 inch] [0.0966 inch] [Matching steel studs].

Flange Width: [1-1/4 inches] [Insert dimension if manufacturer's standard width is insufficient].

Steel Box or Back-to-Back Headers: Manufacturer's standard C-shapes used to form header beams, of web depths indicated, unpunched, with stiffened flanges, and as follows:

*************************************************************************************************************

Retain one steel thickness from subpara. below or revise to suit Project.  If retaining different thicknesses for different locations, indicate locations here or in the framing Articles below.

*************************************************************************************************************

Minimum Base-Steel Thickness: [0.0329 inch] [0.0428 inch] [0.0538 inch] [0.0677 inch] [0.0966 inch].

*************************************************************************************************************

Flange widths vary with application, coordinate with wall width.

*************************************************************************************************************

Flange Width: [1-3/8 inches] [1-5/8 inches] [2 inches] [2-1/2 inches].

*************************************************************************************************************

Provide values of properties indicated in subpara. below, and state whether they are “gross” or “effective.”

*************************************************************************************************************

[Gross] [Effective] Section Properties: [Insert minimum allowable calculated section modulus, moment of inertia, and allowable moment].

Steel Single- or Double-L Headers: Manufacturer's standard L-shapes used to form header beams, of web depths indicated, and as follows:

*************************************************************************************************************

Retain one steel thickness from subpara. below or revise to suit Project.  If retaining different thicknesses for different locations, indicate locations here or in the framing Articles below.

*************************************************************************************************************

Minimum Base-Steel Thickness: [0.0329 inch] [0.0428 inch] [0.0538 inch] [0.0677 inch] [0.0966 inch].

*************************************************************************************************************

First option in subparagraph below is min. top flange width recognized by AISI S212. Coordinate with wall width.

*************************************************************************************************************

Flange Width: [1-1/2 inches] [1-5/8 inches] [2 inches] [2-1/2 inches].

*************************************************************************************************************

Provide values of properties indicated in subparagraph below, and state whether they are “gross” or “effective.”

*************************************************************************************************************

[Gross] [Effective] Section Properties: [Insert minimum allowable calculated section modulus, moment of inertia, and allowable moment].

EXTERIOR NON-LOAD-BEARING WALL FRAMING

*************************************************************************************************************

Retain this Article if exterior non-load-bearing wall framing, sometimes called "curtain-wall" framing by manufacturers, is required. 
Indicate stud and track web depth on Drawings or insert here.
*************************************************************************************************************

Steel Studs: Manufacturer's standard C-shaped steel studs, of web depths indicated, punched, with stiffened flanges, and as follows:

*************************************************************************************************************

Retain one steel thickness from subpara. below or revise to suit Project. Sequence corresponds to common thickness designators 33, 43, 54, 68, and 97 and obsolete 20-, 18-, 16-, 14-, and 12-gage designations.

*************************************************************************************************************

Minimum Base-Steel Thickness: [0.0329 inch] [0.0428 inch] [0.0538 inch] [0.0677 inch] [0.0966 inch].

*************************************************************************************************************

Flange widths vary with application. If sheathing or masonry ties are required, consider minimum flange width of 1-5/8 inches. Sequence corresponds to common flange width designators 137, 162, 200, and 250.

*************************************************************************************************************

Flange Width: [1-3/8 inches] [1-5/8 inches] [2 inches] [2-1/2 inches].

*************************************************************************************************************

Provide values of properties indicated in subpara. below, and state whether they are “gross” or “effective.”

*************************************************************************************************************

[Gross] [Effective] Section Properties: [Insert minimum allowable calculated section modulus, moment of inertia, and allowable moment].

Steel Track: Manufacturer's standard U-shaped steel track, of web depths indicated, unpunched, with straight flanges, and as follows:

*************************************************************************************************************

Retain one steel thickness from subpara. below or revise to suit Project.

*************************************************************************************************************

Minimum Base-Steel Thickness: [0.0329 inch] [0.0428 inch] [0.0538 inch] [0.0677 inch] [0.0966 inch] [Matching steel studs].

Flange Width: [1-1/4 inches] [Insert dimension if manufacturer's standard width is insufficient].

*************************************************************************************************************

Retain "Vertical Deflection Clips," "Single Deflection Track," or "Double Deflection Tracks" Para. below for components to cope with vertical deflection of the primary structure.

*************************************************************************************************************

*************************************************************************************************************

Retain "Vertical Deflection Clips" Para. below if required; revise to add displacement if deflection of primary structure is not indicated.  Head clips are used at the top of a CFS wall, while bypass clips are used at other locations along the height of a wall.

*************************************************************************************************************

Vertical Deflection Clips: Manufacturer's standard [bypass] [head] clips, capable of accommodating upward and downward vertical displacement of primary structure through positive mechanical attachment to stud web.

*************************************************************************************************************

Retain "Single Deflection Track" Para. below if required.  Revise description, as applicable, if limiting types of single-leg track.

*************************************************************************************************************

Single Deflection Track: Manufacturer's single, deep-leg, U-shaped steel track; unpunched, with unstiffened flanges, of web depth to contain studs while allowing free vertical movement, with flanges designed to support horizontal loads and transfer them to the primary structure, and as follows:

*************************************************************************************************************

Retain one steel thickness from subpara. below or revise to suit Project.

Deflection track flange is usually designed to be thicker than corresponding studs to resist transverse loading.  Coordinate flange width with deflection of primary structure to ensure that structure does not bear on framing.

*************************************************************************************************************

      - Minimum Base-Steel Thickness: [0.0428 inch] [0.0538 inch] [0.0677 inch] [0.0966 inch].

      - Flange Width: [1 inch plus the design gap for one-story structures] [and] [1 inch plus twice the design gap for other applications] [Insert dimension].

Double Deflection Tracks: Manufacturer's double, deep-leg, U-shaped steel tracks, consisting of nested inner and outer tracks; unpunched, with unstiffened flanges.

*************************************************************************************************************

Retain one steel thickness from subpara. below or revise to suit Project.

Deflection track flange is usually designed to be thicker than corresponding studs to resist transverse loading.  Coordinate flange width with deflection of primary structure to ensure that structure does not bear on framing.

*************************************************************************************************************

Outer Track: Of web depth to allow free vertical movement of inner track, with flanges designed to support horizontal loads and transfer them to the primary structure, and as follows:

Minimum Base-Steel Thickness: [0.0329 inch] [0.0428 inch] [0.0538 inch] [0.0677 inch] [0.0966 inch].

Flange Width: [1 inch plus the design gap for one-story structures] [and] [1 inch plus twice the design gap for other applications] [Insert dimension].

Inner Track: Of web depth indicated, and as follows:

Minimum Base-Steel Thickness: [0.0428 inch] [0.0538 inch] [0.0677 inch] [0.0966 inch].

Flange Width: [Insert dimension equal to sum of outer deflection track flange width plus 1 inch].

*************************************************************************************************************

Retain Paragraph below if drift clips are required to accommodate horizontal and vertical deflection of the primary structure.  Head clips are used at the top of a CFS wall, while bypass clips are used at other locations along the height of a wall.

*************************************************************************************************************

Drift Clips: Manufacturer's standard bypass or head clips, capable of isolating wall stud from upward and downward vertical displacement and lateral drift of primary structure through positive mechanical attachment to stud web and structure.

FLOOR JOIST FRAMING

*************************************************************************************************************

Retain this Article if steel joists are required.  If joist and joist-track depth are not indicated, revise paragraphs below and insert depth required.

*************************************************************************************************************

Steel Joists: Manufacturer's standard C-shaped steel joists, of web depths indicated, [unpunched,] [punched,] [punched, with enlarged service holes,] with stiffened flanges, and as follows:

*************************************************************************************************************

Retain one steel thickness from subparagraph below or revise to suit Project. Sequence corresponds to common thickness designators 33, 43, 54, 68, and 97 and obsolete 20-, 18-, 16-, 14-, and 12-gage designations.

*************************************************************************************************************

Minimum Base-Steel Thickness: [0.0329 inch] [0.0428 inch] [0.0538 inch] [0.0677 inch] [0.0966 inch].

*************************************************************************************************************

Retain one flange width from subpara. below. Flange widths may vary with application. Sequence corresponds to common flange width designators 162, 200, and 250.

*************************************************************************************************************

Flange Width: [1-5/8 inches] [2 inches] [2-1/2 inches] minimum.

*************************************************************************************************************

Provide values of properties indicated in subpara. below, and state whether they are “gross” or “effective.”

*************************************************************************************************************

[Gross] [Effective] Section Properties: [Insert minimum allowable calculated section modulus, moment of inertia, and allowable moment].

Steel Joist Track: Manufacturer's standard U-shaped steel joist track, of web depths indicated, unpunched, with unstiffened flanges, and as follows:

*************************************************************************************************************

Retain one steel thickness from subpara. below or revise to suit Project.

*************************************************************************************************************

Minimum Base-Steel Thickness: [0.0329 inch] [0.0428 inch] [0.0538 inch] [0.0677 inch] [0.0966 inch] [Matching steel joists].

*************************************************************************************************************

Retain one flange width from subpara. below.

*************************************************************************************************************

Flange Width: [1-1/4 inches] ] [1-1/2 inches] [2 inches] minimum.

ROOF-RAFTER FRAMING

*************************************************************************************************************

Retain this Article if steel rafters are required.  If rafter web depth is not indicated, revise Para.  below and insert depth required.

*************************************************************************************************************

    - Steel Rafters: Manufacturer's standard C-shaped steel sections, of web depths indicated, with stiffened flanges, and as follows:

*************************************************************************************************************

Retain one steel thickness from subpara. below or revise to suit Project. Sequence corresponds to common thickness designators 33, 43, 54, 68, and 97 and obsolete 20-, 18-, 16-, 14-, and 12-gage designations.

*************************************************************************************************************

Minimum Base-Steel Thickness: [0.0329 inch] [0.0428 inch] [0.0538 inch] [0.0677 inch] [0.0966 inch].

*************************************************************************************************************

Retain one flange width from subpara. below. Flange widths may vary with application. Sequence corresponds to common flange width designators 162, 200, and 250.

*************************************************************************************************************

Flange Width: [1-5/8 inches] [2 inches] [2-1/2 inches] minimum.

*************************************************************************************************************

Provide values of properties indicated in subpara. below, and state whether they are “gross” or “effective.”

*************************************************************************************************************

[Gross] [Effective] Section Properties: [Insert minimum allowable calculated section modulus, moment of inertia, and allowable moment].

CEILING JOIST FRAMING

*************************************************************************************************************

Retain this Article if steel joists are required.  If joist and joist-track depth are not indicated, revise Para. below and insert depth required.

*************************************************************************************************************

Steel Ceiling Joists: Manufacturer's standard C-shaped steel sections, of web depths indicated, [unpunched,] [punched, with enlarged service holes,] [punched, with standard holes,] with stiffened flanges, and as follows:

*************************************************************************************************************

Retain one steel thickness from subpara. below or revise to suit Project. Sequence corresponds to common thickness designators 33, 43, 54, 68, and 97 and obsolete 20-, 18-, 16-, 14-, and 12-gage designations.

*************************************************************************************************************

Minimum Base-Steel Thickness: [0.0329 inch] [0.0428 inch] [0.0538 inch] [0.0677 inch] [0.0966 inch].

*************************************************************************************************************

Retain one flange width from subpara. below. Flange widths may vary with application. Sequence corresponds to common flange width designators 162, 200, and 250.

*************************************************************************************************************

Flange Width: [1-5/8 inches] [2 inches] [2-1/2 inches] minimum.

*************************************************************************************************************

Provide values of properties indicated in subpara. below, and state whether they are “gross” or “effective.”

*************************************************************************************************************

[Gross] [Effective] Section Properties: [Insert minimum allowable calculated section modulus, moment of inertia, and allowable moment].

SOFFIT FRAMING

*************************************************************************************************************

Retain this Article if soffit framing is required.  If soffit frame web depth is not indicated, revise Para. below and insert depth required.

*************************************************************************************************************

Exterior Soffit Frame: Manufacturer's standard C-shaped steel sections, of web depths indicated, with stiffened flanges, and as follows:

*************************************************************************************************************

Retain one steel thickness from subpara. below or revise to suit Project. Sequence corresponds to common thickness designators 33, 43, 54, 68, and 97 and obsolete 20-, 18-, 16-, 14-, and 12-gage designations.

*************************************************************************************************************

Minimum Base-Steel Thickness: [0.0329 inch] [0.0428 inch] [0.0538 inch] [0.0677 inch] [0.0966 inch].

*************************************************************************************************************

Retain one flange width from subpara. below. Flange widths may vary with application. Sequence corresponds to common flange width designators 162, 200, and 250.

*************************************************************************************************************

Flange Width: [1-5/8 inches] [2 inches] [2-1/2 inches] minimum.

*************************************************************************************************************

Provide values of properties indicated in subpara. below, and state whether they are “gross” or “effective.”

*************************************************************************************************************

[Gross] [Effective] Section Properties: [Insert minimum allowable calculated section modulus, moment of inertia, and allowable moment].

FRAMING ACCESSORIES

*************************************************************************************************************

Revise minimum yield strength of accessories as required.

*************************************************************************************************************

Fabricate steel-framing accessories from steel sheet, ASTM A 1003, Structural Grade, Type H, metallic coated, of same grade and coating weight used for framing members.

Provide accessories of manufacturer's standard thickness and configuration, unless otherwise indicated, as follows:

*************************************************************************************************************

Revise list below to suit Project.

*************************************************************************************************************

Supplementary framing.

Bracing, bridging, and solid blocking.

Web stiffeners.

Anchor clips.

End clips.

Foundation clips.

Gusset plates.

Stud kickers and knee braces.

Joist hangers and end closures.

Hole reinforcing plates.

Backer plates.

ANCHORS, CLIPS, AND FASTENERS

*************************************************************************************************************

Delete Para. below if rolled steel shapes and clips are not required or are specified in another Section.
*************************************************************************************************************

Steel Shapes and Clips: ASTM A 36, zinc coated by hot-dip process according to ASTM A 123

*************************************************************************************************************

Retain grade of cast-in-place anchor bolt, head type, and type of protective coating from Para. below. Revise if using high-strength, low-alloy anchor bolts.

*************************************************************************************************************

Anchor Bolts: ASTM F 1554, [Grade 36] [Grade 55], threaded carbon-steel [heavy-hex-headed bolts] [headless, hooked bolts] [headless bolts, with encased end threaded,] and ASTM A 563 heavy-hex carbon-steel nuts; and flat ASTM F 436 , Type 1, hardened-carbon-steel washers; zinc coated by [hot-dip process according to ASTM A 153, Class C] [mechanically deposition according to ASTM B 695, Class 50]

*************************************************************************************************************

Delete Para. below if expansion anchors are not required or are specified in another Section.

If retaining Para, indicate name of product, the corresponding ICC-ES Report, steel type, etc.  Refer to LANL ESM Ch. 5 Sect. II App. A for details that must be indicated either here or on Drawings.

*************************************************************************************************************

Expansion Anchors: [_______________].

*************************************************************************************************************

Delete Para. below if power-actuated fasteners are not required or are specified in another Section.

If retaining Para, indicate name of product, the corresponding ICC-ES Report, etc.  Refer to LANL ESM Ch. 5 Sect. II App. A for limitations of use and details that must be indicated either here or on Drawings.

*************************************************************************************************************

Power-Actuated Fasteners: [_______________].

Mechanical Fasteners: ASTM C 1513, corrosion-resistant-coated, self-drilling, self-tapping, steel drill screws.

Head Type: Low-profile head beneath sheathing, manufacturer's standard elsewhere

Welding Electrodes: Comply with AWS standards.

MISCELLANEOUS MATERIALS

Galvanizing Repair Paint: [SSPC-Paint 20] [ASTM A 780].

Shims: Load bearing, high-density multimonomer plastic, and nonleaching; or of CFS of same grade and coating as framing members supported by shims.

Sealer Gaskets: Closed-cell neoprene foam, ¼-inch thick, selected from manufacturer's standard widths to match width of bottom track or rim track members.

FABRICATION

*************************************************************************************************************

Retain this Article for examples of shop or field fabrication including panelized load-bearing and non-load-bearing walls.

*************************************************************************************************************

Fabricate CFS framing and accessories plumb, square, and true to line, and with connections securely fastened, according to referenced AISI documents, manufacturer's written instructions, and requirements in this Section.

Fabricate framing assemblies using jigs or templates.

Cut framing members by sawing or shearing; do not torch cut.

Fasten CFS framing members by welding, screw fastening, clinch fastening, pneumatic pin fastening, or riveting as standard with fabricator. Wire tying of framing members is not permitted

Comply with AWS D1.3 requirements and procedures for welding, appearance and quality of welds, and methods used in correcting welding work.

Locate mechanical fasteners and install according to Shop Drawings, with screw penetrating joined members by no fewer than three exposed screw threads.

Fasten other materials to CFS framing by welding, bolting, pneumatic pin fastening, or screw fastening, according to Shop Drawings.

Reinforce, stiffen, and brace framing assemblies to withstand handling, delivery, and erection stresses. Lift fabricated assemblies to prevent damage or permanent distortion.

*************************************************************************************************************

Revise Para. below to suit Project.

*************************************************************************************************************

Fabrication Tolerances: Fabricate assemblies level, plumb, and true to line to a maximum allowable tolerance variation of 1/8 inch in 10 feet (1:960) and as follows:

Spacing: Space individual framing members no more than plus or minus 1/8 inch from plan location. Cumulative error shall not exceed minimum fastening requirements of sheathing or other finishing materials.

Squareness: Fabricate each CFS framing assembly to a maximum out-of-square tolerance of 1/8 inch.

SOURCE/ COMPONENT QUALITY CONTROL

See FIELD/ INSTALLER QUALITY CONTROL ARTICLE (in PART 3 herein).

EXECUTION

EXAMINATION

Examine supporting substrates and abutting structural framing for compliance with requirements for installation tolerances and other conditions affecting performance of the Work.

Proceed with installation only after unsatisfactory conditions have been corrected.

PREPARATION

*************************************************************************************************************

Retain first two Paras. below if sprayed fire-resistive materials are required.

*************************************************************************************************************

Before sprayed fire-resistive materials are applied, attach continuous angles, supplementary framing, or tracks to structural members indicated to receive sprayed fire-resistive materials.

After applying sprayed fire-resistive materials, remove only as much of these materials as needed to complete installation of cold-formed framing without reducing thickness of fire-resistive materials below that are required to obtain fire-resistance rating indicated. Protect remaining fire-resistive materials from damage.

*************************************************************************************************************

Retain Para. below if bottom track of load-bearing walls requires a uniform-bearing surface on concrete or masonry construction.

*************************************************************************************************************

Install load bearing shims or grout between the underside of load-bearing wall bottom track and the top of foundation wall or slab at locations with a gap larger than 1/4 inch to ensure a uniform bearing surface on supporting concrete or masonry construction.

*************************************************************************************************************

Retain Para. below if sealing the gap between framing and concrete or masonry construction.

*************************************************************************************************************

Install sealer gaskets at the underside of wall bottom track or rim track and at the top of foundation wall or slab at stud or joist locations.

Complete framing ready to receive [________].

INSTALLATION, GENERAL

*************************************************************************************************************

Retain this Article with each specific framing classification in articles elsewhere below.
*************************************************************************************************************

CFS framing may be shop or field fabricated for installation, or it may be field assembled.

Install CFS framing according to AISI S200 and to manufacturer's written instructions unless more stringent requirements are indicated.

*************************************************************************************************************

Retain Para. below for shop- or field-fabricated wall panels.

*************************************************************************************************************

Install shop- or field-fabricated, CFS framing and securely anchor to supporting structure.

Screw, bolt, or weld wall panels at horizontal and vertical junctures to produce flush, even, true-to-line joints with maximum variation in plane and true position between fabricated panels not exceeding 1/16 inch.

Install CFS framing and accessories plumb, square, and true to line, and with connections securely fastened.

Cut framing members by sawing or shearing; do not torch cut.

Fasten CFS framing members by welding, screw fastening, clinch fastening, or riveting. Wire tying of framing members is not permitted.

Comply with AWS D1.3 requirements and procedures for welding, appearance and quality of welds, and methods used in correcting welding work.

Locate mechanical fasteners and install according to Shop Drawings, and complying with requirements for spacing, edge distances, and screw penetration.

Install framing members in one-piece lengths unless splice connections are indicated for track or tension members.

Install temporary bracing and supports in accordance with AISI S202. Maintain braces and supports in place, undisturbed, until entire integrated supporting structure has been completed and permanent connections to framing are secured.

*************************************************************************************************************

Include details on Drawings showing expansion-joint construction and locations.

*************************************************************************************************************

Do not bridge building expansion joints with CFS framing. Independently frame both sides of joints.

*************************************************************************************************************

Retain Para. below if insulation for exterior framing is required.

*************************************************************************************************************

Install insulation, specified in Section 07 2100 Thermal Insulation, in built-up exterior framing members, such as headers, sills, boxed joists, and multiple studs at openings, that are inaccessible on completion of framing work

Fasten hole reinforcing plate over web penetrations that exceed size of manufacturer's approved or standard punched openings.

*************************************************************************************************************

Revise Para. below to suit Project. Coordinate with limitations of subsequent finish materials.

*************************************************************************************************************

Erection Tolerances: Install CFS framing level, plumb, and true to line to the maximum allowable tolerance indicated in AISI S200 and as follows:

Deviation from plan location for the spacing of individual framing members shall not exceed that permitted by AISI S200. Cumulative error shall not exceed minimum fastening requirements of sheathing or other finishing materials.

LOAD-BEARING WALL INSTALLATION

*************************************************************************************************************

If this Article is required, retain with "Installation, General" Article.

*************************************************************************************************************

Install continuous top and bottom tracks sized to match studs. Align tracks accurately and securely anchor at corners and ends, and at spacings as indicated.

Squarely seat studs against top and bottom tracks with gap not exceeding of 1/8 inch between the end of wall framing member and the web of track. Fasten both flanges of studs to top and bottom tracks. Space studs as indicated.

Set studs plumb, except as needed for diagonal bracing or required for non-plumb walls or warped surfaces and similar configurations.

Align studs vertically where floor framing interrupts wall-framing continuity. Where studs cannot be aligned, continuously reinforce track to transfer loads.

Align floor and roof framing over studs according to AISI S200, Section C1. Where framing cannot be aligned, continuously reinforce track to transfer loads.

Anchor studs abutting structural columns or walls, including masonry walls, to supporting structure as indicated.

Install headers over wall openings wider than stud spacing. Locate headers above openings as indicated. Fabricate headers of compound shapes indicated or required to transfer load to supporting studs, complete with clip-angle connectors, web stiffeners, or gusset plates.

Frame wall openings with not less than a double stud at each jamb of frame as indicated on Shop Drawings. Fasten jamb members together to uniformly distribute loads.

Install runner tracks and jack studs above and below wall openings. Anchor tracks to jamb studs with clip angles or by welding, and space jack studs same as full-height wall studs.

Install supplementary framing, blocking, and bracing in stud framing indicated to support fixtures, equipment, services, casework, heavy trim, furnishings, and similar work requiring attachment to framing.

If type of supplementary support is not indicated, comply with stud manufacturer's written recommendations and industry standards in each case, considering weight or load resulting from item supported.

Install horizontal bridging in stud system, spaced vertically as indicated. Fasten at each stud intersection.

*************************************************************************************************************

Retain type of bridging required from 3 subparagraphs below or revise to suit Project. Insert locations if > 1 type of bridging is required. Insert min. size of flat steel strap, such as 1-1/2” x 0.0329”, if default size is required.

*************************************************************************************************************

Bridging: Cold-rolled steel channel, welded or mechanically fastened to webs of punched studs with a minimum of two screws into each flange of the clip angle for framing members up to 6 inches deep.

Bridging: Combination of flat, taut, steel sheet straps of width and thickness indicated and stud-track solid blocking of width and thickness to match studs. Fasten flat straps to stud flanges and secure solid blocking to stud webs or flanges.

Bridging: Proprietary bridging bars installed according to manufacturer's written instructions.

*************************************************************************************************************

Retain para. below only if required. Revise bracing type and reinforcement at terminations to suit Project. Description below usually applies to shear walls. Insert track reinforcing or gusset plate requirements to Drawings if applicable, particularly for shear walls. If sheathing provides bracing to one or both stud flanges, revise to suit Project.

*************************************************************************************************************

Install steel sheet diagonal bracing straps to both stud flanges, terminate at and fasten to reinforced top and bottom tracks. Fasten clip-angle connectors to multiple studs at ends of bracing and anchor to structure.

Install miscellaneous framing and connections, including supplementary framing, web stiffeners, clip angles, continuous angles, anchors, and fasteners, to provide a complete and stable wall-framing system.

EXTERIOR NON-LOAD-BEARING WALL INSTALLATION

*************************************************************************************************************

If this Article is required, retain with "Installation, General" Article.

*************************************************************************************************************

Install continuous tracks sized to match studs. Align tracks accurately and securely anchor to supporting structure as indicated.

*************************************************************************************************************

Retain para. below only if required. Do not fasten studs to deflection track, such as in infill wall framing.

*************************************************************************************************************

Fasten both flanges of studs to [top and] bottom tracks unless otherwise indicated. Space studs as indicated.

Set studs plumb, except as needed for diagonal bracing or required for nonplumb walls or warped surfaces and similar requirements.

*************************************************************************************************************

Indicate isolation details on Drawings or insert detailed description here.

*************************************************************************************************************

Isolate non-load-bearing steel framing from building structure to prevent transfer of vertical loads while providing lateral support.

*************************************************************************************************************

Retain 1 of first 2 subparas. below if using deflection track with infill wall framing.

Delete both subparas. and retain 3rd if deflection clips are required for bypassing or infill wall framing.

Vertical deflection clips are used if wall is stick built or panelized.

Single deflection track is used if stud wall is stick built; double deflection track is used with wall panels.

Head clips are used at the top of a CFS wall, while bypass clips are used at other locations along the height of a wall.

Drift clips are required to accommodate horizontal and vertical deflection of the primary structure.

*************************************************************************************************************

Install single deep-leg deflection tracks and anchor to building structure.

Install double deep-leg deflection tracks and anchor outer track to building structure.

Connect vertical deflection clips to [bypassing] [infill] studs and anchor to building structure.

Connect drift clips to CFS framing and anchor to building structure.

Install horizontal bridging in wall studs, spaced vertically in rows indicated on Shop Drawings but < 48 inches. Fasten at each stud intersection.

*************************************************************************************************************

Retain subpara. below if required.

*************************************************************************************************************

Top Bridging for Single Deflection Track: Install row of horizontal bridging within [12 inches] [18 inches] of single deflection track. Install a combination of bridging and stud or stud-track solid blocking of width and thickness matching studs, secured to stud webs or flanges.

Install solid blocking at [96-inch centers] [centers indicated] [centers indicated on Shop Drawings].

*************************************************************************************************************

Retain type of bridging required from 3 subparas. below or revise to suit Project. Insert locations if > 1 type of bridging is required. Insert min. size of flat steel strap, such as 1-1/2” x 0.0329”, if default size is required.

*************************************************************************************************************

Bridging: Cold-rolled steel channel, welded or mechanically fastened to webs of punched studs.

Bridging: Combination of flat, taut, steel sheet straps of width and thickness indicated and stud-track solid blocking of width and thickness to match studs. Fasten flat straps to stud flanges and secure solid blocking to stud webs or flanges.

Bridging: Proprietary bridging bars installed according to manufacturer's written instructions.

Install miscellaneous framing and connections, including stud kickers, web stiffeners, clip angles, continuous angles, anchors, and fasteners, to provide a complete and stable wall-framing system.

JOIST INSTALLATION

*************************************************************************************************************

If this Article is required, retain with "Installation, General" Article.

*************************************************************************************************************

Install perimeter joist track sized to match joists. Align and securely anchor or fasten track to supporting structure at corners, ends, and spacings indicated on Shop Drawings.

Install joists bearing on supporting frame, level, straight, and plumb; adjust to final position, brace, and reinforce. Fasten joists to both flanges of joist track.

*************************************************************************************************************

Revise min. end bearing in 1st subpara. below if joists bearing on flange of joist track are acceptable. Web stiffeners will usually be required to reinforce joist web.

*************************************************************************************************************

Install joists over supporting frame with a minimum end bearing of 1-1/2 inches.

Reinforce ends and bearing points of joists with web stiffeners, end clips, joist hangers, steel clip angles, or steel-stud sections as indicated on Shop Drawings.

Space joists not more than 2 inches from abutting walls, and as indicated.

Frame openings with built-up joist headers consisting of joist and joist track, or another combination of connected joists if indicated.

*************************************************************************************************************

Retain para. below if joists reinforcement is required.

*************************************************************************************************************

Install joist reinforcement at interior supports with single, short length of joist section located directly over interior support, with lapped joists of equal length to joist reinforcement, or as indicated.

Install web stiffeners to transfer axial loads of walls above.

Install bridging at intervals indicated. Fasten bridging at each joist intersection as follows:

*************************************************************************************************************

Retain type of bridging required from 2 subparas. below or revise to suit Project. Insert locations if > 1 type of bridging is required. Insert min. size of flat steel strap, such as 1-1/2” x 0.0329”, if default size is required.  Revise if also fastening flat steel strap bridging to top flange of joists.

*************************************************************************************************************

Bridging: Joist-track solid blocking of width and thickness indicated, secured to joist webs.

Bridging: Combination of flat, taut, steel sheet straps of width and thickness indicated and joist-track solid blocking of width and thickness indicated. Fasten flat straps to bottom flange of joists and secure solid blocking to joist webs.

Secure joists to load-bearing interior walls to prevent lateral movement of bottom flange.

Install miscellaneous joist framing and connections, including web stiffeners, closure pieces, clip angles, continuous angles, hold-down angles, anchors, and fasteners, to provide a complete and stable joist framing assembly.

*************************************************************************************************************

Insert additional Article titles here if other framing classifications warrant more detailed installation requirements than those in "Installation, General" Article.

*************************************************************************************************************

FIELD/ INSTALLER QUALITY CONTROL

*************************************************************************************************************

Provisions below include shop/ source and field/ installation testing and inspecting in accordance with AISI S240-15 Ch. D.

*************************************************************************************************************

QCI: Perform the tests and inspections required by the component manufacturer’s and installer’s quality control program.

Provide QCI with access to places where CFS is being fabricated or produced, and is being installed, to perform tests and inspections.

The QCI shall inspect the following as a minimum, as applicable:

Material verification, welding, mechanical fastening, CFS light-frame construction, and lateral force-resisting systems in accordance with Appendix A herein.

Remove and replace material and/ or work where test and inspection results indicate that it is noncompliant.

Additional testing and inspecting, at Subcontractor's expense, will be performed to determine compliance of replaced or additional material and/ or work.

REPAIRS AND PROTECTION

*************************************************************************************************************

Retain 1st para. below if applicable.

*************************************************************************************************************

Galvanizing Repairs: Prepare and repair damaged galvanized coatings on fabricated and installed CFS framing with galvanized repair paint according to ASTM A 780 and manufacturer's written instructions.

Provide final protection and maintain conditions, in a manner acceptable to manufacturer and installer that ensure that CFS framing is without damage or deterioration at time of Substantial Completion.

END OF SECTION BODY, APPENDIX A FOLLOWS

*************************************************************

Do not delete the following reference information:

*************************************************************

THE FOLLOWING STATEMENT IS FOR LANL USE ONLY

This project specification section is based on LANL Master Specification Section 05 4000 Rev. 7, dated June 21, 2022.

Appendix A Quality Control (QC) Inspection Tasks

- GENERAL

Inspection tasks and documentation for quality control shall be in accordance with the tables in Sections 3, 4, 5, 6, and 7. These tables specify distinct inspection tasks as follows:

- Observe. Observe shall mean to perform inspection of these items on an intermittent basis. Operations that do not interfere with the ability to perform inspection of these items need not be delayed pending these inspections. Frequency of observations shall be adequate to confirm that the work has been performed in accordance with the applicable documents.

- Perform. Perform shall mean to execute these tasks prior to final acceptance for each item or element.

- Document. Within the listed tasks, document shall mean the inspector shall prepare reports or other written documentation indicating that the work has or has not been performed in accordance with the construction documents.

# QUALITY CONTROL INSPECTION TASKS

- Quality control inspection tasks shall be performed by the component manufacturer’s or installer’s quality control inspector, as applicable, in accordance with Sections 3 through 7. Tasks in the tables in Sections 3 through 7 listed for QC shall be those inspections performed by the quality control inspector to ensure that the work is performed in accordance with the construction documents.

# MATERIAL VERIFICATION

- The component manufacturer’s quality control inspector shall perform inspections of the cold-formed steel structural members and connectors used in component assemblies to verify compliance with the details shown on the shop drawings.

- The installer’s quality control inspector shall perform inspections of the cold-formed steel structural members and connectors that are not part of a component assembly to verify compliance with the details shown on the installation drawings.

- Inspection tasks shall be in accordance with Tables 3-1 and 3-2.

# Table 3-1 
Material Verification Tasks

Prior to Assembly or Installation

|  | Task | QC |
| --- | --- | --- |
| A | Verify compliance of cold-formed steel structural members: - Product identification (Section A5.5) | Perform |
| B | Verify compliance of connectors | Perform |
| C | Document acceptance or rejection of cold-formed steel structural members and connectors | Not Required 1 |

1   Documentation tasks for quality control should be as defined by the applicable quality control program of the component manufacturer or installer.

# Table 3-2 
Material Verification Tasks

After Assembly or Installation

|  | Task | QC |
| --- | --- | --- |
| A | Verify compliance of cold-formed steel structural members: - Product identification (Section A5.5) | Perform |
| B | Verify compliance of connectors | Perform |
| C | Document acceptance or rejection of cold-formed steel structural members and connectors | Not Required 1 |

1   Documentation tasks for quality control should be as defined by the applicable quality control program of the component manufacturer or installer.

# INSPECTION OF WELDING

- Observation of welding operations and visual inspection of in-process and completed welds shall be the primary method to confirm that the materials, procedures and workmanship are in conformance with the construction documents and AWS D1.3.

- Welding inspection tasks shall be in accordance with Tables 4-1, 4-2 and 4-3.

# Table 4-1 
Inspection or Execution Tasks

Prior to Welding

|  | Task | QC |
| --- | --- | --- |
| A | Welding procedure specifications available | Observe |
| B | Manufacturer certifications for welding consumables available | Observe |
| C | Material identification (type/grade) | Observe |
| D | Check welding equipment | Observe |

Table 4-2 
Inspection or Execution Tasks

During Welding

|  | Task | QC |
| --- | --- | --- |
| A | Use of qualified welders | Observe |
| B | Control and handling of welding consumables | Observe |
| C | Environmental conditions (wind speed, moisture, temperature) | Observe |
| D | Welding procedure specifications followed | Observe |

# Table 4-3 
Inspection or Execution Tasks

After Welding

|  | Task | QC |
| --- | --- | --- |
| A | Verify compliance of welds | Perform |
| B | Welds meet visual acceptance criteria | Perform |
| C | Verify repair activities | Perform |
| D | Document acceptance or rejection of welded connections | Not Required 1 |

1   	Documentation tasks for quality control should be as defined by the applicable quality control program of the component manufacturer or installer.

# INSPECTION OF MECHANICAL FASTENING

- Observation of mechanical fastening operations and visual inspection of in-process and completed connections shall be the primary method to confirm that the materials, procedures and workmanship are in conformance with the construction documents and manufacturer’s installation instructions.

- Mechanical fastening inspection tasks shall be in accordance with Tables 5-1, 5-2 and 5-3.

# Table 5-1 
Inspection or Execution Tasks Prior to Mechanical Fastening

|  | Task | QC |
| --- | --- | --- |
| A | Mechanical fastener manufacturer installation instructions available for mechanical fasteners | Observe |
| B | Proper tools available for mechanical fastener installation | Observe |
| C | Proper storage for mechanical fasteners | Observe |

# Table 5-2 
Inspection or Execution Tasks During Mechanical Fastening

|  | Task | QC |
| --- | --- | --- |
| A | Mechanical fasteners are positioned as required | Observe |
| B | Mechanical fasteners are installed in accordance with manufacturer’s instructions | Observe |

# Table 5-3 
Inspection or Execution Tasks After Mechanical Fastening

|  | Task | QC |
| --- | --- | --- |
| A | Verify compliance of mechanical fasteners | Perform |
| B | Repair activities | Perform |
| C | Document acceptance or rejection of mechanically fastened connections | Not Required 1 |

1   Documentation tasks for quality control should be as defined by the applicable quality control program of the component manufacturer or installer.

# INSPECTION OF COLD-FORMED STEEL LIGHT-FRAME CONSTRUCTION

- The component manufacturer’s quality control inspector shall perform inspections of the component assemblies to verify compliance with the details shown on the shop drawings.

- The installer’s quality control inspector shall perform inspections of the field-installed cold-formed steel structural members, component assemblies and connectors to verify compliance with the details shown on the installation drawings.

- Inspection tasks shall be in accordance with Table 6.1.

# Table 6-1 
Inspection or Execution Tasks

After Installation of Cold-Formed Steel Light-Frame Construction

|  | Task | QC |
| --- | --- | --- |
| A | Verify compliance of cold-formed steel light-frame construction | Perform |
| B | Document acceptance or rejection of cold-formed steel light- frame construction | Not Required 1 |

1   Documentation tasks for quality control should be as defined by the applicable quality control program of the component manufacturer or installer.

# ADDITIONAL REQUIREMENTS FOR LATERAL FORCE RESISTING SYSTEMS

Additional inspection tasks for cold-formed steel lateral force resisting systems shall be in accordance with Tables 7-1 through 7-5.

Exception: The requirements in Section 7 are not required for cold-formed steel lateral force resisting systems where either of the following apply:

  - The sheathing of the shear wall is gypsum board or fiberboard.

  - The sheathing is wood structural sheathing or steel sheet sheathing on only one side of the shear wall or diaphragm assembly and the fastener spacing of the sheathing is more than 4 inches on center (o.c.).

- Fit-up of Welds

In Table 7-2, following performance of the inspection task for ten welds made by a given welder, with the welder demonstrating understanding of requirements and possession of skills, the Perform designation of this task shall be reduced to Observe.

# Table 7-1

Additional Inspection or Execution Tasks

Prior to Installation of Cold-Formed Steel Lateral Force Resisting Systems

|  | Task | QC |
| --- | --- | --- |
| A | Verify compliance of shear wall and diaphragm sheathing, diagonal strap bracing, and hold-downs | Perform |
| B | Document acceptance or rejection of shear wall and diaphragm sheathing, diagonal strap bracing, and hold-downs | Not Required 1 |

1   Documentation tasks for quality control should be as defined by the applicable quality control program of the component manufacturer or installer.

# Table 7-2

Additional Inspection or Execution Tasks

Prior to Welding of Cold-Formed Steel Lateral Force Resisting Systems

|  | Task | QC |
| --- | --- | --- |
| A | Welder identification system 1 | Observe |
| B | Fit-up of welds (alignment, gaps, condition of steel surfaces) | Perform/ Observe 2 |

1   A system maintained by the component manufacturer or installer, as applicable, by which a welder who has welded a joint or member can be identified.

2   See Section 7.1.

# Table 7-3

Additional Inspection or Execution Tasks

Prior to Mechanical Fastening of Cold-Formed Steel Lateral Force Resisting Systems

|  | Task | QC |
| --- | --- | --- |
| A | Proper fasteners selected | Observe |
| B | Proper installation procedure selected | Observe |
| C | Connecting elements meet applicable requirements | Observe |

Table 7-4

Additional Inspection or Execution Tasks

During Mechanical Fastening of Cold-Formed Steel Lateral Force Resisting Systems

|  | Task | QC |
| --- | --- | --- |
| A | For screw connections, joint brought tight (e.g., clamped) to avoid gaps between plies | Observe |
| B | For screw connections, tool adjusted to avoid stripped and overdriven fasteners | Observe |
| C | For post-installed connections to concrete, installation in accordance with manufacturer’s instructions | Perform |

# Table 7-5

Additional Inspection or Execution Tasks

After Installation of Cold-Formed Steel Lateral Force Resisting Systems

|  | Task | QC |
| --- | --- | --- |
| A | Verify compliance of cold-formed steel lateral force resisting system installation | Perform |
| B | Document acceptance or rejection of installation of cold-formed steel lateral force resisting system | Not Required 1 |

1   Documentation tasks for quality control should be as defined by the applicable quality control program of the component manufacturer or installer.

END OF SECTION

# Footnotes

Non-load-bearing is not to be confused with nonstructural.  The definition of the latter term, per AISI S220 (the standard for nonstructural CFS framing), does not preclude the bearing of loads.  The non-load-bearing wall studs included in this Section are part of the building envelope (hence, by the AISI definition, not “nonstructural members”) and, as such, will be subjected to out-of-plane lateral loads and non-axial dead loads.

If using a modified version of this Section for ML-1/2 nuclear safety related installations, based on TRP II project experience, projects should not purchase B-Line (and possibly not competitor U-channel products) based on them coming through a distributor who is on the LANL IESL to consider it as meeting NQA-1 (material traceability problems).  Instead, use the CGD method for all safety-credited components and have sufficient testing and documentation with traceability to allow use.  The exception may be Unistrut when NOVA Machine Products, their sole IESL/NQA-1 nuclear-pedigree-line distributor is utilized (verify before using).

IBC Chapter 22 requires the use of CFS to comply with the North American Specification for the Design of CFS Structural Members (i.e., AISI S100) and, in some instances, several AISI standards too (i.e., for light-frame construction, which is defined by IBC as “…a system of repetitive members” w/ t < 0.118”).