Section 07 2400 
Exterior Insulation and Finish Systems

  - ************************************************************************************************************

    - LANL MASTER SPECIFICATION SECTION

Rev. 5 Summary of Changes: Edited and updated as required for import into SpecLink.

      - NOTE TO SPECIFIER ON USAGE IN SPECLINK: Activate the Section by turning on Seq #0000, followed by activating paragraphs in PART 1, Article SECTION INCLUDES. This will activate related articles, paras/subparas in the rest of the Section (i.e., SECTION INCLUDES in PART 1 activates articles and paras/subparas in PARTS 2 and 3). If there are choice fields to edit the entire Section (typically in this first author note or beginning of the Section), make selections at those locations, which will filter through the remaining Section. All Articles, paragraphs and subparagraphs must be activated sequentially from top to bottom, unless noted otherwise.

      - This template must be edited for each project. In doing so, specifier must add job-specific requirements. Selections and choice fields are used to indicate designer choices or locations where text must be supplied by the designer. The section must also be edited to remove requirements for processes, items, or designs that are not included in the project.

      - To seek a variance from applicable requirements in this Section, contact the Engineering Standards Manual (ESM) Architectural POC  (LANL access only). Please contact POC with suggestions for improvement as well. LANL personnel should submit here: Suggested Change or Request Clarification; subcontractors via email to engstandards@lanl.gov.

      - When assembling a specification package, include applicable sections from all Divisions, especially Division 1, General Requirements.

      - Section is developed for ML-4 projects. For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see LANL ESM Chapter 1 - General, Section Z10 Specifications and Quality sections.

  - *************************************************************************************************************

PART 1 - GENERAL

SECTION INCLUDES

Exterior Insulation and Finish System (EIFS) over ​​​​<< Click to select substrate(s) from drop down menu;  concrete;  masonry;  concrete masonry;  gypsum sheathing;  plywood sheathing; and  OSB sheathing>>​​​​ substrate(s).

Air/Water-Resistive Barrier

<< Insulation Adhesive;  Mechanical Fasteners; or  Insulation Adhesive and Mechanical Fasteners>>

Board Insulation

Reinforcing Mesh

Base Coat << with primer; or  None - N/A>>

Finish Coat

        - ******************************************************************************

        - The following subparagraph is a designer-choice. Retain when sealer is required for project.

        - ******************************************************************************

Sealer

        - ******************************************************************************

        - Typically casing bead, drip screed/track and expansion joint are always required for project. Select these in options below and others that may apply to the project.

        - ******************************************************************************

Trim Accessories - ​​​<< Click to select trim accessories from drop down menu;  casing bead;  drip screed/track;  expansion joint;  window sill flashing; and  parapet cap flashing>>​​​

RELATED REQUIREMENTS

Section << 01 8113.13 - Sustainable Design>>

Section << 07 9200 - Joint Sealants>>

    - *******************************************************************************************

      - The standards listed below are provided for reference only and are not listed within the body of this section. It is a user-choice to include these standards.

      - <<ANSI/EIMA 99-A>>

      - <<ASTM C1382>>

      - <<ASTM C1481>>

      - <<ASTM E2110>>

      - <<ASTM E2134/E2134M>>

      - <<ASTM E2273>>

      - <<ASTM E2321>>

      - <<ASTM E2430/E2430M>>

      - <<ASTM E2570/E2570M>>

      - <<ICC-ES AC235>>

    - **********************************************************************************************​​​​

REFERENCE STANDARDS

40 CFR 59, Subpart D - National Volatile Organic Compound Emission Standards for Architectural Coatings; U.S. Environmental Protection Agency.

ANSI/EIMA 99-A - Standard for Exterior Insulation and Finish Systems (EIFS) and EIFS with Drainage.

ASHRAE Std 90.1 I-P - Energy Standard for Buildings Except Low-Rise Residential Buildings.

ASHRAE Std 189.1 - Standard for the Design of High-Performance Green Buildings Except Low-Rise Residential Buildings.

ASTM C150/C150M - Standard Specification for Portland Cement.

ASTM C297/C297M - Standard Test Method for Flatwise Tensile Strength of Sandwich Constructions.

ASTM C578 - Standard Specification for Rigid, Cellular Polystyrene Thermal Insulation.

ASTM C954 - Standard Specification for Steel Drill Screws for the Application of Gypsum Panel Products or Metal Plaster Bases to Steel Studs from 0.033 in. (0.84 mm) to 0.112 in. (2.84 mm) in Thickness.

ASTM C1002 - Standard Specification for Steel Self-Piercing Tapping Screws for Application of Gypsum Panel Products or Metal Plaster Bases to Wood Studs or Steel Studs.

ASTM C1063 - Standard Specification for Installation of Lathing and Furring to Receive Interior and Exterior Portland Cement-Based Plaster.

ASTM C1382 - Standard Test Method for Determining Tensile Adhesion Properties of Sealants When Used in Exterior Insulation and Finish Systems (EIFS) Joints.

ASTM C1397 - Standard Practice for Application of Class PB Exterior Insulation and Finish Systems (EIFS) and EIFS with Drainage.

ASTM C1481 - Standard Guide for Use of Joint Sealants with Exterior Insulation and Finish Systems (EIFS).

ASTM D968 - Standard Test Methods for Abrasion Resistance of Organic Coatings by Falling Abrasive.

ASTM D1784 - Standard Classification System and Basis for Specification for Rigid Poly(Vinyl Chloride) (PVC) Compounds and Chlorinated Poly(Vinyl Chloride) (CPVC) Compounds.

ASTM D1970/D1970M - Standard Specification for Self-Adhering Polymer Modified Bituminous Sheet Materials Used as Steep Roofing Underlayment for Ice Dam Protection.

ASTM D2247 - Standard Practice for Testing Water Resistance of Coatings in 100 % Relative Humidity.

ASTM D3273 - Standard Test Method for Resistance to Growth of Mold on the Surface of Interior Coatings in an Environmental Chamber.

ASTM D3274 - Standard Test Method for Evaluating Degree of Surface Disfigurement of Paint Films by Fungal or Algal Growth, or Soil and Dirt Accumulation.

ASTM E84 - Standard Test Method for Surface Burning Characteristics of Building Materials.

ASTM E96/E96M - Standard Test Methods for Gravimetric Determination of Water Vapor Transmission Rate of Materials.

ASTM E119 - Standard Test Methods for Fire Tests of Building Construction and Materials.

ASTM E283/E283M - Standard Test Method for Determining Rate of Air Leakage Through Exterior Windows, Skylights, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen.

ASTM E2098/E2098M - Standard Test Method for Determining Tensile Breaking Strength of Glass Fiber Reinforcing Mesh for Use in Exterior Insulation and Finish Systems (EIFS) and EIFS with Drainage Systems, after Exposure to a Sodium Hydroxide Solution.

ASTM E2110 - Standard Terminology for Exterior Insulation and Finish Systems (EIFS) and EIFS with Drainage.

ASTM E2134/E2134M - Standard Test Method for Evaluating the Tensile-Adhesion Performance of an Exterior Insulation and Finish System (EIFS) or EIFS with Drainage.

ASTM E2178 - Standard Test Method for Determining Air Leakage Rate and Calculation of Air Permeance of Building Materials.

ASTM E2273 - Standard Test Method for Determining the Drainage Efficiency of Exterior Insulation and Finish Systems (EIFS) Clad Wall Assemblies.

ASTM E2321 - Standard Practice for Use of Test Methods E96/E96M for Determining the Water Vapor Transmission (WVT) of Exterior Insulation and Finish Systems (EIFS).

ASTM E2357 - Standard Test Method for Determining Air Leakage Rate of Air Barrier Assemblies.

ASTM E2430/E2430M - Standard Specification for Expanded Polystyrene (“EPS”) Thermal Insulation Boards for Use in Exterior Insulation and Finish Systems (“EIFS”) and EIFS with Drainage.

ASTM E2485/E2485M - Standard Test Method for Freeze/Thaw Resistance of Exterior Insulation and Finish Systems (EIFS) and Water Resistive Barrier Coatings.

ASTM E2511 - Standard Guide for Detailing of EIFS-Clad Barrier and Drainage Wall Assemblies.

ASTM E2568 - Standard Specification for PB Exterior Insulation and Finish Systems.

ASTM E2570/E2570M - Standard Test Methods for Evaluating Water-Resistive Barrier (WRB) Coatings Used Under Exterior Insulation and Finish Systems (EIFS) or EIFS with Drainage.

ICC (IBC) - International Building Code.

ICC-ES AC24 - Acceptance Criteria for Exterior Insulation and Finish Systems.

ICC-ES AC219 - Acceptance Criteria for Exterior Insulation and Finish Systems.

ICC-ES AC235 - Acceptance Criteria for EIFS Clad Drainage Wall Assemblies.

NFPA 259 - Standard Test Method for Potential Heat of Building Materials.

NFPA 268 - Standard Test Method for Determining Ignitability of Exterior Wall Assemblies Using a Radiant Heat Energy Source.

NFPA 285 - Standard Fire Test Method for Evaluation of Fire Propagation Characteristics of Exterior Wall Assemblies Containing Combustible Components.

DEFINITIONS

For definitions and acronyms, refer to COE Glossary of Terms.

Exterior Insulation and Finish System (EIFS): Exterior assemblies composed of air barrier, assembled (adhesive or mechanical) insulation board, reinforcing mesh, reinforcing trim, base coat, and finish coat, with approved accessories sealants, backer rods, etc.

Air Barrier Assembly:  The collection of air barrier materials, accessory and auxiliary materials applied to an opaque wall, including joints and junctions to abutting construction, to control air movement through the wall.

Continuous Insulation (CI): Insulation that is continuous across all structural members without thermal bridges other than fasteners and service openings installed on the exterior of the building envelope.

      - ***************************************************************************************

      - Edit submittals to include only those absolutely necessary to assure requirements and features that are important for the specific project will be met.

      - ***************************************************************************************

ACTION SUBMITTALS

Product Data: Manufacturer’s technical data for each component of exterior insulation and finish system.

Shop Drawing(s): Provide details of all elements illustrating integration of the exterior wall systems with other adjacent and/or applicable building systems. Indicate all exposed joints, surface patterns and decorative detailing elements. Graphically illustrate vapor barriers, flashing and sealant locations.

      - ***************************************************************************************

      - Retain the following paragraph when project requires samples.

      - ***************************************************************************************

Samples: 24-inch square panels for each type of finish coat color and texture indicated, prepared using same tools and techniques intended for actual work including ​<< custom trim, each profile; and  an aesthetic reveal>>​.

Include ​<< exposed trim and accessory; or  Insert item>>​ samples to verify color selected.

Include a typical control joint filled with sealant of color selected, as specified in Section << 07 9200 - Joint Sealants>>.

      - ***************************************************************************************

      - Verify these requirements below against LANL ESM Chapter 14 - Sustainable Design, Attachment 1 "Required Attribute" Column and, if applicable, the LEED prerequisites and project credits. Material content is required. This paragraph with subparagraphs related to material content, manufacturer's certificate/recycled content and VOC are activated automatically based on selections made in Article Exterior Insulation and Finish System (EIFS) in PART 2, when applicable. The remaining submittals are designer-choice based on project-specific requirements.

      - ***************************************************************************************

Sustainable Design Submittals:

Sustainable Design (SD) Submittals: Provide material content documentation in accordance with the requirements of this Section.​​​<< Submit any additional documentation for this product category, as applicable under Section  01 8113.13 - Sustainable Design with this Section's submittal.; or  None - N/A>>​​​

        - ******************************************************************************

        - LEED grants one credit to a project for using materials with recycled content that is the sum of postconsumer recycled content plus one-half the preconsumer recycled content, based on cost.

        - ******************************************************************************

Manufacturer’s Certificate: Certify products meet or exceed specified sustainable design requirements.

          - **********************************************************************

          - Edit material certifications list to suit products specified in this section and Project sustainable design requirements. Specific certificate submittal and supporting data requirements are specified in Section << 01 8113.13 - Sustainable Design>>.

          - **********************************************************************

Certify recycled material content for recycled content products.

Certify source for regional materials and distance from Project site.

Product Data:  For solvent cements and adhesive primers, documentation including printed statement of VOC content.

Laboratory Test Reports: For solvent cements and adhesive primers, documentation indicating that products comply with testing and product requirements of <<40 CFR 59, Subpart D>> (EPA Method 24).

INFORMATIONAL SUBMITTALS

Installation Instructions: Manufacturer’s literature indicating installation specifications and procedures.

Qualification Data: For ​​<< installer; and  fabricator>>​​​.

Manufacturer Certificates: Signed by EIFS manufacturer certifying the following:

EIFS substrate is acceptable to EIFS manufacturer.

Accessory products installed with EIFS, including ​​​<< joint sealants;  flashing;  water resistant barriers;  trim; and  Insert accessory>>​​​, whether or not furnished by EIFS manufacturer and whether or not specified in this Section, are acceptable to EIFS manufacturer.

      - ***************************************************************************************

      - Retain the following paragraph when project requires product certificates.

      - ***************************************************************************************

Product Certificates: For cementitious materials and aggregates and for insulation.

Product Test Reports: For each EIFS assembly and component, for tests performed by a qualified testing agency.

Field quality-control reports ​<< and special inspection reports; or  None - N/A>>​​.

Evaluation Reports: For EIFS, including insulation << fasteners; and  flexible membrane flashing>> from <<ICC-ES>>​.

      - ***************************************************************************************

      - Retain the following paragraph when project require a sample of special warranty.

      - ***************************************************************************************

Sample Warranty: For manufacturer’s special warranty.

At Closeout:

Maintenance Data: Include maintenance data for EIFS in maintenance manuals.

Warranty: Executed copy of Manufacturer’s Special Warranty in accordance with Article ​​​<< 1.12; or  _______>>​​​​ Warranty.

EXTRA MATERIALS

Furnish the following materials to LANL STR, with maintenance instructions and repair procedures:

One gallon of base coat.

        - ******************************************************************************

        - Retain the following subparagraph when primer is required for project.

        - ******************************************************************************

One gallon of primer coat.

One gallon of each color of finish coat.

Ten foot length of each type of mesh.

QUALITY ASSURANCE

Fire Rated Wall Construction: ​​<< Rating as indicated on Drawings; or  ___  hour rating>>​​.

Tested Rating: Determined in accordance with <<ASTM E119>>.

Fire Performance:

Potential Heat of Foam Insulation: Determined in accordance with <<NFPA 259>>.

Potential Heat of Foam Insulation with Wall assembly: Maximum not to exceed potential heat of foam insulation with assembly when tested in accordance with <<NFPA 285>>.

Ignition: No sustained flaming when tested in accordance with <<NFPA 268>>.

Surface Burning Characteristics:

Foam Insulation: Maximum 75/450 flame spread/smoke developed index when tested in accordance with <<ASTM E84>>.

Apply label from approved agency showing the manufacturer’s name, product listing, product identification and information sufficient to determine that the end use will comply with the code requirements.

Qualifications:

Manufacturer: Company specializing in manufacturing products specified in this Section with minimum three years << documented; or  None - N/A>> experience.

Applicator: Company specializing in performing Work of this Section with minimum three years << documented; or  None - N/A>> experience << approved by manufacturer; or  None - N/A>>.

      - ***************************************************************************************

      - Retain the following Article Mockup below when full sized erected assemblies are required for review of construction, coordination of work of several sections, or review of visual characteristics.

      - ***************************************************************************************

MOCKUP

Mockups: Build mockups to verify selections made under Sample submittals, to demonstrate aesthetic effects, to set quality standards for materials and execution, and to set quality standards for fabrication and installation.

Subject to compliance with requirements, approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

DELIVERY, STORAGE, AND HANDLING

Deliver materials in original, unopened packages with manufacturer’s labels intact and clearly identifying products.

Store materials inside and under cover; keep them dry and protected from weather, direct sunlight, surface contamination, aging, corrosion, damaging temperatures, construction traffic, and other causes.

Stack insulation board flat and off the ground with supports at two feet on center minimum.

Protect plastic insulation against ignition at all times. Do not deliver plastic insulating materials to Project site before installation time.

Complete installation and concealment of plastic materials as rapidly as possible in each area of construction.

FIELD CONDITIONS

Maintain ambient temperatures above 40 degrees F for a minimum of 24 hours before, during, and after adhesives or coatings are applied.

Do not apply EIFS adhesives or coatings during rainfall.

Proceed with installation only when existing and forecasted weather conditions and ambient outdoor air, humidity, and substrate temperatures permit EIFS to be applied, dried, and cured according to manufacturer’s written instructions and warranty requirements.

WARRANTY

Manufacturer’s Special Warranty: Manufacturer agrees to repair or replace EIFS that fail in materials or workmanship within specified warranty period.

Failures include, but are not limited to, the following:

Bond integrity and weather tightness.

Deterioration of EIFS finishes and other EIFS materials beyond normal weathering.

Warranty coverage includes the following EIFS components:

EIFS finish, including base and finish coats and reinforcing mesh.

Insulation installed as part of EIFS ​<< including build-outs; or  None - N/A>>​.

<< Insulation Adhesive;  Mechanical Fasteners; or  Insulation Adhesive and Mechanical Fasteners>>.

EIFS accessories, including trim components and flashing.

Warranty Period: ​​​​​<< Five;  Ten; or  Insert number>>​​​​​ years from date of Substantial Completion.

PART 2 - PRODUCTS

MANUFACTURERS

Manufacturers:

BASF Wall Systems

Dryvit System, Inc.

Parex USA, Inc. (El Rey Stucco)

Sto. Corp

​​<< Insert Manufacturer's name>>​​.

Source Limitations: Obtain EIFS from single source from single EIFS manufacturer and from sources approved by EIFS manufacturer as tested and compatible with EIFS components.

EXTERIOR INSULATION AND FINISH SYSTEM (EIFS)

      - ***************************************************************************************

      - Section is based on using EIMA classification PM cementitious EIFS systems due to LANL experience with woodpeckers and other animals causing damage to Class PB thin synthetic-based systems particularly near wooded areas adjacent to buildings. Use of Class PB EIFS system may be approved by the LANL ESM Architectural POC in areas not in or near wooded areas. If so approved, edit Section for Class PB requirements as required.

      - ***************************************************************************************

Exterior Insulation and Finish System: EIMA Class PM system consisting of an air/water-resistive barrier coating, an adhesive, extruded polystyrene insulation board, mechanical fasteners, fiber reinforced polymer modified base coat with reinforcing mesh(es) and finish.

EIFS Performance: Comply with <<ASTM E2568>>, <<ICC-ES AC219>> and with the following:

Weather tightness: Resistant to water penetration from exterior.

System Fire Performance: ​​​​​<< Fire-resistance rating of wall assembly; or  Full-scale multistory fire test>>​​​​​​.

Structural Performance: EIFS assembly and components shall comply with <<ICC-ES AC219>> when tested according to <<ASTM E2568>>.

          - **********************************************************************

          - Select one of the following subparagraphs for wind loads.

          - **********************************************************************

Wind Loads: Uniform pressure of ​​<< Insert lbf/sq. ft>>​​, acting inward or outward.

          - *** OR ***

Wind Loads: Uniform pressure as indicated on Drawings.

Impact Performance: <<ASTM E2568>>, << Standard;  Medium;  High; or  Ultra High>>-impact resistance<< , unless other indicated; or  None - N/A>>.

Bond Integrity: Free from bond failure within EIFS components or between EIFS and substrates, resulting from exposure to fire, wind loads, weather, or other in-service conditions.

Abrasion Resistance of Finish Coat: Sample consisting of 1-inch thick EIFS mounted on 1/2-inch thick gypsum board; cured for a minimum of 28 days and shows no cracking, checking, or loss of film integrity after exposure to 528 quarts of sand when tested according to <<ASTM D968>>, Method A.

Mildew Resistance of Finish Coat: Sample applied to 2-by-2-inch clean glass substrate; cured for 28 days and shows no growth when tested according to <<ASTM D3273>> and evaluated according to <<ASTM D3274>>.

Air/Water Resistive Barrier:

Air/Water-Resistive Barrier Coating Performance:

Tensile Bonding: <<ASTM C297/C297M>>, Minimum 15 psi.

Freeze-thaw: <<ASTM E2485/E2485M>>, Method B. no deleterious effects after 10 cycles.

Water Resistance: <<ASTM D2247>>, no deleterious effects from 14 days of exposure to water.

Water Vapor Transmission: <<ASTM E96/E96M>>​, Procedure B, Class III vapor barrier.

Air Permeance: <<ASTM E2178>>, less than 0.003 ft3/min-ft2 at 1.56 psf.

Air Barrier Assembly: <<ASTM E2357>>, not greater than 0.003 ft3/min-ft2 tested in both directions.

Air Leakage: <<ASTM E283/E283M>>, less than 0.003 ft3/min-ft2 at 1.56 psf.

Fastener Stability: <<ASTM D1970/D1970M>>, no water penetration at fastener penetration under 5 inches head of water after 3 days at 40 degrees F.

Surface Burning Characteristics: <<ASTM E84>>.

Flame spread: Less than 25.

Smoke developed: Less than 450.

          - **********************************************************************

          - The following subparagraph is a designer-choice. Retain based on project-specific requirements.

          - **********************************************************************

Sustainable Design Requirements:

Air Barrier: VOC content of 10 g/L or less.

Provide manufacturer’s recommended air/water-resistive barrier coatings, accessory materials, joint reinforcement and flashing materials compatible with EIFS.

Air/water-resistive barrier system to comply with <<ASHRAE Std 90.1 I-P>> or <<ASHRAE Std 189.1>> and <<ICC (IBC)>>requirements.

Air/water-resistive barrier to be evaluated to <<ASTM E2357>>.

      - ***************************************************************************************

      - Retain the following paragraph when insulation adhesive selected as installation method for project.

      - ***************************************************************************************

Insulation Adhesive:

EIFS manufacturer’s standard formulation designed for indicated use; compatible with substrate complying with << one of; or  None - N/A>> the following:

          - **********************************************************************

          - The following subparagraphs are designer-choice. Retain portland cement formulation based on project-specific requirements. Update option in paragraph above accordingly.

          - **********************************************************************

Field-mixed formulation of Portland cement complying with <<ASTM C150/C150M>>, Type I, and polymer-based adhesive specified for base coat.

Factory-blended dry formulation of Portland cement, dry polymer admixture, and fillers specified for base coat.

Factory-mixed noncementitious formulation designed for adhesive attachment of insulation to substrates of type indicated, as recommended by EIFS manufacturer.

        - ******************************************************************************

        - The following subparagraph is a designer-choice. Retain based on project-specific requirements.

        - ******************************************************************************

Sustainable Design Requirements:

Insulation Adhesive: VOC content of 50 g/L or less.

Molded, (expanded) Rigid Cellular Polystyrene Board Insulation (EPS):

Comply with <<ASTM C578>>, Type I; and with EIFS manufacturer’s requirements for most stringent requirements for material performance and qualities of insulation, including dimensions and permissible variations, and the following:

Aging: Before cutting and shipping, age insulation in block form by air-drying for not less than six weeks.

Flame-Spread and Smoke-Developed Indexes: 25 and 450 or less, respectively, according to <<ASTM E84>>.

Dimensions: Provide insulation boards of not more than 24 by 48 inches or in other sizes indicated, but not more than 4 inches thick or less than the thickness allowed by <<ASTM C1397>>.

Sustainable Design Requirements:

Insulation: Minimum of 9 percent pre-consumer recycled content.

Reinforcing Mesh:

Balanced, alkali-resistant, open-weave, glass-fiber mesh treated for compatibility with other EIFS materials, made from continuous multi-end strands with retained mesh tensile strength of not less than 120 lbf/in. according to <<ASTM E2098/E2098M>> and the following:

Reinforcing Mesh for EIFS, General: Not less than weight required to meet impact-performance level specified in subparagraph "Impact Performance" in paragraph "EIFS Performance" of this Article.

Strip Reinforcing Mesh: << Not less than 3.75 oz/sq. yd.;  As recommended by EIFS manufacturer.; or  Insert weight>>

Detail Reinforcing Mesh: << Not less than 4.0 oz/sq. yd.;  As recommended by EIFS manufacturer.; or  Insert weight>>

Corner Reinforcing Mesh: << Not less than 7.2 oz/sq. yd.;  As recommended by EIFS manufacturer.; or  Insert weight>>

Base Coat Materials:

EIFS manufacturer’s standard mixture complying with << one of; or  None - N/A>> the following:

          - **********************************************************************

          - The following subparagraphs are designer-choice. Retain portland cement formulation based on project-specific requirements. Update option in paragraph above accordingly.

          - **********************************************************************

Field-mixed formulation of Portland cement complying with <<ASTM C150/C150M>>, Type I, white or natural color; and manufacturer’s standard polymer-emulsion adhesive designed for use with Portland cement.

Field-combined formulation of manufacturer’s standard polymer-emulsion adhesive and manufacturer’s standard dry mix containing Portland cement.

Factory-blended dry formulation of Portland cement, dry polymer admixture, and inert fillers to which only water is added at Project site.

        - ******************************************************************************

        - The following subparagraph is a designer-choice. Retain based on project-specific requirements.

        - ******************************************************************************

Sustainable Design Requirements:

Base Coat:  VOC content of 10 g/L or less.

Waterproof Adhesive/Base Coat Materials:

EIFS manufacturer’s standard waterproof formulation complying with << one of; or  None - N/A>> the following:

          - **********************************************************************

          - The following subparagraphs are designer-choice. Retain portland cement formulation based on project-specific requirements. Update option in paragraph above accordingly.

          - **********************************************************************

Field-mixed formulation of Portland cement complying with <<ASTM C150/C150M>>, Type I, white or natural color; and manufacturer’s standard polymer-emulsion adhesive designed for use with Portland cement.

Field-combined formulation of manufacturer’s standard polymer-emulsion adhesive and manufacturer’s standard dry mix containing Portland cement.

        - ******************************************************************************

        - The following subparagraph is a designer-choice. Retain based on project-specific requirements.

        - ******************************************************************************

Sustainable Design Requirements:

Waterproof Adhesive/Base-Coat Materials: VOC content of 50 g/L or less.

      - ***************************************************************************************

      - Retain the following paragraph when mechanical fasteners selected as installation method for project.

      - ***************************************************************************************

Mechanical Fasteners:

EIFS manufacturer’s standard corrosion-resistant fasteners consisting of thermal cap, standard washer and shaft attachments, and fastener indicated below; designed to resist Project’s design loads; capable of pulling fastener head below surface of insulation board; and complying with the following:

          - **********************************************************************

          - The following subparagraphs are designer-choices. Retain based on type(s) of substrates present on project.

          - **********************************************************************

For attachment to steel studs from 0.033 to 0.112 inch in thickness, provide steel drill screws complying with <<ASTM C954>>.

For attachment to light-gage steel framing members not less than 0.0179 inch in thickness, provide steel drill screws complying with <<ASTM C1002>>.

For attachment to wood framing members and plywood sheathing, provide steel drill screws complying with <<ASTM C1002>>, Type W.

For attachment to masonry, concrete masonry and concrete substrates, provide sheathing dowel in form of a plastic wing-tipped fastener with thermal cap, sized to fit insulation thickness indicated and to penetrate substrate to depth required to secure anchorage.

For attachment to ​<< Insert substrate>>​​, provide manufacturer’s standard fasteners suitable for substrate.

      - ***************************************************************************************

      - Retain the following paragraph when primer is required for project.

      - ***************************************************************************************

Primer:

EIFS manufacturer’s standard factory-mixed, elastomeric-polymer primer for preparing base coat surface for application of finish coat.

        - ******************************************************************************

        - The following subparagraph is a designer-choice. Retain based on project-specific requirements.

        - ******************************************************************************

Sustainable Design Requirements:

Primer: VOC content of 250 g/L or less.

Finish Coat Materials:

EIFS manufacturer’s standard cementitious coating complying with the following:

Factory-mixed formulation of Portland cement, hydrated lime, aggregates and additives.

Colors: As selected from manufacturer’s full standard range.

Textures: As selected by Architect/Engineer of Record from manufacturer’s full range.

        - ******************************************************************************

        - The following subparagraph is a designer-choice. Retain based on project-specific requirements.

        - ******************************************************************************

Sustainable Design Requirements:

Finish Coat: VOC content of 25 g/L or less.

      - ***************************************************************************************

      - Retain the following paragraph when sealer is required for project.

      - ***************************************************************************************

Sealer: Manufacturer’s waterproof, clear acrylic-based sealer for protecting finish coat.

Water: Potable.

Trim Accessories:

Type as designated or required to suit conditions indicated and to comply with EIFS manufacturer’s written instructions; manufactured from UV-stabilized PVC; and complying with <<ASTM D1784>> and <<ASTM C1063>>.

          - **********************************************************************

          - The following subparagraphs are designer-choices based on project-specific conditions. Typically casing bead, drip screed/track and expansion joint are always required for project. Select those below and others that may apply to the project.

          - **********************************************************************

Casing Bead: Prefabricated, one-piece type for attachment behind insulation, of depth required to suit thickness of coating and insulation, with face leg perforated for bonding to coating and back leg.

Drip Screed/Track: Prefabricated, one-piece type for attachment behind insulation with face leg extended to form a drip, of depth required to suit thickness of coating and insulation, with face leg perforated for bonding to coating and back leg.

Expansion Joint: Prefabricated, one-piece V profile; designed to relieve stress of movement.

Window Sill Flashing: Prefabricated type for both flashing and sloping sill over framing beneath windows; with end and back dams; designed to direct water to exterior.

Parapet Cap Flashing: Type for both flashing and covering parapet top ​​​​​​<< with design complying with ASTM C1397; or  None - N/A>>​​​​​​​.

SOURCE QUALITY CONTROL

LANL will engage a qualified testing agency to perform shop tests and inspections indicated below and to prepare test reports.

Shop welds are subject to testing and inspection.

Testing and inspecting agency shall interpret tests and report whether tested work complies with or deviates from requirements.

Correct deficiencies in or replace EIFS prefabricated panels that test reports and inspections indicate do not comply with requirements.

Additional testing and inspection, at Subcontractor’s expense, shall be performed to determine compliance of corrected work with requirements.

PART 3 - EXECUTION

EXAMINATION

Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances and other conditions affecting performance of the Work.

Examine roof edges, wall framing, flashings, openings, substrates, and junctures at other construction for suitable conditions where EIFS will be installed.

Proceed with installation only after unsatisfactory conditions have been corrected.

Begin coating application only after surfaces are dry.

Application of coating indicates acceptance of surfaces and conditions.

PREPARATION

Protect contiguous work from moisture deterioration and soiling caused by application of EIFS. Provide temporary covering and other protection needed to prevent spattering of exterior finish coats on other work.

Protect EIFS, substrates and wall construction behind them from inclement weather during installation. Prevent penetration of moisture behind EIFS and deterioration of substrates.

Prepare and clean substrates to comply with EIFS manufacturer’s written instructions to obtain optimum bond between substrate and adhesive for insulation.

        - ******************************************************************************

        - Retain the following subparagraph when concrete, concrete masonry and/or masonry substrates are present on project.

        - ******************************************************************************

Concrete, Concrete Masonry and Masonry Substrates: Provide clean, dry, neutral-pH substrate for insulation installation. Verify suitability of substrate by performing bond and moisture tests recommended by EIFS manufacturer.

EIFS INSTALLATION, GENERAL

Comply with EIFS manufacturer’s requirements for combining and mixing materials. Do not introduce admixtures, water, or other materials except as recommended by EIFS manufacturer. Mix materials in clean containers.  Use materials within time period specified by EIFS manufacturer or discard.

Comply with <<ASTM C1397>>, <<ASTM E2511>>, and EIFS manufacturer’s written instructions for installation of EIFS as applicable to each type of substrate.

AIR/WATER-RESISTIVE BARRIER INSTALLATION

Coordinate work with other trades to ensure air/water-resistive barrier continuity with connections at foundation, floor lines, flashings, lintels and shelf angles, openings and penetrations such as pipes, vents, windows and doors, anchors, rafters or beams, joints in construction, projections such as decks and balconies, and roof line.

Rough opening protection

Install transition membrane into and around rough opening in accordance with the manufacturer’s recommendations.

Sheathing Joints

Install joint treatment material with applicable reinforcement over sheathing joints in accordance with manufacturer’s recommendations.

Transitions

Install air/water-resistive barrier accessory materials (with reinforcement where applicable), or auxiliary material at transition areas: foundation, floor lines, flashings, lintels and shelf angles, openings and penetrations such as pipes, vents, windows and doors, anchors, rafters or beams, joints in construction, projections such as decks and balconies, and roof line in accordance with manufacturer’s recommendations.

Air/Water-resistive barrier membrane

        - ******************************************************************************

        - Retain the following subparagraph when concrete substrate is present on project.

        - ******************************************************************************

Concrete: Install air/water-resistive barrier membrane by spray or roller in a uniform, continuous film to the prepared concrete substrate in accordance with the manufacturer’s recommended installation instructions. Do not install over working or moving joint sealants.

        - ******************************************************************************

        - Retain the following subparagraph when masonry and/or concrete masonry substrate are present on project.

        - The number of coats and thickness is highly dependent on masonry/CMU composition, unit weight (lightweight or normal weight), porosity, joint profile, and other variables that may exist. For “rough” masonry/CMU wall surfaces skim coat the entire wall surface with the leveling material to fill and level the surface prior to applying the waterproof air barrier membrane and transition materials. When a skim coat of the leveling material is installed only one coat of the waterproof air barrier membrane is typically required. Use the mock-up and site tests as the basis for the work.

        - ******************************************************************************

Masonry and Concrete Masonry: Install air/water-resistive barrier membrane by spray or roller in a uniform, continuous film to the prepared concrete masonry substrate. Back roll spray applications. Allow to dry. Install a second coat of the air barrier membrane in a uniform, continuous film, and back roll spray applications, to achieve a void and pinhole free surface. Depending on the condition of the surface, a minimum of 10 wet mils up to maximum of 30 wet mils per coat is required. Apply additional coats if required to achieve a void and pinhole free surface. Do not install over working or moving joint sealants.

        - ******************************************************************************

        - Retain the following subparagraph when gypsum sheathing, plywood sheathing and/or OSB sheathing are present on project.

        - ******************************************************************************

Sheathing:

Spot fasteners with knife grade coating or joint treatment material.

            - *************************************************************

            - Retain the following subparagraphs based on type(s) of sheathing present on project.

            - *************************************************************

Glass mat faced gypsum sheathing: Apply one coat of air/water-resistive barrier membrane by spray or roller in a uniform, continuous film to the prepared glass mat gypsum substrate in accordance with the manufacturer’s recommended installation instructions to achieve a void and pinhole free surface. Do no install over working or moving joint sealants.

Plywood sheathing: Apply one coat of air/water-resistive barrier membrane by spray or roller in a uniform, continuous film to the prepared substrate in accordance with the manufacturer’s recommended installation instructions to achieve a void and pinhole free surface. Do not install over working or moving joint sealants.

OSB sheathing: Apply one coat of air/water-resistive barrier membrane by spray or roller in a uniform, continuous film to the prepared substrate in accordance with the manufacturer’s recommended installation instructions to achieve a void and pinhole free surface. Inspect surface and touch-up with a second coat at raised wood strands. Do no install over working or moving joint sealants.

CONTINUOUS INSULATION

Board insulation: ​​<< Adhesively;  Mechanically; or  Adhesively and mechanically>>​​ attach insulation to substrate in compliance with <<ASTM C1397>> and the following:

        - ******************************************************************************

        - The following two subparagraphs are designer-choice. Retain the first subparagraph when sheathing is present on project. Retain the second subparagraph when concrete, masonry, and/or concrete masonry are present on project.

        - ******************************************************************************

Sheathing: Apply adhesive to insulation by notched-trowel method in a manner that results in coating the entire surface of sheathing with adhesive once insulation is adhered to substrate. Apply adhesive to a thickness of not less than 1/4 inch for factory mixed and not less than 3/8 inch for field mixed, measured from surface of insulation before placement.

Concrete or Masonry or Concrete Masonry: Apply adhesive by ribbon-and-dab method.

Press and slide insulation into place. Apply pressure over the entire surface of insulation to accomplish uniform contact, high initial grab, and overall level surface.

Allow adhered insulation to remain undisturbed for not less than 24 hours, before ​<< installing mechanical fasteners; or  None - N/A>>​ beginning rasping and sanding insulation or before applying base coat and reinforcing mesh.

        - ******************************************************************************

        - Retain the following subparagraph when mechanical fasteners are used to install insulation to substrate.

        - ******************************************************************************

Mechanically attach insulation to substrate. Install top surface of fastener heads flush with plane of insulation. Install fasteners into or through substrates with the following minimum penetration:

          - **********************************************************************

          - The following subparagraphs are designer-choices. Retain based on substrate present on project.

          - **********************************************************************

Steel framing: 5/16 inch.

Wood framing: 1 inch.

Concrete or masonry or concrete masonry: 1 inch.

Apply insulation over dry substrates in courses with long edges of boards oriented horizontally.

Begin first course of insulation from a level base line and work upward.

        - ******************************************************************************

        - Typically drip screed/track and casing bead are always required for project (discussed in the following two subparagraphs below).

        - ******************************************************************************

Begin first course of insulation from screed/track and work upward.

Work from perimeter casing beads toward interior of panels if possible.

Stagger vertical joints of insulation boards in successive courses to produce running bond pattern. Locate joints so no piece of insulation is less than 12 inches wide or 6 inches high.  Offset joints not less than 6 inches from corners of window and door openings << and not less than 4 inches from aesthetic reveals; or  None - N/A>>​.

          - **********************************************************************

          - The following subparagraphs are designer-choices. Retain based on project-specific conditions.

          - **********************************************************************

Adhesive attachment: Offset joints of insulation not less than 6 inches from horizontal and 4 inches from vertical joints in sheathing.

Mechanical attachment: Offset joints of insulation from horizontal joints in sheathing.

Interlock ends at internal and external corners.

Abut insulation tightly at joints within and between each course to produce flush, continuously even surfaces without gaps or raised edges between boards. If gaps greater than 1/16 inch occur, fill with insulation cut to fit gaps exactly; insert insulation without using adhesive or other material.

Cut insulation to fit openings, corners, and projections precisely and to produce edges and shapes complying with details indicated.

Rasp or sand flush entire surface of insulation to remove irregularities projecting more than << 1/32; or  1/16>> inch from surface of insulation and to remove yellowed areas due to sun exposure; do not create depressions deeper than 1/16 inch. Prevent airborne dispersal and immediately collect insulation waste.

        - ******************************************************************************

        - Retain the following subparagraph when aesthetic reveals required for project.

        - ******************************************************************************

Cut aesthetic reveals in outside face of insulation with high-speed router and bit configured to produce grooves, rabbets, and other features that comply with profiles and locations indicated. Do not reduce insulation thickness at aesthetic reveals to less than 3/4 inch. Prevent airborne dispersal and immediately collect insulation raspings or sandings.

        - ******************************************************************************

        - Retain the following subparagraph when build-outs required for project.

        - ******************************************************************************

Install foam build-outs and attach to ​​<< sheathing; or  structure>>​​​.

        - ******************************************************************************

        - Expansion joints are always required for project (discussed in the following subparagraph below).

        - ******************************************************************************

Interrupt insulation for expansion joints where indicated.

Form joints for sealant application by leaving gaps between adjoining insulation edges and between insulation edges and dissimilar adjoining surfaces. Make gaps wide enough to produce joint widths indicated after encapsulating joint substrates with base coat and reinforcing mesh.

        - ******************************************************************************

        - Typically casing beads are always required for project (discussed in the following subparagraph below).

        - ******************************************************************************

Form joints for sealant application with back-to-back casing beads for joints within EIFS and with perimeter casing beads at dissimilar adjoining surfaces. Make gaps between casing beads and between perimeter casing beads and adjoining surfaces of width indicated.

Fully wrap board edges with strip reinforcing mesh.

Treat exposed edges of insulation as follows:

Except for edges forming substrates of sealant joints, encapsulate with base coat, reinforcing mesh, and finish coat.

Encapsulate edges forming substrates of sealant joints within EIFS or between EIFS and other work with base coat and reinforcing mesh.

At edges trimmed by accessories, extend base coat, reinforcing mesh, and finish coat over face leg of accessories.

Coordinate installation of flashing and insulation to produce wall assembly that does not allow water to penetrate behind flashing and EIFS lamina.

      - ***************************************************************************************

      - Expansion joints are always required for project.

      - ***************************************************************************************

Expansion Joints: Install at locations indicated, where required by EIFS manufacturer, and as follows:

At expansion joints in substrates behind EIFS.

Where EIFS adjoin dissimilar substrates, materials, and construction, including other EIFS.

        - ******************************************************************************

        - The following subparagraph is a designer-choice. Retain for wood-framed construction.

        - ******************************************************************************

At floor lines in multi-level wood-framed construction.

Where wall height or building shape changes.

Where EIFS manufacturer requires joint in long continuous elevations.

Where panels abut one another.

BASE COAT INSTALLATION

Waterproof Adhesive/Base Coat: To exposed surfaces of insulation, apply a minimum thickness recommended in writing by EIFS manufacturer over ​​​​<< sloped surfaces;  window sills;  parapets;  foam build-outs;  where indicated on Drawings; and  Insert location>>​​​​​.​​

Base Coat:  Apply to exposed surfaces of insulation ​​​​<< and foam build-outs; or  None - N/A>>​​​​ in minimum thickness recommended in writing by EIFS manufacturer, but not less than ​​​​<< insert dimension>>​​​​ dry-coat thickness.

Reinforcing Mesh: Embed reinforcing mesh in wet base coat to produce wrinkle-free installation with mesh continuous at corners, overlapped not less than 2-1/2 inches or otherwise treated at joints to comply with <<ASTM C1397>> and EIFS manufacturer’s written instructions. Do not lap reinforcing mesh within 8 inches or corners. Completely embed mesh, applying additional base coat material if necessary, so reinforcing-mesh color and pattern are invisible.

Double-Layer Reinforcing-Mesh Application: Where indicated or required, apply second base coat and second layer of reinforcing mesh, overlapped not less than 2-1/2 inches or otherwise treated at joints to comply with <<ASTM C1397>> and EIFS manufacturer’s written instructions in same manner as first application. Do not apply until first base coat has cured.

Additional Reinforcing Mesh: Apply strip reinforcing mesh around openings, extending 4 inches beyond perimeter.  Apply additional 9-by-12-inch strip reinforcing mesh diagonally at corners of openings (re-entrant corners).  Apply 8-inch wide, strip reinforcing mesh at both inside and outside corners unless base layer of mesh is lapped not less than 4 inches on each side of corners.

        - ******************************************************************************

        - Retain the following subparagraph when aesthetic reveals required for project.

        - ******************************************************************************

At aesthetic reveals, apply strip reinforcing mesh not less than 8 inches wide.

Embed strip enforcing mesh in base coat before applying first layer or reinforcing mesh.

      - ***************************************************************************************

      - Retain the following paragraph when build-outs required for project.

      - ***************************************************************************************

Foam Build-Outs: Fully embed reinforcing mesh in base coat.

Double Base Coat Application: Where indicated, apply second base coat in same manner and thickness as first application, except without reinforcing mesh. Do not apply until first base coat has cured.

FINISH COAT INSTALLATION

      - ***************************************************************************************

      - Retain the following paragraph when primer is required for project.

      - ***************************************************************************************

Primer: Apply over dry base coat according to EIFS manufacturer’s written instructions.

Finish Coat: Apply over dry ​<< primed; or  None - N/A>>​ base coat, maintaining a wet edge at all times for uniform appearance, in thickness required by EIFS manufacturer to produce a uniform finish of color and texture matching approved sample and free of cold joints, shadow lines, and texture variations.

Embed aggregate in finish coat according to EIFS manufacturer’s written instructions to produce a uniform applied-aggregate finish of color and texture matching approved sample.

      - ***************************************************************************************

      - Retain the following paragraph when sealer is required for project.

      - ***************************************************************************************

Sealer Coat: Apply over dry finish coat, in number of coats and thickness required by EIFS manufacturer.

FIELD QUALITY CONTROL

Special Inspections: LANL will perform the following special inspections:

As stipulated in Chapter 17 of the <<ICC (IBC)>>.

According to << ICC-ES AC24; or  ICC-ES AC219>>.

<< Insert special inspections>>.

Testing Agency: LANL will perform tests and inspections.

EIFS Tests and Inspections: According to << ASTM E2568;  ICC-ES AC24;  ICC-ES AC219; or  Insert tests and inspections>>.

EIFS shall be considered defective if it does not pass tests and inspections.

Prepare test and inspection reports.

CLEANING AND PROTECTION

Remove temporary covering and protection of other work. Promptly remove coating materials from window and door frames and other surfaces outside areas indicated to receive EIFS coatings.

Do not permit finish surface to become soiled or damaged.

Repair or replace damaged or disfigured surfaces caused by work of this section.

END OF SECTION

    - **********************************************************************************************

      - Do not omit the following reference information:

    - **********************************************************************************************

THE FOLLOWING STATEMENT IS FOR LANL USE ONLY

THIS PROJECT SPECIFICATION SECTION IS BASED ON LANL MASTER SPECIFICATION SECTION 07 2400, REV. 5, DATED APRIL 15, 2026.