Section 07 4113 
Metal Roof Panels

  - *************************************************************************************************************

    - LANL MASTER SPECIFICATION section

Rev. 6 Summary of Changes: Edited and updated as required for import into SpecLink.

      - NOTE TO SPECIFIER ON USAGE IN SPECLINK: Activate the Section by turning on Seq #0000, followed by activating paragraphs in PART 1, Article SECTION INCLUDES. This will activate related articles, paras/subparas in the rest of the Section (i.e., SECTION INCLUDES in PART 1 activates articles and paras/subparas in PARTS 2 and 3). If there are choice fields to edit the entire Section (typically in this first author note or beginning of the Section), make selections at those locations, which will filter through the remaining Section. All Articles, paragraphs and subparagraphs must be activated sequentially from top to bottom, unless noted otherwise.

      - This template must be edited for each project. In doing so, Specifier must add job-specific requirements. Selections and choice fields are used to indicate designer choices or locations where text must be supplied by the designer. The section must also be edited to remove requirements for processes, items, or designs that are not included in the project.

      - To seek a variance from applicable requirements in this Section, contact the Engineering Standards Manual (ESM) Architectural POC  (LANL access only). Please contact POC with suggestions for improvement as well. LANL personnel should submit here: Suggested Change or Request Clarification; subcontractors via email to engstandards@lanl.gov.

      - When assembling a specification package, include applicable Sections from all Divisions, especially Division 1, General Requirements.

      - Section is developed for ML-4 projects. For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see LANL ESM Chapter 1 - General, Section Z10 specifications and quality sections

  - *************************************************************************************************************

PART 1 - GENERAL

SECTION INCLUDES

      - ***************************************************************************************

      - The following paragraphs are designer-choice. Retain paragraphs based on project-specific requirements for installing metal roof panels. Options selected here update the entire Section.

      - ***************************************************************************************

Miscellaneous Metal Framing - ​​​​<< Click to select option(s) from drop down menu;  Hat-Shaped, Rigid Furring Channels;  Cold-Rolled Furring Channels; and  Z-Shaped Furring>>​​​​

Substrate Boards - ​​​<< Click to select substrate board type from drop down menu;  Gypsum Board;  Glass-Mat Gypsum Sheathing Board; or  Perlite Board>>​​​

Thermal Insulation

Underlayment Materials - ​​​​​<< Click to select underlayment type from drop down menu;  Self-Adhering, High-Temperature Sheet;  Felts; or  Slip Sheet>>​​​​​

      - ***************************************************************************************

      - The following six paragraphs are designer-choice. Retain one of the first five paragraphs (exposed-fastener lap-seam; concealed-fasteners, lap-seam; standing-seam; batten-seam or foamed-insulation-core metal roof panel) based on type of metal roof panel required for project. Retain the sixth paragraph when metal soffit panels required for project. Options selected here update the entire Section.

      - ***************************************************************************************

Exposed-fastener, Lap-Seam Metal Roof Panels - ​​​​<< Zinc-coated (galvanized) steel sheet;  Aluminum-zinc alloy-coated steel sheet; or  Aluminum sheet>>​​​​

      - *** OR ***

Concealed fastener, Lap-Seam Metal Roof Panels - ​​​​​<< Zinc-coated (galvanized) steel sheet;  Aluminum-zinc alloy-coated steel sheet; or  Aluminum sheet>>​​​​​

      - *** OR ***

Standing-Seam Metal Roof Panels - ​​<< Zinc-coated (galvanized) steel sheet;  Aluminum-zinc alloy-coated steel sheet; or  Aluminum sheet>>​​

      - *** OR ***

Batten-Seam Metal Roof Panels - ​​<< Zinc-coated (galvanized) steel sheet;  Aluminum-zinc alloy-coated steel sheet; or  Aluminum sheet>>​​

      - *** OR ***

Foamed-Insulation-Core Metal Roof Panels - ​​​​<< Lap-Seam Profile;  Standing-Seam-Profile; or  Batten-Seam-Profile>>​​​​; ​​​​<< Zinc-coated (galvanized) steel sheet; or  Aluminum-zinc alloy-coated steel sheet>>​​​​

Metal Soffit Panels - ​​​​​<< Same material as metal roof panels;  Zinc-coated (galvanized) steel sheet;  Aluminum-zinc alloy-coated steel sheet; or  Aluminum sheet>>​​​​​

Accessories

      - ***************************************************************************************

      - The following paragraph is a designer-choice. Retain paragraph when snow guards required for project. Options selected here update the entire Section. Standing-seam roofs require seam-mounted snow guards.

      - ***************************************************************************************

Snow Guards - ​​​​<< Surface-Mounted, Metal, Stop-Type; or  Seam-Mounted, Stop-Type>>​​​​

RELATED REQUIREMENTS

Section << 01 8113.13 - Sustainable Design>>​

Section << 07 2100 - Thermal Insulation>>​

Section << 07 6200 - Sheet Metal Flashing and Trim>>

Section << 07 9200 - Joint Sealants>>

REFERENCE STANDARDS

AAMA 621 - Voluntary Specifications for High Performance Organic Coatings on Coil Coated Architectural Hot Dipped Galvanized (HDG) and Zinc-Aluminum Coated Steel Substrates.

AAMA 2605 - Voluntary Specification, Performance Requirements and Test Procedures for Superior Performing Organic Coatings on Aluminum Extrusions and Panels (with Coil Coating Appendix).

ASTM A641/A641M - Standard Specification for Zinc-Coated (Galvanized) Carbon Steel Wire.

ASTM A653/A653M - Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process.

ASTM A755/A755M - Standard Specification for Steel Sheet, Metallic Coated by the Hot-Dip Process and Prepainted by the Coil-Coating Process for Exterior Exposed Building Products.

ASTM A792/A792M - Standard Specification for Steel Sheet, 55% Aluminum-Zinc Alloy-Coated by the Hot-Dip Process.

ASTM B209/B209M - Standard Specification for Aluminum and Aluminum-Alloy Sheet and Plate.

ASTM C273/C273M - Standard Test Method for Shear Properties of Sandwich Core Materials.

ASTM C297/C297M - Standard Test Method for Flatwise Tensile Strength of Sandwich Constructions.

ASTM C518 - Standard Test Method for Steady-State Thermal Transmission Properties by Means of the Heat Flow Meter Apparatus.

ASTM C645 - Standard Specification for Nonstructural Steel Framing Members.

ASTM C728 - Standard Specification for Perlite Thermal Insulation Board.

ASTM C920 - Standard Specification for Elastomeric Joint Sealants.

ASTM C1177/C1177M - Standard Specification for Glass Mat Gypsum Substrate for Use as Sheathing.

ASTM C1311 - Standard Specification for Solvent Release Sealants.

ASTM C1396/C1396M - Standard Specification for Gypsum Board.

ASTM D226/D226M - Standard Specification for Asphalt-Saturated Organic Felt Used in Roofing and Waterproofing.

ASTM D1187/D1187M - Standard Specification for Asphalt-Base Emulsions for Use as Protective Coatings for Metal.

ASTM D1621 - Standard Test Method for Compressive Properties of Rigid Cellular Plastics.

ASTM D1970/D1970M - Standard Specification for Self-Adhering Polymer Modified Bituminous Sheet Materials Used as Steep Roofing Underlayment for Ice Dam Protection.

ASTM D2126 - Standard Test Method for Response of Rigid Cellular Plastics to Thermal and Humid Aging.

ASTM D2856 - Standard Test Method for Open-Cell Content of Rigid Cellular Plastics by the Air Pycnometer (withdrawn 2006).

ASTM D6226 - Standard Test Method for Open Cell Content of Rigid Cellular Plastics.

ASTM E84 - Standard Test Method for Surface Burning Characteristics of Building Materials.

ASTM E108 - Standard Test Methods for Fire Tests of Roof Coverings.

ASTM E119 - Standard Test Methods for Fire Tests of Building Construction and Materials.

ASTM E136 - Standard Test Method for Assessing Combustibility of Materials Using a Vertical Tube Furnace at 750 Degrees C.

ASTM E1514 - Standard Specification for Structural Standing Seam Steel Roof Panel Systems.

ASTM E1592 - Standard Test Method for Structural Performance of Sheet Metal Roof and Siding Systems by Uniform Static Air Pressure Difference.

ASTM E1637 - Standard Specification for Structural Standing Seam Aluminum Roof Panel Systems.

ASTM E1646 - Standard Test Method for Water Penetration of Exterior Metal Roof Panel Systems by Uniform Static Air Pressure Difference.

ASTM E1680 - Standard Test Method for Rate of Air Leakage through Exterior Metal Roof Panel Systems.

ASTM E1980 - Standard Practice for Calculating Solar Reflectance Index of Horizontal and Low-Sloped Opaque Surfaces.

ASTM E2140 - Standard Test Method for Water Penetration of Metal Roof Panel Systems by Static Water Pressure Head.

CRRC-1 - CRRC-1 Roof Product Rating Program Manual.

EPA CPG - Comprehensive Procurement Guidelines for Construction Products.

FM (AG) - FM Approval Guide.

FM 4470 - Examination Standard for Single-Ply, Polymer-Modified Bitumen Sheet, Built-Up Roof (BUR) and Liquid Applied Roof Assemblies for Use in Class 1 and Noncombustible Roof Deck Construction.

FM 4471 - Examination Standard for Class 1 Panel Roofs.

ICC (IBC) - International Building Code.

NRCA (RM) - The NRCA Roofing Manual.

SMACNA (ASMM) - Architectural Sheet Metal Manual.

UL (FRD) - Fire Resistance Directory.

UL 580 - Standard for Tests for Uplift Resistance of Roof Assemblies.

DEFINITIONS

For definitions and acronyms, refer to COE Glossary of Terms.

Metal Roof Panel Assembly: Metal roof panels, attachment system components, miscellaneous metal framing, thermal insulation, and accessories necessary for a complete weathertight roofing system.

ADMINISTRATIVE REQUIREMENTS

Coordination:

Coordinate sizes and locations of roof curbs, equipment supports, and roof penetrations with actual equipment provided.

Coordinate metal roof panels with rain drainage work, flashing, trim, and construction of ​​​<< decks; or  purlins and rafters>>​​​, parapets, walls, and other adjoining work to provide a leak-proof, secure, and noncorrosive installation.

      - ***************************************************************************************

      - Complicated or high-risk conditions of installation require a pre-installation conference at the job site. Retain the following paragraph, when required.

      - ***************************************************************************************

Preinstallation Conference:  Conduct conference at ​<< Project site; or  ______>>​.

Meet with LANL STR, Architect of Record, Testing and Inspecting Agency Representative, Metal Roof Panel Installer, Metal Roof Panel Manufacturer’s Representative, ​<< Deck; or  Purlin and Rafter>>​ Installer, and Installers whose work interfaces with or affects metal roof panels including installers of roof accessories and roof-mounted equipment.

Review and finalize construction schedule and verify availability of materials, Installer’s personnel, equipment, and facilities needed to make progress and avoid delays.

Review methods and procedures related to metal roof panel installation, including manufacturer’s written instructions.

Examine ​<< deck substrate; or  purlins and rafters>>​ condition for compliance with requirements, including flatness and attachment to structural members.

Review structural loading limitations of ​<< deck; or  purlins and rafters>>​ during and after roofing.

Review flashings, special roof details, roof drainage, roof penetrations, equipment curbs, and condition of other construction that will affect metal roof panels.

Review governing regulations and requirements for insurance, certificates, and testing and inspecting if applicable.

Review temporary protection requirements for metal roof panel assembly during and after installation.

Review roof observation and repair procedures after metal roof panel installation.

Document proceedings, including corrective measures and actions required, and furnish copy of record to each participant.

      - ***************************************************************************************

      - Edit submittals to include only those absolutely necessary to assure requirements and features that are important for the specific project will be met.

      - ***************************************************************************************

ACTION SUBMITTALS

Product Data: For each type of product indicated.  Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for each type of roof panel and accessory.

Shop Drawings: Show fabrication and installation layouts of metal roof panels; details of edge conditions, side-seam and end-lap joints, panel profiles, corners, anchorages, trim, flashing closures, and accessories; and special details. Distinguish between factory-and field-assembled work.

      - ***************************************************************************************

      - Retain the following paragraph when project requires samples.

      - ***************************************************************************************

Samples: For each type of exposed finish required.

      - ***************************************************************************************

      - Verify these requirements below against LANL ESM Chapter 14 - Sustainable Design, Attachment 1 "Required Attribute" Column and, if applicable, the LEED prerequisites and project credits. Material content is required. This paragraph with its subparagraphs (except one discussing costs) are activated automatically based on selections made in Article Performance Requirements and/or product selections in PART 2, when applicable.

      - ***************************************************************************************

Sustainable Design Submittals:

Sustainable Design (SD) Submittals: Provide material content documentation in accordance with the requirements of this Section. ​​​​​<< Submit any additional documentation for this product category, as applicable under Section  01 8113.13 - Sustainable Design  with this Section’s submittal.; or  None - N/A>>​​​​​

Manufacturer Certificates: Signed by manufacturer certifying that roof panels comply with energy performance requirements specified in Article ​<< 2.1; or  ______>>​ Performance Requirements.

Product Test Reports for roof panels, indicating that panels comply with solar reflectance index requirement.

Product Data indicating percentages by weight of postconsumer and preconsumer recycled content for products having recycled content.

          - **********************************************************************

          - The following subparagraph is a designer-choice. Retain when required for project.

          - **********************************************************************

Include statement indicating costs for each product having recycled content.

INFORMATIONAL SUBMITTALS

Product Test Reports

Field quality-control reports.

At Closeout:

Maintenance Data.

Warranty:  As specified herein.

QUALITY ASSURANCE

Qualifications

Metal Roof Manufacturer:

Company specializing in manufacturing products specified in this Section.

Supply a list of projects, completed in the Southwest, where specified material has been in place and performing successfully for a period of not less than 5 years. As a minimum, Applicator must have successfully completed 5 projects using the specified or similar materials.  Applicator must provide LANL’s Subcontract Technical Representative (STR) with a written record identifying these projects with the name and address of purchasers of the service and location of work performed, if requested.

Applicator:

Company specializing in performing the Work of this Section with documented experience and “certified” by material manufacturer as an applicator and maintenance company.  As a minimum, Applicator must have successfully completed 5 projects using the specified or similar materials.  Applicator must provide LANL’s Subcontract Technical Representative (STR) with a written record identifying these projects with the name and address of purchasers of the service and location of work performed, if requested.

      - ***************************************************************************************

      - Retain the following paragraph when foamed-insulation core metal roof panels is selected for project.

      - ***************************************************************************************

Surface Burning Characteristics: Provide metal roof panels having insulation core material with the following surface-burning characteristics as determined by testing identical products according to <<ASTM E84>> by a qualified testing agency.  Identify products with appropriate markings of applicable testing agency.

Flame-spread Index: << 25; or  ______>> or less.

Smoke-Developed Index: << 450; or  ______>> or less.

Fire-Resistance Ratings:  Where indicated, provide metal roof panels identical to those of assemblies tested for fire resistance per <<ASTM E119>> by a qualified testing agency.  Identify products with appropriate markings of applicable testing agency.

Indicate design designations from <<UL (FRD)>> or from the listings of another qualified testing agency.

Combustion Characteristics: <<ASTM E136>>.

DELIVERY, STORAGE, AND HANDLING

Deliver components, sheets, metal roof panels, and other manufactured items so as not to be damaged or deformed.  Package metal roof panels for protection during transportation and handling.

Unload, store and erect metal roof panels in a manner to prevent bending, warping, twisting, and surface damage.

Stack metal roof panels on platforms or pallets, covered with suitable weathertight and ventilated covering.  Store metal roof panels to ensure dryness.  Do not store metal roof panels in contact with other materials that might cause staining, denting, or other surface damage.

Protect strippable protective covering on metal roof panels from exposure to sunlight and high humidity, except to extent necessary for period of metal roof panel installation.

FIELD CONDITIONS

Weather Limitations: Proceed with installation only when existing and forecasted weather conditions permit metal roof panel work to be performed according to manufacturer’s written instructions and warranty requirements.

Field Measurements: Verify actual dimensions of construction contiguous with metal roof panels by field measurements before fabrication.

WARRANTY

Furnish << 20; or  ______>> year manufacturer warranty for sheet metal roofing against structural failure, fastener seal loss, corrosion and water penetration.

Furnish << 20; or  ______>> year manufacturer warranty for metal finish against fading, chipping, chalking, and blistering.

PART 2 - PRODUCTS

PERFORMANCE REQUIREMENTS

Regulatory Requirements:

Provide metal roof panels approved and listed in <<FM (AG)>>.

<<ICC (IBC)>>

Sustainability Characteristics:

Energy Performance: For low-sloped roofs (pitch of less than or equal to 2:12), provide roof panels with a minimum 3-year aged solar reflectance of 0.55 and minimum 3-year aged thermal emittance of 0.75 in accordance with the <<CRRC-1>>, or with a minimum 3-year aged solar reflectance index (SRI) of 64 in accordance with  <<ASTM E1980>>​.

Energy Performance: For steep-sloped roofs (pitch exceeding 2:12) provide roof panels with a 3-year aged solar reflectance index (SRI) of 29 or higher.

Air Infiltration: Air leakage through assembly of not more than ​<< 0.06 cfm/sq. ft.; or  ______>>​ of roof area when tested according to <<ASTM E1680>> at the following test-pressure difference:

Negative Test-Pressure Difference: << -1.57 lbf/sq.ft.; or  ______>>

        - ******************************************************************************

        - Retain the following subparagraph for roof applications steeper than 30 degrees from the horizontal.

        - ******************************************************************************

Positive and Negative Test-Pressure Difference: ​<< +/-1.57 lbf/sq.ft.; or  ______>>​

Positive Preload Test-Pressure Difference: << Greater than or equal to 15.0 lbf/sq.ft. and the greater of 75 percent of building live load or 50 percent of building design positive wind-pressure difference; or  ______>>.

Negative Preload Test-Pressure Difference: << 50 percent of design wind-uplift-pressure difference; or  ______>>.

Water Penetration:  No water penetration when tested according to <<ASTM E1646>> at the following test-pressure difference:

Test-Pressure Difference: << 2.86 lbf/sq.ft.; or  ______>>

        - ******************************************************************************

        - Retain the following subparagraph for roof applications steeper than 30 degrees from the horizontal.

        - ******************************************************************************

Test-Pressure Difference: ​<< 20 percent of positive design wind pressure, but not less than 6.24 lbf/sq.ft. and not more than 12.0 lbf/sq.ft.; or  ______>>​

Positive Preload Test-Pressure Difference: << Greater than or equal to 15.0 lbf/sq.ft. and the greater of 75 percent of building live load or 50 percent of building design positive wind-pressure difference; or  ______>>.

Negative Preload Test-Pressure Difference: << 50 percent of design wind-uplift-pressure difference; or  ______>>.

Hydrostatic-Head Resistance:  No water penetration when tested according to <<ASTM E2140>>.

Wind-Uplift Resistance: Provide metal roof panel assemblies that comply with <<UL 580>> for wind-uplift-resistance class indicated.

Uplift Rating: 1-90.

<<FM (AG)>> Listing:  Provide metal roof panels and component materials that comply with requirements in <<FM 4471>> as part of a panel roofing system and that are listed in <<FM (AG)>> for Class 1 or noncombustible construction, as applicable.  Identify materials with FM markings.

Fire/Windstorm Classification: Class 1A-90.

Hail Resistance: SH.

      - ***************************************************************************************

      - Metal Roof Panel structural performance criteria below are examples only.  Insert design loads applicable to Project.  Consult structural engineer experienced in engineering metal roof panel assemblies of type indicated to quantify design loads.  Verify compliance with LANL ESM Chapter 5 - Structural.

      - ASTM E1592 in paragraph below is for roof panels spanning structural support that are of single-skin construction (no composite panels or panels with multiple-layer construction).

      - ***************************************************************************************

Structural Performance: Provide metal roof panel assemblies capable of withstanding the effects of gravity loads and the following loads and stresses within limits and under conditions indicated, based on testing according to <<ASTM E1592>>.

Wind Loads: As indicated on Drawings.

Seismic Loads: As indicated on Drawings.

Dead Loads: As indicated on Drawings.

Live loads: As indicated on Drawings.

Snow loads: As indicated on Drawings.

Deflection Limits:  Metal roof panel assemblies shall withstand wind and gravity loads with vertical deflections no greater than << 1/180; or  1/240>> of the span.

Thermal Movements:  Allow for thermal movements resulting from ambient and surface temperature changes.  Base calculation on surface temperatures of materials due to both solar heat gain and nighttime-sky heat loss.

Temperature Change (Range): << ______>>

      - ***************************************************************************************

      - Retain the following paragraph when foamed-insulation core metal roof panels is selected for project.

      - ***************************************************************************************

Thermal Performance: Provide insulated metal roof panel assemblies with thermal-resistance value (R-value) as indicated in Article << 2.12; or  ___>> Foamed-Insulation Core Metal Roof Panels, when tested according to <<ASTM C518>>.

      - ***************************************************************************************

      - The following Articles Miscellaneous Metal Framing, Substrate Boards, Field-Installed Thermal Insulation and Underlayment Materials are designer-choice. Retain Articles based on project-specific requirements for installing metal roof panels.

      - ***************************************************************************************

MISCELLANEOUS METAL FRAMING

Miscellaneous Metal Framing, General: <<ASTM C645>>, cold-formed metallic-coated steel sheet, <<ASTM A653/A653M>><< , G40 (Z120) hot-dip galvanized; or  , G60 (Z180) hot-dip galvanized>> or coating with equivalent corrosion resistance unless otherwise indicated.

      - ***************************************************************************************

      - The following three paragraphs are designer-choice. Retain the following paragraphs for board insulation installed between Z-shaped furring and/or for metal soffit panels installed over furring. Ensure that cold-formed framing, such as purlins, specified herein does not conflict with Section << 05 4000 - Cold-Formed Metal Framing>>. Additional framing materials may also be inserted below for slope conversion, sometimes called “retrofit” systems.

      - ***************************************************************************************

Hat-Shaped, Rigid Furring Channels

Nominal Thickness: << As indicated;  As required to meet performance requirements;  0.025 inch;  0.040 inch; or  ______>>.

Depth: << As indicated;  7/8 inch;  1-1/2 inches; or  ______>>.

Cold-Rolled Furring Channels: Minimum 1/2-inch wide flange.

Nominal Thickness: << As indicated;  As required to meet performance requirements;  0.064 inch; or  ______>>.

Depth: << As indicated;  3/4 inch; or  ______>>.

Furring Brackets: Adjustable, corrugated-edge type of steel sheet with nominal thickness of 0.040 inch.

Tie Wire: <<ASTM A641/A641M>>, Class 1 zinc coating, soft temper, 0.062-inch diameter wire, or double stand of 0.048-inch diameter wire.

Z-Shaped Furring: With slotted or non-slotted web, face flange of 1-1/4 inches, wall attachment flange of 7/8 inch, and depth required to fit insulation thickness indicated.

Nominal Thickness: << As indicated;  As required to meet performance requirements;  0.025 inch; or  ______>>.

SUBSTRATE BOARDS

      - ***************************************************************************************

      - Retain one of the following three paragraphs for type of substrate board.

      - ***************************************************************************************

Gypsum Board: Type X, of thickness indicated.  <<ASTM C1396/C1396M>>.

Sustainable Design Requirements: Biopreferred.

      - *** OR ***

Glass-Mat Gypsum Sheathing Board:  <<ASTM C1177/C1177M>>; ​<< Regular, 1/2 inch; or  Type X, 5/8 inch>>​.

      - *** OR ***

Perlite Board: <<ASTM C728>>, 1 inch thick.

Sustainable Design Requirements:

Recycled Content: 23 percent postcosumer paper.

Substrate-Board Fasteners:  Factory-coated steel fasteners and metal or plastic plates complying with corrosion-resistance provisions in <<FM 4470>>, designed for fastening substrate board to substrate.

FIELD-INSTALLED THERMAL INSULATION

As specified in Section << 07 2100 - Thermal Insulation>>.

UNDERLAYMENT MATERIALS

      - ***************************************************************************************

      - Retain one of the following three paragraphs for underlayment.

      - ***************************************************************************************

Self-Adhering, High-Temperature Sheet: 30 to 40 mils thick minimum, consisting of slip-resisting, polyethylene-film top surface laminated to layer of butyl or SBS-modified asphalt adhesive, with release-paper backing; cold applied. Provide primer when recommended by underlayment manufacturer.

Thermal Stability: Stable after testing at 240 degrees F; <<ASTM D1970/D1970M>>.

Low Temperature Flexibility: Passes after testing at minus 20 degrees F; <<ASTM D1970/D1970M>>.

Manufacturers and Products:

Carlisle Coatings & Waterproofing Inc.; CCW 705 HT.

Grace Construction Products; Ultra.

Henry Company, Blueskin PE200 HT.

Met-Fab Manufacturing, LLC; MetShield.

Owens Corning; WeatherLock Metal High Temperature Underlayment.

      - *** OR ***

Felts: <<ASTM D226/D226M>>, ​<< Type II (No. 30); or  Type I (No. 15)>>​, asphalt-saturated organic felts.

      - *** OR ***

Slip Sheet:  Manufacturer's recommended slip sheet, of type required for application.

PANEL MATERIALS

      - ***************************************************************************************

      - The following paragraphs are designer-choice. Retain the type of sheet based on project-specific requirements.

      - ***************************************************************************************

Metallic-Coated Steel Sheet: Restricted flatness steel sheet metallic coated by the hot-dip process and prepainted by the coil-coating process to comply with <<ASTM A755/A755M>>.

Steel Sheet:

          - **********************************************************************

          - The following subparagraphs are designer-choice. Retain type of steel sheet based on project-specific requirements.

          - **********************************************************************

Zinc-coated (Galvanized) Steel Sheet: <<ASTM A653/A653M>>, G90 (Z275) coating designation; structural quality.

Aluminum-Zinc Alloy-Coated Steel Sheet: <<ASTM A792/A792M>>, Class AZ50 coating designation, Grade 40 (Class AZM150 coating designation, Grade 275); structural quality.

Surface: << Smooth, flat; or  Embossed>> finish.

Finish:

          - **********************************************************************

          - Select one of the following two subparagraphs for finish.

          - **********************************************************************

Exposed Coil-Coated Finish

            - *************************************************************

            - Select one of the following three subparagraphs for exposed coil-coated finish.

            - *************************************************************

2-Coat Fluoropolymer: <<AAMA 621>>. Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.

            - *** OR ***

3-Coat Fluoropolymer: <<AAMA 621>>. Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.

            - *** OR ***

Siliconized Polyester: Epoxy primer and silicone-modified, polyester-enamel topcoat; with a dry film thickness of not less than 0.2 mil for primer and 0.8 mil for topcoat.

          - *** OR ***

Concealed Finish: Manufacturer’s standard white or light-colored acrylic or polyester backer finish.

Sustainable Design Requirements: Refer to <<EPA CPG>>.

Aluminum Sheet: <<ASTM B209/B209M>>, manufacturer's standard alloy and temper suited for forming operations, structural performance required and finish indicated.

Surface: << Smooth, flat; or  Embossed>> finish.

Finish:

          - **********************************************************************

          - Select one of the following two subparagraphs for finish.

          - **********************************************************************

Exposed Coil-Coated Finish

            - *************************************************************

            - Select one of the following three subparagraphs for exposed coil-coated finish.

            - *************************************************************

2-Coat Fluoropolymer: <<AAMA 2605>>. Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.

            - *** OR ***

3-Coat Fluoropolymer: <<AAMA 2605>>. Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.

            - *** OR ***

Siliconized Polyester: Epoxy primer and silicone-modified, polyester-enamel topcoat; with a dry film thickness of not less than 0.2 mil for primer and 0.8 mil for topcoat.

          - *** OR ***

Concealed Finish: White or light-colored acrylic or polyester backer finish.

Sustainable Design Requirements:

Recovered Content Materials: Aluminum must be 20-90 percent recovered aluminum including 20-90 percent postconsumer content.

MISCELLANEOUS MATERIALS

Panel Sealants: Refer to Section << 07 9200 - Joint Sealants>>​.

        - ******************************************************************************

        - The following subparagraphs are designer-choice. Retain based on project-specific requirements.

        - ******************************************************************************

Sealant Tape: Pressure-sensitive, 100 percent solids, gray polyisobutylene compound sealant tape with release-paper backing; 1/2 inch wide and 1/8 inch thick.

Joint Sealant: <<ASTM C920>>; as recommended in writing by metal roof panel manufacturer.

Butyl-Rubber-Based, Solvent-Release Sealant: <<ASTM C1311>>.

Panel Fasteners: Self-tapping screws, bolts, nuts, self-locking rivets and bolts, end-welded studs, and other suitable fasteners designed to withstand design loads.  Provide exposed fasteners with heads matching color of metal roof panels by means of plastic caps or factory-applied coating. Provide EPDM, PVC, or neoprene sealing washers.

      - ***************************************************************************************

      - The following paragraph is designer-choice. Retain when required for project.

      - ***************************************************************************************

Bituminous Coating: Cold-applied asphalt emulsion complying with <<ASTM D1187/D1187M>>.

      - ***************************************************************************************

      - The following Articles Exposed-Fastener, Lap-Seam Metal Roof Panels; Concealed Fastener, Lap-Seam Metal Roof Panels; Standing-Seam Metal Roof Panels, Batten-Seam Metal Roof Panels; Foamed-Insulation-Core Metal Roof Panels and Metal Soffit Panels are designer-choice. Retain one of the first five Articles (exposed-fastener lap-seam; concealed-fasteners, lap-seam; standing-seam; batten-seam or foamed-insulation-core metal roof panel) based on type of metal roof panel required for project. Retain the sixth Article when metal soffit panels required for project.

      - ***************************************************************************************

EXPOSED-FASTENER, LAP-SEAM METAL ROOF PANELS

Manufacturers:

AEP-Span.

Alcoa Inc.

Butler Manufacturing.

CENTRIA Architectural Systems.

MBCI.

Metal Sales Manufacturing Corporation.

Peterson Aluminum Corporation.

​​​​<< Insert manufacturer's name>>​​​​.

General:  Provide factory-formed metal roof panels designed to be installed by lapping side edges of adjacent panels and mechanically attaching panels to supports using exposed fasteners in side laps.  Include accessories required for weathertight installation.

Profile: ​​​<< Corrugated;  Tapered rib;  Vee rib;  Box rib;  Deep-box rib; or  As indicated on Drawings>>​​​.

Material:

        - ******************************************************************************

        - Select one of the following three subparagraphs for metal roof panel material.

        - ******************************************************************************

Zinc-coated (galvanized) steel sheet, ​​​<< 0.022-inch;  0.028-inch;  0.034-inch;  0.040-inch;  0.052-inch; or  0.064-inch>>​​​ nominal thickness.

Exterior Finish: ​<< 2-coat fluoropolymer;  3-coat fluoropolymer;  Siliconized polyester; or  ______>>​.

Color: ​​<< As selected from manufacturer’s full range; or  ______>>​​.

Sustainable Design Requirements: Refer to <<EPA CPG>>.

        - *** OR ***

Aluminum-zinc alloy-coated steel sheet, ​​​<< 0.022-inch;  0.028-inch;  0.034-inch;  0.040-inch;  0.052-inch; or  0.064-inch>>​​​ nominal thickness.

Exterior Finish: ​<< 2-coat fluoropolymer;  3-coat fluoropolymer;  Siliconized polyester; or  ______>>​.

Color: ​​<< As selected from manufacturer’s full range; or  ______>>​​.

Sustainable Design Requirements: Refer to <<EPA CPG>>.

        - *** OR ***

Aluminum sheet, ​<< 0.032 inch;  0.040 inch; or  0.050 inch>>​ thick.

Exterior Finish: ​<< 2-coat fluoropolymer;  3-coat fluoropolymer;  Siliconized polyester; or  ______>>​.

Color: << As selected from manufacturer’s full range; or  ______>>

Sustainable Design Requirements:

Recovered Content Materials: Aluminum must be 20-90 percent recovered aluminum including 20-90 percent postconsumer content.

Major-Rib Spacing: ​​​​<< Insert dimension>>​​​​ O.C.

Panel Coverage: ​​​<< Insert dimension>>​​​

Panel Height: ​​​<< Insert dimension>>​​​

CONCEALED FASTENER, LAP-SEAM METAL ROOF PANELS

Manufacturers:

AEP-Span.

Alcoa Inc.

Berridge Manufacturing Company.

Merchant & Evans.

Metal Sales Manufacturing Corporation.

​​<< Insert manufacturer’s name>>​​.

General: Provide factory-formed metal roof panels designed to be installed by lapping and interconnecting side edges of adjacent panels and mechanically attaching through panel to supports using concealed fasteners ​<< and factory-applied sealant; or  None - N/A>>​ in side laps. Include accessories required for weathertight installation.

Profile: ​<< Tapered rib;  Standing seam;  Batten seam; or  As indicated on Drawings>>​.

Material:

        - ******************************************************************************

        - Select one of the following three subparagraphs for metal roof panel material.

        - ******************************************************************************

Zinc-coated (galvanized) steel sheet, ​​​<< 0.022-inch;  0.028-inch; or  0.034-inch>>​​​ nominal thickness.

Exterior Finish: ​​<< 2-coat fluoropolymer;  3-coat fluoropolymer;  Siliconized polyester; or  ______>>​​.

Color: ​​​<< As selected from manufacturer’s full range; or  ______>>​​​.

Sustainable Design Requirements: Refer to <<EPA CPG>>.

        - *** OR ***

Aluminum-zinc alloy-coated steel sheet, ​​​​<< 0.022-inch;  0.028-inch; or  0.034-inch>>​​​​ nominal thickness.

Exterior Finish: ​​​<< 2-coat fluoropolymer;  3-coat fluoropolymer;  Siliconized polyester; or  ______>>​​​.

Color: ​​​<< As selected from manufacturer’s full range; or  ______>>​​​.

Sustainable Design Requirements: Refer to <<EPA CPG>>.

        - *** OR ***

Aluminum sheet, ​​​​​<< 0.032 inch; or  0.040 inch>>​​​​​ thick.

Exterior Finish: ​​<< 2-coat fluoropolymer;  3-coat fluoropolymer;  Siliconized polyester; or  ______>>​​.

Color: ​​<< As selected from manufacturer’s full range; or  ______>>​​

Sustainable Design Requirements:

Recovered Content Materials: Aluminum must be 20-90 percent recovered aluminum including 20-90 percent postconsumer content.

Panel Coverage: ​​​<< Insert dimension>>​​​

Panel Height: ​​<< Insert dimension>>​​

Batten Width: ​​<< Insert dimension>>​​

STANDING-SEAM METAL ROOF PANELS

Manufacturers:

AEP-Span.

Architectural Metal Systems.

Berridge Manufacturing Company.

Butler Manufacturing.

CENTRIA Architectural Systems.

MBCI.

Merchant & Evans.

Metal Sales Manufacturing Corporation.

Peterson Aluminum Corporation.

​​​​<< Insert manufacturer's name>>​​​​.

General: Provide factory-formed metal roof panels designed to be installed by lapping and interconnecting raised side edges of adjacent panels with joint type indicated and mechanically attaching panels to supports using concealed clips in side laps. Include clips, cleats, pressure plates, and accessories required for weathertight installation.

Panel Systems:

        - ******************************************************************************

        - Select one of the following subparagraphs for panel system type.

        - ******************************************************************************

Steel Panel Systems:  Unless more stringent requirements are indicated, comply with <<ASTM E1514>>.

        - *** OR ***

Aluminum Panel Systems: Unless more stringent requirements are indicated, comply with <<ASTM E1637>>.

Profile: ​<< Vertical-rib, snap-joint;  Vertical-rib, seamed-joint;  Trapezoidal-rib, snap-joint;  Trapezoidal-rib, seamed-joint; or  As indicated on Drawings>>​.

Material:

        - ******************************************************************************

        - Select one of the following three subparagraphs for metal roof panel material.

        - ******************************************************************************

Zinc-coated (galvanized) steel sheet, ​​​<< 0.022-inch;  0.028-inch;  0.034-inch;  0.040-inch; or  0.052-inch>>​​​ nominal thickness.

Exterior Finish: ​<< 2-coat fluoropolymer;  3-coat fluoropolymer;  Siliconized polyester; or  ______>>​.

Color: ​<< As selected from manufacturer’s full range; or  ______>>​

Sustainable Design Requirements: Refer to <<EPA CPG>>.

        - *** OR ***

Aluminum-zinc alloy-coated sheet steel, ​​​<< 0.022-inch;  0.028-inch;  0.034-inch;  0.040-inch; or  0.052-inch>>​​​ nominal thickness.

Exterior Finish: ​​​<< 2-coat fluoropolymer;  3-coat fluoropolymer;  Siliconized polyester; or  ______>>​​​.

Color: ​​<< As selected from manufacturer’s full range; or  ______>>​​

Sustainable Design Requirements: Refer to <<EPA CPG>>.

        - *** OR ***

Aluminum sheet, ​​​​<< 0.032 inch; or  0.040 inch>>​​​​ thick.

Exterior Finish: ​<< 2-coat fluoropolymer;  3-coat fluoropolymer;  Siliconized polyester; or  ______>>​.

Color: ​<< As selected from manufacturer’s full range; or  ______>>​

Sustainable Design Requirements:

Recovered Content Materials: Aluminum must be 20-90 percent recovered aluminum including 20-90 percent postconsumer content.

Clips: ​<< Fixed; or  Floating to accommodate thermal movement>>​

Material: ​<< Metallic coated steel; or  Stainless steel>>​

Joint Type: ​<< Single folded;  Double folded; or  As standard with manufacturer>>​

Panel Coverage: ​​<< Insert dimension>>​​.

Panel Height: ​​​<< Insert dimension>>​​​.

BATTEN-SEAM METAL ROOF PANELS

Manufacturers:

AEP-Span.

Architectural Metal Systems.

CENTRIA Architectural Systems.

MBCI.

Merchant & Evans.

Metal Sales Manufacturing Corporation.

Peterson Aluminum Corporation.

​​<< Insert manufacturer’s name>>​​.

General: Provide factory-formed metal roof panel assembly designed to be installed by covering vertical side edges of adjacent panels with battens and mechanically attaching panels to supports using concealed clips. Include battens and accessories required for weathertight installation.

Profile: ​<< Narrow, snap-on batten seam;  Wide, snap-on batten seam;  Seamed batten; or  As indicated on Drawings>>​.

Panel Material:

        - ******************************************************************************

        - Select one of the following three subparagraphs for metal roof panel material.

        - ******************************************************************************

Zinc-coated (galvanized) steel sheet, ​​​<< 0.022-inch;  0.028-inch; or  0.034-inch>>​​​ nominal thickness.

Exterior Finish: << 2-coat fluoropolymer;  3-coat fluoropolymer;  Siliconized polyester; or  ______>>.

Color: ​<< As selected from manufacturer’s full range; or  ______>>​

Sustainable Design Requirements: Refer to <<EPA CPG>>.

        - *** OR ***

Aluminum-zinc alloy-coated steel sheet, ​​​<< 0.022-inch;  0.028-inch; or  0.034-inch>>​​​ minimal thickness.

Exterior Finish:  ​<< 2-coat fluoropolymer;  3-coat fluoropolymer;  Siliconized polyester; or  ______>>​.

Color: ​<< As selected from manufacturer’s full range; or  ______>>​

Sustainable Design Requirements: Refer to <<EPA CPG>>.

        - *** OR ***

Aluminum sheet, ​​​​​<< 0.024 inch;  0.032 inch;  0.040 inch; or  0.050 inch>>​​​​​ thick.

Exterior Finish: ​<< 2-coat fluoropolymer;  3-coat fluoropolymer;  Siliconized polyester; or  ______>>​.

Color: ​<< As selected from manufacturer’s full range; or  ______>>​

Sustainable Design Requirements:

Recovered Content Materials: Aluminum must be 20-90 percent recovered aluminum including 20-90 percent postconsumer content.

Batten Material: ​<< Same material, finish, and color as roof panels; or  ______>>​.

Clips: ​<< One; or  Two>>​ piece.

Material: ​<< Metallic-coated-steel; or  Stainless-steel>>​ sheet.

Sealant: Factory applied ​<< in top; or  on each side>>​ of battens.

Panel Coverage: ​​<< Insert dimension>>​​.

Batten Height: ​​<< Insert dimension>>​​.

FOAMED-INSULATION-CORE METAL ROOF PANELS

General: Provide factory-formed and factory-assembled metal roof panels fabricated from two sheets of metal with insulation core foamed-in-place during fabrication with joints between panels designed to form weathertight seals. Include accessories required for weathertight installation.

Panel Performance:

Flatwise Tensile Strength:  30 psi when tested according to <<ASTM C297/C297M>>.

Humid Aging: Volume increase not greater than 6.0 percent and no delamination or metal corrosion when tested for 7 days at 140 degrees F and 100 percent relative humidity according to <<ASTM D2126>>.

Heat Aging: Volume increase not greater than 2.0 percent and no delamination, surface blistering, or permanent bowing when tested for 7 days at 200 degrees F according to <<ASTM D2126>>.

Cold Aging: Volume decrease not more than 1.0 percent and no delamination, surface blistering, or permanent blowing when tested for 7 days at minus 20 degrees F according to <<ASTM D2126>>.

Fatigue: No evidence of delamination, core cracking, or permanent bowing when tested to a 20-lbf/sq. ft. positive and negative wind load wand with deflection of L/180 for 2 million cycles.

Autoclave: No delamination when exposed to 2-psi pressure at a temperature of 212 deg F for 2-1/2 hours.

Fire-Test Response Characteristics: Class A according to <<ASTM E108>>.

Insulation Core: Modified isocyanurate or polyurethane foam using a non-CFC blowing agent, with maximum flame-spread and smoke-developed indexes of 25 and 450 respectively.

Closed-Cell Content: 90 percent when tested according to <<ASTM D2856>>.

Density: 2.0 to 2.6 lb/cu. ft when tested according to <<ASTM D6226>>.

Compressive Strength: Minimum 20 psi when tested according to <<ASTM D1621>>.

Shear Strength: 26 psi when tested according to <<ASTM C273/C273M>>.

Sustainable Design Requirements:

Recycled Content: Minimum of 5 percent.

      - ***************************************************************************************

      - Select one of the following three paragraphs for metal roof panel type (lap-seam; standing-seam; or batten-seam profile).

      - ***************************************************************************************

Lap-Seam Profile, Foamed-Insulation-Core Metal Roof Panels: Formed for lapping side edges of adjacent panels and mechanically attaching to supports using exposed fasteners in side laps.

Manufacturers:

Architectural Metal Systems.

Coldmatic Building Systems.

Galvamet; Galvacer Building Systems.

Insulated Panel Systems; a division of NCI Building Systems, L.P.

Metecno-Aluma Shield; Division of Metecno Inc.

Metl-Span.

​<< Insert manufacturer’s name>>​.

Facings: Fabricate panel with exterior and interior facings of same material and thickness.

Material:

            - *************************************************************

            - Select one of the following two subparagraphs for metal roof panel material.

            - *************************************************************

Zinc-coated (galvanized) steel sheet, ​​<< 0.022-inch;  0.028-inch; or  0.034-inch>>​​ nominal thickness.

            - *** OR ***

Aluminum-zinc alloy-coated steel sheet, ​<< 0.022-inch;  0.028-inch; or  0.034-inch>>​ nominal thickness.

Sustainable Design Requirements: Refer to <<EPA CPG>>.

Exterior Facing Finish: ​<< 2-coat fluoropolymer;  3-coat fluoropolymer;  4-coat fluoropolymer;  Mica fluoropolymer;  Metallic fluoropolymer;  FEVE fluoropolymer;  Siliconized polyester;  Plastisol; or  ______>>​.

Color: << As selected from manufacturer’s full range; or  ______>>

Interior Facing Finish: << 2-coat fluoropolymer;  3-coat fluoropolymer;  4-coat fluoropolymer;  Mica fluoropolymer;  Metallic fluoropolymer;  FEVE fluoropolymer;  Siliconized polyester;  Plastisol; or  ______>>.

Color: << As selected from manufacturer’s full range; or  ______>>

Batten: Same material, finish, and color as exterior facings of roof panels.

Panel Coverage: << 24 inches;  30 inches;  36 inches;  39.6 inches;  40 inches;  44.5 inches; or  ______>>.

Panel Thickness: << 1.0 inch;  1.5 inches;  2.0 inches;  2.5 inches;  3.0 inches;  4.0 inches;  5.0 inches;  6.0 inches; or  ______>>.

Thermal-Resistance Value (R-Value): ​<< Insert R-value>>​

      - *** OR ***

Standing-Seam-Profile, Foamed-Insulation-Core Metal Roof Panels: Formed with vertical tongue-and-groove ribs at panel edges and ​<< intermediate stiffening ribs symmetrically spaced; or  flat pan>>​ between ribs; designed for sequential installation by interlocking tongue-and-groove panel edges and mechanically attaching panels to supports using concealed clips located between and engaging edges of adjacent panels, and mechanically seaming panels together.

Manufacturers:

Architectural Metal Systems.

Butler Manufacturing.

Insulated Panel Systems.

Metl-Span.

​<< Insert manufacturer’s name>>​.

Facings: Fabricate panel with exterior and interior facings of same material and thickness.

Material:

            - *************************************************************

            - Select one of the following two subparagraphs for metal roof panel material.

            - *************************************************************

Zinc-coated (galvanized) steel sheet, ​​<< 0.022-inch;  0.028-inch; or  0.034-inch>>​​ nominal thickness.

            - *** OR ***

Aluminum-zinc alloy-coated steel sheet, ​<< 0.022-inch;  0.028-inch; or  0.034-inch>>​ nominal thickness.

Sustainable Design Requirements: Refer to <<EPA CPG>>.

Exterior Facing Finish: ​<< 2-coat fluoropolymer;  3-coat fluoropolymer;  4-coat fluoropolymer;  Mica fluoropolymer;  Metallic fluoropolymer;  FEVE fluoropolymer;  Siliconized polyester;  Plastisol; or  ______>>​.

Color: << As selected from manufacturer’s full range; or  ______>>

Interior Facing Finish: << 2-coat fluoropolymer;  3-coat fluoropolymer;  4-coat fluoropolymer;  Mica fluoropolymer;  Metallic fluoropolymer;  FEVE fluoropolymer;  Siliconized polyester;  Plastisol; or  ______>>.

Color: << As selected from manufacturer’s full range; or  ______>>

Joint Type: ​<< Single folded;  Double folded; or  As standard with manufacturer>>​.

Panel Coverage: << 36 inches;  42 inches; or  ______>>.

Panel Thickness: << 2 inches;  2.5 inches;  3.0 inches;  4.0 inches;  5.0 inches;  6 inches; or  ______>>.

Thermal-Resistance Value (R-Value): ​​<< Insert R-value>>​​.

      - *** OR ***

Batten-Seam-Profile, Foamed-Insulation-Core Metal Roof Panels: Formed with vertical or tapered tongue-and-groove ribs at panel edges and ​<< intermediate stiffening ribs symmetrically spaced; or  flat pan>>​ between ribs; designed for sequential installation by interlocking tongue-and-groove panel edges and mechanically attaching panels to supports using concealed clips located between and engaging edges of adjacent panels, and installing snap-on battens over panel joints.

Manufacturers:

CENTRIA Architectural Systems.

Metl-Span.

​<< Insert manufacturer’s name>>​.

Facings: Fabricate panel with exterior and interior facings of same material and thickness.

Material:

            - *************************************************************

            - Select one of the following two subparagraphs for metal roof panel material.

            - *************************************************************

Zinc-coated (galvanized) steel sheet, 0.022 inch nominal thickness.

            - *** OR ***

Aluminum-zinc alloy-coated steel sheet, 0.022 inch nominal thickness.

Sustainable Design Requirements: Refer to <<EPA CPG>>.

Exterior Facing Finish: ​<< 2-coat fluoropolymer;  3-coat fluoropolymer;  4-coat fluoropolymer;  Mica fluoropolymer;  Metallic fluoropolymer;  FEVE fluoropolymer;  Siliconized polyester;  Plastisol; or  ______>>​​

Color: << As selected from manufacturer’s full range; or  ______>>

Interior Facing Finish: ​<< 2-coat fluoropolymer;  3-coat fluoropolymer;  4-coat fluoropolymer;  Mica fluoropolymer;  Metallic fluoropolymer;  FEVE fluoropolymer;  Siliconized polyester;  Plastisol; or  ______>>​.

Color: << As selected from manufacturer’s full range; or  ______>>

Batten: Same material, finish, and color as exterior facings of roof panels.

Clips: One piece, ​<< 0.064 inch; or  0.097 inch>>​ nominal thickness, ​<< zinc-coated (galvanized); or  aluminum-zinc alloy-coated>>​ steel sheet.

Panel Coverage: ​<< 36 inches;  39.6 inches; or  ______>>​

Panel Thickness: << 1.75 inches;  2.0 inches;  2.5 inches;  3.0 inches;  4.0 inches;  5.0 inches;  6.0 inches; or  ______>>.

Thermal-Resistance Value (R-value): ​​<< Insert R-value>>​​.

METAL SOFFIT PANELS

Manufacturers:

AEP-Span.

Architectural Building Components.

Berridge Manufacturing Company.

CENTRIA Architectural Systems.

Cheney Flashing Company.

MBCI.

Merchant & Evans.

Metal Sales Manufacturing Corporation.

Petersen Aluminum Corporation.

​​<< Insert manufacturer’s name>>​​.

General: Provide factory-formed ​<< perforated; or  None - N/A>>​ metal soffit panels designed to be installed by lapping and interconnecting side edges of adjacent panels and mechanically attaching through panel to supports using concealed fasteners​<< and factory-applied sealant; or  None - N/A>>​ in side laps. Include accessories required for weathertight installation.

Profile: ​<< Flush;  Reveal joint;  V groove; or  As indicated on Drawings>>​.

Material:

        - ******************************************************************************

        - Select one of the following four subparagraphs for metal roof panel material.

        - ******************************************************************************

Same material as metal roof panels.

        - *** OR ***

Zinc-coated (galvanized) steel sheet, ​​<< 0.022 inch;  0.028 inch;  0.034 inch;  0.040 inch; or  0.052 inch>>​​ nominal thickness.

Exterior Finish: ​​<< 2-coat fluoropolymer;  3-coat fluoropolymer;  Siliconized polyester; or  ______>>​​.

Color: ​<< As selected from manufacturer’s full range; or  ______>>​.

Sustainable Design Requirements: Refer to <<EPA CPG>>.

        - *** OR ***

Aluminum-zinc alloy-coated steel sheet, ​​​​<< 0.022 inch;  0.028 inch;  0.034 inch;  0.040 inch; or  0.052 inch>>​​​​ nominal thickness.

Exterior Finish: ​​​<< 2-coat fluoropolymer;  3-coat fluoropolymer;  Siliconized polyester; or  ______>>​​​.

Color: ​<< As selected from manufacturer’s full range; or  ______>>​.

Sustainable Design Requirements: Refer to <<EPA CPG>>.

        - *** OR ***

Aluminum sheet, ​​​<< 0.024 inch;  0.032 inch; or  0.040 inch>>​​​ thick.

Exterior Finish: ​​<< 2-coat fluoropolymer;  3-coat fluoropolymer;  Siliconized polyester; or  ______>>​​.

Color: ​​​<< As selected from manufacturer’s full range; or  ______>>​​​.

Sustainable Design Requirements:

Recovered Content Materials: Aluminum must be 20-90 percent recovered aluminum including 20-90 percent postconsumer content.

Finish: ​​​<< Match finish and color of metal roof panels; or  As indicated on Drawings>>​​​.

Panel Coverage: ​<< 8 inches;  12 inches;  16 inches;  20 inches; or  ______>>​.

Panel Height: ​<< 0.875 inch;  1.0 inch;  1.5 inches;  3.0 inches; or  ______>>​.

Sealant: Factory applied within interlocking joint.

ACCESSORIES

Roof panel accessories: Provide components approved by roof panel manufacturer and as required for a complete metal roof panel assembly including trim, copings, fasciae, corner units, ridge closures, clips, flashings, sealants, gaskets, fillers, closure strips, and similar items. Match material and finish of metal roof panels unless otherwise indicated.

Closures: Provide closures at eaves and ridges, fabricated of same metal as metal roof panels.

Closure Strips: Closed-cell, expanded, cellular, rubber or crosslinked, polyolefin-foam or closed-cell laminated polyethylene; minimum 1-inch thick, flexible closure strips; cut or premolded to match metal roof panel profile. Provide closure strips where indicated or necessary to ensure weathertight construction.

Backing Plates: Provide metal backing plates at panel end splices, fabricated from material recommended by manufacturer.

Flashing and Trim: Formed from same material as roof panels, prepainted with coil coating, minimum << 0.018 inch; or  ______>> thick. Provide flashing and trim as required to seal against weather and to provide finished appearance. Locations include, but are not limited to, eaves, rakes, corners, bases, framed openings, ridges, fasciae, and fillers. Finish flashing and trim with same finish system as adjacent metal roof panels.

Gutters: Formed from same material roof panels. Match profile of gable trim, complete with end pieces, outlet tubes, and other special pieces as required. Fabricate in minimum 96-inch-long sections, of size and metal thickness according to <<SMACNA (ASMM)>>. Furnish gutter supports spaced a minimum of 36 inches o.c., fabricated from same metal as gutters. Provide wire ball strainers of compatible metal at outlets. Finish gutters to match << metal roof panels; or  roof fascia and rake trim>>.

Downspouts: Formed from same material as roof panels. Fabricate in 10-foot- long sections, complete with formed elbows and offsets, of size and metal thickness according to <<SMACNA (ASMM)>>. Finish downspouts to match gutters.

      - ***************************************************************************************

      - Retain the following paragraph when roof curbs are present on project.

      - ***************************************************************************************

Roof Curbs:

Fabricated from same material as roof panels, minimum<< 0.048-inch​​; or  ______>> thick; with bottom of skirt profiled to match roof panel profiles and welded top box and integral full-length cricket.

Fabricate curb subframing of minimum 0.0598-inch thick, angle-, C-, or Z-shaped steel sheet.

Fabricate curb and subframing to withstand loads of size and height indicated on drawings.

Finish roof curbs to match metal roof panels.

Insulate roof curb with 1-inch thick, rigid insulation.

SNOW GUARDS

Snow Guards: Prefabricated, noncorrosive units designed to be installed without penetrating metal roof panels, and complete with predrilled holes, clamps, or hooks for anchoring.

      - ***************************************************************************************

      - Select one of the following two paragraphs for snow guard type.

      - ***************************************************************************************

Surface-Mounted, Metal, Stop-Type Snow Guards: Cast-aluminum stops designed for attachment to pan surface of metal roof panel using construction adhesive, silicone or polyurethane sealant, or adhesive tape.

Manufacturers and Products:

Berger Bros. Co.; ​<< Insert product name or designation>>​

Mullane, M.J. Company, Inc.; ​<< Insert product name or designation>>​

Precision Molding Co. Inc.; ​<< Insert product name or designation>>​

Sno-Gem, Inc.; ​<< Insert product name or designation>>​

Zaleski Snow-Guards & Roofing Specialties; ​<< Insert product name or designation>>​

​<< Insert manufacturer’s name; product name or designation>>​.

      - *** OR ***

Seam-Mounted, Stop-Type Snow Guards: << Cast-aluminum;  Malleable-iron;  Clear polycarbonate; or  Colored polycarbonate>> stops designed for attachment to vertical ribs of standing-seam metal roof panels with stainless steel set screws.

Manufacturers and Products:

Alpine Snow Guards; ​<< Insert product name or designation>>​

Berger Bros. Co.; ​<< Insert product name or designation>>​

Polar Blox; ​<< Insert product name or designation>>​

​<< Insert manufacturer’s name; product name or designation>>​.

FABRICATION

Fabricate and finish metal roof panels and accessories at the factory to greatest extent possible, by manufacturer’s standard procedures and processes and as necessary to fulfill indicated performance requirements. Comply with indicated profiles and with dimensional and structural requirements.

Provide panel profile, including major ribs and intermediate stiffening ribs, if any, for full length of panel.

Fabricate metal roof panel side laps with factory-installed captive gaskets or separator strips that provide a tight seal and prevent metal-to-metal contact, in a manner that will seal weathertight and minimize noise from movements within panel assembly.

Sheet Metal Accessories: Fabricate flashing and trim to comply with recommendations in <<SMACNA (ASMM)>> that apply to the design, dimensions, metal, and other characteristics of item indicated.

PART 3 - EXECUTION

EXAMINATION

Examine substrates, areas, and conditions, with Installer present, for compliance with requirements for installation tolerances, metal roof panel supports, and other conditions affecting performance of the Work.

Examine primary and secondary roof framing to verify that rafters, purlins, angles, channels, and other structural panel support members and anchorages have been installed within alignment tolerances required by metal roof panel manufacturer.

Examine solid roof sheathing to verify that sheathing joints are supported by framing of blocking and that installation is within flatness tolerances required by metal roof panel manufacturer.

Examine roughing-in for components and systems penetrating metal roof panels to verify actual locations of penetrations relative to seam locations of metal roof panels before metal roof panel installation.

For the record, prepare written report, endorsed by Installer, listing conditions detrimental to performance of the Work.

Proceed with installation only after unsatisfactory conditions have been corrected.

PREPARATION

Clean substrates of substances harmful to insulation, including removing projections capable of interfering with insulation attachment.

      - ***************************************************************************************

      - Retain the following paragraph for installation of substrate boards.

      - ***************************************************************************************

Substrate Board:  Install substrate boards over roof ​​<< deck; or  sheathing>>​​ on entire roof surface. Attach with substrate-board fasteners.

Install substrate board with long joints in continuous straight lines, perpendicular to roof slopes with end joints staggered between rows.  Tightly butt substrate boards together.

Comply with << UL; or  FM>> requirements for fire-rated construction.

      - ***************************************************************************************

      - Retain the following paragraph for installation of miscellaneous framing.

      - ***************************************************************************************

Miscellaneous Framing: Install subpurlins, eave angles, furring, and other miscellaneous roof panel support members and anchorage according to metal roof panel manufacturer’s written instructions.

        - ******************************************************************************

        - Retain the following subparagraph for installation of miscellaneous framing when metal soffit panels are selected for project.

        - ******************************************************************************

Soffit Framing: Wire tie << or clip; or  None - N/A>> furring channels to supports<< , as required to comply with requirements for assemblies indicated; or  None - N/A>>.

      - ***************************************************************************************

      - The following Articles Thermal Insulation Installation and Underlayment Installation are designer-choice. Retain Articles based on project-specific requirements for installing metal roof panels.

      - ***************************************************************************************

THERMAL INSULATION INSTALLATION

Install per Section << 07 2100 - Thermal Insulation>>.

UNDERLAYMENT INSTALLATION

      - ***************************************************************************************

      - Retain one of the following three paragraphs based on underlayment selected for project.

      - ***************************************************************************************

Self-Adhering Sheet Underlayment: Install self-adhering sheet underlayment, wrinkle free. Apply primer if required by manufacturer. Comply with temperature restrictions of underlayment manufacturer for installation. Apply at locations indicated on Drawings, wrinkle free, in shingle fashion to shed water, and with end laps of not less than 6 inches staggered 24 inches between courses. Overlap side edges not less than 3-1/2 inches. ​<< Extend underlayment into gutter trough. ; or  None - N/A>>​Roll laps with roller. Cover underlayment within 14 days.

      - *** OR ***

Felt Underlayment: Apply at locations indicated on Drawings, in shingle fashion to shed water, and with lapped joints of not less than 2 inches.

      - *** OR ***

Apply slip sheet over underlayment before installing metal roof panels.

Install flashings to cover underlayment to comply with requirements specified in Section << 07 6200 - Sheet Metal Flashing and Trim>>.

METAL ROOF PANEL INSTALLATION

Perform Work per <<SMACNA (ASMM)>> and <<NRCA (RM)>> where details are not provided or identified in the Subcontract documents.

      - ***************************************************************************************

      - The following five paragraphs are designer-choice. Retain one of the first four paragraphs based on metal roof panel (lap-seam, standing seam, batten-seam, or foamed-insulation core) selected for project. Retain the fifth paragraph when metal soffit panels are selected for project.

      - ***************************************************************************************

Lap-Seam Metal Roof Panels: Fasten metal roof panels to supports with fasteners at each lapped joint at location and spacing recommended by manufacturer.

Apply panels and associated items for neat and weathertight enclosure. Avoid “panel creep” or application not true to line.

Lap ribbed or fluted sheets one full rib corrugation.

Provide metal-backed neoprene or EPDM washers under heads of exposed fasteners bearing on weather side of metal roof panels.

Locate and space exposed fasteners in uniform vertical and horizontal alignment. Use proper tools to obtain controlled uniform compression for positive seal without rupture of washer.

Install screw fasteners with power tools having controlled torque adjusted to compress washer tightly without damage to washer, screw threads, or panels.  Install screws in predrilled holes.

Provide sealant tape at lapped joint of metal roof panels and between panels and protruding equipment, vents, and accessories.

Apply a continuous ribbon of sealant tape to weather-side surface of fastenings on end laps, and on side laps of nesting-type panels; on side laps of corrugated nesting-type, ribbed, or fluted panels; and elsewhere as needed t make panels weatherproof to driving rains.

At panel end splices, nest panels with minimum 6-inch end lap, sealed with butyl-rubber sealant and fastened together by interlocking clamping plates.

      - *** OR ***

Standing Seam Metal Roof Panels: Fasten metal roof panels to supports with concealed clips at each standing-seam joint at location, spacing, and with fasteners recommended by manufacturer.

Install clips to supports with self-tapping fasteners.

Install pressure plates at locations indicated in manufacturer’s written installation instructions.

Snap Joint:  Nest standing seams and fasten together by interlocking and completely engaging factory-applied sealant.

Seamed Joint: Crimp standing seams with manufacturer-approved, motorized seamer tool so clip, metal roof panel, and factory-applied sealant are completely engaged.

      - *** OR ***

Batten-Seam Metal Roof Panels: Fasten metal roof panels to supports with concealed clips at each batten-seam joint at location, spacing, and with fasteners recommended by manufacturer.

Install clips to supports with self-drilling fasteners.

Apply battens to metal roof panel seams, fully engaged to provide weathertight joints.

      - *** OR ***

Foamed-Insulation-Core Metal Roof Panel Installation

General: Apply continuous ribbon of sealant to panel joint on concealed side of insulated metal roof panels as vapor seal; apply sealant to panel joint on exposed side of panels for weather seal.

        - ******************************************************************************

        - Retain one of the following three subparagraphs based on metal roof panel type (lap-seam; standing-seam; or batten-seam profile) selected for project.

        - ******************************************************************************

Lap-Seam, Foamed-Insulation-Core Metal Roof Panels: Fasten insulated metal roof panels to supports with fasteners at each lapped joint at location and spacing recommended by manufacturer.

Lap ribbed or fluted sheets one full rib corrugation.  Apply panels and associated items for neat and weathertight enclosure.  Avoid “panel creep” or application not true to line.

Provide metal-backed washers under heads of exposed fasteners bearing on weather side of insulated metal roof panels.

Locate and space exposed fasteners in uniform vertical and horizontal alignment. Use proper tools to obtain controlled uniform compression for positive seal without rupture of washer.

Provide sealant tape at lapped joints of insulated metal roof panels and between panels and protruding equipment, vents, and accessories.

Apply a continuous ribbon of sealant tape to panel side laps and elsewhere as needed to make panels weatherproof to driving rains.

Apply snap-on battens to insulated metal roof panel seams to conceal fasteners.

        - *** OR ***

Standing-Seam, Foamed-Insulation-Core Metal Roof Panels:  Fasten insulated metal roof panels to supports with concealed clips at each standing-seam joint at location, spacing, and with fasteners recommended by manufacturer.

Install clips to supports with self-tapping fasteners.

Seamed Joint: Crimp standing seams with manufacturer-approved, motorized seaming tool so cleat, insulated metal roof panel, and factory-applied side-lap sealant are completely engaged.

        - *** OR ***

Batten-Seam, Foamed-Insulation-Core Metal Roof Panels: Fasten insulated metal roof panels to supports with concealed clips at each batten-seam joint at location, spacing, and with fasteners recommended by manufacturer.

Apply battens to insulated metal roof panel seams, fully engaged to provide weathertight joints.

Metal Soffit Panels: Provide metal soffit panels for full width of soffits. Install panels perpendicular to support framing:

Flash and seal panels with weather closures where metal soffit panels meet walls and at perimeter of all openings.

ACCESSORIES INSTALLATION

General: Install accessories with positive anchorage to building and weathertight mounting and provide for thermal expansion. Coordinate installation with flashings and other components of Section << 07 6200 - Sheet Metal Flashing and Trim>>.

Install components required for a complete metal roof panel assembly including trim, copings, ridge closures, seam covers, flashings, sealants, gaskets, fillers, closure strips, and similar items.

Flashing and Trim: Comply with performance requirements, manufacturer’s written installation instructions, and <<SMACNA (ASMM)>>. Provide concealed fasteners where possible and set units true to line and level as indicated.  Install work with laps, joints, and seams that will be permanently watertight and weather resistant.

Provide elbows at base of downspouts to direct water away from building. Coordinate use of splash blocks and other interfaces.

      - ***************************************************************************************

      - Retain the following subparagraph when snow guard required for project.

      - ***************************************************************************************

Snow Guard Installation

Stop-Type Snow Guards: Attach snow guards to metal roof panels with adhesive, sealant, or adhesive tape, as recommended by manufacturer. Do not use fasteners that will penetrate metal roof panels.

Provide ​​<< Insert number>>​​ rows of snow guards, at locations indicated on Drawings, spaced ​​<< Insert dimension>>​​ apart, beginning ​​<< Insert dimension>>​​ up from gutter​​<< , with each snow guard centered between panel ribs; or  None - N/A>>​​.

CLEANING

Remove temporary protective coverings and strippable films, if any, as metal roof panels are installed unless otherwise indicated in manufacturer’s written installation instructions.  On completion of metal roof panel installation, clean finished surfaces as recommended by metal roof panel manufacturer. Maintain in a clean condition during construction.

Replace metal roof panels that have been damaged or have deteriorated beyond successful repair by finish touchup or similar minor repair procedures.

MAINTENANCE

Fall Protection

Ladder Stops: Provide << Insert number>> ladder stop/tie-off devices at eave/gutter area to prevent temporary ladders from sliding laterally until tied-off, and to provide a point for ladder tie-off. Device (e.g., bracket, strap) must be of material and construction visually and galvanically compatible with roof system, and nonrusting. Locations to be determined during construction. Roof access locations will be determined by LANL Facility Operations Director.

END OF SECTION

    - **********************************************************************************************

      - Do not omit the following reference information:

    - **********************************************************************************************

THE FOLLOWING STATEMENT IS FOR LANL USE ONLY

THIS PROJECT SPECIFICATION SECTION IS BASED ON LANL MASTER SPECIFICATION SECTION 07 4113, REV. 6, DATED APRIL 15, 2026.