Section 07 7100 
Roof Specialties

  - *************************************************************************************************************

    - LANL MASTER SPECIFICATION section

Rev. 4 Summary of Changes: Edited and updated as required for import into SpecLink.

      - NOTE TO SPECIFIER ON USAGE IN SPECLINK: Activate the Section by turning on Seq #0000, followed by activating paragraphs in PART 1, Article SECTION INCLUDES. This will activate related articles, paras/subparas in the rest of the Section (i.e., SECTION INCLUDES in PART 1 activates articles and paras/subparas in PARTS 2 and 3). If there are choice fields to edit the entire Section (typically in this first author note or beginning of the Section), make selections at those locations, which will filter through the remaining Section. All Articles, paragraphs and subparagraphs must be activated sequentially from top to bottom, unless noted otherwise.

      - This template must be edited for each project. In doing so, specifier must add job-specific requirements. Selections and choice fields are used to indicate designer choices or locations where text must be supplied by the designer. The section must also be edited to remove requirements for processes, items, or designs that are not included in the project.

      - To seek a variance from applicable requirements in this Section, contact the Engineering Standards Manual (ESM) Architectural POC  (LANL access only). Please contact POC with suggestions for improvement as well. LANL personnel should submit here: Suggested Change or Request Clarification; subcontractors via email to engstandards@lanl.gov.

      - When assembling a specification package, include applicable Sections from all Divisions, especially Division 1, General Requirements.

      - Section is developed for ML-4 projects. For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see LANL ESM Chapter 1 - General, Section Z10 Specifications and Quality Sections.

  - *************************************************************************************************************

PART 1 - GENERAL

SECTION INCLUDES

      - ***************************************************************************************

      - The following paragraphs are designer-choice. Retain paragraphs for roof accessories based on project-specific requirements. Options selected here update the entire Section.

      - ***************************************************************************************

Roof curbs

Equipment supports

Roof hatches

Heat and Smoke Vents - ​​​​​​​<< Click to select type from drop down menu;  Hatch-type; and  Dropout-type>>​​​​​​​

​​​​<< Click to select the pipe support options from the drop down menu;  Pipe Supports;  Light-Duty Pipe Supports; and  Duct Supports>>​​​​

​​​​​<< Click to select the roof paver options from the drop down menu;  Protection Pads;  Ballast Pavers; and  Deck Pavers>>​​​​​

RELATED REQUIREMENTS

Section << 01 8113.13 - Sustainable Design>>

Section << 05 5000 - Metal Fabrications>>

Section << 05 5213 - Pipe and Tube Railings>>

Section ​<< 07 5213.13 - Atatic-Polypropylene (APP) Modified-Bitumen Membrane Roofing, Cold-Applied>>​

Section << 07 5217 - Styrene-Butadiene-Styrene (SBS) Modified-Bitumen Membrane Roofing, Cold-Applied>>

Section ​<< 09 9100 - Painting>>​

REFERENCE STANDARDS

29 CFR 1910.23 - Ladders.

AAMA 611 - Specification for Anodized Architectural Aluminum.

AAMA 621 - Voluntary Specifications for High Performance Organic Coatings on Coil Coated Architectural Hot Dipped Galvanized (HDG) and Zinc-Aluminum Coated Steel Substrates.

AAMA 2603 - Voluntary Specification, Performance Requirements and Test Procedures for Pigmented Organic Coatings on Aluminum Extrusions and Panels (with Coil Coating Appendix).

AAMA 2605 - Voluntary Specification, Performance Requirements and Test Procedures for Superior Performing Organic Coatings on Aluminum Extrusions and Panels (with Coil Coating Appendix).

ASTM A36/A36M - Standard Specification for Carbon Structural Steel.

ASTM A53/A53M - Standard Specification for Pipe, Steel, Black and Hot-Dipped, Zinc-Coated, Welded and Seamless.

ASTM A123/A123M - Standard Specification for Zinc (Hot-Dip Galvanized) Coatings on Iron and Steel Products.

ASTM A153/A153M - Standard Specification for Zinc Coating (Hot-Dip) on Iron and Steel Hardware.

ASTM A240/A240M - Standard Specification for Chromium and Chromium-Nickel Stainless Steel Plate, Sheet, and Strip for Pressure Vessels and for General Applications.

ASTM A653/A653M - Standard Specification for Steel Sheet, Zinc-Coated (Galvanized) or Zinc-Iron Alloy-Coated (Galvannealed) by the Hot-Dip Process.

ASTM A666/A666M - Standard Specification for Annealed or Cold-Worked Austenitic Stainless Steel Sheet, Strip, Plate, and Flat Bar.

ASTM A755/A755M - Standard Specification for Steel Sheet, Metallic Coated by the Hot-Dip Process and Prepainted by the Coil-Coating Process for Exterior Exposed Building Products.

ASTM A780/A780M - Standard Practice for Repair of Damaged and Uncoated Areas of Hot-Dip Galvanized Coatings.

ASTM A792/A792M - Standard Specification for Steel Sheet, 55% Aluminum-Zinc Alloy-Coated by the Hot-Dip Process.

ASTM B209/B209M - Standard Specification for Aluminum and Aluminum-Alloy Sheet and Plate.

ASTM B221 - Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes.

ASTM B221M - Standard Specification for Aluminum and Aluminum-Alloy Extruded Bars, Rods, Wire, Profiles, and Tubes (Metric).

ASTM C67/C67M - Standard Test Methods for Sampling and Testing Brick and Structural Clay Tile.

ASTM C140/C140M - Standard Test Methods for Sampling and Testing Concrete Masonry Units and Related Units.

ASTM C208 - Standard Specification for Cellulosic Fiber Insulating Board.

ASTM C293/C293M - Standard Test Method for Flexural Strength of Concrete (Using Simple Beam with Center-Point Loading).

ASTM C612 - Standard Specification for Mineral Fiber Block and Board Thermal Insulation.

ASTM C920 - Standard Specification for Elastomeric Joint Sealants.

ASTM C1289 - Standard Specification for Faced Rigid Cellular Polyisocyanurate Thermal Insulation Board.

ASTM C1311 - Standard Specification for Solvent Release Sealants.

ASTM D226/D226M - Standard Specification for Asphalt-Saturated Organic Felt Used in Roofing and Waterproofing.

ASTM D256 - Standard Test Methods for Determining the Izod Pendulum Impact Resistance of Plastics.

ASTM D1187/D1187M - Standard Specification for Asphalt-Base Emulsions for Use as Protective Coatings for Metal.

ASTM D2244 - Standard Practice for Calculation of Color Tolerances and Color Differences from Instrumentally Measured Color Coordinates.

ASTM D4214 - Standard Test Methods for Evaluating the Degree of Chalking of Exterior Paint Films.

ASTM D4397 - Standard Specification for Polyethylene Sheeting for Construction, Industrial, and Agricultural Applications.

ASTM D4586/D4586M - Standard Specification for Asphalt Roof Cement.

ASTM D4802 - Standard Specification for Poly(Methyl Methacrylate) Acrylic Plastic Sheet.

ASTM D5359 - Standard Specification for Glass Cullet Recovered from Waste for Use in Manufacture of Glass Fiber.

ASTM F2329/F2329M - Standard Specification for Zinc Coating, Hot-Dip, Requirements for Application to Carbon and Alloy Steel Bolts, Screws, Washers, Nuts, and Special Threaded Fasteners.

AWPA U1 - Use Category System:  User Specification for Treated Wood.

EPA CPG - Comprehensive Procurement Guidelines for Construction Products.

FM (AG) - FM Approval Guide.

NAAMM AMP 500-06 - Metal Finishes Manual.

NFPA 204 - Standard for Smoke and Heat Venting.

NRCA (RM) - The NRCA Roofing Manual.

SMACNA (ASMM) - Architectural Sheet Metal Manual.

UL 793 - Automatically Operated Roof Vents for Smoke and Heat.

UL 972 - Standard for Burglary Resisting Glazing Material.

      - ***************************************************************************************

      - Edit submittals to include only those absolutely necessary to assure requirements and features that are important for the specific project will be met.

      - ***************************************************************************************

ACTION SUBMITTALS

Product Data: For each type of roof accessory indicated, include construction details, material descriptions, dimensions of individual components and profiles, and finishes.

Shop Drawings: For each type of roof accessory indicated, include plans, elevations, keyed details, and attachments to other work. Indicate dimensions, loadings, and special conditions. Distinguish between shop-assembled and field-assembled work.

Coordination Drawings: Roof plans, drawn to scale, and coordinating penetrations, roof drains, scuppers, and roof-mounted items. Show the following:

Size and location of roof accessories specified in this Section.

Method of attaching roof accessories to roof or building structure.

Other roof-mounted items including mechanical and electrical equipment, ductwork, piping, and conduit.

Required clearances including roof slope.

      - ***************************************************************************************

      - Retain the following paragraph when project requires samples.

      - ***************************************************************************************

Samples: For each product and for each color and texture specified, prepare samples of size to adequately show color.

      - ***************************************************************************************

      - Verify these requirements below against LANL ESM Chapter 14 - Sustainable Design, Attachment 1 "Required Attribute" Column and, if applicable, the LEED prerequisites and project credits. Material content is required. This paragraph and subparagraphs within it are activated automatically based on selections made in Article Materials and Miscellaneous Materials in PART 2, when applicable.

      - ***************************************************************************************

Sustainable Design Submittals:

Sustainable Design (SD) Submittals: Provide material content documentation in accordance with the requirements of this Section.​​​​​​​​​​​​​<< Submit any additional documentation for this product category, as applicable under Section  01 8113.13 - Sustainable Design , with this Section’s submittal.; or  None - N/A>>​​​​​​​​​​​​​

Product Data indicating percentages by weight of postconsumer and preconsumer recycled content for products having recycled content.

Product Data for << adhesives and ; or  None - N/A>>​insulation, including printed statement of VOC content.

INFORMATIONAL SUBMITTALS

Manufacturer’s Installation Instructions: Submit instructions for special procedures and perimeter conditions requiring special attention.

At Closeout:

Operation and Maintenance Data: Include for roof accessories in operation and maintenance manuals.

Warranty: As specified herein.

QUALITY ASSURANCE

Perform Work in accordance with ​<< SMACNA (ASMM); or  NRCA (RM)>>​ details and recommendations.

DELIVERY, STORAGE, AND HANDLING

Do not store roof specialties in contact with other materials that might cause staining, denting or other surface damage.  Store roof specialties away from uncured concrete and masonry.

Protect strippable protective covering on roof specialties from exposure to sunlight and high humidity, except to the extent necessary for the period of roof specialties installation.

WARRANTY

Special Warranty on Finishes: Manufacturer’s standard form in which manufacturer agrees to repair finishes or replace roof accessories that show evidence of deterioration of factory-applied finishes within specified warranty period.

Deterioration includes, but is not limited to, the following:

Color fading more than 5 Hunter units when tested according to <<ASTM D2244>>.

Chalking more than a No. 8 rating when tested according to <<ASTM D4214>>.

Cracking, checking, peeling, or failure of paint to adhere to bare metal.

Finish Warranty Period: ​​<< 20;  10; or  Insert number>>​​​​ years from date of Substantial Completion.

PART 2 - PRODUCTS

PERFORMANCE REQUIREMENTS

General Performance: Roof accessories shall withstand exposure to weather and resist thermally induced movement without failure, rattling, leaking, or fastener disengagement due to defective manufacture, fabrication, installation, or other defects in construction.

MATERIALS

      - ***************************************************************************************

      - The following paragraphs with subparagraphs are designer-choices. These paragraphs and subparagraphs are automatically activated based on selection of materials and finishes in Articles Roof Curbs, Equipment Supports, Roof Hatches, Heat and Smoke Vents, Pipe Supports and Roof Pavers in PART 2 for roof accessories.

      - ***************************************************************************************

Metallic-Coated Steel Sheet: Restricted flatness steel sheet, metallic coated by the hot-dip process and pre-painted by the coil-coating process to comply with <<ASTM A755/A755M>>.

Steel Sheet:

          - **********************************************************************

          - The following subparagraphs are designer-choice. Retain type of steel sheet based on project-specific requirements.

          - **********************************************************************

Zinc-coated (Galvanized) Steel Sheet: <<ASTM A653/A653M>>, G90 (Z275) coating designation.

Aluminum-Zinc Alloy-Coated Steel Sheet: <<ASTM A792/A792M>>​, AZ50 (AZM150) coated.

Finish:

          - **********************************************************************

          - The following subparagraphs are designer-choice. Retain finish for steel sheet based on project-specific requirements.

          - **********************************************************************

Factory Prime Coating: Pretreat with white or light-colored, factory-applied, baked-on epoxy primer coat, with a minimum dry film thickness of 0.2 mil.

Exposed Coil-Coated Finish:

            - *************************************************************

            - The following subparagraphs are designer-choice. Retain exposed coil-coated finish based on project-specific requirements.

            - *************************************************************

2-coat Fluoropolymer Finish: <<AAMA 621>>.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.

3-Coat Fluoropolymer: <<AAMA 621>>. Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.

Siliconized Polyester: Epoxy primer and silicone-modified, polyester-enamel topcoat; with a dry film thickness of not less than 0.2 mil for primer and 0.8 mil for topcoat.

Baked-Enamel or Powder-Coated Finish: Manufacturer’s standard top-coat, baked-on finish consisting of prime coat and thermosetting topcoat, with a minimum dry film thickness of 1 mil for topcoat and minimum dry film thickness of 2 mils combined for prime coat and topcoat.

Concealed Finish: Manufacturer’s standard white or light-colored acrylic or polyester-backer finish consisting of prime coat and washcoat, with a minimum total dry film thickness of 0.5 mil.

Sustainable Design Requirements: Refer to <<EPA CPG>>.

Aluminum Sheet: <<ASTM B209/B209M>>, manufacturer’s standard alloy and temper suited for forming operations and structural performance required.

Finish:

          - **********************************************************************

          - The following subparagraphs are designer-choice. Retain finish for aluminum sheet based on project-specific requirements.

          - **********************************************************************

Factory Prime Coating: Pretreat with white or light-colored, factory-applied, baked-on epoxy primer coat, with a minimum dry film thickness of 0.2 mil.

Clear Anodic Finish: <<AAMA 611>>, << AA-M12C22A41, Architectural Class I, 0.018 mm; or  AA-M12C22A31, Architectural Class II, 0.010 mm>> or thicker.

Color Anodic Finish: <<AAMA 611>>, << AA-M12C22A42, Architectural Class I, 0.018 mm;  AA-M12C22A44, Architectural Class I, 0.018 mm;  AA-M12C22A32, Architectural Class II, 0.010 mm; or  AA-M12C22A34, Architectural Class II, 0.010 mm>> or thicker.

Exposed Coil-Coated Finish:

            - *************************************************************

            - The following subparagraphs are designer-choice. Retain exposed coil-coated finish based on project-specific requirements.

            - *************************************************************

2-coat Fluoropolymer: <<AAMA 2605>>. Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in color coat.

3-Coat Fluoropolymer: <<AAMA 2605>>.  Fluoropolymer finish containing not less than 70 percent PVDF resin by weight in both color coat and clear topcoat.

Siliconized Polyester: Epoxy primer and silicone-modified, polyester-enamel topcoat; with a dry film thickness of not less than 0.2 mil for primer and 0.8 mil for topcoat.

Baked-Enamel or Powder-Coated Finish: <<AAMA 2603>> except with a minimum dry film thickness of 1.5 mils. Comply with coating manufacturer’s written instructions for cleaning, conversion coating, and applying and baking finish.

Concealed Finish: Pretreat with manufacturer’s standard white or light-colored acrylic or polyester-backer finish consisting of prime coat and wash coat, with a minimum total dry film thickness of 0.5 mil.

Sustainable Design Requirements: Aluminum must be 20-90 percent recovered aluminum including 20-90 percent postconsumer content.

Aluminum Extrusions and Tubes: <<ASTM B221>> (<<ASTM B221M>>), manufacturer’s standard alloy and temper for type of use, finished to match assembly where used, otherwise mill finished.

Sustainable Design Requirements: Aluminum must be 20-90 percent recovered aluminum including 20-90 percent postconsumer content.

Stainless Steel Sheet and Shapes: <<ASTM A240/A240M>> or <<ASTM A666/A666M>>, Type 304.

Sustainable Design Requirements: Refer to <<EPA CPG>>.

Steel Shapes: <<ASTM A36/A36M>>, hot-dip galvanized according to <<ASTM A123/A123M>> unless otherwise indicated.

Sustainable Design Requirements: Refer to <<EPA CPG>>.

Steel Pipe: <<ASTM A53/A53M>>, galvanized.

Sustainable Design Requirements: Refer to <<EPA CPG>>.

MISCELLANEOUS MATERIALS

General: Provide materials and types of fasteners, protective coatings, sealants, and other miscellaneous items required by manufacturer for a complete installation.

      - ***************************************************************************************

      - The following six paragraphs with subparagraphs are designer-choices. These paragraphs and subparagraphs are automatically activated, unless noted otherwise, based on selection of materials in Articles Roof Curbs, Equipment Supports, Roof Hatches, Heat and Smoke Vents, Pipe Supports and Roof Pavers in PART 2 and PART 3.

      - ***************************************************************************************

Board Insulation:

        - ******************************************************************************

        - The following subparagraphs are designer-choice. Retain based on project-specific requirements.

        - ******************************************************************************

Cellulosic-Fiber Board Insulation: <<ASTM C208>>, Type II, Grade 1, thickness as indicated on drawings.

Sustainable Design Requirements: Cellulosic-fiber board insulation must be 80 - 100 percent recovered wood waste, bagasse and paper and minimum 94 percent biobased content.

Glass-Fiber Board Insulation: <<ASTM C612>>, type, facing and thickness as indicated on drawings.

Sustainable Design Requirements:

            - *************************************************************

            - The following subparagraph is a designer-choice and is not activated automatically. Retain when required for project.

            - *************************************************************

Free of Formaldehyde: Insulation to be 100 percent free of VOCs.

Recycled Content: Minimum 20 percent. Comply with <<ASTM D5359>>.

Polyisocyanurate Foam-Plastic Board Insulation: <<ASTM C1289>>, facing and thickness as indicated on drawings.

Sustainable Design Requirements: Recycled content minimum 9 percent.

Glazing:

        - ******************************************************************************

        - The following subparagraphs are designer-choice. Retain based on project-specific requirements.

        - ******************************************************************************

Acrylic Glazing: <<ASTM D4802>>, thermoformable, monolithic sheet, manufacturer’s standard, Type UVA (formulated with UV absorber), Finish 1 (smooth or polished).

Polycarbonate Glazing: Thermoformable, monolithic polycarbonate sheets manufactured by extrusion process, burglar-resistance rated according to <<UL 972>> with an average impact strength of ​​<< 12 to 16 ft-lbf/in; or  Insert value>>​​ when tested according to <<ASTM D256>>, Method A (Izod).

Underlayment:

Polyethylene Sheet: 6 mil thick polyethylene sheet complying with <<ASTM D4397>>.

Felt: <<ASTM D226/D226M>>, Type II (No. 30), asphalt-saturated organic felt, non-perforated.

Slip Sheet: Building paper, 3 lb/100 sq.ft. minimum, rosin sized.

Wood Nailers: Softwood lumber, pressure treated with waterborne preservatives for above ground use, acceptable to authorities having jurisdiction, containing no arsenic or chromium, and complying with<<AWPA U1>>​; not less than 1/2 inch thick.

Fasteners:  Roof accessory manufacturer's recommended fasteners suitable for application and metals being fastened.  Match finish of exposed fasteners with finish of material being fastened.  Provide non-removable fastener heads to exterior exposed fasteners.  Furnish the following unless otherwise indicated:

        - ******************************************************************************

        - The following subparagraphs are designer-choice. Retain based on material selection in Article Materials. Select compatible fastener.

        - ******************************************************************************

Fasteners for Zinc-Coated or Aluminum-Zinc Alloy-Coated Steel: Series 300 stainless steel or hot-dip zinc-coated steel according to <<ASTM A153/A153M>> or <<ASTM F2329/F2329M>>

Fasteners for Aluminum Sheet: Aluminum or Series 300 stainless steel.

Fasteners for Stainless Steel Sheet:  Series 300 stainless steel.

Gaskets: Manufacturer's standard tubular or fingered design.

Sealants and Adhesives:

        - ******************************************************************************

        - The following two subparagraphs are designer-choice. Retain based on sealant selected for project (elastomeric or butyl-rubber-based).

        - ******************************************************************************

Elastomeric Sealant: <<ASTM C920>>, elastomeric ​<< polyurethane; or  silicone>>​ polymer sealant as recommended by roof accessory manufacturer for installation indicated; low modulus; of type, grade, class, and use classifications required to seal joints and remain watertight.

Butyl-Rubber-Based Sealant: <<ASTM C1311>>, single-component, solvent-release butyl rubber sealant; polyisobutylene plasticized; heavy bodied for expansion joints with limited movement.

Bituminous Coating: Cold-applied asphalt emulsion complying with <<ASTM D1187/D1187M>>.

Asphalt Roof Cement: <<ASTM D4586/D4586M>>, asbestos free, of consistency required for application.

        - ******************************************************************************

        - Retain the following subparagraph when ballast pavers are required for project.

        - ******************************************************************************

Adhesive for Anchoring to Roof Membrane: Compatible with roof membrane and approved by roof membrane manufacturer.

      - ***************************************************************************************

      - The following Articles Roof Curbs, Equipment Supports, Roof Hatches, Heat and Smoke Vents, Pipe Supports and Roof Pavers are designer-choice. Retain Articles for roof accessories based on project-specific requirements.

      - ***************************************************************************************

ROOF CURBS

Manufacturers:

AES Industries, Inc.

Curbs Plus, Inc.

Custom Solution Roof and Metal Products.

LM Curbs.

Metallic Products Corp.

Pate Company (The).

Roof Products, Inc.

Safe Air of Illinois.

Thybar Corporation.

Vent Products Co., Inc.

​​<< ______>>​​.

Roof Curbs: Internally reinforced roof-curb units​​​<<  with integral spring-type vibration isolators and; or  None - N/A>>​​​ capable of supporting superimposed live and dead loads, including equipment loads and other construction indicated on Drawings; with welded or mechanically fastened and sealed corner joints,​​​<< integral metal cant,; or  stepped integral metal cant,>>​​​ and integrally formed deck-mounting flange at perimeter bottom.

Size: Coordinate dimensions with roughing-in information or Shop Drawings of equipment to be supported.

Loads: ​​<< _______>>​​.

      - ***************************************************************************************

      - Select one of the following two paragraphs for material, finish and color of roof curbs.

      - ***************************************************************************************

Material: ​​​​​​​​<< Zinc-coated (galvanized); or  Aluminum-zinc alloy-coated>>​​​​​​​​ steel sheet, ​​​​​​​​<< 0.052 inch;  0.079 inch; or  Insert dimension>>​​​​​​​​ thick.

Finish: ​​​<< Factory Prime Coating;  2-coat Fluoropolymer;  3-coat Fluoropolymer;  Siliconized Polyester;  Baked-Enamel or Powder-Coated;  Concealed; or  _______>>​​​.

Color:  << As selected from manufacturer's full range; or  Insert color>>.

      - *** OR ***

Material: Aluminum sheet, ​​​<< 0.090 inch; or  Insert dimension>>​​​ thick.

Finish: ​​​​<< Factory Prime Coating;  Clear Anodic;  Color Anodic;  2-coat Fluoropolymer;  3-coat Fluoropolymer;  Siliconized Polyester;  Baked-Enamel or Powder-Coated;  Concealed; or  _______>>​​​​.​​

Color: << As selected from manufacturer's full range;  Light bronze;  Medium bronze;  Dark bronze; or  Insert color>>.

Construction:

Insulation: Factory insulated with ​​​​<< 1-1/2 inch; or  Insert dimension>>​​​​ thick ​​​<< cellulosic; or  glass>>​​​-fiber board insulation.

Liner: Same material as curb, of manufacturer's standard thickness and finish.

Factory-installed wood nailer at top of curb, continuous around curb perimeter.

        - ******************************************************************************

        - The following subparagraph is a designer-choice. Retain subparagraph based on project-specific conditions.

        - ******************************************************************************

On ribbed or fluted metal roofs, form deck-mounting flange at perimeter bottom to conform to roof profile.

Fabricate curbs to minimum height of ​​​<< 12 inches; or  Insert dimension>>​​​ unless otherwise indicated.

Top Surface: Level around perimeter with roof slope accommodated by sloping the deck-mounting flange.

Sloping Roofs: Where roof slope exceeds 1:48, fabricate curb with perimeter curb height tapered to accommodate roof slope such that top surface of perimeter curb is level. Equip unit with water diverter or cricket on side that obstructs water flow.

EQUIPMENT SUPPORTS

Manufacturers:

Curbs Plus, Inc.

Custom Solution Roof and Metal Products.

Pate Company (The).

Roof Products, Inc.

Thybar Corporation.

Vent Products Co., Inc.

​​<< _______>>​​.

Equipment Supports: Internally reinforced metal equipment supports capable of supporting superimposed live and dead loads, including equipment loads and other construction indicated on Drawings; with welded or mechanically fastened and sealed corner joints, ​​​<< integral metal cant,; or  stepped integral metal cant,>>​​​ and integrally formed deck mounting flange at perimeter bottom.

Size: Coordinate dimensions with roughing-in information or Shop Drawings of equipment to be supported.

Loads: ​​<< _______>>​​​.

      - ***************************************************************************************

      - Select one of the following two paragraphs for material, finish and color of equipment supports.

      - ***************************************************************************************

Material: ​​​​​​​<< Zinc-coated (galvanized); or  Aluminum-zinc alloy-coated>>​​​​​​​ steel sheet, ​​​​​​​<< 0.052 inch;  0.079 inch; or  Insert dimension>>​​​​​​​​ ​​thick.

Finish: ​​<< Factory Prime Coating;  2-coat Fluoropolymer;  3-coat Fluoropolymer;  Siliconized Polyester;  Baked-Enamel or Powder-Coated;  Concealed; or  _______>>​​.

Color: << As selected from manufacturer's full range; or  Insert color>>

      - *** OR ***

Material: Aluminum sheet, ​<< 0.090 inch; or  Insert dimension>>​ thick.

Finish: ​<< Factory Prime Coating;  Clear Anodic;  Color Anodic;  2-coat Fluoropolymer;  3-coat Fluoropolymer;  Siliconized Polyester;  Baked-Enamel or Powder-Coated;  Concealed; or  _______>>​.

Color: << As selected from manufacturer's full range;  Light bronze;  Medium bronze;  Dark bronze; or  Insert color>>.

Construction:

Insulation: Factory insulated with ​​<< 1-1/2 inch; or  Insert dimension>>​​ thick ​​<< cellulosic; or  glass>>​​-fiber board insulation.

Liner: Same material as equipment support, of manufacturer's standard thickness and finish.

Factory-installed continuous wood nailers ​​​​<< 3-1/2 inches;  5-1/2 inches; or  Insert dimension>>​​​​ wide at tops of equipment supports.

Metal Counterflashing: Manufacturer's standard, removable, fabricated of same metal and finish as equipment support.

        - ******************************************************************************

        - The following subparagraph is a designer-choice. Retain subparagraph based on project-specific conditions.

        - ******************************************************************************

On ribbed or fluted metal roofs, form deck-mounting flange at perimeter bottom to conform to roof profile.

Fabricate equipment supports to minimum height of << 12 inches; or  Insert dimension>>​ unless otherwise indicated.

Top Surface: Level around perimeter with roof slope accommodated by sloping the deck-mounting flange.

Sloping Roofs: Where roof slope exceeds 1:48, fabricate each support with height to accommodate roof slope such that tops of supports are level with each other. Equip supports with water diverters or crickets on sides that obstruct water flow.

ROOF HATCHES

Manufacturers:

Babcock-Davis

Bilco Company (The)

Bristolite Skylights.

Custom Solution Roof and Metal Products.

Dur-Red Products

J. L. Industries, Inc.

Metallic Products Corp.

Milcor Inc.; Commercial Products Group of Hart & Cooley, Inc.

Oldcastle Glass, Naturalite Skylight Systems

Nystrom

Pate Company (The)

​<< _______>>​

Roof Hatches: Metal roof-hatch units with lids and insulated ​<< single; or  double>>​-walled curbs, welded or mechanically fastened and sealed corner joints, continuous lid-to-curb counterflashing and weathertight perimeter gasket, ​<< integral metal cant,; or  stepped integral metal cant,>>​ and integrally formed deck-mounting flange at perimeter bottom.

Type and Size: Single-leaf Lid, ​​<< 30 by 36 inches;  20 by 54 inches;  30 by 96 inches; or  Insert dimensions>>​​

Loads on Dome Glazing: Minimum << 40 lbf/sq.ft; or  Insert value>>external live load and << 20 lbf/sq.ft; or  Insert value>>  internal uplift load.

      - ***************************************************************************************

      - Select one of the following two paragraphs for material, finish and color of roof hatches.

      - ***************************************************************************************

Hatch Material: ​​​​​<< Zinc-coated (galvanized); or  Aluminum-zinc alloy-coated>>​​​​​ steel sheet, ​​​​​<< 0.079 inch; or  Insert dimension>>​​​​​​ thick.

Finish: ​<< Factory Prime Coating;  2-coat Fluoropolymer;  3-coat Fluoropolymer;  Siliconized Polyester;  Baked-Enamel or Powder-Coated;  Concealed; or  _______>>​.

Color: << As selected from manufacturer's full range; or  Insert color>>.

      - *** OR ***

Hatch Material: Aluminum sheet, ​​​​<< 0.090 inch; or  Insert dimension>>​​​​ thick.

Finish: ​<< Factory Prime Coating;  Clear Anodic;  Color Anodic;  2-coat Fluoropolymer;  3-coat Fluoropolymer;  Siliconized Polyester;  Baked-Enamel or Powder-Coated;  Concealed; or  ______>>​.

Color: << As selected from manufacturer's full range;  Light bronze;  Medium bronze;  Dark bronze; or  Insert color>>.

Construction:

Insulation: ​​​<< Cellulosic-Fiber Board Insulation;  Glass-Fiber Board Insulation; or  Polyisocyanurate Foam-Plastic Board Insulation>>​​​.

        - ******************************************************************************

        - Select one of the following two subparagraphs for hatch lid based on project-specific requirements.

        - ******************************************************************************

Hatch Lid: Opaque, insulated, and double walled, with manufacturer’s standard metal liner of same material and finish as outer metal lid.

        - *** OR ***

Hatch Lid: Glazed, insulated, and double walled, with manufacturer’s standard metal liner of same material and finish as outer metal lid.

Curb Liner: Manufacturer’s standard, of same material and finish as metal curb.

        - ******************************************************************************

        - The following subparagraph is a designer-choice. Retain subparagraph based on project-specific conditions.

        - ******************************************************************************

On ribbed or fluted metal roofs, form flange at perimeter bottom to conform to roof profile.

Fabricate curbs to minimum height of ​​​​<< 12 inches; or  Insert dimension>>​​​​ unless otherwise indicated.

Top Surface: Level around perimeter with roof slope accommodated by sloping the deck-mounting flange.

Sloping Roofs: Where slope or roof deck exceeds 1:48, fabricate curb with perimeter curb height that is ​​<< constant; or  tapered to accommodate roof slope such that top surfaces of perimeter curb are level>>​​. Equip hatch with water diverter or cricket on side that obstructs water flow.

Hatch-Lid Glazing: Double ​​<< acrylic; or  polycarbonate>>​​ glazing of thickness capable of resisting indicated loads.

Hardware: ​​​​​​<< Galvanized; or  Stainless>>​​​​​​ steel spring latch with turn handles, butt-type or pintle-type hinge system and padlock hasps inside and outside.

Provide two-point latch on lids larger than 84 inches.

Safety Railing System: Roof-hatch manufacturer’s standard system including rails, clamps, fasteners, safety barrier at railing opening, and accessories required for a complete installation; attached to roof hatch and complying with <<29 CFR 1910.23>> requirements and authorities having jurisdiction.

        - ******************************************************************************

        - The following subparagraph is a designer-choice. Retain subparagraph when required for project.

        - ******************************************************************************

Refer to Section ​​<< 05 5213 - Pipe and Tube Railings>>​​ for roof safety railing systems.

Height: ​​<< 42 inches; or  Inset dimension>>​​ above finished roof deck.

Posts and Rails: Galvanized-steel pipe, 1-1/4 inches in diameter or galvanized-steel tube, 1-5/8 inches in diameter.

Flat Bar: Galvanized steel, 2 inches high by 3/8 inch thick.

Maximum Opening Size: System constructed to prevent passage of a sphere 21 inches in diameter.

Chain Passway Barrier: Galvanized proof coil chain with quick link on fixed end.

Self-Latching Gate: Fabricated of same materials and rail spacing as safety railing system. Provide manufacturer’s standard hinges and self-latching mechanism.

Post and Rail Tops and Ends: Weather resistant, closed or plugged with prefabricated end fittings.

Provide weep holes or another means to drain entrapped water in hollow sections of handrail and railing members.

Fabricate joints exposed to weather to be watertight.

Fasteners: Manufacturer’s standard, finished to match railing system.

Finish: ​​​<< Manufacturer’s standard; or  Insert finish>>​​​.​​

Color: << As selected from manufacturer's full range; or  Insert color>>.

Ladder-Assist Post: Roof-hatch manufacturer’s standard device for attachment to roof-access ladder.

        - ******************************************************************************

        - The following subparagraph is a designer-choice. Retain subparagraph when required for project.

        - ******************************************************************************

Refer to Section ​<< 05 5000 - Metal Fabrications>>​ for metal ladders to access roof hatches and security grilles.

Operation: Post locks in place on full extension; release mechanism returns post to closed position.

Height: ​​<< 42 inches; or  Insert dimension>>​​ above finished roof deck.

Material: ​<< Steel;  Stainless steel; or  Aluminum>>​.

Post: ​​<< 1-5/8 inch; or  Insert dimension>>​​ diameter pipe.

Finish: ​​<< Manufacturer’s standard baked-enamel or powder-coated finish; or  Insert finish>>​​.​​

Color: << As selected from manufacturer's full range; or  Insert color>>.

HEAT AND SMOKE VENTS

Heat and Smoke Vent units must be tested and << listed to comply with UL 793; and  are FM (AG) approved>>.

      - ***************************************************************************************

      - The following two paragraphs for heat and smoke vent types are designer choice. Retain the first paragraph for hatch-type and retain the second paragraph for drop-out type based on project-specific requirements.

      - ***************************************************************************************

Hatch-Type Heat and Smoke Vents: Manufacturer's standard, with ​<< single; or  double>>​​-walled insulated curbs, welded or mechanically fastened and sealed corner joints, integral condensation gutter, and cap flashing. Fabricate with insulated double-walled lid and continuous weathertight perimeter lid gaskets and equip with automatic self-lifting mechanisms and UL-listed ​<< fusible links rated at 165 degrees F;  fire-suppression system; or  smoke-detection system>>​.

Manufacturers:

Babcock-Davis

Bilco Company (The)

Bristolite Skylights

Dur-Red Products

J. L. Industries, Inc.

Milcor Inc.; Commercial Products Group of Hart & Cooley, Inc.

Old Castle Glass, Naturalite Skylight Systems

Nystrom

Pate Company (The)

Western Canwell

<< _______>>.

        - ******************************************************************************

        - Select type and size from the two subparagraphs below.

        - ******************************************************************************

Type and Size: Single-leaf lid, ​​​​<< 30 by 36 inches;  30 by 54 inches;  30 by 96 inches; or  Insert dimensions>>​​​​.​​

Type and Size: Double-leaf lid, ​​​<< 72 by 96 inches; or  Insert dimensions>>​​​. ​​

Loads: Minimum ​​​<< 40 lbf/sq. ft.; or  ______>>​​​ external live load and << 30 lbf/sq. ft.; or  ______>> internal uplift load.

When release is actuated, lid shall open against << 10 lbf/sq. ft.; or  Insert value>> snow or wind load and lock in position.

Hatch-Lid Glazing: Minimum ​​<< 40 lbf/sq. ft.; or  Insert value>>​​ ​​external live load and << 20 lbf/sq. ft.; or  Insert value>> internal uplift load.

        - ******************************************************************************

        - Select one of the following two subparagraphs for material, finish and color of heat and smoke vents.

        - ******************************************************************************

Curb, Framing, and Lid Material: ​​​​​​​​​<< Zinc-coated (galvanized); or  Aluminum-zinc alloy-coated>>​​​​​​​​​ steel sheet, ​​​​​​​​​<< 0.079 inch; or  Insert dimension>>​​​​​​​​​ thick

Finish: ​<< Factory Prime Coating;  2-coat Fluoropolymer;  3-coat Fluoropolymer;  Siliconized Polyester;  Baked-Enamel or Powder-Coated;  Concealed; or  _______>>​.

Color: << As selected from manufacturer's full range; or  Insert color>>.

        - *** OR ***

Curb, Framing, and Lid Material: Aluminum sheet, ​​​<< 0.090 inch; or  Insert dimension>>​​​ ​​ thick.

Finish: ​<< Factory Prime Coating;  Clear Anodic;  Color Anodic;  2-coat Fluoropolymer;  3-coat Fluoropolymer;  Siliconized Polyester;  Baked-Enamel or Powder-Coated;  Concealed; or  ______>>​.

Color: << As selected from manufacturer's full range;  Light bronze;  Medium bronze;  Dark bronze; or  Insert color>>.

Construction:

Insulation: ​<< Cellulosic-Fiber Board Insulation;  Glass-Fiber Board Insulation; or  Polyisocyanurate Foam-Plastic Board Insulation>>​.

          - **********************************************************************

          - Select one of the following two subparagraphs for hatch lid based on project-specific requirements.

          - **********************************************************************

Hatch Lid: Opaque, insulated, and double walled, with manufacturer's standard metal liner of same material and finish as outer metal lid.

          - *** OR ***

Hatch Lid: Glazed, insulated, and double walled, with manufacturer's standard metal liner of same material and finish as outer metal lid.

Exterior Curb Liner: Manufacturer's standard, of same material and finish as metal curb.

Fabricate curbs to minimum height of ​​​​​<< 12 inches; or  Insert dimension>>​​​​​ unless otherwise indicated.

Top Surface: Level around perimeter with roof slope accommodated by sloping the deck-mounting flange.

Sloping Roofs: Where slope or roof deck exceeds 1:48, fabricate curb with perimeter curb height that is ​​<< constant; or  tapered to accommodate roof slope such that top surfaces of perimeter curb are level>>​​. Equip hatch with water diverter or cricket on side that obstructs water flow

          - **********************************************************************

          - The following subparagraph is a designer-choice. Retain subparagraph when required for project.

          - **********************************************************************

Security Grille: Provide where indicated.

Dome Glazing: ​<< Single; or  Double>>​ ​<< acrylic; or  polycarbonate>>​ glazing of thickness capable of resisting indicated loads; ​<< colorless, transparent;  white, translucent; or  Insert color>>​.

Hardware: Manufacturer's standard, corrosion resistant or hot-dip galvanized; with hinges, hold-open devices, and independent manual-release devices for ​​<< inside; and  outside>>​​ operation of lids.

Dropout-Type Heat and Smoke Vents: Manufacturer's standard, gravity operated and automatic; with << single; or  double>>-walled insulated curbs and frame, welded or mechanically fastened and sealed corner joints, integral condensation gutter, cap flashing, and heat-sensitive dome glazing that will deform and drop out of vent opening according to <<NFPA 204>>​.

Manufacturers:

Construction Specialties, Inc.

Oldcastle Glass, Naturalite Skylight Systems

Pate Company (The)

Plasteco, Inc.

<< _______>>.

Loads: Minimum ​​<< 40 lbf/sq. ft.; or  Insert value>>​​ external live load and << 30 lbf/sq. ft.; or  Insert value>>internal uplift load.

Dome Glazing: Minimum ​​<< 40 lbf/sq. ft.; or  Insert value>>​​ external live load and << 20 lbf/sq. ft.; or  Insert value>> internal uplift load.

        - ******************************************************************************

        - Select one of the following two subparagraphs for material, finish and color of heat and smoke vents.

        - ******************************************************************************

Curb and Framing Material: ​​​​​​<< Zinc-coated (galvanized); or  Aluminum-zinc alloy-coated>>​​​​​​ steel sheet, ​​​​​​<< 0.079 inch; or  Insert dimension>>​​​​​​ thick.

Finish: ​​<< Factory Prime Coating;  2-coat Fluoropolymer;  3-coat Fluoropolymer;  Siliconized Polyester;  Baked-Enamel or Powder-Coated;  Concealed; or  _______>>​​.

Color: << As selected from manufacturer's full range; or  Insert color>>.

        - *** OR ***

Curb and Framing Material: Aluminum sheet, ​​​​​​<< 0.090 inch; or  _______>>​​​​​​ thick

Finish: ​<< Factory Prime Coating;  Clear Anodic;  Color Anodic;  2-coat Fluoropolymer;  3-coat Fluoropolymer;  Siliconized Polyester;  Baked-Enamel or Powder-Coated;  Concealed; or  ______>>​.

Color: << As selected from manufacturer's full range;  Light bronze;  Medium bronze;  Dark bronze; or  Insert color>>.

Construction:

Insulation: ​​​<< Cellulosic-Fiber Board Insulation;  Glass-Fiber Board Insulation; or  Polyisocyanurate Foam-Plastic Board Insulation>>​​​.

Exterior Curb Liner: Manufacturer's standard, of same material and finish as metal curb.

Fabricate curbs to minimum height of ​​​<< 12 inches; or  Insert dimension>>​​​​​ unless otherwise indicated.

Top Surface: Level around perimeter with roof slope accommodated by sloping the deck-mounting flange.

Sloping Roofs: Where slope of roof deck exceeds 1:48, fabricate curb with perimeter curb height that is << constant; or  tapered to accommodate roof slope such that top surfaces of perimeter curb are level>>. Equip unit with water diverter or cricket on side that obstructs water flow.

          - **********************************************************************

          - The following subparagraph is a designer-choice. Retain subparagraph when required for project.

          - **********************************************************************

Security Grille: Provide where indicated.

Dome Glazing: ​​​​<< Single; or  Double>>​​​​ ​​​​<< acrylic; or  polycarbonate>>​​​​ glazing of thickness capable of resisting indicated loads.

Single-Dome Color/Outer Double-Dome Color: << Colorless, transparent;  White, translucent;  Gray tinted, transparent;  Bronze tinted, transparent; or  _______>>.

          - **********************************************************************

          - Retain following subparagraph when double dome glazing is required for project.

          - **********************************************************************

Inner Double-Dome Color: ​​​​​<< Colorless, transparent;  White, translucent;  Gray tinted, transparent;  Bronze tinted, transparent; or  _______>>​​​​​.​​

Hardware: Manufacturer's standard, corrosion resistant or hot-dip galvanized; with hinges, hold-open devices, and independent manual-release devices for ​<< inside; and  outside>>​ operation of lids.

PIPE SUPPORTS

      - ***************************************************************************************

      - The following three paragraphs are designer choice. Retain paragraph based on project-specific requirements.

      - ***************************************************************************************

Pipe Supports: Adjustable-height, extruded-aluminum tube, filled with urethane insulation; ​​<< 2 inches; or  Insert dimension>>​​ in diameter; with aluminum baseplate, EPDM base seal, manufacturer’s recommended hardware for mounting to structure or structural roof deck as indicated, and extruded-aluminum carrier assemblies; suitable for quantity of pipe runs and sizes.

Manufacturers:

Thaler Metal USA Inc.

LM Curbs.

Pate Company.

<< _______>>.

Pipe Support Height: As indicated on Drawings.

Roller Assembly: With stainless steel roller, sized for supported pipes.

Pipe Support Flashing: Manufacturer’s standard<< insulated; or  None - N/A>> sleeve flashing with integral base flange; << aluminum sheet, 0.063 inch; or  _______>>.

Finish: ​​<< Manufacturer’s standard; or  Insert finish>>​​. ​​

Light-Duty Pipe Supports: Extruded-aluminum base assembly and Type 304 stainless-steel roller assembly for pipe sizes indicated, including manufacturer’s recommended load-distributing baseplate.

Manufacturers:

Thaler Metal USA Inc.

LM Curbs.

Pate Company.

​<< _______>>​.

Finish: << Manufacturer’s standard; or  Insert finish>>.

Duct Supports: Extruded-aluminum, urethane-insulated supports, ​​​​<< 2 inches; or  Insert dimension>>​​​​ in diameter, with manufacturer’s recommended hardware for mounting to structure or structural roof deck.

Manufacturers:

Thaler Metal USA Inc.

LM Curbs

Pate Company

<< _______>>.

Finish: << Manufacturer’s standard; or  Insert finish>>.

ROOF PAVERS

      - ***************************************************************************************

      - The following three paragraphs are designer-choice. Retain based on project-specific requirements.

      - For light use (i.e., quarterly moderate maintenance, or monthly light maintenance), provide Protection Pads at all traffic areas.

      - For medium use (i.e., monthly moderate maintenance, or weekly light maintenance), provide Ballast Pavers mounted on protection mat as required by roof membrane manufacturer.

      - For public access/heavy use (e.g., roof top patios or for heavy maintenance access), provide Deck Pavers mounted on pedestals.

      - ***************************************************************************************

Protection Pads (for light use applications)

Manufacturer’s supplied compatible material roof protection pads.

        - ******************************************************************************

        - The following subparagraph is a designer-choice. Retain subparagraph when required for project.

        - ******************************************************************************

Refer to Section ​​​<< 07 5213.13 - Atatic-Polypropylene (APP) Modified-Bitumen Membrane Roofing, Cold-Applied; or  07 5217 - Styrene-Butadiene-Styrene (SBS) Modified-Bitumen Membrane Roofing, Cold-Applied>>​​​.

Ballast Pavers (for medium use applications)

Manufacturers for Perimeter Attachments:

Metal Era.

W.P. Hickman.

Or approved equal.

Precast concrete interlocking pavers with integral “feet” allowing water to pass beneath without obstruction.

Size: ​<< Enter from Manufacturers standard sizes>>​.

Thickness: 2 inch minimum.

Edges: Interlocking

Bearing Area: Minimum of 21 square inches per paver.

Compressive Strength: 5000 psi, minimum, after 28 days cure, when tested in accordance with <<ASTM C140/C140M>>.

Flexural Strength: 400 psi, when tested in accordance with <<ASTM C293/C293M>>.

Density: 145 pcf, maximum.

Water Absorption: 5 percent (nominal), when tested in accordance with <<ASTM C140/C140M>>.

Weight not to exceed 27 lbs/sq. ft.

Color: ​​<< As selected from Manufacturer's standard colors; or  Insert color>>​​.

Protection Mat: Nonwoven polyester (as required by roof membrane manufacturer) to protect the roof membrane.

Deck Pavers (for public access/heavy use applications)

Precast concrete unit:

Thickness: 2 inches minimum.

Compressive Strength: 8800 psi, minimum, when tested in accordance with <<ASTM C140/C140M>>, containing latex or polymer admixtures and or fiberglass stranding.

Water Absorption: 5 percent, maximum, when tested in accordance with <<ASTM C140/C140M>>.

Freeze-Thaw Resistance: Maximum 1 percent loss of dry weight, when tested in accordance with <<ASTM C67/C67M>>.

Color: ​​<< As selected from Manufacturer's standard colors; or  Insert color>>​​.

Fixed height paver pedestals: High-density polyethylene with open draining grid structure and integral spacer ribs on upper surface for even joint spacing.

Provide sizes and height required to make top surface of pavers a single plane without abrupt changes in surface plane, although not required to be level.

Provide all parts and accessories required.

Provide pedestals supplied by paver manufacturer.

GENERAL FINISH REQUIREMENTS

Comply with <<NAAMM AMP 500-06>> recommendations for applying and designating finishes.

Appearance of Finished Work: Noticeable variations in same piece are not acceptable. Variations in appearance of adjoining components are acceptable if they are within the range of approved Samples and are assembled or installed to minimize contrast.

PART 3 - EXECUTION

EXAMINATION

Examine substrates, areas, and conditions, with Installer present, to verify actual locations, dimensions, and other conditions affecting performance of the Work.

Verify that substrate is sound, dry, smooth, clean, sloped for drainage, and securely anchored.

Verify dimensions of roof openings for roof accessories.

Proceed with installation only after unsatisfactory conditions have been corrected.

COORDINATION

Coordinate layout and installation of roof accessories with ​<< roofing membrane and base flashing and; or  None - N/A>>​ interfacing and adjoining construction to provide a leakproof, weathertight, secure, and noncorrosive installation.

Coordinate dimensions with rough-in information of Shop Drawings of equipment to be supported.

INSTALLATION

General: Install roof accessories according to manufacturer’s written installation instructions.

Install roof accessories level, plumb, true to line and elevation, and without warping, jogs in alignment, excessive oil canning, buckling, or tool marks.

Anchor roof accessories securely in place so they are capable of resisting indicated loads.

Use fasteners, separators, sealants, and other miscellaneous items as required to complete installation of roof accessories and fit them to substrates.

Install roof accessories to resist exposure to weather without failing, rattling, leaking, or loosening of fasteners and seals.

Metal Protection: Protect metals against galvanic action by separating dissimilar metals from contact with each other or with corrosive substrates by painting contact surfaces with bituminous coating or by other permanent separation as recommended by manufacturer.

        - ******************************************************************************

        - Retain the following subparagraph when installing uncoated aluminum or stainless steel flashing directly on cementitious or ferrous metal or wood substrates.

        - ******************************************************************************

Coat concealed side of ​​​​<< uncoated aluminum; and  stainless steel>>​​​​ roof accessories with bituminous coating where in contact with wood, ferrous metal, or cementitious construction.

        - ******************************************************************************

        - Retain the following subparagraph when installing roof accessories directly on cementitious or wood substrates.

        - ******************************************************************************

Underlayment: Where installing roof accessories directly on cementitious or wood substrates, install a course of felt underlayment and cover with a slip sheet, or install a course of polyethylene sheet.

Bed flanges in thick coat of asphalt roof cement where required by manufacturers of roof accessories for waterproof performance.

      - ***************************************************************************************

      - The following eight paragraphs are designer-choice. Retain paragraphs for roof accessories selected based on project-specific requirements.

      - ***************************************************************************************

Roof Curb Installation: Install each roof curb so top surface is level.

Equipment Support Installation: Install equipment supports so top surfaces are level with each other.

Roof Hatch Installation:

Install roof hatch such that top surface of hatch curb is level.

Verify that roof hatch operates properly. Clean, lubricate, and adjust operating mechanism and hardware.

Attach safety railing system to roof-hatch curb.

Attach ladder-assist post according to manufacturer’s written instructions.

Heat and Smoke Vent Installation:

Install heat and smoke vent so top perimeter surfaces are level.

Install and test heat and smoke vents and their components for proper operation according to <<NFPA 204>>.

Pipe Support Installation: Install pipe supports such that top surfaces are in contact with and provide equally distributed support along length of supported item.

Installation of Protection Pads:

Install protection pads per manufacturer’s installation instructions.

Installation of Ballast Pavers:

Install pavers per manufacturer’s installation instructions.

Install pavers in locations and pattern specified on Drawings.

Install protection mat wherever required by roof membrane manufacturer.

Install protection mat where hold-down clips will be used, over ridges and centered in valleys, and where foot traffic will occur.

Install first row of pavers at longest roof edges, with upper shiplap edge facing roof edge.

Maintain maximum of 1-1/4 inch between first row of pavers and roof edge protrusions.

Install remaining rows with adjacent joints in a << staggered bond;  straight bond; or  rectangular grid>>.

Install remaining rows with joints even and a minimum of 1/4 inch spacing between pavers in all directions.

Continue rows neatly around corners where possible. Do not cut pavers unnecessarily.

At top of ridges and in angled valleys, install pavers tightly fitted over change in plane; miter pavers to fit and join small pieces to larger pieces with polyurethane adhesive.

Where two slopes meet at a continuous low point, the final row of pavers at the bottom of the slopes may be cut to fit. Provide minimum 6 inch wide pieces and not more than 1 inch space between the final rows on opposing slopes.

Where two slopes meet at a continuous low point, the lower shiplap edge of final row of pavers may be left exposed. Provide not more than 1 inch space between the final rows on opposing slopes.

Install hold-down clips for pavers adjacent to roof protrusions and pavers less than full size.

Install perimeter retainer around entire perimeter.

At walkways, fasten pavers together with polyurethane adhesive. Provide sufficient space beneath pavers to allow water migration.

Installation of Deck Pavers:

Install pavers on pedestals per manufacturer’s installation instructions.

Install pavers over entire roof surface as specified on Drawings.

Install pavers in pattern specified on Drawings.

Install pavers in square grid pattern with joints parallel and perpendicular to building walls and other lines.

Do not cut pavers unnecessarily; locate less than full size pavers such that conspicuous edges or balance cuts are equal between parallel building walls.

Locate less than full size pavers such that conspicuous edges or balance cuts are equal between parallel building walls.

Install paver with top surface flat with less than 1/4 inch difference in height between adjacent pavers; accommodate varying heights due to slope by using adjustable height pedestals.

When pavers must be cut, use mason’s saw; do not chip or split; remove dust generated by cutting immediately using high-pressure water or air to avoid discoloration of pavers.

Seal joints with ​​​​<< elastomeric; or  butyl-rubber-based>>​​​​ sealant as required by roof accessory manufacturer.

CLEANING AND PROTECTION

      - ***************************************************************************************

      - Retain the following paragraph when galvanized surfaces are required for project.

      - ***************************************************************************************

Galvanized Surfaces: Clean field welds, bolted connections, and abraded areas.

Clean exposed surfaces according to manufacturer’s written instructions.

Clean off excess sealants.

Protect installed products until completion of project.

      - ***************************************************************************************

      - Retain the following paragraph when ballast pavers are required for project.

      - ***************************************************************************************

Ballast pavers are not designed for equipment traffic. Prohibit construction traffic unless adequate precautions are taken.

REPAIR

      - ***************************************************************************************

      - Retain the following paragraph when galvanized surfaces are required for project.

      - ***************************************************************************************

Galvanized Surfaces: Repair galvanizing according to <<ASTM A780/A780M>>.

      - ***************************************************************************************

      - Retain the following paragraph when factory primed surfaces are required for project.

      - ***************************************************************************************

Touch up factory primed surfaces with compatible primer ready for field painting per Section ​<< 09 9100 - Painting>>​.

Replace roof accessories that have been damaged or that cannot be successfully repaired by finish touchup or similar minor repair procedures.

Repair or replace products damaged due to inadequate protection.

END OF SECTION

    - **********************************************************************************************

      - Do not omit the following reference information:

    - **********************************************************************************************

THE FOLLOWING STATEMENT IS FOR LANL USE ONLY

THIS PROJECT SPECIFICATION SECTION IS BASED ON LANL MASTER SPECIFICATION SECTION 07 7100, REV. 4, DATED APRIL 15, 2026.