Section 09 2116 
Gypsum Board Systems

  - ************************************************************************************************************

    - LANL MASTER SPECIFICATION SECTION

Rev. 9 Summary of Changes: Edited and updated as required for import into SpecLink.

      - NOTE TO SPECIFIER ON USAGE IN SPECLINK: Activate the Section by turning on Seq #0000, followed by activating paragraphs in PART 1, Article SECTION INCLUDES. This will activate related articles, paras/subparas in the rest of the Section (i.e., SECTION INCLUDES in PART 1 activates articles and paras/subparas in PARTS 2 and 3). If there are choice fields to edit the entire Section (typically in this first author note or beginning of the Section), make selections at those locations, which will filter through the remaining Section. All Articles, paragraphs and subparagraphs must be activated sequentially from top to bottom, unless noted otherwise.

      - This template must be edited for each project. In doing so, Specifier must add job-specific requirements. Selections and choice fields are used to indicate designer choices or locations where text must be supplied by the designer. The section must also be edited to remove requirements for processes, items, or designs that are not included in the project.

      - To seek a variance from applicable requirements in this Section, contact the Engineering Standards Manual (ESM) Architectural POC  (LANL access only). Please contact POC with suggestions for improvement as well. LANL personnel should submit here: Suggested Change or Request Clarification; subcontractors via email to engstandards@lanl.gov.

      - When assembling a specification package, include applicable Sections from all Divisions, especially Division 1, General Requirements.

      - Section is developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see LANL ESM Chapter 1 - General, Section Z10 Specifications and Quality sections.

      - ==========================================================

      - Structural/Seismic:

      - Suspended gypsum board ceiling applications in accordance with this Section, with area less than or equal to 144 sq ft that are surrounded by and connected to walls or soffits that are laterally braced to the structure above, need not comply with the seismic sway-bracing requirements of ASCE 7-16 Chapter 13, Section 13.5.6 (per Exception 1).

      - Suspended gypsum board ceiling applications in accordance with this Section, constructed of screw-attached or nail-attached gypsum board on one level that are surrounded by and connected to walls or soffits that are laterally braced to the structure above, need not comply with the seismic sway-bracing requirements of ASCE 7-16 Chapter 13, Section 13.5.6 (per Exception 2).

      - Interior partitions that are of height not exceeding 9-ft., of linear weight not exceeding 10 lbs x partition height, and subjected to a horizontal seismic load not exceeding 5 psf need not be laterally braced (to the building structure) per the Exception in ASCE 7-16 Ch. 13, para. 13.5.8.

      - For members in a cold-formed steel (CFS)-framed system that are part of the building’s envelope and/or gravity and/or lateral load load-resisting system, Section << 05 4000 - Cold-Formed Metal Framing>>, must be used in lieu of this Section.

      - NOTE: Applications involving CFS nonstructural members that are included in the scope of AISI S220, North American Standard for Cold-Formed Steel Framing – Nonstructural Members must be designed and installed accordingly. And, on a related note, this section is not to be used for such applications “as-is”.

        - - An alternative to editing this Section for compliance with AISI S220 is to use a commercial guide spec for Section 09 2216, Non Structural Metal Framing (available from SpecLink, AIA MasterSpec, SpecText, etc.).

  - ************************************************************************************************************

PART 1 - GENERAL

SECTION INCLUDES

Gypsum Board Systems for ​​​​​​​<< Click to select rating from drop down menu;  Non fire-rated; and  Fire-rated>>​​​​​​​:

        - ******************************************************************************

        - The following subparagraphs are designer-choice. Retain subparagraphs for location(s) where gypsum board systems are to be installed based on project-scope.

        - ******************************************************************************

Metal stud wall installation.

Acoustical partition wall installation.

        - ******************************************************************************

        - Shaft wall installation is fire-rated. Ensure fire-rated option is selected in paragraph above when including this subparagraph.

        - ******************************************************************************

Shaft wall installation.

Suspended ceiling grillage installation.

RELATED REQUIREMENTS

Section << 01 8113.13 - Sustainable Design>>

Section << 07 9200 - Joint Sealants>>

    - **********************************************************************************************

      - The standard listed below is provided for reference only and is not listed within the body of this Section. It is a designer-choice to include this standard.

      - <<GA-225>>

    - **********************************************************************************************

REFERENCE STANDARDS

ASTM C475/C475M - Standard Specification for Joint Compound and Joint Tape for Finishing Gypsum Board.

ASTM C557 - Standard Specification for Adhesives for Fastening Gypsum Wallboard to Wood Framing.

ASTM C645 - Standard Specification for Nonstructural Steel Framing Members.

ASTM C665 - Standard Specification for Mineral-Fiber Blanket Thermal Insulation for Light Frame Construction and Manufactured Housing.

ASTM C754 - Standard Specification for Installation of Steel Framing Members to Receive Screw-Attached Gypsum Panel Products.

ASTM C840 - Standard Specification for Application and Finishing of Gypsum Board.

ASTM C954 - Standard Specification for Steel Drill Screws for the Application of Gypsum Panel Products or Metal Plaster Bases to Steel Studs from 0.033 in. (0.84 mm) to 0.112 in. (2.84 mm) in Thickness.

ASTM C1002 - Standard Specification for Steel Self-Piercing Tapping Screws for Application of Gypsum Panel Products or Metal Plaster Bases to Wood Studs or Steel Studs.

ASTM C1047 - Standard Specification for Accessories for Gypsum Wallboard and Gypsum Veneer Base.

ASTM C1396/C1396M - Standard Specification for Gypsum Board.

GA-214 - Levels of Finish for Gypsum Panel Products.

GA-216 - Application and Finishing of Gypsum Panel Products.

GA-225 - Repair of Fire-Resistance-Rated Gypsum Panel Product Systems.

GA-600 - Fire Resistance and Sound Control Design Manual.

ICC (IBC) - International Building Code.

UL (DIR) - Online Certifications Directory.

      - ***************************************************************************************

      - Edit submittals to include only those absolutely necessary to assure requirements and features that are important for the specific project will be met.

      - ***************************************************************************************

ACTION SUBMITTALS

      - ***************************************************************************************

      - Verify these requirements below against LANL ESM Chapter 14 - Sustainable Design, Attachment 1 "Required Attribute" Column and, if applicable, the LEED prerequisites and project credits. Material content and recycled content are required. The remaining submittals are designer-choices based on project-specific requirements. This paragraph and its first two subparagraphs are activated automatically based on selections made in Articles Gypsum Board Materials and Accessories in PART 2, when applicable.

      - ***************************************************************************************

Sustainable Design Submittals:

Sustainable Design (SD) Submittals: Provide material content documentation in accordance with the requirements of this Section. ​​​<< Submit any additional documentation for this product category, as applicable under Section  01 8113.13 - Sustainable Design , with this Section’s submittal.; or  None - N/A>>​​​

Product data for acoustic insulation including recycled content.

        - ******************************************************************************

        - The following subparagraphs is a designer-choice. Retain when required for project.

        - ******************************************************************************

Product Data for adhesives and sealants, including printed statement of VOC content.

Catalog data on metal framing, gypsum board, joint tape, joint compound and texturing materials.

Manufacturer’s written certification that all materials are free of asbestos.

      - ***************************************************************************************

      - Retain the following paragraph when project requires samples.

      - ***************************************************************************************

Sample: Twelve-inch-square sample of gypsum board with texture finish.

INFORMATIONAL SUBMITTALS

Manufacturer’s installation instructions.

QUALITY ASSURANCE

Perform Work in accordance with:

<<ASTM C840>>​

<<GA-214>>

<<GA-216>>

        - ******************************************************************************

        - Retain the following subparagraph for fire-rated and/or sound-control installations.

        - ******************************************************************************

<<GA-600>>.

PART 2 - PRODUCTS

MANUFACTURERS

Georgia Pacific Corp.

National Gypsum Company.

United States Gypsum Company.

<< _______>>.

      - ***************************************************************************************

      - Retain the following Article Regulatory Requirements when fire-rated assemblies are in project-scope.

      - ***************************************************************************************

REGULATORY REQUIREMENTS

Conform to <<ICC (IBC)>> for fire-rated assemblies as follows:

        - ******************************************************************************

        - The following subparagraphs are designer-choices. Retain based on fire-rated assemblies included in project-scope.

        - ******************************************************************************

Fire-Rated Partitions: <<UL (DIR)>> Listed assembly UL U465 for 1 hour rating, UL U411 for 2-hour rating.

Fire-Rated Shaft Walls: <<UL (DIR)>> Listed assembly UL << _______>>.

Fire-Rated Ceiling<< and soffits; or  None - N/A>>: <<UL (DIR)>> Listed assembly UL << _______>>.

FRAMING MATERIALS

Studs and Tracks:

Applicable ASTM/AISI Standard: As indicated on Drawings.

Minimum Base-Steel Thickness: As indicated on Drawings.

Depth: As indicated on Drawings.

Galvanized sheet steel, C shape.

Furring, framing and accessories conforming to:

<<ASTM C645>> unless indicated otherwise on Drawings.

        - ******************************************************************************

        - Retain the following subparagraph for fire-rated and/or sound-control installations.

        - ******************************************************************************

<<GA-600>>

Fasteners for Metal Framing: As indicated on Drawings.

Adhesive conforming to <<ASTM C557>> and <<GA-216>>​.

GYPSUM BOARD MATERIALS

      - ***************************************************************************************

      - The following three paragraphs are designer-choices. Retain gypsum board material based on project-specific requirements.

      - For fire-rated installations, choose between Gypsum board, Type X or Gypsum coreboard. For non-fire-rated installations, choose between Gypsum board, Type X for dry locations and Moisture resistant gypsum board for wet locations.

      - ***************************************************************************************

Gypsum board conforming to <<ASTM C1396/C1396M>>, fire resistive, Type X, thickness as indicated on drawings, maximum practical length, with square cut ends and tapered edges.

Gypsum coreboard conforming to <<ASTM C1396/C1396M>>, thickness as indicated on drawings, maximum practical length, with square cut ends and tapered edges.

Moisture resistant gypsum board conforming to <<ASTM C1396/C1396M>>, thickness as indicated on drawings, maximum practical length, with square cut ends and tapered edges.

Sustainable Design Requirements: BioPreferred.

ACCESSORIES

      - ***************************************************************************************

      - Retain the following paragraph when acoustic insulation is required for project.

      - ***************************************************************************************

Acoustic insulation conforming to <<ASTM C665>>, preformed, formaldehyde-free, glass fiber batts, unfaced, friction-fit type.

Sustainable Design Requirements: Provide glass fiber batt insulation as follows:

Recycled Content: Minimum 20-25 percent recovered glass.

Fasteners: Steel Drill Screws conforming to <<ASTM C1002>>, unless otherwise indicated.

Use screws complying with <<ASTM C954>>​ for fastening panels to steel members from 0.033 to 0.112 inch thick.

Corner beads of metal and paper construction.

Edge bead conforming to <<ASTM C1047>> and <<GA-216>>.

Joint materials conforming to <<ASTM C475/C475M>> and <<GA-216>>; reinforcing tape, joint compound, adhesive (100 percent asbestos free) and water.

Latex based texture finish materials.

Refer to Section << 07 9200 - Joint Sealants>> for sealants.

PART 3 - EXECUTION

    - **********************************************************************************************

      - The following Articles Metal Stud Wall Installation, Acoustical Partition Wall Installation, Shaft Wall Installation, and Suspended Ceiling Grillage Installation are designer-choices. Retain Articles for location(s) where gypsum board systems are to be installed based on project-scope.

    - **********************************************************************************************

METAL STUD WALL INSTALLATION

Install studs as indicated on the drawings and in accordance with manufacturer’s instructions and <<ASTM C754>>​.

Refer to drawings for locations of studding extending to the ceiling, through the ceiling, and to structure above.

ACOUSTICAL PARTITION WALL INSTALLATION

Refer to drawings for location of partitions with acoustical treatment.

Install acoustic sealant at joint between gypsum board and floor, and to seal penetrations of partitions by conduit, pipe, ductwork, etc.

Place acoustic insulation between studs, around cut openings, behind and around electrical and mechanical items within or behind partitions, and tight to items passing through partitions.

SHAFT WALL INSTALLATION

Install in accordance with manufacturer’s instructions to <<GA-600>> requirements.

SUSPENDED CEILING GRILLAGE INSTALLATION

Install grillage in accordance with <<ASTM C754>>.

Suspend furring channels from structural members with wires. For size, layout and spacing of support framing, refer to drawings.

Install furring channels at right angle to channels using formed clips. For layout and spacing, refer to drawings.

GYPSUM BOARD INSTALLATION

Install gypsum board in accordance with manufacturer’s instructions.

      - ***************************************************************************************

      - The following two paragraphs are designer-choices based on project-specific requirements. Retain the first paragraph for non-fire rated partitions. Retain the second paragraph for fire-rated partitions.

      - ***************************************************************************************

In non fire-rated partitions, erect single layers of gypsum board in most economical direction, with edges and ends occurring over firm bearing.

In fire-rated partitions, erect single layer of gypsum board vertically, with edges and ends occurring over firm bearing.

Install screws in accordance with manufacturer’s instructions.

In double layer installations, erect second layer perpendicular to first layer, secured to first layer with adhesive. Offset joints of second layer from joints of first layer.

      - ***************************************************************************************

      - Retain the following paragraph when using moisture resistant gypsum board.

      - ***************************************************************************************

Treat cut edges and holes in moisture resistant gypsum board with sealant.

Install corner beads at exterior corners. Install edge trim where gypsum board abuts dissimilar materials.

JOINT TREATMENT

Tape, fill and sand exposed joints, edges, and corners to produce smooth surface, ready for finish.

Feather coats onto adjoining surfaces so that camber is maximum 1/32 inch.

TEXTURE FINISH

Apply finish texture coating to attain a light sand finish.

TOLERANCES

Maximum variation of finished gypsum board surface from true flatness is 1/8 inch in 10 feet in any direction.

END OF SECTION

    - **********************************************************************************************

      - Do not omit the following reference information:

    - **********************************************************************************************

THE FOLLOWING STATEMENT IS FOR LANL USE ONLY

THIS PROJECT SPECIFICATION SECTION IS BASED ON LANL MASTER SPECIFICATION SECTION 09 2116, REV. 9, DATED APRIL 15, 2026.