SECTION 12 2113

HORIZONTAL LOUVER BLINDS

***************************************************************************************************************

LANL MASTER SPECIFICATION

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  The specifications must also be edited to delete specification requirements for processes, items, or designs that are not included in the project -- and specifier’s notes such as these.  To seek a variance from requirements in the specifications that are applicable, contact the Engineering Standards Manual Architectural POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General requirements.

Specification developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Ch 1 Section Z10 Specifications and Quality sections.
*******************************************************************************************************************

PART 1  GENERAL

1.1	SECTION INCLUDES

A.	Horizontal slat louver blinds with operating hardware.

1.2	SYSTEM DESCRIPTION

A.	Horizontal metal slat louver blinds installed at window openings, manual control of raising and lowering by cord, blade angle adjustable by control wand.

1.3	SUBMITTALS

A.	Submit the following in accordance with the requirements of Section 01 3300.

1.	Catalog data indicating physical and dimensional characteristics, operating features, and method of attachment.

2.	Samples illustrating slat material and colors, and cord and rod types and colors.

3.	Manufacturer’s installation instructions.

1.4	DELIVERY, STORAGE AND HANDLING

A.	Deliver blinds wrapped and packaged in a manner to prevent damage to components or marring of surfaces.

B.	Store in a clean, dry area, laid flat and blocked off ground to prevent sagging, twisting or warping.

PART 2  PRODUCTS

2.1	MANUFACTURERS

A.	Levolor, Riviera, 1 inch blinds

B.	Bali, Classics Custom, 1 inch blinds

C.	Hunter Douglas, Flexalum Decor, 1 inch blinds

2.2	MATERIALS

A.	Louver slats:  One inch wide, 0.0075 inch thick, spring tempered, prefinished aluminum horizontal slats, with radiused corners, burrs removed.

B.	Slat support:  Braided polyester in ladder configuration.

C.	Head rail housing:  Formed and painted steel box, internally fitted with hardware, pulleys and bearings for blind operation.

D.	Cord:  Braided polyester with free end.

E.	Control wand:  Extruded hollow plastic, round shape, removable, length of window opening height less 12 inches.

F.	Head support:  Steel, painted to match head rail housing.

G.	Accessory hardware:  Standard type supplied by blind manufacturer.

PART 3  EXECUTION

3.1	VERIFICATION

A.	Verify that surfaces and openings are ready to receive the work.

B.	Do not commence fabrication until opening dimensions are field verified.

C.	Ensure that structural supports are correctly placed.

D.	Beginning of installation indicates that installer accepts existing conditions.

3.2	INSTALLATION

A.	Install blinds in accordance with manufacturer’s installation instructions.

B.	Secure head support bracket with concealed fasteners.

3.3	TOLERANCES

A	Maximum variation of gap at perimeter of window opening is 1/4 inch.

B.	Maximum offset from level is 1/8 inch.

3.4	ADJUSTING

A.	Adjust blinds for smooth operation.

3.5	CLEANING

A.	Clean work and protect from damage.

END OF SECTION

*****************************************************************

Do not delete the following reference information:

*****************************************************************

FOR LANL USE ONLY

This project specification is based on LANL Master Specification 12 2113 Rev. 1, dated May 20, 2008.