SECTION 31 2323.33

FLOWABLE FILL

*************************************************************************************************************

LANL MASTER SPECIFICATION SECTION

Word file at https://engstandards.lanl.gov/specs.shtml

Rev. 6 Summary of changes New aggregate mixture gradation, addition of pozzolan and removal of fly ash, and update to slump to align with NMDOT. Additional description of applicability of this spec for use under support/bearing of building foundations in the beginning author notes.

This template is NOT for use for flowable fill that will be used for support/ bearing of building foundations (i.e., except as indicated in the Article, Description herein).  Refer to IBC Section 1803 for more detail on such flowable fill (i.e., controlled low-strength material).

This template must be edited for each project.  In doing so, specifier must add job-specific requirements.  Brackets are used in the text to indicate designer choices or locations where text must be supplied by the designer.  Once the choice is made or text supplied, remove the brackets.  Document must also be edited to delete requirements for processes, items, or designs that are not included in the project -- and specifier’s notes such as these.  To seek variance from requirements that are applicable, contact the Engineering Standards Manual Civil POC. Please contact POC with suggestions for improvement as well.

When assembling a specification package, include applicable sections from all Divisions, especially Division 1, General requirements.

Section developed for ML-4 projects.  For ML-1, 2, and 3 applications, additional requirements and independent reviews should be added if increased confidence in procurement or execution is desired; see ESM Chapter 1 Section Z10 Specifications and Quality sections.
*************************************************************************************************************

GENERAL

SECTION INCLUDES

Flowable fill (cement-stabilized backfill).

RELATED SECTIONS

31 2000, Earth Moving

03 3001, Reinforced Concrete

    - Section 01 8113 [LEED v4 and] Guiding Principles 2020: Requirements for water efficiency, energy efficiency, material composition, and indoor air quality requirements

ACTION SUBMITTALS

Submit the following:

Material certifications.  A complete list of materials including type; brand; source and amount of cement, fly ash, pozzolans, [silica fume], ground slag, and admixtures; and applicable reference specifications shall be included in the mix design submittal. Provide design mixes and test reports.

Batch tickets.

Field test reports (if required per 3.5)

DESCRIPTION

Flowable fill is a self-leveling slurry of cement, fly ash, aggregates, admixtures, and water with low final strength that can be hand-dug later.

Flowable fill may be used for trenches, pipe structures, fill for abandoned water and sewer lines, and other similar works where cavities exist and firm support is required.

The use of flowable fill around or adjacent to utility lines or civil structures shall be reviewed and approved by the appropriate LANL Utilities and Infrastructure system representative.  Flowable fill shall not be around or adjacent to utility lines that have requirements for movement.

QUALITY ASSURANCE

When work or portions of work of this section are completed and require testing, notify the LANL Subcontract Technical Representative (STR).

Ensure all required cast-in-place concrete, embedment items, and utility work has been completed prior to placing flowable fill.

Job conditions

- Perform concrete washout, trucks, and mixers, in a designated and controlled area to prevent the runoff of washout material and the co-mingling of unset concrete with storm water. Properly dispose of all hardened excess concrete.

PRODUCTS

  - MATERIALS

Cement: ASTM C 150, Type I or Type II.

Fine and Coarse Aggregates: Conform to ASTM C 33.  Provide a uniform mixture of fine aggregate or fine and coarse aggregate, as determined by ASTM D 422.

Aggregate Mixture Gradation Requirements

| Sieve Size | Percent Passing |
| --- | --- |
| 3/8 inch | 100 |
| No. 4 | 95 – 100 |
| No. 8 | 80 – 100 |
| No. 16 | 50 – 80 |
| No. 30 | 25 – 60 |
| No. 50 | 5 – 30 |
| No. 100 | 0 – 10 |
| No. 200 | 0 - 3 |

Water: Potable.

Pozzolan: Per ASTM C618, Class N

Air Entrainment: Per ASTM C260.  Air entrainment may be between 6 and 25 percent.  Air entraining is not required for below grade installation in areas not subject to freeze/thaw cycles.

PROPORTIONING AND PHYSICAL PROPERTY REQUIREMENTS

- Provide mix design per the following limits:

- Cement, maximum 150 lbs/yd3

- Air content, optional

- Slump, from 8 to 11 inches

- Water/Cement ratio, proportioned by weight to produce a slump within limits.

- Consistent aggregate throughtout the concrete mixture

- Compressive strength will not exceed 150 psi at 28 days.

FLOWABLE FILL

Mix and deliver flowable fill in accordance with ASTM C94.

Use accelerating admixtures in cold weather only when approved by LANL STR.  Use of admixtures will not relax cold weather placement requirements.

During hot weather, use set retarding admixtures only when approved by STR.

Do not use calcium chloride as an admixture.

Add air-entraining agent if required to produce a flowable mix.

EXECUTION

- EXAMINATION

Verify that all items of cast-in-place concrete, grading, trenching, and all utilities and other embedded items are in place prior to placing fill.

Utilities that are subject to required movement (e.g., steam and condensate lines), shall not be embedded in flowable fill or otherwise have restricted movement.

Flowable fill shall not be used as a substitute for sand bedding or earth backfill for primary utilities unless approved by the LANL Utilities and Infrastructure system representative.

- preparation

  - Remove all loose material from the uneven tuff and the concrete structures.

  - Set elevation marks or otherwise determine the proper top elevation for the fill.

- PLACEMENT

- Notify LANL STR a minimum of 48 hours prior to placement of flowable fill.

- Flowable fill may be placed by direct discharge from the truck, by pumping, or by other approved methods.

- Fill shall be placed in a uniform manner that will prevent voids or segregation of the bedding and filling material.  If required, the flowable fill shall be consolidated with internal vibrators.

- Pipes, reinforcement, inserts, or other embedded parts shall be placed, supported, and secured in a manner that shall prevent the fill from displacing, sagging, or from floating embedded items.

- Fill shall be brought up uniformly to the fill line shown on the plans.  Formed walls or other bulkheads shall be constructed to withstand the exerted hydrostatic pressure and confine the material within a dedicated space.

- Placement of fill shall start only when weather conditions are favorable.  The temperature shall be at least 35 degrees F and rising.  Fill shall not be placed on frozen ground or when it is raining.

- CURING AND PROTECTION

- Immediately after placement, protect fill from premature drying, excessively hot or cold temperatures and mechanical injury.

- The fill shall not be subjected to load and shall remain undisturbed by construction activities for at least 24 hours after placement.

- FIELD QUALITY CONTROL

    - Testing of flowable fill is not necessarily required.  If testing is required, the Subcontractor shall employ an independent testing agency to perform compressive strength test cylinders.  Testing laboratory certification may be provided by Cement and Concrete Reference Lab (CCRL).

    - For field testing, use a standard (15 lb) T-post driver to drive a #6 reinforcing bar with a flat end into the flowable fill material 24 hours after placement. Lift the driver until the bottom of the driver is even with a mark located 6 inches below the top of the rebar and then allow it to fall under its own weight. Remove and replace the flowable fill if fewer than 6 blows or more than 25 blows are required to drive the rebar 12 inches into the fill.

    - Provide unobstructed access to work and cooperate with appointed firm.

- DEFECTIVE FLOWABLE FILL

- Do not accept or place defective fill that is not in conformance with acceptance criteria.  Return the fresh fill to the supplier.

- Defective fill is material having excessive honeycomb, embedded debris, higher than maximum compressive strength, or not conforming to required lines, details, dimensions, tolerances, or specified requirements. Repair or replace defective fill as directed by the LANL STR.

- Replace fill not in conformance with details, tolerances, and other construction requirements at Subcontractor’s expense.

END OF SECTION

************************************************************

Do not delete the following reference information:

************************************************************

THE FOLLOWING STATEMENT IS FOR LANL USE ONLY

This project specification section is based on LANL Master Specification Section 31 2323.33, Rev. 6, dated November 9, 2022.