SECTION 32 8400

PLANTING IRRIGATION

*************************************************************************************************************

LANL MASTER SPECIFICATION

When editing to suit project, author shall add job-specific requirements and delete only those portions that in no way apply to the activity (e.g., a component that does not apply).  To seek a variance from applicable requirements, contact the ESM Civil POC.

When assembling a specification package, include applicable specifications from all Divisions, especially Division 1, General Requirements.

Delete information within “stars” during editing.

Specification developed for ML-3 / ML-4projects.  For ML-1 / ML-2, additional requirements and QA reviews are required.

This specification is to be used for the establishment or reestablishment of vegetation.  See ESM Civil Chapter 3, Section G2050, Landscaping and ESM Architectural Chapter 4, Section B-C_GEN, G2050 for additional guidance.

*************************************************************************************************************

GENERAL

1.1	SECTION INCLUDES

A.	Underground sprinkler system.

B.	The Work consists of providing an underground irrigation system as shown and specified, furnishing of labor, equipment, appliances, and materials including but not limited to piping, valves, backflow preventer, heads, drains, controllers, and other components, accessories and appurtenances required for a complete, and operable system.  Perform required trenching, excavation, boring, backfilling and compacting.

  - RELATED SECTIONS

Section 31 2000, Earth Moving

Section 22 1100, Facility Water Distribution

1.3	SUBMITTALS

A.	Submit the following in accordance with Section 01 3300, Submittal Procedures:

1.	Catalog data for all equipment furnished under this Section.

2.	Installation instructions for underground sprinkler system.

3.	Operating and maintenance manual.

a.	Prepare a zone chart for each controller with waterproof, color-coded diagram keying stations of the controller to valve locations and to the irrigation heads served by the station.  Diagram is to be mounted inside the door of the automatic controller.  Copy to be included in the Operation and Maintenance Manual.

4.	Irrigation plan, to scale, showing the location of irrigation equipment: controllers and electrical connections, backflow preventer, valves, heads, piping and equipment schedule.  Refer to Part 3 for required location of irrigation equipment.

5.	Record Drawing:  Prepare and make corrections as required by LANL.  On a record print mark the exact arrangement of the irrigation system, including the location of valves and main lines.  Show locations by a system of measurements from easily identified, permanent features such as building, roads and walks.

1.4	QUALITY ASSURANCE

A.	Work shall be performed by a licensed Contractor experienced in irrigation systems, with the type and scale of work required and having the equipment and personnel adequate to perform the work satisfactorily.

- Provide underground sprinkler system in as complete a unit as possible, produced by a single manufacturer, including heads, valves, piping circuits, controls, and accessories.

- Site design analysis shall consider drainage, topography, soil conditions, and environmental conditions with respect to slope orientation and precipitation.

1.5	STORAGE AND HANDLING

A.	Follow manufacturer’s recommended procedures in loading, unloading, stacking, transporting and handling all materials to be used.

1.6	JOB CONDITIONS

A.	Prior to installing irrigation heads, stake or otherwise locate trees and shrub areas according to plans, or as adjusted in field under LANL’s direction.  Coordinate bubblers and shrub pop-ups with tree and shrub locations.  Do not lay irrigation lines in rootball zones of plants.  Coordinate the work of constructing the irrigation system with the planting schedule.

PRODUCTS

  - PLASTIC PIPE AND FITTINGS

*************************************************************************************************************Piping, valves, and other necessary, related material from the point of connection through the backflow preventer to the master control valve shall conform to the requirements of LANL Master Specification 22 1100.

*************************************************************************************************************

A.	Pressure Lines: Schedule 40 or Schedule 80 PVC pipe, ASTM D 1785, as shown on Drawings.

B.	PVC Fittings:  Schedule 40, ASTM D 2466; Schedule 80, ASTM D 2467.

C.	Nipples: 3/4 inch and 1 inch, Schedule 80, PVC, threaded.

2.2	CLEANER, PRIMER AND SOLVENT CEMENTS

A.	Use compatible cleaner, primer, and solvent cements.  Comply with the requirements of ASTM D 2855 for solvent-cemented joints.

2.3	SPRINKLER HEADS

Install as shown on the Drawings.  The irrigation design is based on the characteristics of the following standard heads:

Toro Company:

Large Radius Head		Model No. 640

Medium Radius Head		Model No. 700 Super

Small Lawn Pop-up		Model No. 570-4P

Shrub Pop-up			Model No. 570-HP or 570-6P

Bubblers for Shrub Areas	Model No. 570 series

Bubblers - Adjustable		Model No. 514-20

2.4	DRIP EMITTERS

A.	Provide fittings and drip tubing compatible with drip emitters.  Provide solvent-cemented joints or compression type fittings between drip system and PVC irrigation system.

2.5	VALVES

A.	Provide automatic valves (type and size) as indicated on Drawings.  Valves shall have a manual bleed screw in the handle and bleed ports protected with built in filter.  Valves shall be made of noncorrosive material.  The valve shall open and close smoothly with low-pressure loss.  The valve shall be installable at any angle and have a flow control and manual shut off.  The solenoid shall be 24 volts A.C.60 Hz and have a consumption not exceeding 2 watts.  Manufacturer: Toro Inc., Model 216 brass body.

B.	Provide manual gates valve, Type 1, rated at 250 lbs. water pressure, threaded ends, meeting MSS SP-80, bronze body, bronze trim, hand wheel for Gate, Globe, Angle and Check Valves Specification.

2.6	QUICK COUPLER VALVES

A.	Provide quick coupler valves as indicated on the Drawings.  Provide coupler keys, swivel ells, and hose bibs in the quantity of one for each quick coupler.

2.7	AUTOMATIC DRAIN VALVES

A.	Provide automatic drain valves.  The valve shall open when pressure in line decreases to 9 psig and seal again when pressure increases to 10 psig.  Provide valves with screens on both inlet and outlet.  Drain valves to be installed only on laterals of nominal pipe size  1-1/2 inch or less.  Install valves at low points and at 100 feet on center in the laterals.

2.8	BACKFLOW PREVENTER

- Furnished and installed by the Contractor.  Installed per LANL Mechanical Standard Drawing ST-D20GEN-1.

- Backflow preventer shall conform to LANL Master Specification 22 1100.

2.9	VALVE BOX

- Provide HDPE plastic or fiberglass valve boxes with plastic locking cover.

- Covers shall be labeled “Irrigation Control Valve”.

2.10	GRAVEL DRAIN BACKFILL

A.	Cleaned gravel or crushed stone, graded from 3/4 inch minimum to 1-1/2 inch maximum.

2.11	WIRING MATERIALS

A.	Provide UL-approved wire for direct burial, Type UF 600 Volts.  Minimum gauge No. 14 AWG.  Control wire must be insulated, single stand copper designed for use with 24 to 50 volts and copper conductor must meet or exceed ASTM B-3 specifications.

B.	Make electrical wire splices water-tight using an appropriate sealing material.  Underground, buried splices are not allowed.

  - AUTOMATIC CONTROL SYSTEM

A.	Furnish low voltage system manufactured expressly for control of automatic circuit valves of underground sprinkler systems.  Provide unit of capacity to suit number of circuits as indicated.

B.	Provide manufacturer’s standard control enclosure with locking cover, complying with NFPA 70 (National Electric Code).  Provide weather proof enclosures at exterior locations.

C.	Provide a transformer to convert site service voltage to control voltage of 24 volts.  Provide dedicated breaker for controller at power panel connection.

D.	Controller:  Motorola MIR 5000C Field Unit, radio controlled.

PART 3	EXECUTION

3.1	EXAMINATION

A.	Carefully investigate the structural and finished conditions affecting the work, and plan work accordingly to furnish fittings and appurtenant items that are required to meet field conditions.  Install the work so conflicts between sprinkler installation, existing utilities, planting and other new and existing features shall be avoided.

B.	Notify the LANL Construction Inspector 10 days prior to startup of construction to have LANL’s support services subcontractor identify known underground utilities and stake and flag locations.  If a conflict exists between the location of such obstacles and the proposed work, promptly notify the LANL Construction Inspector and arrange for relocations.

3.2	TRENCHING

A.	Stake out all sprinkler head and valve locations.  Prior to trenching, the stake-out will be reviewed by the LANL Construction Inspector.

B.	Excavate trenches for controlled slope of pipe to low points for system drainage.  Pitch piping to drains a minimum of 6 inches in each 100 feet. (0.5%).  Make excavations of sufficient depth and width to permit proper handling and installation of the pipe and fittings.  Keep trench free of water and clean trench of all soil, rocks, and debris before installing pipe and fittings.

C.	Excavate trenches to a depth of 2 inches below invert of pipe.  Bed the piping in 2 inches of sand or approved backfill material and extend to a minimum of 2 inches over the top of pipe.

D.	Provide 48 inch clearance between top of pipe and finish grade for pressure lines, and 12 inches for non-pressure lines, except where otherwise indicated on Drawings.  When two or more irrigation pipes are to be placed in the same trench, maintain a minimum of six inches horizontal and vertical distance between the pipes.

E.	Where existing pavement must be cut to install landscape irrigation system, cut smoothly to straight lines 6 inches wider than trench.

Sleeve pipe and wiring under sidewalks, roadways, or parking lots in Schedule 80 PVC pipe.  Size pipe sleeves 2 inches larger interior diameter than outside diameter of pipe being sleeved.

Repair or replace pavement cuts with equivalent materials and finishes.

3.3	INSTALLATION

A.	Install materials and equipment in accordance with the recommendations of the manufacturers of the materials and ASTM D 2774.

B.	Point of connection for the irrigation system shall be in the facilities equipment room after the backflow preventer.

C.	Pipe:

1.	Install plastic pipe in accordance with the manufacturer’s recommended procedures.  Carefully handle and store plastic pipe and fittings under cover to avoid damage.  Do not use damaged or dented pipe.  Replace any section of pipe found to be defective before or after laying with sound pipe.

2.	Provide solvent-cemented joint plastic pipe and fittings using solvents and methods recommended by the manufacturer of the pipe.  Make all connections between plastic pipe and metal valves or steel pipe with screw fittings using plastic female adapters with a nonhardening pipe dope applied to male threads.  Make screwed connections with light wrench pressure.  Use solvent-cemented joints for main lines under continuous pressure or pipes larger than 2-1/2 inches in diameter (nominal) with PVC cement per ASTM D 2855.

3.	After piping is installed, but before outlets are installed and backfilling commences, open valves and flush system with full head of water.

4.	The full length of each section of pipe shall rest solidly upon the pipe bed, with recesses excavated to accommodate elbows and joints.  When work is not in progress, temporarily cap open ends of pipe and fittings to keep out foreign matter.  To ensure a "clean" system, each joint of pipe shall be held in an upright position to allow foreign objects to fall out before the joint is added to the system.

D.	Do not use saddle taps on irrigation lines.  Make branches only with fittings and reducers.  Do not use bushings, street ells, or closed.

- Provide sprinkler heads as specified and install to grade.  Use teflon tape or teflon sealer on threaded connection at heads and joints.  Install head in the vertical position, hand backfilled and compacted to near original density.  Maintain a 24 inch clearance from wall, buildings or windows.  Install heads adjacent to walks and curbs abutting the walk or curb edge with top of head to be 1/2 inch below top of walk or curb.  Adjust irrigation heads to insure proper watering of plant material.

- Install sprinkler heads, bubblers, and emitters up-slope of trees and shrubs at inside edge of depression so water will flow into the depression.

G.	Install automatic drain valves on lateral lines only, at low points, 100 feet O.C.  Install automatic drain valve 3 inches below top of gravel drain sump.  Gravel drain sump shall be one cubic foot of washed gravel, with filter fabric completely surrounding gravel and automatic drain valve.

H.	Install automatic and manual control valves and valve boxes in accordance with the recommendations of the manufacturer and as detailed in Drawings.  Wire each valve to a separate station on the controller.

I.	Controllers shall be located on the exterior walls adjacent to the facilities equipment room and the point of connection for the irrigation system.  Controller shall not be located in secure areas that require special access.  Mount and wire the controllers according to the manufacturer’s approved procedures and as specified.  Connect controller to a dedicated breaker on the power panel at the location noted.

J.	Install control wire in same trenches as sprinkler main lines and laterals wherever practical.  Snake the wires in the trench to allow for displacement of the wire during backfilling.  Lay wires on the trench bottom on one side of the pipe only.  If wiring is not in the same trench as piping, install in PVC minimum Class 160 piping and provide 12 inches minimum cover.  Securely tape together valve wires running in the same trench at 10-foot intervals.  Place the bundle of wiring to one side of piping (east of north/south lines and north of east/west lines) and no more than 3 inches from piping.

K.	Keep wire splices to a minimum and if needed shall be made only in common splice boxes located in valve boxes.  Provide a slack-wire loop at 100 feet intervals and at each valve with enough slack so that wire splices can be extended 24 inches above ground level to facilitate testing and trouble-shooting.  Do not use wire size smaller than No. 14 AWG.

L.	Install 115 Volt AC wiring in accordance with the requirements of the National Electrical Code.  Service to controllers shall consist of one black and one white and one green wire in rigid conduit.  Electric control lines from controller to automatic valves shall be a different color from the 115 volt service from the valves to the controller.  Each wire from zone valves to controller shall be blue color for each station on the controller.  Wire to master control valve shall be red.  The valve common wire shall be white.  All electrically operated devices and all metal enclosures shall be connected to ground, as approved.

3.4	TESTING AND INSPECTION

A.	Provide notification to LANL Construction Inspector 24 hours in advance that work is in readiness for testing.  Should work requiring testing or approval be backfilled prior to LANL approval, the Contractor, at the Contractor’s expense, shall uncover, retest and restore the surface.

B.	Should any portion of the Work done or any materials delivered fail to comply with requirements of the Specifications or Drawings, such work or materials shall be rejected and shall be immediately removed from the site or corrected satisfactorily.

C.	Pressure test irrigation piping after laying and completing joints and settings valves, but prior to backfilling.  Calibrated pressure gauges shall be used on the line being tested.  Pressure test as follows:

1.	Center-load the pipe with a small amount of backfill to prevent arching or slipping under pressure.  Flush out all lines, then cap all outlets and hydrostatically test the normally pressurized part of the system at a pressure of 150 psig for 4 hours.  Test lines between master valves and remote control valves (where applicable) in the same manner at a pressure of 100 psig for 4 hours.

2.	Test laterals (intermittently pressurized) in the same manner at existing available static pressure.  Leave joints exposed for inspection during the pressure test.  Do not install swing joints or flexible nipples prior to pressure test.  Maintain pressure tests for 4 hours.  Do not use air pressure test.

3.	If pressure loss occurs, affected line shall be repaired and tests shall be repeated until the entire system has been proven tight.  Conceal lines passing hydrostatic pressure test the same day if nighttime temperatures are to be 32 degrees Fahrenheit and below.

3.5	COVERAGE AND ADJUSTMENT

A.	When the sprinkler system is complete, perform a coverage test to determine if the water coverage for planting areas is complete and adequate and that spray does not hit buildings, walks and other locations where not required.  Correct any inadequacies of coverage by adjusting all heads and valves, and program controller to provide optimum sprinkler system performance.

3.6	MAINTENANCE

A.	Maintain and adjust the irrigation system in coordination with the plant materials requirements until final acceptance by LANL maintenance staff is achieved.  Irrigation maintenance shall include repair, replacement of parts not operating properly and adjustment of timing and coverage of heads.

B.	Prior to the acceptance of the project, furnish to LANL an irrigation operation and maintenance manual and review the manual and its contents with the LANL maintenance staff.

3.7	INSPECTION AND ACCEPTANCE

A.	When work is completed, including maintenance, LANL will make an inspection to determine acceptability.

B.	Where inspected irrigation work does not comply with requirements, replace rejected work and continue specified maintenance until reinspected and system is found to be acceptable.  Remove rejected equipment and materials promptly from project site.

END OF SECTION

****************************************************

Do not delete the following reference information:

****************************************************

FOR LANL USE ONLY

This project specification is based on LANL Master Specification 32 8400 Rev. 1, dated November 28, 2006.